[image: image1.jpg]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales





	Notice of request for more information

	Environmental Permitting (England and Wales) Regulations 2016


Notice requiring further information
To: Mrs Gail Jenkins
Roger Parry and Partners
1 Great Oak Street

Llanidloes

Powys

SY18 6EQ

Application number: PAN-010284
Natural Resources Wales, in exercise of its powers under paragraph 4 of Part 1 of Schedule 5 of the above Regulations, requires you to provide the information detailed in the attached schedule. The information is required in order to determine your application for a permit, dated 11th May 2020.  The information requested should be sent to the following address by 12th October 2020.
Information should be sent to: 

Llinos.Owen@naturalresourceswales.gov.uk
	Name
	Date

	Llinos Owen

	21st September 2020


Authorised on behalf of Natural Resources Wales
Schedule
1. Submit a manure management plan.
2. Update your drainage plan to show where the ranging areas are located and where the runoff from these ranging areas would go. 

3. Update the drainage plan to include the existing drainage already in place for the existing sheds.

4. State the capacities of both the clean and dirty water tanks.

5. Your submitted ammonia modelling report shows that process contributions from the poultry unit to several nearby ancient woodlands don’t screen out at detailed modelling. 
Your consultant has recommended that, if available, to compensate for possible detrimental effects on the nearby ancient woodlands, that land of at least a similar area to the exceedance of 100% of the critical level is set aside for nature conservation. Alternatively, or additionally, buffer zones and corridors could be set up around and between the ancient woodlands. 
Please demonstrate how you have considered this recommendation, and what was your conclusions.
Ffôn/Tel

0300 065 3741
Ebost/Email
Llinos.Owen@cyfoethnaturiolcymru.gov.uk 


Llinos.Owen@naturalresourceswales.gov.uk 
Gwasanaeth Trwyddedu Cymru, Cyfoeth Naturiol Cymru, Tŷ Cambria, 29 Heol Casnewydd, Caerdydd. CF24 0TP

Wales Permitting Service, Natural Resources Wales, Cambria House, 29 Newport Road, Cardiff. CF24 0TP

Gwefan/Website
www.cyfoethnaturiolcymru.gov.uk 
Croesewir gohebiaeth yn y Gymraeg a'r Saesneg

www.naturalresourceswales.gov.uk 
Correspondence welcomed in Welsh and English

Page 2 of 3

Page 3 of 3

[image: image1.jpg]