|  |  |  |  | Form CP63-4 revB 6 MONTHLY STORM OVERFLOW EVENT RECORD |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Site Name: |  | Ffos-y-fran Land Reclamation Scheme |  |  |  |  |  |  |  |  |
| Permit No: |  | EPR/DB3131AF |  |  |  |  |  |  |  |  |
| 6 months from/to: |  | January – June 2020 |  |  |  |  |  |  |  |  |
| Consent Number |  | Suspended Solids Consent Limits |  |  |  | pH Consent limits | Start of storm overflow |  |  | Stop of storm overflow |
| AN0264602 (WC1 Storm) |  | 50 mg/l |  |  |  | 5-9 | 09/02/20 16/02/2020 |  |  | 09/02/20 16/02/2020 |
| NPSWQD002105 (WI Storm) |  | 50 mg/l |  |  |  | 5-9 | 09/02/20 16/02/2020 |  |  | 09/02/20 16/02/2020 |
| AN0264502 (WB Storm) |  | N/A |  |  |  | N/A |  |  |  |  |
| AN0274601 (WC Storm) |  | N/A |  |  |  | N/A |  |  |  |  |
| AN0265002 (WG Storm) |  | N/A |  |  |  | N/A |  |  |  |  |
| AN0264802 (WF Storm) |  | N/A |  |  |  | N/A |  |  |  |  |
| AN0264402 (WA Storm) |  | N/A |  |  |  | N/A |  |  |  |  |
| Notes: Storm Ciara 8-2-20 to 9-2-20, Rainfall 08/02/20 15.17mm and 09/02/20 53.92mm Storm Dennis 15-16/02/2020, Rainfall 15/02/20 105.14mm and 16/02/20 47.77mm |  |  |  |  |  |  |  |  |  |  |
| Name | Stephen Woolmington |  | Position: |  | Engineer |  |  | Date: | 15-07-20 |  |