Permit Number: 
JP3239ST



Operator: 

The County council of the City and County of Cardiff

Installation:

Lamby Way Landfill Site

Form Number: 
…Oct15-C…
Reporting of ……Ground Water…… monitoring for the period for … March  2020
	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C1
	Am Nitrogen
	TBA
	Mar-20
	No sample
	INORG-L12
1450
	20th Mar 2020
	12.69



	
	
	
	
	
	
	
	

	C1
	Cadmium
	1 ug/l
	Mar-20
	No sample
	METALS-L
INORG-L13
	20th Mar 2020
	3.93

	
	
	
	
	
	
	
	

	C1
	Nickel
	0.22 ug/l
	Mar-20
	No sample
	ORG-LO5
	20th Mar 2020
	5.23


	
	
	
	
	
	
	
	

	C1
	Chloride
	TBA
	Mar-20
	No sample
	INORG-L12
1450
	20th Mar 2020
	6.71



	
	
	
	
	
	
	
	

	C1
	MP Xylene
	1 ug/l
	Mar-20
	No sample
	METALS-L
INORG-L13
	20th Mar 2020
	7.66



	
	
	
	
	
	
	
	

	C1
	Mecoprop
	0.1 ug/l
	Mar-20
	No sample
	ORG-LO5
	20th Mar 2020
	8.27



	
	
	
	
	
	
	
	


	
	
	
	
	
	
	
	

	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C2
	Am Nitrogen
	TBA
	Mar-20
	0.08
	INORG-L12
1450
	20th Mar 2020
	12.69



	
	
	
	
	
	
	
	

	C2
	Cadmium
	1 ug/l
	Mar-20
	 
	METALS-L
INORG-L13
	20th Mar 2020
	3.93

	
	
	
	
	
	
	
	

	C2
	Nickel
	0.22 ug/l
	Mar-20
	 
	ORG-LO5
	20th Mar 2020
	5.23


	
	
	
	
	
	
	
	

	C2
	Chloride
	TBA
	Mar-20
	27.4
	INORG-L12
1450
	20th Mar 2020
	6.71



	
	
	
	
	
	
	
	

	C2
	MP Xylene
	1 ug/l
	Mar-20
	 
	METALS-L
INORG-L13
	20th Mar 2020
	7.66



	
	
	
	
	
	
	
	

	C2
	Mecoprop
	0.1 ug/l
	Mar-20
	 
	ORG-LO5
	20th Mar 2020
	8.27



	
	
	
	
	
	
	
	


	
	
	
	
	
	
	
	

	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C3
	Am Nitrogen
	TBA
	Mar-20
	0.05
	INORG-L12
1450
	20th Mar 2020
	12.69



	
	
	
	
	
	
	
	

	C3
	Cadmium
	1 ug/l
	Mar-20
	 
	METALS-L
INORG-L13
	20th Mar 2020
	3.93

	
	
	
	
	
	
	
	

	C3
	Nickel
	0.22 ug/l
	Mar-20
	 
	ORG-LO5
	20th Mar 2020
	5.23


	
	
	
	
	
	
	
	

	C3
	Chloride
	TBA
	Mar-20
	73.9
	INORG-L12
1450
	20th Mar 2020
	6.71



	
	
	
	
	
	
	
	

	C3
	MP Xylene
	1 ug/l
	Mar-20
	 
	METALS-L
INORG-L13
	20th Mar 2020
	7.66



	
	
	
	
	
	
	
	

	C3
	Mecoprop
	0.1 ug/l
	Mar-20
	 
	ORG-LO5
	20th Mar 2020
	8.27



	
	
	
	
	
	
	
	


	
	
	
	
	
	
	
	

	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C4
	Am Nitrogen
	TBA
	Mar-20
	No Sample
	INORG-L12
1450
	20th Mar 2020
	12.69



	
	
	
	
	
	
	
	

	C4
	Cadmium
	1 ug/l
	Mar-20
	No Sample
	METALS-L
INORG-L13
	20th Mar 2020
	3.93

	
	
	
	
	
	
	
	

	C4
	Nickel
	0.22 ug/l
	Mar-20
	No Sample
	ORG-LO5
	20th Mar 2020
	5.23


	
	
	
	
	
	
	
	

	C4
	Chloride
	TBA
	Mar-20
	No Sample
	INORG-L12
1450
	20th Mar 2020
	6.71



	
	
	
	
	
	
	
	

	C4
	MP Xylene
	1 ug/l
	Mar-20
	No Sample
	METALS-L
INORG-L13
	20th Mar 2020
	7.66


	
	
	
	
	
	
	
	

	C4
	Mecoprop
	0.1 ug/l
	Mar-20
	No Sample
	ORG-LO5
	20th Mar 2020
	8.27



	
	
	
	
	
	
	
	


	
	
	
	
	
	
	
	

	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C5
	Am Nitrogen
	TBA
	Mar-20
	0.05
	INORG-L12
1450
	20th Mar 2020
	12.69



	
	
	
	
	
	
	
	

	C5
	Cadmium
	1 ug/l
	Mar-20
	 
	METALS-L
INORG-L13
	20th Mar 2020
	3.93

	
	
	
	
	
	
	
	

	C5
	Nickel
	0.22 ug/l
	Mar-20
	 
	ORG-LO5
	20th Mar 2020
	5.23


	
	
	
	
	
	
	
	

	C5
	Chloride
	TBA
	Mar-20
	363
	INORG-L12
1450
	20th Mar 2020
	6.71



	
	
	
	
	
	
	
	

	C5
	MP Xylene
	1 ug/l
	Mar-20
	 
	METALS-L
INORG-L13
	20th Mar 2020
	7.66

	
	
	
	
	
	
	
	

	C5
	Mecoprop
	0.1 ug/l
	Mar-20
	 
	ORG-LO5
	20th Mar 2020
	8.27



	
	
	
	
	
	
	
	


	
	
	
	
	
	
	
	

	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C6
	Am Nitrogen
	TBA
	Mar-20
	0.07
	INORG-L12
1450
	20th Mar 2020
	12.69



	
	
	
	
	
	
	
	

	C6
	Cadmium
	1 ug/l
	Mar-20
	 
	METALS-L
INORG-L13
	20th Mar 2020
	3.93

	
	
	
	
	
	
	
	

	C6
	Nickel
	0.22 ug/l
	Mar-20
	 
	ORG-LO5
	20th Mar 2020
	5.23


	
	
	
	
	
	
	
	

	C6
	Chloride
	TBA
	Mar-20
	2420
	INORG-L12
1450
	20th Mar 2020
	6.71



	
	
	
	
	
	
	
	

	C6
	MP Xylene
	1 ug/l
	Mar-20
	 
	METALS-L
INORG-L13
	20th Mar 2020
	7.66



	
	
	
	
	
	
	
	

	C6
	Mecoprop
	0.1 ug/l
	Mar-20
	 
	ORG-LO5
	20th Mar 2020
	8.27



	
	
	
	
	
	
	
	


	
	
	
	
	
	
	
	

	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C8
	Am Nitrogen
	TBA
	Mar-20
	3.4
	INORG-L12
1450
	20th Mar 2020
	12.69



	
	
	
	
	
	
	
	

	C8
	Cadmium
	1 ug/l
	Mar-20
	 
	METALS-L
INORG-L13
	20th Mar 2020
	3.93

	
	
	
	
	
	
	
	

	C8
	Nickel
	0.22 ug/l
	Mar-20
	 
	ORG-LO5
	20th Mar 2020
	5.23


	
	
	
	
	
	
	
	

	C8
	Chloride
	TBA
	Mar-20
	2550
	INORG-L12
1450
	20th Mar 2020
	6.71



	
	
	
	
	
	
	
	

	C8
	MP Xylene
	1 ug/l
	Mar-20
	 
	METALS-L
INORG-L13
	20th Mar 2020
	7.66

	
	
	
	
	
	
	
	

	C8
	Mecoprop
	0.1 ug/l
	Mar-20
	 
	ORG-LO5
	20th Mar 2020
	8.27



	
	
	
	
	
	
	
	


	
	
	
	
	
	
	
	

	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C10
	Am Nitrogen
	TBA
	Mar-20
	No Sample
	INORG-L12
1450
	20th Mar 2020
	12.69



	
	
	
	
	
	
	
	

	C10
	Cadmium
	1 ug/l
	Mar-20
	No Sample
	METALS-L
INORG-L13
	20th Mar 2020
	3.93

	
	
	
	
	
	
	
	

	C10
	Nickel
	0.22 ug/l
	Mar-20
	No Sample
	ORG-LO5
	20th Mar 2020
	5.23


	
	
	
	
	
	
	
	

	C10
	Chloride
	TBA
	Mar-20
	No Sample
	INORG-L12
1450
	20th Mar 2020
	6.71



	
	
	
	
	
	
	
	

	C10
	MP Xylene
	1 ug/l
	Mar-20
	No Sample
	METALS-L
INORG-L13
	20th Mar 2020
	7.66

	
	
	
	
	
	
	
	

	C10
	Mecoprop
	0.1 ug/l
	Mar-20
	No Sample
	ORG-LO5
	20th Mar 2020
	8.27



	
	
	
	
	
	
	
	


	
	
	
	
	
	
	
	

	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C12
	Am Nitrogen
	TBA
	Mar-20
	17
	INORG-L12
1450
	20th Mar 2020
	12.69



	
	
	
	
	
	
	
	

	C12
	Cadmium
	1 ug/l
	Mar-20
	 
	METALS-L
INORG-L13
	20th Mar 2020
	3.93

	
	
	
	
	
	
	
	

	C12
	Nickel
	0.22 ug/l
	Mar-20
	 
	ORG-LO5
	20th Mar 2020
	5.23


	
	
	
	
	
	
	
	

	C12
	Chloride
	TBA
	Mar-20
	2670
	INORG-L12
1450
	20th Mar 2020
	6.71



	
	
	
	
	
	
	
	

	C12
	MP Xylene
	1 ug/l
	Mar-20
	 
	METALS-L
INORG-L13
	20th Mar 2020
	7.66



	
	
	
	
	
	
	
	

	C12
	Mecoprop
	0.1 ug/l
	Mar-20
	 
	ORG-LO5
	20th Mar 2020
	8.27



	
	
	
	
	
	
	
	


	
	
	
	
	
	
	
	

	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C14
	Am Nitrogen
	TBA
	Mar-20
	5.5
	INORG-L12
1450
	20th Mar 2020
	12.69



	
	
	
	
	
	
	
	

	C14
	Cadmium
	1 ug/l
	Mar-20
	 
	METALS-L
INORG-L13
	20th Mar 2020
	3.93

	
	
	
	
	
	
	
	

	C14
	Nickel
	0.22 ug/l
	Mar-20
	 
	ORG-LO5
	20th Mar 2020
	5.23


	
	
	
	
	
	
	
	

	C14
	Chloride
	TBA
	Mar-20
	2780
	INORG-L12
1450
	20th Mar 2020
	6.71



	
	
	
	
	
	
	
	

	C14
	MP Xylene
	1 ug/l
	Mar-20
	 
	METALS-L
INORG-L13
	20th Mar 2020
	7.66

	
	
	
	
	
	
	
	

	C14
	Mecoprop
	0.1 ug/l
	Mar-20
	 
	ORG-LO5
	20th Mar 2020
	8.27



	
	
	
	
	
	
	
	


	
	
	
	
	
	
	
	

	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C16
	Am Nitrogen
	TBA
	Mar-20
	No Sample
	INORG-L12
1450
	20th Mar 2020
	12.69



	
	
	
	
	
	
	
	

	C16
	Cadmium
	1 ug/l
	Mar-20
	No Sample
	METALS-L
INORG-L13
	20th Mar 2020
	3.93

	
	
	
	
	
	
	
	

	C16
	Nickel
	0.22 ug/l
	Mar-20
	No Sample
	ORG-LO5
	20th Mar 2020
	5.23


	
	
	
	
	
	
	
	

	C16
	Chloride
	TBA
	Mar-20
	No Sample
	INORG-L12
1450
	20th Mar 2020
	6.71



	
	
	
	
	
	
	
	

	C16
	MP Xylene
	1 ug/l
	Mar-20
	No Sample
	METALS-L
INORG-L13
	20th Mar 2020
	7.66

	
	
	
	
	
	
	
	

	C16
	Mecoprop
	0.1 ug/l
	Mar-20
	No Sample
	ORG-LO5
	20th Mar 2020
	8.27



	
	
	
	
	
	
	
	


	
	
	
	
	
	
	
	

	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C17
	Am Nitrogen
	TBA
	Mar-20
	No Sample
	INORG-L12
1450
	20th Mar 2020
	12.69



	
	
	
	
	
	
	
	

	C17
	Cadmium
	1 ug/l
	Mar-20
	No Sample
	METALS-L
INORG-L13
	20th Mar 2020
	3.93

	
	
	
	
	
	
	
	

	C17
	Nickel
	0.22 ug/l
	Mar-20
	No Sample
	ORG-LO5
	20th Mar 2020
	5.23


	
	
	
	
	
	
	
	

	C17
	Chloride
	TBA
	Mar-20
	No Sample
	INORG-L12
1450
	20th Mar 2020
	6.71



	
	
	
	
	
	
	
	

	C17
	MP Xylene
	1 ug/l
	Mar-20
	No Sample
	METALS-L
INORG-L13
	20th Mar 2020
	7.66

	
	
	
	
	
	
	
	

	C17
	Mecoprop
	0.1 ug/l
	Mar-20
	No Sample
	ORG-LO5
	20th Mar 2020
	8.27



	
	
	
	
	
	
	
	


	
	
	
	
	
	
	
	

	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C18
	Am Nitrogen
	TBA
	Mar-20
	0.04
	INORG-L12
1450
	20th Mar 2020
	12.69



	
	
	
	
	
	
	
	

	C18
	Cadmium
	1 ug/l
	Mar-20
	 
	METALS-L
INORG-L13
	20th Mar 2020
	3.93

	
	
	
	
	
	
	
	

	C18
	Nickel
	0.22 ug/l
	Mar-20
	 
	ORG-LO5
	20th Mar 2020
	5.23


	
	
	
	
	
	
	
	

	C18
	Chloride
	TBA
	Mar-20
	984
	INORG-L12
1450
	20th Mar 2020
	6.71



	
	
	
	
	
	
	
	

	C18
	MP Xylene
	1 ug/l
	Mar-20
	 
	METALS-L
INORG-L13
	20th Mar 2020
	7.66

	
	
	
	
	
	
	
	

	C18
	Mecoprop
	0.1 ug/l
	Mar-20
	 
	ORG-LO5
	20th Mar 2020
	8.27



	
	
	
	
	
	
	
	


	
	
	
	
	
	
	
	

	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C19
	Am Nitrogen
	TBA
	Mar-20
	<0.01
	INORG-L12
1450
	20th Mar 2020
	12.69



	
	
	
	
	
	
	
	

	C19
	Cadmium
	1 ug/l
	Mar-20
	 
	METALS-L
INORG-L13
	20th Mar 2020
	3.93

	
	
	
	
	
	
	
	

	C19
	Nickel
	0.22 ug/l
	Mar-20
	 
	ORG-LO5
	20th Mar 2020
	5.23


	
	
	
	
	
	
	
	

	C19
	Chloride
	TBA
	Mar-20
	1580
	INORG-L12
1450
	20th Mar 2020
	6.71



	
	
	
	
	
	
	
	

	C19
	MP Xylene
	1 ug/l
	Mar-20
	 
	METALS-L
INORG-L13
	20th Mar 2020
	7.66

	
	
	
	
	
	
	
	

	C19
	Mecoprop
	0.1 ug/l
	Mar-20
	 
	ORG-LO5
	20th Mar 2020
	8.27



	
	
	
	
	
	
	
	


	
	
	
	
	
	
	
	

	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C20
	Am Nitrogen
	TBA
	Mar-20
	3.3
	INORG-L12
1450
	20th Mar 2020
	12.69



	
	
	
	
	
	
	
	

	C20
	Cadmium
	1 ug/l
	Mar-20
	 
	METALS-L
INORG-L13
	20th Mar 2020
	3.93

	
	
	
	
	
	
	
	

	C20
	Nickel
	0.22 ug/l
	Mar-20
	 
	ORG-LO5
	20th Mar 2020
	5.23


	
	
	
	
	
	
	
	

	C20
	Chloride
	TBA
	Mar-20
	2900
	INORG-L12
1450
	20th Mar 2020
	6.71



	
	
	
	
	
	
	
	

	C20
	MP Xylene
	1 ug/l
	Mar-20
	 
	METALS-L
INORG-L13
	20th Mar 2020
	7.66

	
	
	
	
	
	
	
	

	C20
	Mecoprop
	0.1 ug/l
	Mar-20
	 
	ORG-LO5
	20th Mar 2020
	8.27



	
	
	
	
	
	
	
	


	
	
	
	
	
	
	
	

	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C21
	Am Nitrogen
	TBA
	Mar-20
	0.61
	INORG-L12
1450
	20th Mar 2020
	12.69



	
	
	
	
	
	
	
	

	C21
	Cadmium
	1 ug/l
	Mar-20
	 
	METALS-L
INORG-L13
	20th Mar 2020
	3.93

	
	
	
	
	
	
	
	

	C21
	Nickel
	0.22 ug/l
	Mar-20
	 
	ORG-LO5
	20th Mar 2020
	5.23


	
	
	
	
	
	
	
	

	C21
	Chloride
	TBA
	Mar-20
	1460
	INORG-L12
1450
	20th Mar 2020
	6.71



	
	
	
	
	
	
	
	

	C21
	MP Xylene
	1 ug/l
	Mar-20
	 
	METALS-L
INORG-L13
	20th Mar 2020
	7.66

	
	
	
	
	
	
	
	

	C21
	Mecoprop
	0.1 ug/l
	Mar-20
	 
	ORG-LO5
	20th Mar 2020
	8.27



	
	
	
	
	
	
	
	


	
	
	
	
	
	
	
	

	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C22
	Am Nitrogen
	TBA
	Mar-20
	4.9
	INORG-L12
1450
	20th Mar 2020
	12.69



	
	
	
	
	
	
	
	

	C22
	Cadmium
	1 ug/l
	Mar-20
	 
	METALS-L
INORG-L13
	20th Mar 2020
	3.93

	
	
	
	
	
	
	
	

	C22
	Nickel
	0.22 ug/l
	Mar-20
	 
	ORG-LO5
	20th Mar 2020
	5.23

	
	
	
	
	
	
	
	

	C22
	Chloride
	TBA
	Mar-20
	2790
	INORG-L12
1450
	20th Mar 2020
	6.71



	
	
	
	
	
	
	
	

	C22
	MP Xylene
	1 ug/l
	Mar-20
	 
	METALS-L
INORG-L13
	20th Mar 2020
	7.66

	
	
	
	
	
	
	
	

	C22
	Mecoprop
	0.1 ug/l
	Mar-20
	 
	ORG-LO5
	20th Mar 2020
	8.27



	
	
	
	
	
	
	
	


1. The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
2. Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.

3. For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

4. The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………Gareth Ffoulkes………………………………….  

Date…………20/3/20…………..     



(Authorised to sign as representative of Operator)
