Permit Number: 
JP3239ST



Operator: 

The County council of the City and County of Cardiff

Installation:

Lamby Way Landfill Site

Form Number: 
… …
Reporting of ……Ground Water…… monitoring for the period for … May 2020
	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C1


	Am Nitrogen


	TBA


	May - 20
	DNR
	INORG-L12
	28th May 2020
	12.69



	C1


	Cadmium


	1 ug/l
	May - 20
	DNR
	1450
	28th May 2020
	3.93

	C1


	Nickel


	0.22 ug/l


	May - 20
	DNR
	METALS-L
	28th May 2020
	5.23

	C1


	Chloride
	TBA


	May - 20
	DNR
	INORG-L13
	28th May 2020
	6.71



	C1


	MP Xylene


	1 ug/l
	May - 20
	DNR
	ORG-LO5
	28th May 2020
	7.66



	C1


	Mecoprop


	0.1 ug/l
	May - 20
	DNR
	ORG-L17
	28th May 2020
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C2
	Am Nitrogen


	TBA


	May - 20
	0.13
	INORG-L12
	28th May 2020
	12.69



	C2
	Cadmium


	1 ug/l
	May - 20
	<0.080
	1450
	28th May 2020
	3.93

	C2
	Nickel


	0.22 ug/l


	May - 20
	2.9
	METALS-L
	28th May 2020
	5.23

	C2
	Chloride


	TBA


	May - 20
	25.0
	INORG-L13
	28th May 2020
	6.71



	C2
	MP Xylene


	1 ug/l
	May - 20
	<1.0
	ORG-LO5
	28th May 2020
	7.66



	C2
	Mecoprop


	0.1 ug/l
	May - 20
	<0.1
	ORG-L17
	28th May 2020
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C3
	Am Nitrogen


	TBA


	May - 20
	7.8
	INORG-L12
	28th May 2020
	12.69



	C3
	Cadmium


	1 ug/l
	May - 20
	<0.080
	1450
	28th May 2020
	3.93

	C3
	Nickel


	0.22 ug/l


	May - 20
	150
	METALS-L
	28th May 2020
	5.23

	C3
	Chloride


	TBA


	May - 20
	82.5
	INORG-L13
	28th May 2020
	6.71



	C3
	MP Xylene


	1 ug/l
	May - 20
	<1.0
	ORG-LO5
	28th May 2020
	7.66



	C3
	Mecoprop


	0.1 ug/l
	May - 20
	<0.1
	ORG-L17
	28th May 2020
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C4
	Am Nitrogen


	TBA


	May - 20
	DNR
	INORG-L12
	28th May 2020
	12.69



	C4
	Cadmium


	1 ug/l
	May - 20
	DNR
	1450
	28th May 2020
	3.93

	C4
	Nickel


	0.22 ug/l


	May - 20
	DNR
	METALS-L
	28th May 2020
	5.23

	C4
	Chloride


	TBA


	May - 20
	DNR
	INORG-L13
	28th May 2020
	6.71



	C4
	MP Xylene


	1 ug/l
	May - 20
	DNR
	ORG-LO5
	28th May 2020
	7.66



	C4
	Mecoprop


	0.1 ug/l
	May - 20
	DNR
	ORG-L17
	28th May 2020
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C5
	Am Nitrogen


	TBA


	May - 20
	0.46
	INORG-L12
	28th May 2020
	12.69



	C5
	Cadmium


	1 ug/l
	May - 20
	<0.080
	1450
	28th May 2020
	3.93

	C5
	Nickel


	0.22 ug/l


	May - 20
	217
	METALS-L
	28th May 2020
	5.23

	C5
	Chloride


	TBA


	May - 20
	71.2
	INORG-L13
	28th May 2020
	6.71



	C5
	MP Xylene


	1 ug/l
	May - 20
	<1.0
	ORG-LO5
	28th May 2020
	7.66



	C5
	Mecoprop


	0.1 ug/l
	May - 20
	<0.1
	ORG-L17
	28th May 2020
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C6
	Am Nitrogen


	TBA


	May - 20
	0.42
	INORG-L12
	28th May 2020
	12.69



	C6
	Cadmium


	1 ug/l
	May - 20
	<0.080
	1450
	28th May 2020
	 3.93

	C6
	Nickel


	0.22 ug/l


	May - 20
	191
	METALS-L
	28th May 2020
	5.23

	C6
	Chloride


	TBA


	May - 20
	2090
	INORG-L13
	28th May 2020
	6.71



	C6
	MP Xylene


	1 ug/l
	May - 20
	<1.0
	ORG-LO5
	28th May 2020
	7.66



	C6
	Mecoprop


	0.1 ug/l
	May - 20
	<0.1
	ORG-L17
	28th May 2020
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C8
	Am Nitrogen


	TBA


	May - 20
	0.16
	INORG-L12
	28th May 2020
	12.69



	C8
	Cadmium


	1 ug/l
	May - 20
	<0.080
	1450
	28th May 2020
	3.93

	C8
	Nickel


	0.22 ug/l


	May - 20
	225
	METALS-L
	28th May 2020
	5.23

	C8
	Chloride


	TBA


	May - 20
	1927
	INORG-L13
	28th May 2020
	6.71



	C8
	MP Xylene


	1 ug/l
	May - 20
	<1.0
	ORG-LO5
	28th May 2020
	7.66



	C8
	Mecoprop


	0.1 ug/l
	May - 20
	<0.1
	ORG-L17
	28th May 2020
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C10
	Am Nitrogen


	TBA


	May - 20
	DNR
	INORG-L12
	28th May 2020
	12.69



	C10
	Cadmium


	1 ug/l
	May - 20
	DNR
	1450
	28th May 2020
	3.93

	C10
	Nickel


	0.22 ug/l


	May - 20
	DNR
	METALS-L
	28th May 2020
	5.23

	C10
	Chloride


	TBA


	May - 20
	DNR
	INORG-L13
	28th May 2020
	6.71



	C10
	MP Xylene


	1 ug/l
	May - 20
	DNR
	ORG-LO5
	28th May 2020
	7.66



	C10
	Mecoprop


	0.1 ug/l
	May - 20
	DNR
	ORG-L17
	28th May 2020
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C12
	Am Nitrogen


	TBA


	May - 20
	21
	INORG-L12
	28th May 2020
	12.69



	C12
	Cadmium


	1 ug/l
	May - 20
	1.2
	1450
	28th May 2020
	3.93

	C12
	Nickel


	0.22 ug/l


	May - 20
	273
	METALS-L
	28th May 2020
	5.23

	C12
	Chloride


	TBA


	May - 20
	2213
	INORG-L13
	28th May 2020
	6.71



	C12
	MP Xylene


	1 ug/l
	May - 20
	<1.0
	ORG-LO5
	28th May 2020
	7.66



	C12
	Mecoprop


	0.1 ug/l
	May - 20
	<0.1
	ORG-L17
	28th May 2020
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C13
	Am Nitrogen


	TBA


	May - 20
	5.4
	INORG-L12
	28th May 2020
	12.69



	C13
	Cadmium


	1 ug/l
	May - 20
	<0.080
	1450
	28th May 2020
	3.93

	C13
	Nickel


	0.22 ug/l


	May - 20
	577
	METALS-L
	28th May 2020
	5.23

	C13
	Chloride


	TBA


	May - 20
	1965
	INORG-L13
	28th May 2020
	6.71



	C13
	MP Xylene


	1 ug/l
	May - 20
	<1.0
	ORG-LO5
	28th May 2020
	7.66



	C13
	Mecoprop


	0.1 ug/l
	May - 20
	<0.1
	ORG-L17
	28th May 2020
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C14
	Am Nitrogen


	TBA


	May - 20
	20
	INORG-L12
	28th May 2020
	12.69



	C14
	Cadmium


	1 ug/l
	May - 20
	<0.080
	1450
	28th May 2020
	3.93

	C14
	Nickel


	0.22 ug/l


	May - 20
	214
	METALS-L
	28th May 2020
	5.23

	C14
	Chloride


	TBA


	May - 20
	2217
	INORG-L13
	28th May 2020
	6.71



	C14
	MP Xylene


	1 ug/l
	May - 20
	<1.0
	ORG-LO5
	28th May 2020
	7.66



	C14
	Mecoprop


	0.1 ug/l
	May - 20
	<0.1
	ORG-L17
	28th May 2020
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C16
	Am Nitrogen


	TBA


	May - 20
	DNR
	INORG-L12
	28th May 2020
	12.69



	C16
	Cadmium


	1 ug/l
	May - 20
	DNR
	1450
	28th May 2020
	3.93

	C16
	Nickel


	0.22 ug/l


	May - 20
	DNR
	METALS-L
	28th May 2020
	5.23

	C16
	Chloride


	TBA


	May - 20
	DNR
	INORG-L13
	28th May 2020
	6.71



	C16
	MP Xylene


	1 ug/l
	May - 20
	DNR
	ORG-LO5
	28th May 2020
	7.66



	C16
	Mecoprop


	0.1 ug/l
	May - 20
	DNR
	ORG-L17
	28th May 2020
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C17
	Am Nitrogen


	TBA


	May - 20
	DNR
	INORG-L12
	28th May 2020
	12.69



	C17
	Cadmium


	1 ug/l
	May - 20
	DNR
	1450
	28th May 2020
	3.93

	C17
	Nickel


	0.22 ug/l


	May - 20
	DNR
	DNRMETALS-L
	28th May 2020
	5.23

	C17
	Chloride


	TBA


	May - 20
	DNR
	INORG-L13
	28th May 2020
	6.71



	C17
	MP Xylene


	1 ug/l
	May - 20
	DNR
	ORG-LO5
	28th May 2020
	7.66



	C17
	Mecoprop


	0.1 ug/l
	May - 20
	DNR
	ORG-L17
	28th May 2020
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C18
	Am Nitrogen


	TBA


	May - 20
	30.0
	INORG-L12
	28th May 2020
	12.69



	C18
	Cadmium


	1 ug/l
	May - 20
	<0.080
	1450
	28th May 2020
	3.93

	C18
	Nickel


	0.22 ug/l


	May - 20
	219
	METALS-L
	28th May 2020
	5.23

	C18
	Chloride


	TBA


	May - 20
	2233
	INORG-L13
	28th May 2020
	6.71



	C18
	MP Xylene


	1 ug/l
	May - 20
	<1.0
	ORG-LO5
	28th May 2020
	7.66



	C18
	Mecoprop


	0.1 ug/l
	May - 20
	<0.1
	ORG-L17
	28th May 2020
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C19
	Am Nitrogen


	TBA


	May - 20
	0.28
	INORG-L12
	28th May 2020
	12.69



	C19
	Cadmium


	1 ug/l
	May - 20
	<0.080
	1450
	28th May 2020
	3.93

	C19
	Nickel


	0.22 ug/l


	May - 20
	167
	METALS-L
	28th May 2020
	5.23

	C19
	Chloride


	TBA


	May - 20
	1253
	INORG-L13
	28th May 2020
	6.71



	C19
	MP Xylene


	1 ug/l
	May - 20
	<1.0
	ORG-LO5
	28th May 2020
	7.66



	C19
	Mecoprop


	0.1 ug/l
	May - 20
	<0.1
	ORG-L17
	28th May 2020
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C20
	Am Nitrogen


	TBA


	May - 20
	1.8
	INORG-L12
	28th May 2020
	12.69



	C20
	Cadmium


	1 ug/l
	May - 20
	<0.080
	1450
	28th May 2020
	3.93

	C20
	Nickel


	0.22 ug/l


	May - 20
	289
	METALS-L
	28th May 2020
	5.23

	C20
	Chloride


	TBA


	May - 20
	2442
	INORG-L13
	28th May 2020
	6.71



	C20
	MP Xylene


	1 ug/l
	May - 20
	<1.0
	ORG-LO5
	28th May 2020
	7.66



	C20
	Mecoprop


	0.1 ug/l
	May - 20
	<0.1
	ORG-L17
	28th May 2020
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C21
	Am Nitrogen


	TBA


	May - 20
	0.31
	INORG-L12
	28th May 2020
	12.69



	C21
	Cadmium


	1 ug/l
	May - 20
	<0.080
	1450
	28th May 2020
	3.93

	C21
	Nickel


	0.22 ug/l


	May - 20
	217
	METALS-L
	28th May 2020
	5.23

	C21
	Chloride


	TBA


	May - 20
	1990
	INORG-L13
	28th May 2020
	6.71



	C21
	MP Xylene


	1 ug/l
	May - 20
	<1.0
	ORG-LO5
	28th May 2020
	7.66



	C21
	Mecoprop


	0.1 ug/l
	May - 20
	<0.1
	ORG-L17
	28th May 2020
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C22
	Am Nitrogen


	TBA


	May - 20
	4.1
	INORG-L12
	28th May 2020
	12.69



	C22
	Cadmium


	1 ug/l
	May - 20
	0.12
	1450
	28th May 2020
	3.93

	C22
	Nickel


	0.22 ug/l


	May - 20
	4.7
	METALS-L
	28th May 2020
	5.23

	C22
	Chloride


	TBA


	May - 20
	2353
	INORG-L13
	28th May 2020
	6.71



	C22
	MP Xylene


	1 ug/l
	May - 20
	<1.0
	ORG-LO5
	28th May 2020
	7.66



	C22
	Mecoprop


	0.1 ug/l
	May - 20
	<0.1
	ORG-L17
	28th May 2020
	8.27


1. The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
2. Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.

3. For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

4. The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………Gareth Ffoulkes………………………………….  

Date……28/05/20………………..     



(Authorised to sign as representative of Operator)
