Permit Number: 
JP3239ST



Operator: 

The County council of the City and County of Cardiff

Installation:

Lamby Way Landfill Site

Form Number: 
… …
Reporting of ……Surface Water…… monitoring for the period for … June 2020…
	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	SW1
	Am Nitrogen
	0.17mg/l
	Jun-20
	No Sample
	INORG-L12
	25th Jun 20
	12.69

	
	
	
	
	
	
	
	

	SW1
	BOD
	3.35mg/l
	Jun-20
	No Sample
	INOR L06.1
	25th Jun 20
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	SW2
	Am Nitrogen
	0.17mg/l
	Jun-20
	<0.01
	INORG-L12
	25th Jun 20
	12.69

	
	
	
	
	
	
	
	

	SW2
	BOD
	3.35mg/l
	Jun-20
	1.8
	INOR L06.1
	25th Jun 20
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	SW3
	Am Nitrogen
	0.17mg/l
	Jun-20
	<0.01
	INORG-L12
	25th Jun 20
	12.69

	
	
	
	
	
	
	
	

	SW3
	BOD
	3.35mg/l
	Jun-20
	7.8
	INOR L06.1
	25th Jun 20
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	SW4
	Am Nitrogen
	0.17mg/l
	Jun-20
	27.0
	INORG-L12
	25th Jun 20
	12.69

	
	
	
	
	
	
	
	

	SW4
	BOD
	3.35mg/l
	Jun-20
	5.3
	INOR L06.1
	25th Jun 20
	

	
	
	
	
	
	
	
	


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	SW5
	Am Nitrogen
	0.17mg/l
	Jun-20
	0.06
	INORG-L12
	25th Jun 20
	12.69

	
	
	
	
	
	
	
	

	SW5
	BOD
	3.35mg/l
	Jun-20
	19.4
	INOR L06.1
	25th Jun 20
	

	
	
	
	
	
	
	
	


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	SW6
	Am Nitrogen
	0.17mg/l
	Jun-20
	3.7
	INORG-L12
	25th Jun 20
	12.69

	
	
	
	
	
	
	
	

	SW6
	BOD
	3.35mg/l
	Jun-20
	10.4
	INOR L06.1
	25th Jun 20
	

	
	
	
	
	
	
	
	


1. The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
2. Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.

3. For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

4. The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………Gareth Ffoulkes………………………………….  

Date…25/06/20………

(Authorised to sign as representative of Operator)

