Notice of variation and consolidation with introductory note

The Environmental Permitting (England & Wales) Regulations 2016

Bryn Power Limited

Gelliargwellt Farm

Gelligaer

Hengoed

CF82 8FY

Variation number

EPR/AB3092ZE/V005

Permit number

EPR/AB3092ZE

Gelliargwellt Farm

Permit number EPR/AB3092ZE

Introductory note

This introductory note does not form a part of the notice.

The following notice gives notice of the variation and consolidation of an environmental permit.

This is a NRW initiated variation and consolidation to correct formatting error in the conditions set out in EPR/AB3092ZE/V003. The numbering of conditions 2.5 and 3.5.4 only has been amended, in order to replace inconsistent numbering. The variation includes a revised date for improvement condition IC2.

The schedules specify the changes made to the permit.

The status log of a permit sets out the permitting history, including any changes to the permit reference number.

| ### Status log of the permit |  |  |
| --- | --- | --- |
| ### Description | ### Date | ### Comments |
| ### Application EPR/PB3590HA/A001 | ### Duly made 11/09/2015 | ### Application for an Anaerobic Digestion Facility. |
| ### Schedule 5 Notice request for information | ### 07/10/2015 | ### Request for detailed site plan |
| ### Response received | ### 23/10/2015 | ### Plan provided |
| ### Further information received | ### 19/11/2015 | ### Wording of amendments to Management Plan. |
| ### Further information received | ### 04/12/2015 | ### Confirmation D15 code be included in the AD permit and removed from the IVC permit. |
| ### EPR/AB3092ZE/A001 | ### 21/01/2016 | ### Permit issued to Bryn Power Limited. Please note that due to an internal system change, the permit reference was updated from EPR/ PB3590HA to EPR/AB3092ZE prior to issue. |
| ### Variation Application EPR/AB3092ZE/V002 ### PAN-003431 | ### Submitted 02/10/2018 | ### Application to add CHP engine, vary emission limits, and change permit boundary. |
| ### Variation Application ### EPR/AB3092ZE/V002 withdrawn | ### 07/12/2018 | ### Application withdrawn by operator following dialogue with regulator |
| ### Variation Application ### PAN-005433 ### EPR/AB3092ZE/V003 | ### Duly Made 14/11/2019 | ### Application to add CHP engine, vary emission limits, and increase permitted area. Note: Application made 7th May 2019, but in agreement with operator, put on hold until part surrender PAN-007149 also submitted as inter-related |
| ### Part Surrender Application PAN-007149 ### EPR/AB3092ZE/S004 | ### Duly Made ### 17/10/2019 | ### Part surrender application to remove three small land areas from permit |
| ### Additional information requested PAN-007149 | ### 30/09/2019 | Requested changes to site plan and clarification to site condition report |
| ### Additional information requested PAN-005433 | ### 30/09/2019 | ### Requested changes to application form, supporting technical information, and OPRA charging information |
| ### Additional information received PAN-007149 | ### 17/10/2019 | ### Revised site plan and site condition report |
| ### Additional information received PAN-005433 | ### 08/11/2019, ### 12/11/2019 and 14/11/2019 | ### Revised Form A, Form C2, C3, F1, Site Plan, Site Condition Report and OPRA charging sheet. Submission of Non-Technical Summary and air dispersion modelling data files. |
| ### Schedule 5 Notice request for information ### PAN-005433 | ### 05/12/2019 | ### Request for detailed information on measures taken to control engine VOC emissions, and various technical clarifications to information in application |
| ### Part surrender determined EPR/AB3092ZE/S004 | ### 18/11/2019 | ### Part surrender issued |
| ### Schedule 5 Response received PAN-005433 | ### 14/01/2020 | ### Information provided in response to Schedule 5 Notice |
| ### Variation EPR/AB3092ZE/V003 | ### 11/02/2020 |  |
| ### Variation Application ### PAN-011733 | ### 08/10/2020 | ### NRW initiated variation for amendment to permit condition numbering and revised improvement condition deadline |
| ### Variation EPR/AB3092ZE/V005 | ### 16/10/2020 | ### Variation issued |

End of introductory note

Notice of variation and consolidation

The Environmental Permitting (England and Wales) Regulations 2016

The Natural Resources Body for Wales (“Natural Resources Wales”) in exercise of its powers under regulation 20 of the Environmental Permitting (England and Wales) Regulations 2016 varies and consolidates

Permit number

EPR/AB3092ZE

issued to

Bryn Power Limited (“the operator”)

whose registered office is

Gelliargwellt Farm

Gelligaer

Hengoed

CF82 8FY

company registration number 07943843

to operate an installation at

Gelliargwellt Farm

Gelligaer

Hengoed

CF82 8FY

to the extent set out in the schedules.

The notice shall take effect from [DD/MM/YYYY]

| Signed | Date |
| --- | --- |
| H Nobel | [DD/MM/YYYY] |

Authorised on behalf of Natural Resources Wales

Schedule 1

Only conditions 2.5 and 3.5.4 have been varied by the consolidated permit ERP/AB3092ZE/V005 as a result of a Natural Resources Wales initiated variation.

Schedule 2 – consolidated permit

Consolidated permit issued as a separate document.