- Application type

New full abstraction licence			☐	Give existing licence serial number and/

New temporary abstraction licence		☐	pre-application reference number

PPN-00407

New licence to transfer water			☒

Renewal of a time-limited abstraction licence	☐

Technical variation to an abstraction licence	☐

### For hydropower abstractions, specify the capacity (in kilowatts) of your scheme.

### 25kW or less	☐		>25 to 50kW	☐		>50 to 100kW ☐		>100kW ☐

- Linked licences

2.1 Does your proposal involve water rights trading?

No	☒	Yes	☐ 	If yes, provide licence serial 
			number(s)

2.2 Is the licence (to be) aggregated with any other licences?
No	☒	Yes	☐ 	If yes, provide licence serial 
				number(s)

- Abstraction details

## Provide details of all points of abstraction. Details of abstraction location(s) should correspond with any maps submitted.
If necessary, continue on a separate sheet and tick here to show that you have done this ☒

| Abstraction location name / reference | Type (single point / reach) | National Grid Reference (12 digit) | If a reach, downstream National Grid Reference (12 digit) |
| --- | --- | --- | --- |
| Abbey Consols Mine Deep Adit | Single point – mine adit discharge. | SN 74366 66180 (plan provided separately) |  |

- Means of abstraction
Detail the structure and equipment involved in the abstraction process.  If this information is detailed in a supporting document, provide the document reference. For groundwater abstractions, include borehole depth and diameter and provide details of screening and lining.
If necessary, continue on a separate sheet and tick here to show that you have done this. ☒

NRW has commissioned WSP Ltd to design remedial works to reduce metals pollution to the River Teifi from the abandoned Abbey Consols Mine. The remedial works will include a mine water treatment system to remove metals from the discharge from the underground workings via the deep adit. The adit is currently buried with the mine water percolating through fill material before finding its way to a drainage ditch and into the mine waste tips. As part of the remedial works the adit entrance is to be excavated to enable all mine water to be captured at source before transfer to the treatment system. Until this is completed, we do not know the total volume of mine water which will be captured/abstracted. The mine water treatment system is being designed with a capacity of 3L/sec; 180L/min; 259,200L/day; 259.2m3/day. It is thought this would be a worst-case scenario and actual volumes would be less, however, these volumes could be exceeded in extreme conditions. Discharge rates will be confirmed by monitoring once capture structure is in place. An assumed worse-case of 5L/s has been assumed for this application. Outline design drawings of the proposed scheme are provided separately, including sketches of the proposed capture/abstraction structure. Attached documents: Figure 04 General arrangement plan Figure 07 Adit water capture sketch Figure 09 - 70041881-001 Mine water transfer and access to treatment area

- Abstraction quantities

Provide details of the abstraction quantities and periods proposed, including any deregulated abstractions (< 20 cubic metres per day) you currently have. Details of abstraction locations should correspond with any maps submitted.

| Abstraction location name / reference | Purpose which water will be used for | Abstraction period (state ‘all year’ or give months) | Maximum annual abstraction volume (cubic metres) | Maximum daily abstraction volume (cubic metres) | Maximum hourly abstraction volume (cubic metres) | Number of hours of abstraction per day | Peak abstraction rate (litres per second) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Abbey Consols Mine Deep Adit | Mine water will be transferred to a treatment system to remove heavy metals before clean water is discharged to the River Teifi. | All year | 157,680m3 | 432m3 | 18m3 | 24hrs | 5L/s |
|  |  | Total | 157,680m3 | 432m3 | 18m3 |  |  |

- Calculations and supporting information

Please provide further details of your intended use of water, including calculations in support of the quantities you have requested, your operational regime and any management agreements. See Guidance Note WRX for details of what is required. If your proposal involves the provision of a residual flow via a notch or orifice, provide information on how this has been calculated.

If necessary, continue on a separate sheet and tick here to show that you have done this. ☐

The abstraction is of a mine water discharge from an abandoned mine adit. The mine water will be captured and transferred to a treatment system to remove heavy metals. It is the intention to capture 100% of the discharge and treat up to 3L/s, with the treatment system operating continuously. The treated water will then be discharged to the River Teifi, which currently receives the untreated mine water. Please see number ‘4. Means of abstraction’ above for further discussion of volumes.

- Industry-specific requirements

Complete the relevant table in line with the purpose of your proposal to demonstrate a justification of need for the quantities proposed. For uses not covered here or to provide further details, please use a separate sheet and tick here to show that you have done this ☐

7.1 For agricultural use:

| Crop type | Soil type (for multiple soil types, indicate approximate split) | Maximum area of crop to be irrigated annually (hectares) | Maximum annual depth of irrigation to be applied (millimetres) |
| --- | --- | --- | --- |
| e.g. Carrots | Silty clay | 10 | 90 |

| Livestock type | Number of animals | Maximum daily quantity of water used (cubic metres) | Comments |
| --- | --- | --- | --- |
| e.g. Sheep | 200 | 0.005 per animal | Drinking water |
| Provide details of any additional requirements (washing / cleaning) |  |  |  |

### 7.2 For golf course irrigation:

| Feature | Maximum area to be irrigated daily (hectares) | Maximum depth of water to be applied daily (millimetres) |
| --- | --- | --- |
| e.g. Greens | 0.9 | 220 |
| Tees |  |  |
| Greens |  |  |
| Fairways |  |  |
| Others |  |  |

### 7.3 For industrial use:

| Industry sector or process type | Water use per unit produced (state units) | Maximum units produced per year |
| --- | --- | --- |
| e.g. Ice cream | 1.9 cubic metres per tonne of ice cream | 10,000 tonnes |

7.4 For hydropower:

If you have submitted this information as part of your pre-application enquiry and no changes have been made to your proposal in the meantime, you are not required to provide these details again.

| % abstraction and zone applied for (see HGN2) | Average gradient of depleted reach (%) | Catchment size above abstraction point (kilometres square d) | Net head between abstraction and discharge points (metres) |
| --- | --- | --- | --- |
| Turbine efficiency (%) | System efficiency (%) | Maximum power output (kilowatts) | Annual capacity (kilowatt hours) |

State the length of depleted reach (in metres)

| Provide the flow data (in cubic metres per second) & ratios specified below: |  |
| --- | --- |
| Q95 |  |
| Q10 |  |
| Qmean |  |
| What is the ratio of Q95:Qmean? |  |
| What is the ratio of Q10:Qmean? |  |

Please send us a copy of the full flow duration curve for the site and confirm the method used to derive this. If you have used modelling software such as LowFlows, please provide us with a copy of the output (graph, data and catchment map) including the Long Term Average rainfall.

What low flow protection* do you propose to maintain in the depleted reach when the hydropower scheme is operating (in m3/s)?
 * Low flow protection is the flow rate above

which abstraction can begin and is separate

to the abstraction % take, see HGN2 for details.

- Means of measurement

State how you intend to measure abstracted quantities at each abstraction point.

Continuous flow monitoring will be incorporated into the capture structure in the adit.

Meter		☐		Power Generated		☐		Other		☒

### If other, please specify

- Water efficiency

Describe all steps you have taken or intend to introduce to ensure efficient use of water, such as water storage, re-use or conservation provision. If necessary, continue on a separate sheet and tick here to show that you have done this. ☐

It is the intention to capture 100% of the mine water discharge and treat up to 3L/s. The treatment system will include a bypass structure should captured flows exceed this volume. This will allow excess mine water to discharge to the Teifi untreated.

- Fish and eel considerations (surface water abstractions only)

## 10.1 Confirm the fish species present at your site. If you are submitting a survey or report with your application, please tick here to show that you have done this. ☐

## N/A

## 10.2 Does your proposal include measures to safeguard fish and eels? Only provide details of outfall screening if abstracted water is to be discharged back into a watercourse.

|  | Intake | Outfall |
| --- | --- | --- |
| Type of fish screen |  |  |
| Screen aperture size (mm) |  |  |

- Discharge details

11.1 If you intend to return any of the abstracted water to the environment, provide details below. Details of discharge location(s) should correspond with any maps submitted.

| Discharge location name / reference | National Grid Reference of discharge point (12 digit) | Total volume to be discharged (cubic metres) | Environmental Permit for Water Discharge Activity number (if applicable) |
| --- | --- | --- | --- |
| Abbey Consols mine water treatment system discharge | The treated water will be discharged to other clean site drainage at approximately SN 74372 66040. This will in turn discharge to the River Teifi between SN 74399 65967 and SN 74326 65963. See Figure 04 attached for details. | All treated water will be discharged. Treatment system is being designed with a capacity of 3L/s with a bypass system should the mine water discharge exceed this rate. Worst-case scenario assumed of 5L/s or 18m3/day returned to environment. | Application not yet submitted. |

11.2 Provide a description of the structure and equipment involved in discharge.

A buried outfall pipe will carry the treated mine water and other clean surface water from the site to discharge to the Teifi via a new headwall/soakaway between SN 74399 65967 and SN 74326 65963. The exact nature of the headwall/soakaway is currently being discussed to ensure minimal impact on the Teifi SAC/SSSI and will be finalised in the detailed design.

- Other abstractors / water users

## Provide details of nearby abstractors or users of water who could be affected by your proposal. This should include deregulated users (exempt activities or abstractions < 20 cubic metres per day), anglers and canoeists.

Water is to be abstracted from a mine adit so no impact on other users. Implementation of mine water treatment system at Abbey Consols will see an improvement in water quality in the River Teifi (SSSI & SAC) so any affects to users of the river will be positive.

- Planning application

Have you sought advice on your planning application?

No	☐		Yes	☒

If yes, submit a copy of the Planning Authority’s response.

A letter (copy attached) requesting Ceredigion County Council’s approval of NRW’s Permitted Development Rights under the Town and Country Planning (General Permitted Development) Order 1995 was submitted on 10th January 2020. We are awaiting a response.

- Declaration

### Please see Guidance Note WRX for details of who can sign this section and note the information in that document relating to the Data Protection Act 1998.

### By signing below, you are declaring that as far as you know and believe the information given in this form, on any map and in any supporting or additional information, is true.

### Signed

Tom Williams

### Print name

Specialist Advisor: Contaminated Land

### Position

18/02/2020

### Date

Application Checklist

Please tick the following checklist items to indicate that you have included the required information. If any sections of the form are left blank and no supporting information submitted, where we have insufficient information to make a decision on your application, we will return your application to you.

Essential:

Form WRA completed										☒

Map showing applicant’s land boundary with all abstraction and discharge point(s) clearly marked												☒

Evidence of negotiations of expected access rights, if applicable				☒

State number of continuation sheets (enter 0 if none included)

Where relevant:

Letter of authorisation from the applicant, allowing the agent to act as signatory		☐

Form WRE completed, if your proposal also requires an impoundment licence		☐

Further information requested in our pre-application response letter to you			☐

For hydropower applications, full flow duration curve for the site, confirmation of the method used to derive this and a copy of the output (graph, data and catchment map) including the Long Term Average rainfall, where available							☐

Planning Authority response, where available							☐

Additional supporting information	- please list below:

- Figure 04 General arrangement plan

- Figure 07 Adit water capture sketch

- Figure 09 - 70041881-001 Mine water transfer and access to treatment area

- 20191003 DRAFT HoTs Dolebolion Abbey Consols

- Abbey Consols Screening Opinion Cover Letter