## Dust
| Permit Reference no: WP3836ZF | [13 empty] | Variation Reference Number: EPR/MP3239FQ/V002
| Operator: Tradebe Healthcare National Limited | [13 empty] | Form Number : Agency Form / A2/ Form Dated 20 October 2011
Installation: Wrexham Clinical Waste Incinerator
Reporting of Continuously Monitored Emissions to Air for Particulates from Emission Point A1 for the month of September 2020
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
|  |  | Half-hour average ELV | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
Half-hourly average | Monthly maximum | 27.2 | Maximum half hour average | 9.6 | 15 | 15 | 17.2 | 19.8 | 9.5 | 16.3 | 7.8 | 23.4 | 14 | 6.5 | 0.1 | 0 | 0 | 0 | 0 | 7.5 | 26.5 | 14.9 | 17.5 | 12.7 | 6.1 | 27.2 | 8.6 | 14.5 | 7.5 | 8.4 | 16.1 | 10.8 | 16.2
| Monthly mean | 1.2273 | Mean half hour average | 0.99 | 2.07 | 1.17 | 1.21 | 1.66 | 0.89 | 1.81 | 0.72 | 1.54 | 0.86 | 0.39 | 0.01 | 0 | 0 | 0 | 0 | 1.17 | 5.77 | 2.52 | 2.09 | 1.13 | 0.65 | 2.52 | 0.8 | 1.67 | 0.61 | 0.67 | 1.39 | 1.05 | 1.46
| Monthly minimum | 0 | Minimum half hourly average | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1 | 0 | 0 | 0 | 0 | 0 | 6.85 | 0 | 0 | 0 | 0 | 0 | 0
| Total invalid results | 0 | No. of invalid results | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sum of exceedances | 0 | No. of exceedances of ELV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Daily average |  |  | Daily average ELV | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
| Monthly maximum | 5.77 | Daily average | 0.99 | 2.07 | 1.17 | 1.21 | 1.66 | 0.89 | 1.81 | 0.72 | 1.54 | 0.86 | 0.39 | 0.01 | 0 | 0 | 0 | 0 | 1.17 | 5.77 | 2.52 | 2.09 | 1.13 | 0.65 | 2.52 | 0.8 | 1.67 | 0.61 | 0.67 | 1.39 | 1.05 | 1.46
| No. of invalid days | 0 | Value valid | bar: 1 to 30
| Sum of exceedances | 0 | Value exceeds ELV (Y/N) | bar: 1 to 30
shutdown
Signed……………………………………………… Date……………………………..
(authorised to sign as representative of the Operator)
| 23rd - 27th | Plant shutdown

## VOC
| Permit Reference no: WP3836ZF | [13 empty] | Variation Reference Number: EPR/MP3239FQ/V002
| Operator: Tradebe Healthcare National Limited | [13 empty] | Form Number : Agency Form / A4/ Form Dated 20 October 2011
Installation: Wrexham Clinical Waste Incinerator
Reporting of Continuously Monitored Emissions to Air for VOC from Emission Point A1 for the month of September 2020
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
|  |  | Half-hour average ELV | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
Half-hourly average | Monthly maximum | 9.3 | Maximum half hour average | 3.8 | 8.1 | 5.5 | 9.3 | 4 | 3.2 | 3.4 | 4.1 | 4.5 | 5.1 | 9.3 | 1.5 | 0 | 0 | 0 | 0 | 3 | 5.9 | 2.6 | 1.1 | 3.1 | 6.9 | 4.4 | 4.3 | 2.4 | 1.6 | 1.2 | 4.1 | 8.4 | 4.9
| Monthly mean | 1.5157 | Mean half hour average | 1.86 | 2.87 | 1.61 | 2.52 | 1.01 | 1.33 | 1.8 | 1.84 | 1.71 | 1.7 | 3.18 | 1.1 | 0 | 0 | 0 | 0 | 1.87 | 2.33 | 0.88 | 0.77 | 1.54 | 1.75 | 2.05 | 2.22 | 1.31 | 0.88 | 0.79 | 1.89 | 2.51 | 2.15
| Monthly minimum | 0 | Minimum half hourly average | 1 | 1.1 | 0.8 | 1 | 0.7 | 0.7 | 0.9 | 0.9 | 0.8 | 0.8 | 1 | 0.9 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | 0.7 | 0.6 | 0.7 | 0.7 | 1 | 0.9 | 0.8 | 0.7 | 0.6 | 1 | 0.9 | 1
| Total invalid results | 0 | No. of invalid results | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sum of exceedances | 0 | No. of exceedances of ELV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Daily average |  |  | Daily average ELV | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
| Monthly maximum | 3.18 | Daily average | 1.86 | 2.87 | 1.61 | 2.52 | 1.01 | 1.33 | 1.8 | 1.84 | 1.71 | 1.7 | 3.18 | 1.1 | 0 | 0 | 0 | 0 | 1.87 | 2.33 | 0.88 | 0.77 | 1.54 | 1.75 | 2.05 | 2.22 | 1.31 | 0.88 | 0.79 | 1.89 | 2.51 | 2.15
| No. of invalid days | 0 | Value valid | bar: 1 to 30
| Sum of exceedances | 0 | Value exceeds ELV (Y/N) | bar: 1 to 30
shutdown
Signed……………………………………………… Date……………………………..
(authorised to sign as representative of the Operator)

## HCl
| Permit Reference no: WP3836ZF | [13 empty] | Variation Reference Number: EPR/MP3239FQ/V002
| Operator: Tradebe Healthcare National Limited | [13 empty] | Form Number : Agency Form / A3/ Form Dated 20 October 2011
Installation: Wrexham Clinical Waste Incinerator
Reporting of Continuously Monitored Emissions to Air for Hydrogen Chloride from Emission Point A1 for the month of September 2020
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
|  |  | Half-hour average ELV | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
Half-hourly average | Monthly maximum | 36.3 | Maximum half hour average | 10.9 | 16.7 | 9.1 | 15.9 | 12.6 | 11.9 | 13.9 | 8.6 | 19.5 | 13 | 16.8 | 12.1 | 0 | 0 | 0 | 0 | 21.5 | 14.6 | 15.1 | 24.3 | 9 | 11.1 | 9.9 | 18.2 | 17.5 | 10.6 | 9 | 9.4 | 12.9 | 36.3
| Monthly mean | 7.2893 | Mean half hour average | 5.26 | 7.54 | 6.9 | 8.17 | 7.98 | 6.14 | 7.55 | 6.34 | 9.55 | 7.85 | 8.59 | 9.51 | 0 | 0 | 0 | 0 | 8.47 | 9.46 | 9.99 | 8.94 | 6.24 | 7.43 | 23 | 8.49 | 9.7 | 6.88 | 6.41 | 6.83 | 6.97 | 8.49
| Monthly minimum | 0 | Minimum half hourly average | 2 | 2.7 | 5.9 | 5.3 | 5.3 | 3.8 | 2.6 | 4.5 | 2 | 2.1 | 5.9 | 7.3 | 0 | 0 | 0 | 0 | 0 | 4.4 | 7.7 | 5.2 | 4.6 | 5 | 1 | 1.9 | 4.8 | 4.8 | 4.6 | 5.1 | 4 | 4.7
| Total invalid results | 0 | No. of invalid results | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sum of exceedances | 0 | No. of exceedances of ELV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Daily average |  |  | Daily average ELV | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
| Monthly maximum | 23 | Daily average | 5.26 | 7.54 | 6.9 | 8.17 | 7.98 | 6.14 | 7.55 | 6.34 | 9.55 | 7.85 | 8.59 | 9.51 | 0 | 0 | 0 | 0 | 8.47 | 9.46 | 9.99 | 8.94 | 6.24 | 7.43 | 23 | 8.49 | 9.7 | 6.88 | 6.41 | 6.83 | 6.97 | 8.49
| No. of invalid days | 1 | Value valid | bar: 1 to 30
| Sum of exceedances | 0 | Value exceeds ELV (Y/N) | bar: 1 to 30
shutdown
Signed……………………………………………… Date……………………………..
(authorised to sign as representative of the Operator)

## SO2
| Permit Reference no: WP3836ZF | [13 empty] | Variation Reference Number: EPR/MP3239FQ/V002
| Operator: Tradebe Healthcare National Limited | [13 empty] | Form Number : Agency Form / A6/ Form Dated 20 October 2011
Installation: Wrexham Clinical Waste Incinerator
Reporting of Continuously Monitored Emissions to Air for Sulphur Dioxide from Emission Point A1 for the month of September 2020
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
|  |  | Half-hour average ELV | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
Half-hourly average | Monthly maximum | 199.1 | Maximum half hour average | 68.9 | 120.3 | 8.4 | 189.5 | 137.2 | 154.1 | 17.1 | 8.9 | 199.1 | 17.9 | 8.9 | 7.8 | 0 | 0 | 0 | 0 | 9.1 | 9.6 | 7.2 | 135.7 | 31.6 | 128.6 | 7.82 | 11.2 | 7.6 | 7.6 | 7.6 | 7.6 | 139.1 | 32.5
| Monthly mean | 9.3853 | Mean half hour average | 11.94 | 22.09 | 7.17 | 16.27 | 14.11 | 15.81 | 7.27 | 7.06 | 29.68 | 7.42 | 7.25 | 7.21 | 0 | 0 | 0 | 0 | 6.72 | 7.38 | 6.45 | 13.51 | 8.18 | 12.79 | 23.2 | 6.27 | 6.47 | 6.52 | 6.54 | 6.29 | 10.23 | 7.73
| Monthly minimum | 0 | Minimum half hourly average | 6 | 6.8 | 6.3 | 6.3 | 6.3 | 6.1 | 6.3 | 6 | 6.5 | 6.4 | 6.1 | 6.6 | 0 | 0 | 0 | 0 | 5.7 | 5.9 | 5.8 | 5.4 | 5.5 | 5.8 | 5.6 | 5 | 5.8 | 6 | 5.7 | 5.3 | 5.7 | 6
| Total invalid results | 0 | No. of invalid results | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sum of exceedances | 0 | No. of exceedances of ELV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Daily average |  |  | Daily average ELV | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
| Monthly maximum | 29.68 | Daily average | 11.94 | 22.09 | 7.17 | 16.27 | 14.11 | 15.81 | 7.27 | 7.06 | 29.68 | 7.42 | 7.25 | 7.21 | 0 | 0 | 0 | 0 | 6.72 | 7.38 | 6.45 | 13.51 | 8.18 | 12.79 | 23.2 | 6.27 | 6.47 | 6.52 | 6.54 | 6.29 | 10.23 | 7.73
| No. of invalid days | 3 | Value valid | bar: 1 to 30
| Sum of exceedances | 0 | Value exceeds ELV (Y/N) | bar: 1 to 30
shutdown
Signed……………………………………………… Date……………………………..
(authorised to sign as representative of the Operator)

## NOx
| Permit Reference no: WP3836ZF | [13 empty] | Variation Reference Number: EPR/MP3239FQ/V002
| Operator: Tradebe Healthcare National Limited | [13 empty] | Form Number : Agency Form / A7/ Form Dated 20 October 2011
Installation: Wrexham Clinical Waste Incinerator
Reporting of Continuously Monitored Emissions to Air for Oxides of Nitrogen from Emission Point A1 for the month of September 2020
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Half-hour average ELV
Half-hourly average | Monthly maximum | 352.5 | Maximum half hour average | 250.7 | 317.9 | 240.6 | 254.4 | 216.8 | 207.4 | 174.8 | 242.8 | 287.1 | 232.8 | 266.4 | 236.7 | 0 | 0 | 0 | 0 | 317.1 | 352.5 | 273.3 | 264.9 | 253.8 | 246.7 | 200.6 | 290.1 | 318.3 | 285.7 | 246.6 | 242.7 | 284.2 | 288.8
| Monthly mean | 164.952 | Mean half hour average | 176.85 | 213.6 | 205.44 | 210.97 | 185.75 | 176.61 | 127.97 | 147.46 | 186.51 | 192.99 | 229.51 | 184.15 | 0 | 0 | 0 | 0 | 177.5 | 170.81 | 210.48 | 199.3 | 188.94 | 188.7 | 111.7 | 184.61 | 229.6 | 238.28 | 207.08 | 186.82 | 195.92 | 221.01
| Monthly minimum | 0 | Minimum half hourly average | 75.7 | 156.7 | 144.6 | 174.8 | 137.7 | 146.3 | 48.9 | 62 | 76.3 | 157.1 | 177.5 | 146 | 0 | 0 | 0 | 0 | 69.2 | 71.3 | 115.5 | 134.2 | 131.4 | 103.2 | 47.4 | 87 | 165.6 | 187.3 | 157 | 145.1 | 128.8 | 156.6
| Total invalid results | 0 | No. of invalid results | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sum of exceedances | 0 | No. of exceedances of ELV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Daily average |  |  | Daily average ELV | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400
| Monthly maximum | 238.28 | Daily average | 176.85 | 213.6 | 205.44 | 210.97 | 185.75 | 176.61 | 127.97 | 147.46 | 186.51 | 192.99 | 229.51 | 184.15 | 0 | 0 | 0 | 0 | 177.5 | 170.81 | 210.48 | 199.3 | 188.94 | 188.7 | 111.7 | 184.61 | 229.6 | 238.28 | 207.08 | 186.82 | 195.92 | 221.01
| No. of invalid days | 0 | Value valid | bar: 1 to 30
| Sum of exceedances | 0 | Value exceeds ELV (Y/N) | bar: 1 to 30
shutdown
Signed……………………………………………… Date……………………………..
(authorised to sign as representative of the Operator)

## CO
| Permit Reference no: WP3836ZF | [13 empty] | Variation Reference Number: EPR/MP3239FQ/V002
| Operator: Tradebe Healthcare National Limited | [13 empty] | Form Number : Agency Form / A5/ Form Dated 20 October 2011
Installation: Wrexham Clinical Waste Incinerator
Reporting of Continuously Monitored Emissions to Air for Carbon Monoxide from Emission Point A1 for the month of September 2020
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
|  |  | 10 minute average ELV | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150
10 minute average | Monthly maximum | 340.5 | Maximum 10 minute average | 67.6 | 193.7 | 26.7 | 13.1 | 10.3 | 112.9 | 70.4 | 185.1 | 44 | 112 | 52.5 | 0.5 | 0 | 0 | 0 | 0 | 93.9 | 247 | 12.6 | 221.1 | 168 | 54.4 | 93.4 | 340.5 | 5.4 | 4.4 | 74.5 | 10.4 | 43.9 | 113.6
| Monthly mean | 1.9041 | Mean 10 minute average | 2.42 | 3.58 | 1.09 | 1.14 | 0.66 | 2.97 | 2.394 | 4.63 | 1.61 | 1.56 | 1.11 | 0.11 | 0 | 0 | 0 | 0 | 4.45 | 5.22 | 0.82 | 3.2 | 2.5 | 1.03 | 3.59 | 6.5 | 0.8 | 0.5 | 2.1 | 0.66 | 0.81 | 1.67
| Monthly minimum | 0 | Minimum 10 minute average | 0 | 0 | 0 | 0.1 | 0.1 | 0 | 0 | 0.3 | 0.4 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0.6 | 0.2 | 0.1 | 0.1 | 0.1 | 0 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total invalid results | 0 | No. of invalid results | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sum of exceedances | 8 | No. of exceedances of ELV | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0
Daily average |  |  | Daily average ELV | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
| Monthly maximum | 6.5 | Daily average | 2.42 | 3.58 | 1.09 | 1.14 | 0.66 | 2.97 | 2.394 | 4.63 | 1.61 | 1.56 | 1.11 | 0.11 | 0 | 0 | 0 | 0 | 4.45 | 5.22 | 0.82 | 3.2 | 2.5 | 1.03 | 3.59 | 6.5 | 0.8 | 0.5 | 2.1 | 0.66 | 0.81 | 1.67
| No. of invalid days | 0 | Value valid | bar: 1 to 30
| Sum of exceedances | 0 | Value exceeds ELV (Y/N) | bar: 1 to 30
shutdown
Signed……………………………………………… Date……………………………..
(authorised to sign as representative of the Operator)