Permit Reference Number: AP3538SM




Variation Reference Number: EPR/WP3836ZF




Operator: Tradebe Healthcare National Ltd




            Form Number: Agency Form / Ash1 / WP3836ZF
Installation: Wrexham Clinical Waste Incinerator



Reporting of Ash Composition for the period from July to September 2020
	Ash Composition 

	
	
	% Carbon (TOC) w/w

	Bottom Ash
	July 2020
	0.1
	

	Bottom Ash
	Aug 2020
	0.1
	

	Bottom Ash
	Sept 2020
	<0.1
	


	Ash Composition (Metals, Dioxins, etc.)

	
	Sb mg/kg
	Cd mg/kg
	Tl

mg/kg
	Hg

mg/kg
	Pb

mg/kg
	Cr

mg/kg
	Cu

mg/kg
	Mn

mg/kg
	Ni

mg/kg
	As

mg/kg
	Co

mg/kg
	V

mg/kg
	Zn

mg/kg
	DIOXIN          I-TEQ

ng/kg
	DIOXIN

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	WHO-TEQ ng/kg

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	Note 1
	Note 2
	Note 3

	Bottom Ash
	
	14
	<1
	<1
	303
	432
	2135
	342
	231
	<1
	113
	7.8
	2043
	0.687
	0.844
	1.13
	0.91

	APC Residues
	
	111
	<1
	130
	1076
	180
	4427
	177
	99
	<1
	75
	3.0
	4215
	8160
	7430
	13300
	8530


Note1
Humans/ mammals
Note2
Birds

Note3 
Fish

Signed Paul Phillips……………………………….  

Date. 28.09.2020

(authorised to sign as representative of Tradebe Healthcare National Ltd)

