| Permit Number: | PAN-004754 |
| --- | --- |
| Applicant name: | Costain Ltd |
| Site Address: | Wylfa 132kV Cable- Costain, National Grid Substation, Wylfa Power Station, Cemaes Bay, Anglesey LL67 0DH |
| Discharge Point NGR: | SH 35428 93453, SH35692 93105, SH 35517 92622 |
| Respond by date: | 29th March 2019 (10 working days) |
| Permitting Officer: | Katrin Raynor-Evans |

Brief Description of proposal:

An application from Costain to discharge 184 m3/day clean uncontaminated dewatering effluent across three discharge points from excavations in order to install cables for the National Grid (the red highlighted boxes on the plan below are the discharge areas).  This is the second application for the site.  The discharge pipes will be fitted with silt socks and silt mats will be used to reduce the amount of suspended sediment discharging onto land. There is no contamination within the areas of land that they are de-watering. After speaking with Geoscience on the first application, we have decided to continue with the determination of the permit applications as the discharges do not meet the Regulatory Position Statement on de-watering or the exclusion criteria for discharges to groundwater.

Habitats Screening Report – Designations or protected species/habitats:

No designated habitats sites within the screening distance.

Risk Assessment Results (modelling or L1 Risk Assessment):

Not required.

Miscellaneous:

NRM Responses:

Environment Management comments:

Officers name:
Date:

Biodiversity comments:

N/A

Officers name:
Date:

Fisheries comments:

N/A

Officers name:
Date:

Conservation/Ecology Comments:

N/A

Officers name:
Date:

Internal Consultation Responses from other NRW Teams:

Water Quality Planning:

N/A

Officers name:

Date:

Geoscience Response:

As with PAN-004213 if they are unable to make use of any exemptions or exclusions then it appears a permit is needed. They are discharging a large volume (184m3/ per day) – are they confident that the ground has sufficient capacity to receive this volume of water each day?  There could be a risk of surface run-off to nearby drains or watercourses if the water doesn’t soakaway.

I note the water management plan makes reference to removal and disposal of concrete wash waters.  From other application PAN-004213 I understand the applicant confirmed the discharges would not contain concrete wash water.  I assume the same also applies to this proposed discharge?

Risk to groundwater from the infiltration of uncontaminated water is low so no objection to a permit being issued

Officers name: Dave Jones
Date: 20/3/19

Flood Risk Management:

N/A

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | No |
| Water Company regarding Drinking Water Protected Zone / SPZ1 | No |
| Environmental Heath | No |

Any Permitting Responses:

Date: