[image: image2.png]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales





Notice of variation and consolidation with introductory note
The Environmental Permitting (England & Wales) Regulations 2016
Dŵr Cymru Cyfyngedig
Bryn Cowlyd Clear Water Trank
Near Plas Iwrwg
Maenan
Conwy
LL26 0YN
Variation application number

PAN-004133
Permit number
EPR/CP3020GE
Bryn Cowlyd Clear Water Tank 

Permit number EPR/CP3020GE
Introductory note

This introductory note does not form a part of the notice.
The following notice gives notice of the variation and consolidation of an environmental permit.
The variation is remove the ammonia limit as Ammonia dosing has been permanently decommissioned from the site, so there is no longer a requirement to monitor ammonia.
The schedules specify the changes made to the permit.
The status log of a permit sets out the permitting history, including any changes to the permit reference number. 
	Status log of the permit

	Description
	Date
	Comments

	Application received
	Duly made 07/04/2010
	Application for discharge of Waste analyser waste streams effluent from Bryn Cowlyd Water Tank

	Permit determined 

EPR-CP3020GE 
	06/08/2010
	Permit issued to Dŵr Cymru Cynfyngedig

	Application PAN-004133
(variation)
	Duly made

14/01/2019
	Application to remove the Ammonia limits and update the permit to modern conditions.

	Variation determined EPR/CP3020GE 
	18/03/2019
	Permit issued to Dŵr Cymru Cyfyngedig


End of introductory note

	Notice of variation and consolidation 


The Environmental Permitting (England and Wales) Regulations 2016
The Natural Resources Body for Wales (“Natural Resources Wales”) in exercise of its powers under regulation 20 of the Environmental Permitting (England and Wales) Regulations 2016 varies and consolidates
permit number

EPR/CP3020GE
issued to:

Dŵr Cymru Cyfyngedig (“the operator”)

whose registered office is
Pentwyn Road
Nelson

Treharris
Mid Glamorgan

CF46 6LY
company registration number 02366777
to operate a regulated facility
Bryn Cowlyd Clear Water Tank
Near Plas Iwrwg
Maenan
Conwy

LL26 0YN
to the extent set out in the schedules.
The notice shall take effect from 18/03/2019
	Name
	Date

	Emily Roe
	18/03/2019


Authorised on behalf of Natural Resources Wales
Schedule 1 

The following conditions were varied as a result of the application made by the operator: 
· Conditions 3.3.1, 4.2.2 and 4.3.3.
· Tables S3.1, S4.1 and S4.2
Conditions 3.1.1, 3.2.1, 3.3.5 and 3.3.6 have been varied and updated by the consolidated permit EPR/CP3020GE.
Schedule 2 – consolidated permit

Consolidated permit issued as a separate document. 
	Permit


The Environmental Permitting (England and Wales) Regulations 2016
Permit number 

EPR/CP3020GE
This is the consolidated permit referred to in the variation and consolidation notice for application PAN-004133 authorising, 
Dŵr Cymru Cyfyngedig (“the operator”),

whose registered office is

Pentwyn Road
Nelson

Treharris

Mid Glamorgan

CF46 6LY

company registration number 02366777
to operate a water discharge activity at
Bryn Cowlyd Clear Water Tank
Near Plas Iwrwg
Maenan

Conwy

LL26 0YN

to the extent authorised by and subject to the conditions of this permit.

	Name
	Date

	Emily Roe
	18/03/2019


Authorised on behalf of Natural Resources Wales
Conditions

1 Management

1.1 General management

1 The operator shall manage and operate the activities:
1 in accordance with a written management system that identifies and minimises risks of pollution so far as is reasonably practicable, including those risks arising from operations, maintenance, accidents, incidents, non-conformances and those drawn to the attention of the operator as a result of complaints; and

1 using sufficient competent persons and resources.

1 Records demonstrating compliance with condition 1.1.1 shall be maintained. 

1 Any person having duties that are or may be affected by the matters set out in this permit shall have convenient access to a copy of the permit.

2 Operations

2 Permitted activities

2 The only activity authorised by the permit is the activity specified in schedule 1 table S1.1.

2 The site 

2 The discharge activity shall take place at the discharge point marked on the site plan at schedule 7 to this permit, and as listed in table S3.2.
3 Emissions and monitoring

3 Emissions to water

3 The limits given in schedule 3 table S3.1 shall not be exceeded.

3 Emissions of substances not controlled by emission limits

3 The operator shall take appropriate measures to minimise so far as reasonably practicable the polluting effects of the emissions of substances in the discharge not controlled by emission limits (excluding odour).

3 Monitoring 

3 The operator shall, unless otherwise agreed in writing by Natural Resources Wales, undertake the monitoring specified in the following tables in schedule 3 to this permit:

3 point source emissions specified in tables S3.1 and S3.3.

3 The operator shall maintain records of all monitoring required by this permit.

3 Monitoring equipment, techniques, personnel and organisations employed for the emissions monitoring programme and the environmental or other monitoring specified in condition 3.3.1 shall have either MCERTS certification or MCERTS accreditation (as appropriate), where available, unless otherwise agreed in writing by Natural Resources Wales.

3 An Accessible monitoring point shall be provided and maintained to enable the emissions monitoring programme to be carried out at the monitoring point specified in table S3.3 of schedule 3 and shown marked on the site plan in schedule 7. 

3 The monitoring programme for the parameters subject to schedule 3B shall be:

3 pre-scheduled to cover a calendar year and the programme recorded before the start of a   calendar year sample period; and

3 spot samples collected at approximately equal intervals during the year, including samples from different days of the week and different times.  Approximately 10% of samples should be outside the normal sampling window which is 9am-3pm, Monday to Friday.

3 After becoming aware, or following a notification that a sample has not been taken on the schedule 3B Monitoring Programme pre-scheduled date, or is lost, or a result for that sample cannot be reported, the operator shall record the details and reschedule the sample.

4 Information

4 Records

4 All records required to be made by schedule 3, 4 and 5 to this permit shall:

4 be legible;

4 be made as soon as reasonably practicable;

4 if amended, be amended in such a way that the original and any subsequent amendments remain legible, or are capable of retrieval; and

4 be retained, unless otherwise agreed in writing by Natural Resources Wales, for at least 6 years from the date when the records were made. 

4 The operator shall maintain convenient access, in either electronic or hard copy, to the records, plan and management system required to be maintained by this permit. 

4 Reporting

4 The operator shall send all reports and notifications required by the permit to Natural Resources Wales using the contact details supplied in writing by Natural Resources Wales.

4 Within the time period after the end of the reporting period specified in schedule 4 table S4.1 the operator shall, unless otherwise agreed in writing by Natural Resources Wales, submit reports of the monitoring and assessment carried out in accordance with the conditions of this permit, as follows:

4 in respect of the parameters and monitoring points specified in schedule 4 table S4.1;

4 for the reporting periods specified in schedule 4 table S4.1 and using the forms specified in schedule 4 table S4.2; and

4 giving the information from such results and assessments as may be required by the forms specified in those tables.

4 Notifications

4 Natural Resources Wales shall be notified as soon as reasonably practicable following detection, within the site of the regulated facility of:

4 any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution; and

4 any breach of a limit specified in schedule 3 table S3.1.
4 any other significant adverse environmental effects, which may have been caused by the activity, shall also be notified to Natural Resources Wales as soon as reasonably practicable following detection.
4 The information provided under condition 4.3.1 shall be supported by sending the information listed in schedule 5 to this permit within the time period specified in that schedule.

4 Where Natural Resources Wales has requested in writing that it shall be notified when the operator is to undertake monitoring and/or spot sampling specified in schedule [3B/3C], the operator shall inform Natural Resources Wales when the relevant monitoring and/or spot sampling is to take place. The operator shall provide this information to Natural Resources Wales at least 14 days before the date the monitoring is to be undertaken.

4 Natural Resources Wales shall be notified within 14 days of the occurrence of the following matters, except where such disclosure is prohibited by Stock Exchange rules:

Where the operator is a registered company:

4 any change in the operator’s trading name, registered name or registered office address; and

4 any steps taken with a view to the operator going into administration, entering into a company voluntary arrangement or being wound up.

Where the operator is a corporate body other than a registered company:

4 any change in the operator’s name or address; and

4 any steps taken with a view to the dissolution of the operator.

4 Where the operator proposes to make a change in the nature of the activity by increasing the concentration of, or the addition of, or allowing the introduction of, a substance to the activity to an extent that the operator considers could have a significant adverse environmental effect on the receiving waters, and the change is not permitted by emission limits specified within schedule 3 table S3.1 or the subject of an application for approval under the EP Regulations or under the terms of this permit:

4 Natural Resources Wales shall be notified in writing at least 14 days before the increase or addition or allowing the introduction; and

4 the notification shall contain a description of the proposed change.

4 Interpretation

4 In this permit the expressions listed in schedule 6 shall have the meaning given in that schedule.

4 In this permit references to reports and notifications mean written reports and notifications, except where reference is made to notification being made “as soon as reasonably practicable”, in which case it may be provided by telephone.

Schedule 1 – Operations 

	Table S1.1 Activities

	Description of activity
	Limits of specified activity

	Discharge of trade effluent consisting of quality analyser waste streams via Outlet 1
	The discharge shall consist solely of quality analyser waste streams derived from online water quality monitoring instruments


Schedule 2 – Waste types, raw materials and fuels

Schedule 2 not in use.

Schedule 3 – Emissions and monitoring

	Table S3.1 Point Source emissions to water (other than sewer) – emission limits and monitoring requirements

	Effluent and discharge point
	Parameter  
	Limit (including unit)
	Reference Period
	Limit of effective range
	Monitoring frequency
	Compliance Statistic

	Trade effluent consisting of Quality analyser waste streams via Outlet 1
	Maximum daily discharge volume
	50 m3/day


	Total daily volume
	N/A                                                                
	Continuous
	Maximum 

	5 
	15-minute instantaneous or averaged flow
	No limit set. Record as l/s
	15 minute
	N/A
	Continuous


	N/A



	6 
	Total iron as iron
	5000 µg/l
	Instantaneous (spot sample)
	N/A
	As specified in schedule 3B
	Maximum

	7 
	Aluminium
	1000 µg/l
	Instantaneous (spot sample)
	N/A
	As specified in schedule 3B
	Maximum

	8 
	Total available chlorine
	0.05 mg/l
	Instantaneous (spot sample)
	N/A
	As specified in schedule 3B
	Maximum

	9 
	Visible oil or grease
	No significant trace present
	Instantaneous (spot sample)
	N/A
	N/A
	No significant trace


	Table S3.2 Discharge points

	Effluent Name
	Discharge Point
	Discharge point NGR
	Receiving water

	Trade effluent consisting of Quality analyser waste streams via Outlet 1 
	Outlet 1
	SH 78883 68210
	Unnamed tributary of the Afon Conwy


	Table S3.3 Monitoring points

	Effluent and discharge point
	Monitoring type
	Monitoring point NGR
	Monitoring point reference

	Trade effluent consisting of Quality analyser waste streams via Outlet 1


	Effluent sampling
	SH 79190 68400
	Effluent sample point.  Flow monitoring point

	
	MCerts flow monitoring 
	SH 79190 68400
	Effluent sample point.  Flow monitoring point


Schedule 3B - OSM tier 2 sampling frequency

	Tier 2 Category
	Parameter
	Normal frequency` of  samples per year 


	Reduced Sampling frequency after 12 consecutive months of numeric permit compliance, samples per year or pro rata over the remainder of a year
	On numeric limit failure return to normal frequency as soon as reasonably practicable, samples per 12 months
	Out of hours samples

	> 5m3/d (but not in tier 3) with numeric limits for ammoniacal nitrogen (expressed as N), nutrients, hazardous pollutants, UWWTR self monitoring
	Sanitary 

Non sanitary
	12

6
	6

6
	12

6
	For 12 samples 1 out of hours sample per annum, for 6, 1 every 2 years on average



	>20 m3/d (but not in tier3) with numeric limits for one or more of biochemical oxygen demand or suspended solids or pH or temperature only.
	Sanitary
	12
	4
	12
	For 12 samples 1 out of hours sample per annum, for 4, 1 every 3 years on average




Schedule 4 – Reporting

Parameters, for which reports shall be made, in accordance with conditions of this permit, are listed below.

	Table S4.1 Reporting of monitoring data

	Parameter
	Monitoring point reference
	Reporting period
	Period begins

	Total daily volume


	Effluent sample point
Flow monitoring point
	Annually

Report to be submitted within 2 months of the end of the calendar year
	1 January

	15-minute flow


	Effluent sample point

Flow monitoring point
	Reports to be provided to Natural Resources Wales upon request 

Report to be submitted within 28 days unless otherwise specified in writing by Natural Resources Wales
	Upon request by Natural Resources Wales

	Operator Self Monitoring - total iron as Fe, Aluminium as Al, Chlorine as Cl
	Effluent sample point

Flow monitoring point
	Quarterly

Report to be submitted within 28 days
	1st of month

	Operator Self Monitoring summary report 
	Effluent sample point

Flow monitoring point
	Annually

Report to be submitted within 2 months of the end of the calendar year
	1 January


	Table S4.2 Reporting forms

	Parameter
	Reporting format

	Total daily volume


	WISKI electronic format specified by Natural Resources Wales

	15-minute flow


	WISKI electronic format specified by Natural Resources Wales

	OSM - total iron as Fe, Aluminium as Al, Chlorine as Cl
	Quarterly - Electronic format specified by Natural Resources Wales

	Operator Self Monitoring summary report
	Annually - Summary report of compliance with the monitoring programme specified in Table 3.1 and Schedule 3B in a format specified by Natural Resources Wales


Schedule 5 – Notification 

These pages outline the information that the operator must provide. 

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.

Part A

	Permit Number
	EPR-CP3020GE

	Name of operator
	

	Location of Facility
	Bryn Cowlyd Clear Water Tank, Near Plas Iwrwg, Maenan, Conwy, LL26 0YN

	Time and date of the detection 
	


	(a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques,  accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution

	To be notified within 7 days of detection] unless otherwise agreed in writing by Natural Resources Wales

 

	Date and time of the event
	

	Reference or description of the location of the event 
	

	Description of where any release into the environment took place
	

	Substances(s) potentially released/type or nature of sewage released
	

	Best estimate of the quantity or rate of release of substances and/or duration of discharge
	

	Best estimate of the environmental impact of the discharge
	

	Measures taken, or intended to be taken, to stop any emission
	

	Description of the failure or accident.
	


	(b) Notification requirements for the breach of a limit specified in schedule 3 table S3.1 

	The information specified below is to be notified to Natural Resources Wales as soon as reasonably practicable following detection.

	Monitoring point reference/ source
	

	Self monitoring regime (where relevant)
	e.g. OSM

10 

	Type of failure 
	e.g. maximum/other

	Date of sample/event
	

	Parameter
	

	Result and units
	

	Limit and units
	


Part B – to be submitted as soon as reasonably practicable unless otherwise agreed in writing by Natural Resources Wales

	Any more accurate information on the matters for notification under Part A.
	

	Measures taken, or intended to be taken, to prevent a recurrence of the incident/breach/exceedance
	

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	


	Name*
	

	Post
	

	Signature
	

	Date
	


* authorised to sign on behalf of the operator

Schedule 6 – Interpretation 

“accident” means an accident that may result in pollution.

"annually" means once every year.

“application” means the application for this permit, together with any additional information supplied by the operator as part of the application and any response to a notice served under Schedule 5 to the EP Regulations.

“appropriate measures” for the purposes of the emission of substances not controlled by emission limits condition (condition 3.2.1) do not require the operator to undertake treatment to a level beyond that specified in schedule 1 table S1.1, or to carry out routine monitoring for substances not controlled by emission limits.

“ATU-BOD as O2” means the biochemical oxygen demand (measured after 5 days at 20oC with nitrification suppressed by the addition of allylthiourea).

“emissions of substances not controlled by emission limits” means emissions of substances to air, water or land from the permitted activities, which are not controlled by an emission limit.

“EP Regulations” means The Environmental Permitting (England and Wales) Regulations SI 2016 No.1154 and words and expressions used in this permit which are also used in the Regulations have the same meanings as in those Regulations.

“MCERTS” means Natural Resources Wales’ Monitoring Certification Scheme.

“Natural Resources Wales” means the Natural Resources Body for Wales established by article 3 of the Natural Resources Body for Wales (Establishment) Order 2012. The Natural Resources Body for Wales (Functions) Order 2013 transferred the relevant functions of the Countryside Council for Wales, and functions of the Environment Agency and the Forestry Commission in Wales to the Natural Resources Body for Wales.

"quarter" means a calendar year quarter commencing on 1 January, 1 April, 1 July or 1 October.

“significant pollution” means a high level impact incident as indicated by NRW incident classification system.
“year” means calendar year ending 31 December.

Schedule 7 – Site plan

[image: image1.emf]
© Crown Copyright and database right 2019. Ordnance Survey licence number 100019741.

END OF PERMIT

	Variation and consolidation application number  EPR/CP3020GE/V002
	Page i
-  -
- i -
- i -i
	


PAGE  
	Variation and consolidation application number  EPR/CP3020GE/V002
	Page 3
-  -
- 3 -
- 3 -3
	



