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	Permit Number:
	PAN-012054 

	Applicant name:
	Mr Carl Pugh

	Site Address:
	Cwm Dulas, Land Near The Cwm, Llanwrthwl, Powys, LD1 6N

	Discharge Point NGR:
	SN 95365 63552

	Respond by date:
	Internal Consultation - 24/12/2020 (10 working days)
Appendix 4 - 07/01/2021 (28 calendar days)
HRA Form 1 – 04/01/2021 (15 working days)

	Permitting Officer:
	Thomas Dauncey



Brief Description of proposal:

The property is a barn/shed which is to be converted for residential use. The property will be served by a new package treatment plant and has applied to discharge a daily maximum of 2.4m3 to the Afon Dulas (a tributary of the River Wye).


Habitats Screening Report – Designations or protected species/habitats:

The Risk Screening Report identified several designated sites. Those sites are: Carn Gafallt SSSI, Rhagnentydd Gwy Uchaf/Upper Wye Tributaries SSSI, Rhosydd Llanwrthwl SSSI, Elenydd - Mallaen SPA, River Wye/Afon Gwy SAC and Coetiroedd Cwm Elan/Elan Valley Woodlands SAC.
An Appendix 4 and Form 1 HRA has been completed. Please leave any response on the Form 2 provided within the DMS folder. 


Risk Assessment Results (modelling or L1 Risk Assessment):

The discharge is under 5m3/day therefore no river quality modelling has been conducted.


Miscellaneous:




NRM Responses:

Environment Management comments:
[bookmark: _GoBack]I have viewed the application and feel that the proposed discharge is acceptable. The treatment plant chosen is sufficiently sized and will adhere to an appropriate British Standards. With sufficient maintenance there is minimal risk to the receiving watercourse (and therefore SAC/SSSI) from this discharge.  I have visited the site and the proposed plan is reasonable. A treatment plant is the best possible option for this conversion in the absence of available sewerage connections 

Officers name: Robert Harding
Date: 17/12/2020 

Biodiversity comments:


Officers name:
Date:

Fisheries comments:

N/A 

Officers name:
Date:

Conservation/Ecology Comments:


Officers name:
Date:

Internal Consultation Responses from other NRW Teams:

Water Quality Planning:

N/A 

Officers name:
Date:


Geoscience Response:
 
N/A 

Officers name:
Date:

Flood Risk Management:

N/A 

Officers name:
Date:


	External Consultations sent to:
	Yes/No

	National Parks
	No

	Water Company regarding Drinking Water Protected Zone / SPZ1
	No

	Environmental Heath
	No




Any Permitting Responses:








Date:
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