| Permit Number: | PAN-011783 |
| --- | --- |
| Applicant name: | Mr Stephen Johnson |
| Site Address: | Cwmbwri, Ferryside, Carmarthenshire, SA17 5TW |
| Discharge Point NGR: | SN 37781 12270 |
| Respond by date: | 17/11/2020 (10 working days) |
| Permitting Officer: | Alex Garratt |

Brief Description of proposal:

The proposal is to upgrade the current domestic sewage treatment from a septic tank to package treatment plant. This secondary treated effluent will then be discharged into the Nant Bwri stream which is a tributary of the Afon Tywi. As a treatment technology upgrade this will lead to an improvement to the water quality. The effluent volume will be no more than 1.5 cubic metres per day.

Habitats Screening Report – Designations or protected species/habitats:

The HSR highlighted one SAC – Carmarthen Bay and estuaries:

Primary reason for designation:

Twaite shad Alosa fallax migrate though the waters of Carmarthen Bay and Estuaries cSAC to reach spawning sites in the Afon Tywi. The Taf-Tywi-Gwendraeth estuary is also an important nursery area for juveniles and it is likely that twaite shad feed in the inshore waters of Carmarthen Bay.

Secondary reason:

1095 Sea lamprey Petromyzon marinus

1099 River lamprey Lampetra fluviatilis

1102 Allis shad Alosa alosa

1355 Otter Lutra lutra

The HSR highlighted one SSSI – Afon Tywi, as biological/M.

We will be completing a HRA as part of the determination process (Form 1 and Appendix 4)

Please find the habitats screening report on the DMS.

Risk Assessment Results (modelling or L1 Risk Assessment):

The discharge is under 5m3/day therefore no river quality modelling will be conducted.

Miscellaneous: N/A

The operator carried out infiltration testing at the site, however the ground is unsuitable for discharge to ground.

NRM Responses:

Environment Management comments:

N/A

Officers name:
Date:

Biodiversity comments:

Officers name:
Date:

Fisheries comments:

This is an Improvement on the existing infrastructure, No adverse comments

Officers name: Stuart Rees 
Date:04/11/2020

Conservation/Ecology Comments:

Officers name:
Date:

Internal Consultation Responses from other NRW Teams:

Water Quality Planning:

N/A

Officers name:

Date:

Geoscience Response:

N/A

Officers name:
Date:

Flood Risk Management:

N/A

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | No |
| Water Company regarding Drinking Water Protected Zone / SPZ1 | No |
| Environmental Heath | No |

Any Permitting Responses:

Date: