| Permit Number: | PAN-005422 |
| --- | --- |
| Applicant name: | Hafren Dyfrdwy Cyfyngedig |
| Site Address: | Sugn-y-Pwll Distribution Service Reservoir, Tower Hill, Llangollen, LL20 7YH |
| Discharge Point NGR: | SJ 26493 43353 |
| Respond by date: | 13/08/2019 (10 working days) |
| Permitting Officer: | Aidan Byrne |

Brief Description of proposal:

The application is to regulate a discharge of drinking water quality analyser wastewater from Sugn-y-Pwll distribution service reservoir which is being rebuilt. The service reservoir system has 3 chlorine analysers to measure the level of chlorine within the potable water, these analysers require a constant supply of water, this water cannot be recirculated and is therefore being discharged to the Tref-y-nant Brook. The analysers will discharge water at a constant rate of 99.6l/h, meaning a total maximum daily discharge of 7.2m3/day. There are no significant trace chemicals present in the discharge.

The original application was for 2.5m3/day and we had previously consulted using this volume. No concerns were raised for this proposal. The applicant has since updated their application with the correct volume of 7.2m3/day. Please refer to the DMS folder for the updated B6 form and for further information regarding the proposal.

Habitats Screening Report – Designations or protected species/habitats:

The new habitat screening report, taking into account the larger volume, can be found on the DMS here.

There are no relevant designations within screening distance.

Risk Assessment Results (modelling or L1 Risk Assessment):

N/A

Miscellaneous:

N/A

NRM Responses:

Environment Management comments:

No comments

Officers name: tom lewis 
Date: 7/8/19

Biodiversity comments:

N/A

Officers name:
Date:

Fisheries comments:

N/A

Officers name:
Date:

Conservation/Ecology Comments:

N/A

Officers name:
Date:

Internal Consultation Responses from other NRW Teams:

Water Quality Planning:

N/A

Officers name:

Date:

Geoscience Response:

N/A

Officers name:
Date:

Flood Risk Management:

N/A

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | N |
| Water Company regarding Drinking Water Protected Zone / SPZ1 | N |
| Environmental Heath | N |

Any Permitting Responses:

Date: