Surrender notice with introductory note

The Environmental Permitting (England & Wales) Regulations 2016

Dŵr Cymru Cyfyngedig

Pen y Bont Water Treatment Works

Bryncrug

Tywyn

LL36 9RW

Surrender application number

PAN-005470

Permit number

CG0174901

Pen y Bont Water Treatment Works

Permit number CG0174901

Introductory note

This introductory note does not form a part of the notice

The following notice gives notice of the surrender in part and variation of an environmental permit.

The activity A1: Trade effluent discharge consisting of sample water from in-line analysers has been surrendered and removed from the permit. The discharge is now fed back through the treatment works.

Activities A2 and A3: The GAC delivery rinse discharge and site drainage discharge are still active and are regulated via permit CG0174901.

Any changes made as a result of the part surrender are set out in the schedules.

The status log of a permit sets out the permitting history, including any changes to the permit reference number. It is not backdated before 6 April 2010.

| Status log of the permit |  |  |
| --- | --- | --- |
| Description | Date | Comments |
| Variation application CG174901/V001 | 22/02/2011 |  |
| Variation determined CG0174901/V001 (varied and consolidated permit issued) | 22/06/2011 | Increase the trade discharge volume, incorporate Iron limits and account for discharges A2 and A3. |
| Variation received CG0174901/V002 | Duly Made 24/09/2013 | Variation to add an additional sample point for discharge activity A1. |
| Variation determined CG0174901/V002 | 18/11/2013 |  |
| Part surrender application CG0174901/S003 | Duly Made 13/05/2019 | Application to surrender the discharge activity A1. |
| Part surrender determined | 06/06/2019 | Part surrender complete. |

End of Introductory note

Notice of surrender

The Environmental Permitting (England and Wales) Regulations 2016

The Natural Resources Body for Wales (“Natural Resources Wales”) in exercise of its powers under regulation 24 of the Environmental Permitting (England and Wales) Regulations 2016 accepts the surrender in part of

permit number

CG0174901

issued to

Dŵr Cymru Cyfyngedig (“the operator”)

whose registered office is

Pentwyn Road

Nelson

Treharris

Mid Glamorgan

CF46 6LY

company registration number 02366777

to operate regulated facilities at

Pen y Bont Water Treatment Works

Bryncrug

Tywyn

LL36 9RW

to the extent set out in the schedules.

The notice shall take effect from 06/06/2019.

| Name | Date |
| --- | --- |
| Emily Roe | 06/06/2019 |

Authorised on behalf of Natural Resources Wales

Schedule 1 – changes to the permit

Note: The conditions numbers used in this schedule refer to those in the permit.

Activity A1 Trade effluent discharge consisting of sample water from in-line analysers has been removed from the following:

- Table S1.1

- Table S1.2

- Table S3.1(a)

- Table S3.2

- Table S3.3

- Table S4.1

- Schedule 7 - SP (1) from the site plan