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	Consent no
	NRWWIA233

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166
CONSENT TO DISCHARGE

TO:
Dŵr Cymru Cyfyngedig 


Pentwyn Road

Nelson


Treharris


Mid Glamorgan


CF46 6LY
	The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:
De-chlorinated water


	FROM: birchgrove srv, birchgrove, Swansea, sa7 9ea

	

	AT: NATIONAL GRID REFERENCE ss 70854 99123

	

	TO: nant brÂn

	

	SUBJECT TO: the conditions set out in the following schedule:

De-chlorinated water                     Schedule No. NRWWIA233

	

	This consent is issued on the 29th day of January 2021
This consent takes effect on the 29th day of January 2021
This consent shall cease to have effect on the 15th day of February 2021
Signed: Melissa Broad


	


CONDITIONS OF CONSENT TO DISCHARGE

DE-CHLORINATED WATER (“the Discharge”)
NATURE OF THE DISCHARGE

1.
The Discharge shall consist solely of de-chlorinated water. 

SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from Birchgrove SRV, Birchgrove, Swansea, SA7 9EA.
LOCATION OF DISCHARGE

3.
The location of the Discharge shall be at NGR SS 70854 99123, marked ‘Discharge Point’ on the site plan in Annex 1.

SAMPLE POINT

4.
A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME

5. The total volume of the Discharge shall not exceed 2200 cubic metres.

6. The total daily volume of the Discharge shall not exceed 250 cubic metres.

7. The rate of the Discharge shall not exceed 2.9 litres per second.
COMPOSITION

8.
The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 

(a) 
mud and silt;

(b) 
solid, polluting, offensive or injurious substances; 
and

(c)
any substances prejudicial to fish or spawn, or to spawning beds or food of fish.
SCOURING
9.
The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water. 
FLOODING

10.
The discharge shall not cause or significantly contribute to flooding in the downstream catchment.
PERIOD OF DISCHARGE

11.
The Discharge shall only be made between 29th day of January 2021 and the 15th day of February 2021.
ANNEX 1- PLAN No. NRWWIA233
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