# Natural Resources Wales permitting decisions

# Variation

We have decided to issue the variation for Parry and Evans Limited operated by Parry and Evans Limited.

The variation number is EPR/CB3593HF/V003.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

- Annex 2 the consultation responses

# Annex 1: decision checklist

This document should be read in conjunction with the Duly Making checklist, the application and supporting information and permit/ notice.

| ### Aspect considered |  | ### Justification / Detail | Criteria met |  |
| --- | --- | --- | --- | --- |
|  |  |  | Yes |  |
| Receipt of submission |  |  |  |  |
| Operator |  |  |  |  |
| Control of the facility |  | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. |  |  |
| European Directives |  |  |  |  |
| Applicable directives |  | All applicable European directives have been considered in the determination of the application. Treatment in shredders of metal waste is a treatment activity under the Industrial Emissions Directive. Therefore, daily treatment capacity limits have been set in Table S1.1 of the permit. |  |  |
| Sustainable Management of Natural Resources (SMNR) |  |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources” |  |  |
| The site |  |  |  |  |
| Extent of the site of the facility |  | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. |  |  |
| Site condition report |  | The operator has provided a description of the condition of the site. We consider this description is satisfactory. The decision was taken in accordance with our guidance on site condition reports – guidance and templates (H5). |  |  |
| Biodiversity, Heritage, Landscape and Nature Conservation |  | The application is within the relevant distance criteria of a site of heritage, landscape or nature conservation, and/or protected species or habitat . A full assessment of the application and its potential to affect the sites has been carried out as part of the permitting process. We consider that the application will not affect the features of the site. |  |  |
| Environmental Risk Assessment and operating techniques |  |  |  |  |
| Environmental risk |  | We have reviewed the operator's assessment of the environmental risk from the facility. The operator’s risk assessment is satisfactory. |  |  |
| Operating techniques |  | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The operator has identified suitable measures in accordance with the relevant technical guidance note for waste activities; ‘How to comply with your environmental permit’. The operator submitted an Odour Management Plan and Fire Prevention and Mitigation Plan detailing measures used to prevent or minimise the risk of odour emissions from the activity and fire. The measures included in the Odour Management Plan and Fire Prevention and Mitigation Plan have been assessed and are considered as suitable to control the risk of odour from the activity and the risk of fire. These were assessed in accordance with ‘H4 Odour Management - how to comply with your environmental permit’ and ‘Fire prevention and mitigation plan - waste management Guidance No. 16.’ |  |  |
| The permit conditions |  |  |  |  |
| Waste types |  | We have specified the permitted waste types, descriptions and quantities, which can be accepted at the regulated facility. We are satisfied that the operator can accept these wastes for the following reasons: - The proposed waste types are suitable for the nature of the permitted facility - The operator has suitable waste acceptance, storage and treatment procedures in place - Appropriate measures are in place to prevent/reduce fugitive emissions We have excluded the following wastes for the following reasons - consisting solely or mainly of dusts, powders or loose fibres - liquids - hazardous - clinical - odorous because the exclusions will ensure risk from the activity is contained and that measures used on site remain appropriate for the actual permitted activity. We made these decisions with respect to waste types in accordance with waste facility technical guidance note ‘How to comply with your environmental permit’, Sector Guidance Note S5.06 ‘Guidance for the Recovery and Disposal of Hazardous and Non Hazardous Waste’, and after full assessment of the operating techniques used on site to control the risks from the activity. |  |  |
| Incorporating the application |  | We have specified that the applicant must operate the permit in accordance with descriptions in the application, including all additional information received as part of the determination process. These descriptions are specified in the Operating Techniques table in the permit. |  |  |
| Operator Competence |  |  |  |  |
| Environment management system |  | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. |  |  |

# Annex 2: Consultation responses

Summary of responses to consultation and the way in which we have taken these into account in the determination process.

Response received from

North Wales Fire and Rescue Service (NWFRS)

Brief summary of issues raised

NWFRS provided a response to our consultation 04/11/2020. The only issues raised within this were with regard to: - Managing firewater run-off and the ability to empty the interceptor 24/7 365 days; and - ideally ensuring waste is not stored directly against external walls.

Summary of actions taken or show how this has been covered

The operator provided a Fire Prevention and Mitigation Plan with the application, this was assessed and queries raised through several Schedule 5 Notices. The final version of the FPMP provided (dated 28/12/2020), demonstrates that: - the amount of fire water created in a worst case scenario can be contained on site by means of a plug to prevent fire water draining to the interceptor, the water contained on site will be subsequently removed from site; - where waste is stored within a building in bays, it is stored against a suitable fire wall. The relevant parts of the FPMP have been incorporated into the variation notice.