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Part A 
	Permit Number
	BU7766IC

	Name of Operator
	Sundorne Products Ltd

	Location of Facility
	Bryn Posteg Landfill, Tylwch Road, Llanidloes, Powys, SY18 6JJ

	Time and date of the detection
	28/1/2020

	Date and time of event
	15/12/20

	Reference or description of the location of the event
	Ground Water Borehole 1 (GW1)


	Substances potentially released
	N/A

	Best estimate of the quantity or rate of release of substances
	N/A

	Measures taken, or intended to be taken, to stop any emission
	Borehole 1 is a legacy borehole. 

	Description of the failure or accident
	Chloride level measured as 190.3 mg/l for GW1, against compliance limit of 69 mg/l.
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