Schedule 5 – Notification

Part A

| Permit Number | BU7766IC |
| --- | --- |
| Name of Operator | Sundorne Products Ltd |
| Location of Facility | Bryn Posteg Landfill, Tylwch Road, Llanidloes, Powys, SY18 6JJ |
| Time and date of the detection | 28/1/2020 |
| Date and time of event | Quarter 4 |
| Reference or description of the location of the event | Perimeter gas wells |
| Substances potentially released | Methane and carbon dioxide |
| Best estimate of the quantity or rate of release of substances | Unknown |
| Measures taken, or intended to be taken, to stop any emission | These are all legacy boreholes; however, ongoing work with the in-waste gas trench and improved gas extraction is having a positive effect. |
| Description of the failure or accident | Methane and carbon dioxide emissions from perimeter boreholes. |