Schedule 5 – Notification

Part A

| Permit Number | BU7766IC |
| --- | --- |
| Name of Operator | Sundorne Products Ltd |
| Location of Facility | Bryn Posteg Landfill, Tylwch Road, Llanidloes, Powys, SY18 6JJ |
| Time and date of the detection | 28/1/2020 |
| Date and time of event | 10/11/20 and 15/12/20 |
| Reference or description of the location of the event | P1 and P2 |
| Substances potentially released | Suspended solids and ammoniacal nitrogen |
| Best estimate of the quantity or rate of release of substances | Unknown |
| Measures taken, or intended to be taken, to stop any emission | Subsequent samples have been compliant. |
| Description of the failure or accident | A suspended solids level of 246 mg/l was recorded in December from P1 against compliance limit of 50mg/l. An ammoniacal nitrogen result of 0.4mg/l was recorded in November from P2 against a compliance limit of 0.25mg/l. |