Schedule 5 Notification                         HAF277 – 11.01.2021
[bookmark: _GoBack]Part A 
	Permit Number
	PP31339GB

	Name of Operator
	Enovert (North) Ltd

	Location of Installation
	Hafod Quarry, Bangor Road, Johnstown, Wrexham, LL14 6ET

	Time and date of the detection 
	When data entered into Enovert database

	(b) Notification requirements for the breach of a limit 
     (within 24 hours unless otherwise agreed)

	Emission point reference/ source
	BH HA Perimeter Gas Monitoring Points 
Methane (%) 
CH4 >1% 
See Table 1 below. Uncertainty is +/- 0.5%

	Parameter(s)
	

	Limit
	

	Measured value and uncertainty
	

	Date and time of monitoring
	

	Measures taken, or intended to be taken, to stop the emission
	Perimeter Gas Monitoring will continue in accordance with Environmental Permit PP3139GB


Part B (to be supplied as soon as practicable)
	Any more accurate information on the matters for notification under Part A.
	A review of the historic Methane data for the boreholes that breached the compliance limit this month, reveal that these respective boreholes have consistently demonstrated elevated Methane concentrations throughout this time. 

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	Upon review and collation of the latest perimeter gas results, there were 11 breaches of the Methane compliance limit.
Breaches where the methane to carbon dioxide ratio is much greater than or much less than 1.5 is very unlikely to be landfill gas. Much of the gas seen is believed to be mine gas.

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	

	The dates of any unauthorised emissions from the installation in the preceding 24 months.
	Please see previous notifications.

	Name*
	Elizabeth Forrest

	Post
	Environmental Data Analyst

	Date
	11.01.21


* authorised to sign on behalf Enovert (North) Ltd
	Sample Point
	Date
	CH4 (%)

	HAF GB04b
	15/12/2020
	33.9

	HAF GB06a
	15/12/2020
	40.2

	HAF GB07a
	15/12/2020
	22

	HAF GB07b
	15/12/2020
	3.8

	HAF GB08
	15/12/2020
	4.6

	HAF GB09
	15/12/2020
	22.3

	HAF GB11
	15/12/2020
	5.8

	HAF GB12
	15/12/2020
	19.8

	BH HA 10(B)
	15/12/2020
	7.9

	BH HA 10(M)
	15/12/2020
	16.6

	BH HA 10(T)
	15/12/2020
	22.8



Table 1: Perimeter Gas Breaches (Methane) December 2020
