Permit Number: 	AB3191FR					Operator: 		Severn Trent Green Power (Bridgend) Limited

Facility:		Parc Stormy AD Facility			Form Number: 	 Air1 / 17/08/2022

# Reporting of emissions to air for the period from DD/MM/YYYY to DD/MM/YYYY effective from 17 August 2022

| Emission Point | Substance / Parameter | Emission # Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A1 | Oxides of nitrogen (NO and NO2 expressed as NO2) | 500 mg/m3 | Hourly mean |  | BS EN 14792 |  |  |
| A1 | Sulphur Dioxide | 350 mg/m3 | Hourly mean |  | BS EN 14791 |  |  |
| A1 | Non-methane Volatile Organic Compounds (VOCs) | 75mg/m3 | Hourly mean |  | BS EN 12619 or 13526 depending on concentration |  |  |
| A1 | Volatile Organic Compounds (VOCs) | 1000 mg/m3 | Hourly mean |  |  |  |  |
| A1 | Carbon monoxide | 1400 mg/m3 | Hourly mean |  | BS EN 15058 |  |  |
| A2 | Oxides of nitrogen (NO and NO2 expressed as NO2) | 500 mg/m3 | Hourly mean |  | BS EN 14792 |  |  |
| A2 | Sulphur Dioxide | 350 mg/m3 | Hourly mean |  | BS EN 14791 |  |  |
| A2 | Non-methane Volatile Organic Compounds (VOCs) | 75mg/m3 | Hourly mean |  | BS EN 12619 or 13526 depending on concentration |  |  |
| A2 | Volatile Organic Compounds (VOCs) | 1000 mg/m3 | Hourly mean |  |  |  |  |
| A2 | Carbon monoxide | 1400 mg/m3 | Hourly mean |  | BS EN 15058 |  |  |
| A5 Biofilter and Scrubber Unit | Hydrogen Sulphide (H2S) | No limit set | Every 6 months |  | US EPA Method 11 (Impinger method) or CEN TS 13649 (Charcoal tube), US EPA Method 15 |  |  |
| A5 Biofilter and Scrubber Unit | Ammonia (NH3) | 20 mg/Nm3 | Every 6 months |  | BS EN 21877 |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference, number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases, the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	AB3191FR					Operator: 		Severn Trent Green Power (Bridgend) Limited

Facility:		Parc Stormy AD Facility			Form Number: 	 Water 1 / 01/01/2016

# Reporting of Water Usage for the year YYYY

| Water Source | Usage (m3/year | Specific Usage (m3/unit output) |  |
| --- | --- | --- | --- |
| Mains water |  |  |  |
| TOTAL WATER USAGE |  |  |  |

Operator’s comments:

Signed …………………………………………………………….  		Date………………………..

(authorised to sign as representative of Operator)

Permit Number: 	AB3191FR					Operator: 		Severn Trent Green Power (Bridgend) Limited

Facility:		Parc Stormy AD Facility			Form Number: 	 Energy 1 / 03/03/2021

# Reporting of Energy Usage for the year YYYY

| Energy Source | Energy Usage |  | Specific Usage (MWh/unit output) |  |
| --- | --- | --- | --- | --- |
|  | Quantity | Primary Energy (MWh) |  |  |
| Electricity * | MWh |  |  |  |
| Natural Gas | MWh |  |  |  |
| Gas Oil | tonnes |  |  |  |
| Recovered Fuel Oil | tonnes |  |  |  |
| TOTAL | - |  |  |  |

* Conversion factor for delivered electricity to primary energy = 2.4

Operator’s comments:

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	AB3191FR					Operator: 		Severn Trent Green Power (Bridgend) Limited

Facility:		Parc Stormy AD Facility			Form Number: 	 Performance 1 / 17/08/2022

# Reporting of other performance indicators for the period DD/MM/YYYY to DD/MM/YYYY effective from 17 August 2022

| Parameter |  | Units |
| --- | --- | --- |
| Power output - electricity |  | MWh |
| Energy efficiency |  | MWh/m3 biogas |
| Electrical energy exported to the grid |  | MWh |
| Electrical energy drawn from the grid |  | MWh |
| Total raw material used |  | tonnes |
| Operational time of emergency flare |  | % |
| Amount of gas sent to flare |  | m3 |
| Amount of biogas combusted in the CHP unit per day |  | m3/day |
| Generation of residues |  | Tonnes |
| Generation of wastewater |  | m3 |

Operator’s comments:

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)