Natural Resources Wales permitting decisions

# Variation and Consolidation of a bespoke Permit – G.D. Environmental Services Limited

We have decided to issue a Natural Resources Wales initiated variation and consolidated permit for East Bank Road Treatment Facility in Units 18A and 19, East Bank Road, Felnex Industrial Estate, Newport, NP19 4PP operated by G.D. Environmental Services Limited.

The permit number is EPR/XP3833UB/V009.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

The permit has been varied following the publication of the revised Best Available Techniques (BAT) Reference Documents (BREF) for Waste Treatment. The associated BAT conclusions to this document were published on 17 August 2018 in the Official Journal of the European Union.

This variation incorporates the changes required by the Industrial Emissions Directive following a statutory review of permits in the Waste Treatment sector. These include the amendment of the wording of several permit conditions relating to notifications, changes to emissions limits and monitoring requirements.

We are satisfied that the operator will be compliant with the published BAT conclusions which will apply from 17 August 2022.

Purpose of this document

This decision document:

- explains how we have carried out our statutory review of the Operator’s Permit;

- why we have decided to vary the Permit as a result of that review; and

- why we have included the specific conditions in the revised Permit through the variation notice we are issuing.

It is our record of our decision-making process, to show how we have taken into account all relevant factors in reaching our position.

Structure of this document

- Assessment of East Bank Road Treatment Facility against the published BAT conclusions for Waste Treatment.

- Annex 1 – Decision Checklist regarding relevant BAT Conclusions

Assessment of East Bank Road Treatment Facility against the published BAT conclusions for Waste Treatment

1. Our decision

We have issued a variation, which will allow G.D. Environmental Services Limited to operate the installation, subject to the conditions in the varied permit.

The variation does three things:

- it consolidates the original permit to reflect changes made through earlier variations;

- it brings the permit into line with our modern regulatory template; and

- it varies the permit where appropriate to reflect the outcome of our statutory review and incorporate Best Available Techniques (BAT) and Associated Emission Limit Values (BAT-AELs).

We consider that, in reaching this decision, we have taken into account all relevant considerations and legal requirements and that the permit will continue to ensure that a high level of protection is provided for the environment and human health.

The original permit, issued on the 04/01/2008, ensured that the installation, employed Best Available Techniques (BAT) and ensured a high level of protection for human health and the environment. We have altered the permit as a result of the statutory review, and we are confident that the new requirements will deliver a superior level of protection to that which was previously achieved. Where a site is not currently compliant with BAT, Improvement Conditions have been included to bring the site up standard by 17 August 2022.

2. The legal framework

The Variation and Consolidation Notice (which includes the consolidated permit as Schedule 2) will be issued under Regulation 20 of the Environmental Permitting (England and Wales) Regulations 2016 (EPR). The environmental permitting regime is a legal vehicle which delivers most of the relevant legal requirements for activities falling within its scope. In particular, the regulated facility is:

- an installation as described by the Industrial Emissions Directive (IED);

- subject to aspects of other relevant legislation which also have to be addressed.

We consider that, in issuing the Variation and Consolidated Permit, it will ensure that the operation of the installation complies with all relevant legal requirements and that a high level of protection will be delivered for the environment and human health.

We explain how we have addressed specific statutory requirements more fully in the rest of this document.

3. How we reached our decision

Requesting information to demonstrate compliance with BAT Conclusion techniques

We issued a Notice under Regulation 61(1) of the Environmental Permitting (England and Wales) Regulations 2016 on 05/04/2019 requiring the operator to provide information to demonstrate how the operation of their installation currently meets, or will subsequently meet, the revised standards described in the relevant BAT Conclusions document.

The Regulation 61(1) Notice required the operator to:

- Describe the techniques that will be implemented before 17 August 2022, which will then ensure that operations meet the revised standard, or

- Justify why standards will not be met by 17 August 2022, and confirmation of the date when the operation of those processes will cease within the installation or an explanation of why the revised BAT standard is not applicable to those processes, or

- Justify why an alternative technique will achieve the same level of environmental protection equivalent to the revised standard described in the BAT Conclusions.

- Where their permitted activity involves the use, production or release of a hazardous substance, as defined in Article 3(18) of the Industrial Emissions Directive, G.D. Environmental Services Limited were required to carry out a risk assessment considering the possibility of soil and groundwater contamination at the permitted installation with such substances. A risk assessment was carried out and concluded that there are no risks of soil or groundwater contamination as the waste is contained primarily within storage/treatment tanks, within secondary bunded containment, and a sealed drainage system with a three-stage interceptor is also in place.

- Where their permitted activity involves the use, production, storage or release of priority hazardous substances and any other relevant substances., as defined by the Water Framework Directive, the G.D. Environmental Services Limited were required to carry out a risk screening assessment considering the presence of priority hazardous substances at the permitted installation. Where a risk of these substances is established the operator is to sample the effluent and screen for the priority hazardous substances. If these substances are found to be present in the effluent stream, then assessment using the H1 tool and potential detailed modelling will be required to demonstrate that the effluent discharge will not have a significant impact to the receiving water. The process was not completed. The operator is reliant on the consent to discharge. From the information provided we were not able to fully assess what monitoring or BATS AELs were relevant. An improvement condition has been set.

Where the operator proposed that they were not intending to meet a BAT standard, that also included a BAT Associated Emission Level (BAT-AEL) described in the Waste Treatment BAT Conclusions Document, the Regulation 61(1) Notice requested that the operator make a formal request for derogation from compliance with that AEL (as provisioned by Article 15(4) of IED). In this circumstance, the Notice identified that any such request for derogation must be supported and justified by sufficient technical and commercial information that would enable us to determine acceptability of the derogation request.

The Regulation 61(1) Notice response from the operator was received on 15/10/2019 and additional information received on 13/11/2019, 21/10/2020, 02/11/2020, 05/12/2020, and 11/12/2020.

We considered that the response contained sufficient information for us to commence determination of the permit review. The operator made no claim for confidentiality. We have not received any information in relation to the Regulation 61(1) Notice response that appears to be confidential in relation to any part.

# 4. Key issues/Regulation 61(1) response

# BAT Conclusions for the Waste Treatment were published as Commission Implementing Decision EU 2018/1447 in the Official Journal of the EU on 17 August 2018.  There are 53 BAT Conclusions. This annex provides a record of decisions made in relation to each relevant BAT Conclusion applicable to the installation. This should be read in conjunction with the permit/variation notice issued.

A detailed response was received from G.D. Environmental Services Limited. Following assessment of the Regulation 61(1) response, further information was requested from G.D. Environmental Services Limited. Where the operator has concluded that they have achieved BAT, and we are in agreement, no further information/justification has been sought by Natural Resources Wales.

5. Changes we have made

Improvement Conditions

Based on the information provided in the Regulation 61(1) response, we consider that we need to set improvement conditions. These conditions are set out below. We are using these conditions to require the operator to provide Natural Resources Wales with details that need to be established or confirmed during operations. The improvement conditions ensure compliance by 2022.

| Reference | Requirement | Date |
| --- | --- | --- |
| IPC16 | BAT 3. Establish and to maintain an inventory of waste water and waste gas streams to facilitate the reduction of emissions to water and air The operator shall submit to Natural Resources Wales information in order to evidence compliance with BAT 3 that incorporates all of the following features in accordance with requirements specified within BAT Conclusion of the Waste Treatment BREF Document (EU 2018): (i) information about the characteristics of the waste to be treated and the waste treatment processes, including: (a) simplified process flow sheets that show the origin of the emissions; (b) descriptions of process-integrated techniques and waste water/waste gas treatment at source including their performances. (ii) information about the characteristics of the waste water streams, such as: (a) average values and variability of flow, pH, temperature, and conductivity; (b) average concentration and load values of relevant substances and their variability (e.g. COD/TOC, nitrogen species, phosphorus, metals, priority substances/micropollutants); (c) data on bioeliminability (e.g. BOD, BOD to COD ratio, Zahn-Wellens test, biological inhibition potential (e.g. inhibition of activated sludge)) (see BAT 52). Information resulting from this improvement condition will be used to assess the relevance of the BAT AELs and monitoring requirements as set in Schedules 3 and 4 of this permit. | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IPC17 | BAT 7. Monitor emissions to water The operator shall submit to Natural Resources Wales a written procedure(s) in accordance with requirements specified within BAT Conclusions of the Waste Treatment BREF Document (EU 2018) in relation to: BAT is to monitor emissions to water with at least the frequency given within table for the relevant treatment type (Treatment of water-based liquid waste), and in accordance with EN standards. If EN standards are not available, BAT is to use ISO, national or other international standards that ensure the provision of data of an equivalent scientific quality, taking into account the table footnotes. Information resulting from this improvement condition will be used to assess the relevance of the BAT AELs and monitoring requirements as set in Schedules 3 and 4 of this permit. | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IPC18 | BAT 19 Optimise water consumption, reduce waste water generation and prevent/reduce emissions to soil and water The operator shall submit to Natural Resources Wales information in order to evidence compliance with BAT 19 requiring the use of one or a combination of techniques in accordance with requirements specified within BAT Conclusion of the Waste Treatment BREF Document (EU 2018): c) impermeable surface (information on how the site complies with CIRIA 736 or an equivalent engineering standard to which the surface complies together with sign off from construction by a Certified Quality Auditor) e) Roofing of waste storage and treatment areas | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IPC19 | BAT 20 Reduce emissions to water The operator shall submit to Natural Resources Wales a written procedure(s) in accordance with requirements specified within BAT Conclusions of the Waste Treatment BREF Document (EU 2018) in relation to: BAT 20 - In order to reduce emissions to water, BAT is to treat waste water using an appropriate combination of the techniques described within BAT 20 Table. BAT 20 applies to all sites that treat waste waters on site to reduce emissions prior to discharge. BAT-associated emission levels (BAT-AELs) for indirect discharges to a receiving water body should comply with Table 6.2 of BAT 20. Information resulting from this improvement condition will be used to assess the relevance of the BAT AELs and monitoring requirements as set in Schedules 3 and 4 of this permit. | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IPC20 | BAT 23 Use energy efficiently. The operator shall submit to Natural Resources Wales information in order to evidence compliance with BAT 23 requiring the use both of the following techniques in accordance with requirements specified within BAT Conclusion of the Waste Treatment BREF Document (EU 2018): a. Energy efficiency plan b. Energy balance record | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IPC21 | BAT 24 Reuse of Packaging The operator shall submit to Natural Resources Wales a Residues Management Plan in order to evidence compliance with BAT 24 (see also BAT 1 XII) in accordance with requirements specified within BAT Conclusion of the Waste Treatment BREF Document (EU 2018). | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IPC22 | BAT 52 Improve overall environmental performance by monitoring the waste input as part of the waste pre-acceptance and acceptance procedures. The operator shall submit to Natural Resources Wales information in order to evidence compliance with BAT 52 (see also BAT 2) by monitoring the waste input of: - Bioeliminability e.g. BOD, BOD-COD ratio, Zahn-Wellens test, biological inhibition potential - Feasibility of emulsion breaking e.g. lab testing in accordance with requirements specified within BAT Conclusion of the Waste Treatment BREF Document (EU 2018). | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IPC23 | For all discharges to surface waters and/or sewer from the site, you must provide information for priority hazardous substances and any other relevant substances. The emissions monitoring for these substances should be carried out using the methods and standards described in the M18 guidance on “Monitoring of discharges to water and sewer”. With reference to the risk assessment guidance on the gov.uk website entitled “Surface water pollution risk assessment for your environmental permit“ (accessible via this link: https://www.gov.uk/guidance/surface-water-pollution-risk-assessment-for-yourenvironmental-permit) carry out the following assessments: - Screening tests for priority hazardous pollutants and any other relevant priority hazardous substances. - For any substance which is not screened out by the screening tests you will need to carry out modelling, as described in the risk assessment guidance “Surface water pollution risk assessment for your environmental permit”. You must provide us with the results from the emissions monitoring, the results from the screening tests and the results from any modelling. You can use the H1 electronic screening tool to present the emissions data and to carry out the screening tests. We will provide a copy of the tool to your local representative at the site address. With regard to the screening a full list of relevant substances is provided on the “Surface water pollution risk assessment for your environmental permit” pages of the gov.uk website. You should review the list and carry out the screening for any hazardous pollutants Information resulting from this improvement condition will be used to assess the relevance of the BAT AELs and monitoring requirements as set in Schedules 3 and 4 of this permit. | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |

Our guidance does not apply to hazardous waste storage. Therefore, any regulated facility storing hazardous waste shall include a section for waste storage and fire prevention techniques and reference the relevant guidance for this as part of the facilities Environmental Management System (EMS). This could be the Health and Safety Executive guidance. The operator shall state how it will store waste and prevent fires.

IPC16 has been set to obtain information relating to information about the characteristics of the waste to be treated and the waste treatment processes, and information about the characteristics of the waste water streams. This information will be used to identify the appropriate BAT AELs and monitoring requirements for indirect discharges to a receiving water body from the site. To date this information has not been fully provided, therefore the BAT AELs and monitoring requirements have been applied within Schedules 3 and 4 of the permit in a precautionary manner. See also IPC17, IPC19 and IPC23.

IPC18 had been set for the operator to:

- demonstrate that additional roofing of waste storage and treatment areas has been added at the facility as per the operator’s response of 21/10/2020.

- confirm that the sites impermeable surface meets the relevant engineering standard

IPC20 had been set for the operator to provide an Energy efficiency plan including an energy balance record is supplied as per the operator’s response of 21/10/2020 and BAT 23.

IPC21 had been set for the operator to provide a Residues Management Plan is supplied as per the operator’s response of 21/10/2020 and BAT 24.

IPC22 had been set for the operator to demonstrate compliance with BAT conclusion 52 as no information has been received to date.

Operational Changes

As part of this review, the permit has been consolidated to reflect changes made through earlier variations. In addition to bringing the permit in line with our modern regulatory template, there have been a number of other operational changes made to the permit. These are summarised below:

- The permit contained two Directly Assocated Activities (DAA) for the recovery of hazardous waste (storage, repackaging and bulking of hazardous solid waste and the storage, blending and treatment of hazardous liquid waste). The limits of specified activity as listed in Table S1.1 activities of the permit (including the permitted waste types and permitted tonnages) were the same as the listed A1 activity- S5.3 A(1)(a)(iii), which was just given for the disposal aspect of the activity. As the listed activity is for the disposal or recovery of hazardous waste, the listed activity and DAA were combined.

- The permit contained a further Directly Assocated Activity (DAA) for the recovery and disposal of non-hazardous waste (Storage, blending and treatment of non-hazardous waste). This activity is not DAA as it is carried out separately to the listed activities. Upon review of the type of treatment and the treatment capacity, the activity was changed to a listed activity - S5.4 A1 (b) (i)- Recovery or a mix of recovery and disposal of non-hazardous waste with a capacity exceeding 75 tonnes per day involving biological treatment. It was confirmed by the operator that the tanks on site are as follows and are therefore over the 75 tonnes per day treatment capacity:

  - Reception Tank with capacity of 66 cubic metres

  - Second Settlement Tank with capacity of 80 cubic metres

  - Treatment tank with capacity of 80 cubic metres

  - Spare storage tank with capacity of 50 cubic metres

The above changes (plus a review of the OPRA profile in general, has increased the sites OPRA score from 74 to 82.

Additionally the previously incorporated responses to improvement conditions IC13, IC14 and IC15 have been removed from the permit as these operational practices were written by a previous operator and are no longer relevant. Current documented operational practices have superseded this information.

Emissions to Water

As part of our delivery of the Water Framework Directive requirements, we need to identify and assess the impact for all discharges to surface waters and/or sewer from the site for priority hazardous substances and any other relevant substances. The emissions monitoring for these substances should be carried out using the methods and standards described in the M18 guidance on “Monitoring of discharges to water and sewer”.

With reference to the risk assessment guidance on the gov.uk website entitled “Surface water pollution risk assessment for your environmental permit“ (accessible via: https://www.gov.uk/guidance/surface-water-pollution-risk-assessment-for-your-environmental-permit) the company were required to carry out the following assessments:

•	Screening tests for priority hazardous pollutants and any other relevant priority hazardous substances.

•	For any substance which is not screened out by the screening tests further modelling, as described in the risk assessment guidance “Surface water pollution risk assessment for your environmental permit”.

This was not completed so an improvement condition has been set.

As BAT conclusions 3, 7 and 20 and question 7 of the Regulation 61(1) notice were not responded to with the relevant information; all the BAT AELs and monitoring that could apply for the treatment type have been included within Schedules 3 and 4 of the permit, and improvement conditions have been set to obtain this information. Once the improvement conditions have been completed, some of the BAT AELs may be removed from the permit.

There is no direct discharge to surface water under this permit. There is an indirect discharge to sewer which is covered by a Dwr Cymru Welsh Water consent to discharge. The consent to discharge contains the following parameters and limits:

- pH value- GT6.0- LT11.0

- sulphate (as SO4)- 1000mg/l

- oil and grease- 500mg/l

- suspended solids- 3000mg/l

- chemical oxygen demand 15000/17000mg/l

- ammoniacal nitrogen (as N) 250mg/l

- daily volume- 80m3

- copper (as cu)- 2.0mg/l

- chromium (as Cr)- 2.0mg/l

- zinc (as Zn)- 2.0mg/l

- nickel (as Ni)- 2.0mg/l

- lead (as Pb)- 2.0mg/l

- rate of discharge 2.01/sec

The specific BAT Conclusions on water emissions were also reviewed based on the Waste Treatment BREF and the following changes are made to the ELV’s for emissions to water taking into account BAT Conclusion 20 from the BREF.

BAT AELs have been amended for the following parameters. The BAT AELs for metals have been included as these are lower than those currently in the consent for discharge. BAT AELs for parameters that are not metals have been included for the reasons given above.

| Parameter | Limit | Effective from |
| --- | --- | --- |
| Adsorbable organically bound halogens (AOX) | 1 mg/l | 17/08/2022 |
| Benzene, toluene, ethylbenzene, xylene (BTEX) | None set | 17/08/2022 |
| Free cyanide (CN-) | 0.1 mg/l | 17/08/2022 |
| Hydrocarbon oil index (HOI) | 10 mg/l | 17/08/2022 |
| Arsenic (As) | 0.1 mg/l | 17/08/2022 |
| Cadmium (Cd) | 0.1 mg/l | 17/08/2022 |
| Chromium (Cr) | 0.3 mg/l | 17/08/2022 |
| Copper (Cu) | 0.5 mg/l | 17/08/2022 |
| Nickel (Ni) | 1 mg/l | 17/08/2022 |
| Lead (Pb) | 0.3 mg/l | 17/08/2022 |
| Zinc (Zn) | 2 mg/l | 17/08/2022 |
| Manganese (Mn) | None set | 17/08/2022 |
| Hexavalent chromium (Cr(VI)) | 0.1 mg/l | 17/08/2022 |
| Mercury (Hg) | 10 μg/l | 17/08/2022 |
| PFOA | None set | 17/08/2022 |
| PFOS | None set | 17/08/2022 |

Emissions to Water – Article 15(4) Derogations

No derogations

Emissions to Air

No new emission limits have been set as a result of this BREF review Variation.

The site has a point source emissions to air via tank vents from the liquid waste tanks. No limits have been set for these emission sources and only fugitive vapour emissions will be managed. The permit contains condition 3.2.1 which controls the release of any emissions not controlled by emission limits. We are satisfied that the appropriate measures will be in place to prevent or where that is not practicable to minimise fugitive emissions and to prevent pollution from fugitive emissions.

Emissions to Air – Article 15(4) Derogations

No derogations

Other IED BREFs relevant to the permit review

There are no specific listed activities within Table S1.1 of the permit that are within scope of other published BREFS.

# 6. Conclusion

We consider that the installation already employed what used to be BAT, and that the operator has achieved significant improvements in performance since the permit was originally granted. The revised BREF and its BAT-AELs provide the opportunity to consider further environmental improvements.

Coupled with the consolidation and modernisation of the permit, we believe this variation provides a sound basis for ongoing regulation of the installation and we are satisfied that the operator is currently achieving or will be achieving all relevant BAT by 17 August 2022.

We believe that we have ensured compliance with all relevant legal requirements in carrying out this review and making our determination on the variation.

Annex 1: Decision checklist regarding relevant BAT Conclusions

BAT Conclusions for the Waste Treatment BREF were published as a Commission Implementing Decision (EU 2018/1147) in the Official Journal of the EU on 17 August 2018.  There are 53 BAT Conclusions. This checklist provides a record of decisions made in relation to each relevant BAT Conclusion applicable to the installation.  This annex should be read in conjunction with the consolidated variation notice.

All BAT Conclusions arising are listed by number in order below;

| ### BATc number |  | ### Summary of BAT Conclusion requirement | Status/comment One of the following: Not Applicable, Currently Compliant, Compliant in the future (within 4 years of publication of BAT conclusions), Not Compliant |  |
| --- | --- | --- | --- | --- |
| OVERALL ENVIRONMENTAL PERFORMANCE |  |  |  |  |
| 1 | Environment Management System (EMS) – ALL of the following: |  |  |  |
|  | I. | Management commitment | Currently compliant The operator has confirmed that all management, including senior management, are committed to the improvement of our overall environmental performance. Monthly site audits are carried out by senior management and reviews are discussed within monthly management meetings. A site diary completed each day. Referenced documents: Reg 61 response - further info 05.10.20 |  |
|  | II. | Environmental policy development including CI of performance | Currently compliant The operator has confirmed that an Environmental Policy is in place, which includes definition and continuous improvement of the environmental performance of the site. It is reviewed and discussed in monthly management meetings. Referenced documents: Reg 61 response - further info 05.10.20 |  |
|  | III. | Planning and implementing procedures & targets in conjunction with financial planning & investment | Currently compliant The operator has confirmed that fully implemented procedures are in place that takes into account specifically points BAT 1 IV (a-i). Referenced documents: Reg 61 response - further info 05.10.20. |  |
|  | IV. | Implementation of procedures |  |  |
|  |  | (a) Structure & responsibility | Currently compliant The operator has confirmed that a Company Management Hierarchy is in place which denotes individual roles and responsibilities within the company. Referenced documents: Reg 61 response - further info 05.10.20 |  |
|  |  | (b) Recruitment, training, awareness & competence | Currently compliant The operator has confirmed that all staff are recruited and trained as appropriate for the role they are undertaking. Evidence of qualification are recorded at induction and training matrix is kept and reviewed regularly. Referenced documents: Reg 61 response - further info 05.10.20 |  |
|  |  | (c) Communication | Currently compliant The operator has confirmed that all company processes and procedures are communicated to staff via toolbox talks, specific training where required, company memo's, etc. Referenced documents: Reg 61 response - further info 05.10.20 |  |
|  |  | (d) Employee involvement | Currently compliant The operator has confirmed that there is employee involvement via toolbox talks including training, health & safety, performance, etc. aspects of the business. Referenced documents: Reg 61 response - further info 05.10.20 |  |
|  |  | (e) Documentation | Currently compliant The operator has confirmed that all relevant and necessary records are kept including training, toolbox talks, audit records, etc. Referenced documents: Reg 61 response - further info 05.10.20 |  |
|  |  | (f) Effective process control | Currently compliant The operator has confirmed that the installation process is monitored, and results recorded on a daily basis and anomalies are reported and addressed as required. For example; the waste tracker system which tracks waste from cradle to grave, testing of waste incoming, during process and prior to discharge/ transfer, which all following the pre-waste acceptance procedures. Referenced documents: Reg 61 response - further info 05.10.20 |  |
|  |  | (g) Maintenance programmes | Currently compliant The operator has confirmed that a monthly plant and infrastructure maintenance programme is in place and as such any issues encountered are recorded, reported and rectified in accordance with the site procedures. Referenced documents: Reg 61 response - further info 05.10.20 |  |
|  |  | (h) Emergency preparedness & response | Currently compliant The operator has confirmed that emergency procedures are in place for all of the work activities including environmental risk assessments. These are reviewed on an annual basis and amended as required. Referenced documents: Reg 61 response - further info 05.10.20 |  |
|  |  | (i) Safeguarding compliance with environmental legislation | Currently compliant The operator has confirmed that all procedures and processes are reviewed on an annual basis as a minimum and in line with updated legislation. Referenced documents: Reg 61 response - further info 05.10.20 |  |
|  | V. | Checking performance and taking corrective action |  |  |
|  |  | (a) Monitoring & measurement | Currently compliant The operator has confirmed that performance is checked at senior management level every quarter and externally every year. Monitoring & measurement is carried out daily through process monitoring & measurement, adhering to parameters set by the governing bodies (NRW, Welsh Water, etc). Referenced documents: Reg 61 response - further info 05.10.20 |  |
|  |  | (b) Corrective and preventive action | Currently compliant The operator has confirmed that performance is checked at senior management level every quarter and externally every year. Daily site checks are carried out and recorded in site diary. As well as monthly site plan and infrastructure maintenance programme, which ensures that we are able to quickly identify and rectify any anomalies, which allows us to pre-empt and prevent similar occurrences going forward. Referenced documents: Reg 61 response - further info 05.10.20 |  |
|  |  | (c) Maintenance of records | Currently compliant The operator has confirmed that performance is checked at senior management level every quarter and externally every year. Records are kept both in hard copy form at the site and electronically, which are accessible via the company server. This is backed up on a daily basis and maintained by an external, fully accredited IT company. Referenced documents: Reg 61 response - further info 05.10.20 |  |
|  |  | (d) Independent (where practicable) internal or external EMS auditing | Currently compliant The operator has confirmed that performance is checked at senior management level every quarter and externally every year. Internal monthly audits are carried out by the Compliance Manager. Also, every quarter by the wider Management Team. External audits are carried out every year including ISO Accreditation, NRW audits and MCERTS. Referenced documents: Reg 61 response - further info 05.10.20 |  |
|  | VI. | Senior management review of EMS | Currently compliant The operator has confirmed that the senior management review of the EMS is carried out on an annual basis and is contained within our Company Annual Review Document. Referenced documents: Reg 61 response - further info 05.10.20 |  |
|  | VII. | Following development of cleaner technologies | Currently compliant The operator has confirmed that they are constantly investing and looking for more up to date, environmentally friendly and economic options. Referenced documents: Reg 61 response - further info 05.10.20 |  |
|  | VIII. | Whole life cycle considerations when designing a new plant i.e. impacts from eventual decommissioning and throughout its operating life | Currently compliant The operator has confirmed that a full environmental management plan is in place, including consideration for any appropriate plans relating to design and implementation of new plant and decommissioning of redundant plant. Referenced documents: Reg 61 response - further info 05.10.20 |  |
|  | IX. | Regular sectoral bench marking | Currently compliant The operator has confirmed that benchmarking is carried out during the annual general management and procedural reviews, with any appropriate amendments being recorded and necessary changes made. Referenced documents: Reg 61 response - further info 05.10.20 |  |
|  | X. | Waste stream management (BAT 2) | Currently compliant The operator has confirmed that waste stream management is in place as per their pre-acceptance procedures, including testing of waste and recording of all waste streams within waste tracker (cradle to grave). Referenced documents: Reg 61 response - further info 05.10.20 |  |
|  | XI. | Inventory of waste water & waste gas streams (BAT 3) | Currently compliant The operator has confirmed that the inventory of waste water is included within the waste tracker (cradle to grave), including volumes. This is also recorded within the logistics system and reported in our quarterly returns. Waste gas streams are not produced or treated so this is not applicable. There are point source emissions to air from the Tank vents on the Liquid waste tanks, however no limits or monitoring requirements have previously been set. Referenced documents: Reg 61 response - further info 05.10.20 |  |
|  | XII. | Residues Management Plan – S6.5 | Currently compliant The operator has confirmed that residues are managed by monitoring and recording via our waste tracking systems and inventories. Referenced documents: Reg 61 response - further info 05.10.20 |  |
|  | XIII. | Accident Management Plan – S6.5 | Currently compliant The operator has confirmed that an accident management plan is in place within the EMS. Referenced documents: Reg 61 response - further info 05.10.20 |  |
|  | XIV. | Odour Management Plan (BAT 12) | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has confirmed that an Odour Management Plan is in place within the EMS. The Site Compliance Officer has confirmed that processes on-site do not generate odour, and there have not been any odour complaints about the site. Referenced documents: Reg 61 response - further info 05.10.20 |  |
|  | XV. | Noise & Vibration Management Plan (BAT 17) | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has confirmed that that a Noise & Vibration Management Plan is in place within the EMS. The Site Compliance Officer has confirmed that operations on site do not generate noise, and that there have not been any complaints about noise relating to this site. Referenced documents: Reg 61 response - further info 05.10.20 |  |
| 2 | Improving overall environmental performance – ALL of the following: |  |  |  |
|  | a. | Set up and implement waste characterisation & pre-acceptance procedures | Currently compliant The operator has confirmed that waste characterisation is recorded on site, following the fully implemented pre-acceptance procedures. These are reviewed on an annual basis by senior management, in line with the EMS. Referenced documents: Reg 61 response - further info 05.10.20 |
|  | b. | Set up and implement waste acceptance procedures | Currently compliant The operator has confirmed that waste acceptance procedures are fully implemented and are reviewed on an annual basis, in line with any applicable changes in government legislation. Referenced documents: Reg 61 response - further info 05.10.20 |
|  | c. | Set up and implement a waste tracking system & inventory | Currently compliant The operator has confirmed that the waste tracking and inventory is fully implemented. It is monitored and recorded on site as well as within the Company server which is backed up daily and maintained by an external and fully accredited IT company. Referenced documents: Reg 61 response - further info 05.10.20 |
|  | d. | Set up and implement an output quality management system | Currently compliant The operator has confirmed that the output quality management system is fully implemented, monitored and reviewed by senior management and is communicated to and understood by all operating staff. Referenced documents: Reg 61 response - further info 05.10.20 |
|  | e. | Ensure waste segregation | Currently compliant The operator has stated that to ensure waste segregation, designated areas for certain waste streams are located within the plant/ site. Be it packaged waste (on impermeable surfaces) or liquid wastes (within bunded tank storage). Referenced documents: Reg 61 response - further info 05.10.20 |
|  | f. | Ensure waste compatibility prior to mixing or blending | Currently compliant The operator has confirmed that all wastes are tested for their compatibility as per waste acceptance procedures. Referenced documents: Reg 61 response - further info 05.10.20 |
|  | g. | Sort solid incoming waste – S6.4 | Currently compliant The operator has confirmed that all wastes are sorted and stored in line with our waste acceptance procedures, the sorting of wastes being carried out within a designated area on site. Referenced documents: Reg 61 response - further info 05.10.20 |
| 3 | Establish and maintain a waste water and waste gas inventory as part of the EMS - ALL of the following: |  |  |  |
|  | Information on characteristics of waste and waste treatment processes |  |  |  |
|  | (i)(a) | simplified process flow sheets showing emission sources | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has confirmed that the simplified process flow sheets are fully implemented and can be found within the EMS. Referenced documents: Reg 61 response - further info 05.10.20 However, this part of the EMS was not provided. We were not able to fully assess what monitoring or BATS AELS were relevant. All the BAT AELs and monitoring that could apply for the treatment type have been included within Schedules 3 and 4 of the permit. An improvement condition has been set- See IPC16 |
|  | (i)(b) | Process-integrated and waste water/waste gas treatment descriptions including performance | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has confirmed that a fully implemented waste water treatment system is in place. Performance of plant is monitored daily and recorded for analysis in order to maintain or improve performance as required. Referenced documents: Reg 61 response - further info 05.10.20 However, this was not provided. We were not able to fully assess what monitoring or BATS AELS were relevant. All the BAT AELs and monitoring that could apply for the treatment type have been included within Schedules 3 and 4 of the permit. An improvement condition has been set- See IPC16 Waste gas streams are not produced or treated so this is not applicable. There are point source emissions to air from the Tank vents on the Liquid waste tanks, however no limits or monitoring requirements have previously been set. |
|  | Information on characteristics of waste water streams |  |  |  |
|  | (ii)(a) | Mean and variability of: |  |
|  |  | Flow | Currently compliant The operator has stated the average flow is be 1.5 litres per second (variability +/-0.2 litres per second) and is monitored in-house via MCERTS flow meter as per Welsh Water consent to discharge. Referenced document: Reg 61 response - further info 05.10.20 |
|  |  | pH | Currently compliant The operator has stated the pH is an average of 8 (variability +/- 1). Referenced documents Reg 61 response - further info 05.10.20 |
|  |  | Temperature | Currently compliant The operator has stated the temperature is ambient and is monitored through process via temperature probes. Referenced documents Reg 61 response - further info 05.10.20 |
|  |  | Conductivity | Not applicable The operator has stated that this is not a relevant waste water stream characteristic. Referenced documents Reg 61 response - further info 05.10.20 |
|  | (ii)(b) | Mean concentration, load and variability of: |  |
|  |  | Total suspended solids | Currently compliant The operator has stated mean concentration of total suspended solids is 500mg/l (variability +/- 200 mg/l). Referenced documents Reg 61 response - further info 05.10.20 |
|  |  | COD/TOC | Currently compliant The operator has stated mean concentration of COD/TOC is 1000 mg/l (variability +/-500 mg/l). Referenced documents Reg 61 response - further info 05.10.20 |
|  |  | Nitrogen species | Not applicable The operator has stated that this is not a relevant waste water stream characteristic. Referenced documents Reg 61 response - further info 05.10.20 |
|  |  | Phosphorous | Not applicable The operator has stated that this is not a relevant waste water stream characteristic. Referenced documents Reg 61 response - further info 05.10.20 |
|  |  | Metals | Currently compliant The operator has stated mean concentration of Metals is 0.5 mg/l (+/- 1mg/l). Referenced documents Reg 61 response - further info 05.10.20. |
|  |  | Priority substances/micropollutants | Not applicable The operator has stated that this is not a relevant waste water stream characteristic. Referenced documents Reg 61 response - further info 05.10.20 |
|  |  | Any other relevant compounds | Currently compliant The operator has stated mean concentration of sulphate is 500 mg/l (+/- 100 mg/l), and ammonia is 200 mg/l (+/- 100 mg/l). Referenced documents Reg 61 response - further info 05.10.20. |
|  | (ii)(c) | Bioeliminability data (see BAT 52): |  |
|  |  | BOD | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has not provided information on Bioeliminability data An improvement condition has been set- see IPC16 and IPC22. |
|  |  | BOD to COD ratio |  |
|  |  | Zahn-Wellens test |  |
|  |  | Biological inhibition potential |  |
|  | Information on characteristics of waste gas streams |  |  |  |
|  | (iii)(a) | Mean and variability of: |  |
|  |  | Flow | Not applicable Waste gas streams are not produced or treated. There are point source emissions to air from the Tank vents on the Liquid waste tanks, however no limits or monitoring requirements have previously been set. |
|  |  | temperature |  |
|  | (iii)(b) | Mean concentration, load and variability of relevant substances: |  |
|  |  | Organic compounds | Not applicable Waste gas streams are not produced or treated. There are point source emissions to air from the Tank vents on the Liquid waste tanks, however no limits or monitoring requirements have previously been set. |
|  |  | POPs e.g. PCBs |  |
|  |  | Any other relevant compounds |  |
|  | (iii)(c) | Flammability | Not applicable Waste gas streams are not produced or treated. There are point source emissions to air from the Tank vents on the Liquid waste tanks, however no limits or monitoring requirements have previously been set. |
|  |  | Lower and Higher Explosive Limits |  |
|  |  | Reactivity |  |
|  | (iii)(d) | Presence of other substances that may affect the gas treatment system or plant safety: |  |
|  |  | O2 | Not applicable Waste gas streams are not produced or treated. There are point source emissions to air from the Tank vents on the Liquid waste tanks, however no limits or monitoring requirements have previously been set. |
|  |  | N2 |  |
|  |  | Water vapour |  |
|  |  | Dust |  |
| 4 | Reducing environmental risk associated with waste storage – ALL of the following: |  |  |  |
|  | a. | Optimised storage location | Currently compliant The operator has stated that Liquid waste is stored in above ground tanks, incorporating alarmed level sensors within bunded areas. Solid waste is stored and segregated in designated impermeable areas. Referenced documents Reg 61 response - further info 05.10.20 |
|  | b. | Adequate storage capacity | Currently compliant The operator has stated that Storage capacity is adequate as waste storage is never above 60-70% of overall capacity. Giving us a buffer of a minimum of 30%. Referenced documents Reg 61 response - further info 05.10.20 |
|  | c. | Safe storage operation | Currently compliant The operator has stated that Solid and liquid waste is segregated and stored in designated areas within the site/ plant. Referenced documents Reg 61 response - further info 05.10.20 |
|  | d. | Separate area for storage & handling of packaged hazardous waste | Currently compliant The operator has stated that Separate storage and handling areas for packaged waste are implemented within the site, in line with the EMS. Referenced documents: Reg 61 response - further info 05.10.20 |
| 5 | Set up and implement procedures to reduce the environmental risk associated with handling and transfer of waste - include following elements: |  |  |  |
|  | Carried out by competent staff |  | Currently compliant The operator has stated that competency of staff is maintained by adequate training and management. Referenced documents: Reg 61 response - further info 05.10.20 |
|  | Duly documented, validated and verified |  | Currently compliant The operator has stated that training records are kept and monitored. Validated by external certification. Referenced documents: Reg 61 response - further info 05.10.20 |
|  | Spill prevention, detection and mitigation measures |  | Currently compliant The operator has stated that spillage prevention is a check which is included with the daily site diary checks/ monthly plant infrastructure management programme. We have a fully implemented spillage procedure which is reviewed on an annual basis. All liquids are stored within bunded areas. Packaged wastes on impermeable surfaces. Referenced documents: Reg 61 response - further info 05.10.20 |
|  | Take precautions when mixing or blending wastes |  | Currently compliant The operator has stated that mixing and blending of wastes is carried out in accordance with site process and procedures, incorporating pre-acceptance procedure. This determines the storage/ treatment locations of wastes. Referenced documents: Reg 61 response - further info 05.10.20 |
|  | Procedures are risk-based and consider likelihood of accidents, incidents and their environmental impact |  | Currently compliant The operator has stated that all procedures/ activities are risk assessed to eliminate the likelihood of accidents, incidents and any environmental impact. Referenced documents: Reg 61 response - further info 05.10.20 |
| MONITORING |  |  |  |  |
| 6 | Relevant emissions to water: monitor key process parameters at key locations |  |  |  |
|  | Key process parameters |  |  |  |
|  | Waste water flow |  | Currently compliant The operator has confirmed that waste water flow is monitored and recorded (both manually & electronically) through process at key stages of treatment and discharge via MCERTS certificated flow meter. The operator has stated they are ISO & MCERTS Accredited and are regularly tested by Welsh Water, on a weekly basis, in line with the discharge consent levels. Referenced documents Reg 61 response - further info 05.10.20 |
|  | pH |  | Currently compliant The operator has confirmed that the pH is monitored and tested through process in-house and at discharge sampling points by both themselves and Welsh Water. Referenced documents Reg 61 response - further info 05.10.20 |
|  | Temperature |  | Currently compliant The operator has confirmed that temperature is monitored through process via temperature probes. Referenced documents Reg 61 response - further info 05.10.20 |
|  | Conductivity |  | Not applicable The operator has confirmed that. |
|  | BOD |  | Currently compliant The operator has confirmed that BOD is monitored and tested by Welsh Water on a weekly basis at discharge sample points. Referenced documents Reg 61 response - further info 05.10.20 |
|  | Other process parameters |  | Currently compliant The operator has confirmed that Total suspended solids, sulphate, ammonia are monitored and tested in house through process and at discharge sample points on a weekly basis by themselves and Welsh Water. Referenced documents Reg 61 response - further info 05.10.20 |
|  | Key monitoring locations |  |  |  |
|  | Pre-treatment inlet and/or outlet |  | Currently compliant The operator has confirmed that monitoring is carried out at pre-treatment and outlet in-house as part of the through process. Referenced documents Reg 61 response - further info 05.10.20 |
|  | Final treatment inlet |  | Currently compliant The operator has confirmed that monitoring is carried out at final treatment inlet in-house as part of the through process. Referenced documents Reg 61 response - further info 05.10.20 |
|  | Discharge point (to the environment) |  | Currently compliant The operator has confirmed that the discharge sample point is monitored by themselves and externally by Welsh Water on a weekly basis. Referenced documents Reg 61 response - further info 05.10.20 |
|  | Other location |  | Not applicable No other locations are applicable. |
| 7 | Monitoring emissions to water (refer to table) |  | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has stated that the rate of flow is monitored via MCERTS certificated flow meter. Elements within the treated wastes are monitored by daily testing at discharge points to ensure levels are within Welsh Water discharge consent. However, there is no evidence that operator has reviewed the relevant table within the BATc document. An improvement condition has been set- see IPC17 Referenced documents Reg 61 response - further info 05.10.20 |
|  | Monitoring parameters depend on waste treatment process(es) involved |  |  |
| 8 | Monitoring emissions to air (refer to table) |  | Not applicable BAT 8 is to monitor channelled emissions to air only. None of the listed parameters apply to this site or its activities. |
|  | Monitoring parameters depend on waste treatment process(es) involved |  |  |
| 9 | Monitoring diffuse emissions of organic compounds to air from processes involving solvents. Use one or a combination of the following: |  |  |  |
|  | a | Measurement – S6.2 descriptions | Not applicable No diffuse emissions of organic compounds to air from processes involving solvents |
|  | b | Emissions factor calculation |  |
|  | c | Mass balance calculation |  |
| 10 | Periodically monitor odour emissions where nuisance is expected and/or has been substantiated (monitoring frequency is outlined in BAT 12) |  |  |  |
|  | Use EN standards e.g. 13725 or 16841 |  | Not applicable Site compliance officer has confirmed the processes on-site do not generate odour and that there have never been any odour complaints about the site. |
|  | Use equivalent methods e.g. ISO / national / international monitoring standards |  |  |
| 11 | Annual monitoring for: |  |  |  |
|  | - Water, energy and raw materials |  | Currently compliant The operator has stated that they are currently complaint with the requirement for the annual monitoring for water, energy and raw materials via their submission of Annual Performance Reports. This annual monitoring forms part of the reporting requirements within the permit – see Schedule 4. Referenced documents: Reg 61 response - further info 05.10.20 |
|  | - Generation of residues and waste water |  | Currently compliant The operator has stated that they are currently complaint with the requirement for the annual monitoring for the generation of residues and waste water via their submission of Annual Performance Reports This annual monitoring forms part of the reporting requirements within the permit – see Schedule 4. Referenced documents: Reg 61 response - further info 05.10.20 |
| EMISSIONS TO AIR |  |  |  |  |
| 12 | Set up, implement and review an Odour Management Plan (as part of the site EMS) where nuisance is expected and/or has been substantiated. Include ALL of the following: |  |  |  |
|  | Protocol containing actions and timelines |  | Not applicable Site compliance officer has confirmed the processes on-site do not generate odour and that there have never been any odour complaints about the site. |
|  | Protocol for conducting odour monitoring (BAT 10) |  |  |
|  | Protocol for response to odour incidents/complaints |  |  |
|  | Odour prevention and reduction programme |  |  |
| 13 | Techniques to prevent, or where not practicable reduce odour emissions. Use one or a combination of the following: |  |  |  |
|  | a. | Minimising residence times (open systems only) | Not applicable Site compliance officer has confirmed the processes on-site do not generate odour and that there have never been any odour complaints about the site. |
|  | b. | Use chemical treatment (N/A if desired output is hampered) |  |
|  | c. | Optimising aerobic treatment – see examples. Refer to BAT 36 for wastes other than water-based liquid waste. |  |
| 14 | Techniques to prevent, or where not practicable reduce diffuse emissions to air, in particular of dust, organic compounds and odour. Use one or a combination of the following: |  |  |  |
|  | a. | Minimising potential diffuse emission sources – see examples | Currently compliant The operator has stated that potential diffuse emission sources are minimised. Referenced documents: East Road Treatment Facility Fugitive Emissions Management Plan- XP3833UB S1.4- Version 1.0 (submitted 05/12/2020) |
|  | b. | Select and use high-integrity equipment – see examples | Not applicable This method is not stated to be used. Referenced documents: East Road Treatment Facility Fugitive Emissions Management Plan- XP3833UB S1.4- Version 1.0 (submitted 05/12/2020) |
|  | c. | Corrosion prevention – see examples | Not applicable This method is not stated to be used. Referenced documents: East Road Treatment Facility Fugitive Emissions Management Plan- XP3833UB S1.4- Version 1.0 (submitted 05/12/2020) |
|  | d. | Containment, collection and treatment of diffuse emissions – see examples | Currently compliant The operator has stated that diffuse emissions are contained, collected and treated. See East Road Treatment Facility Fugitive Emissions Management Plan- XP3833UB S1.4- Version 1.0 (submitted 05/12/2020) |
|  | e. | Dampening (with water or fog) | Currently compliant The operator has stated that defuse emissions are dampened when necessary. Referenced documents: East Road Treatment Facility Fugitive Emissions Management Plan- XP3833UB S1.4- Version 1.0 (submitted 05/12/2020) |
|  | f. | Maintenance – see examples | Currently compliant The operator has stated that Referenced documents: East Road Treatment Facility Fugitive Emissions Management Plan- XP3833UB S1.4- Version 1.0 (submitted 05/12/2020) |
|  | g. | Cleaning of waste treatment and storage areas – see examples | Currently compliant The operator has stated that waste treatment and storage areas will be cleaned when required. Referenced documents: East Road Treatment Facility Fugitive Emissions Management Plan- XP3833UB S1.4- Version 1.0 (submitted 05/12/2020) |
|  | h. | Leak Detection and Repair (LDAR) programme for organics – S6.2 | Not applicable This method is not stated to be used. Referenced documents: East Road Treatment Facility Fugitive Emissions Management Plan- XP3833UB S1.4- Version 1.0 (submitted 05/12/2020) |
| 15 | Use flaring only for safety reasons or non-routine operating conditions (OTNOC). Use both of the following: |  |  |  |
|  | a. | Correct plant design – see examples | Not applicable Flaring not permitted |
|  | b. | Plant management including gas system balancing and advanced process control |  |
| 16 | Reduce emissions to air when flaring is unavoidable. Use both of the following: |  |  |  |
|  | a. | Correct design of flaring devices – see examples | Not applicable Flaring not permitted |
|  | b. | Monitoring and recording as part of flare management – see examples |  |
| NOISE AND VIBRATIONS |  |  |  |  |
| 17 | Set up, implement, and regularly review a Noise and Vibration Management Plan (as part of the EMS) where nuisance is expected and/or has been substantiated. Include ALL of the following: |  |  |  |
|  | I. | Protocol with actions and timelines | Not applicable Site compliance officer has confirmed that operations on site do not generate noise, and that there have not been any complaints about noise relating to this site. |
|  | II. | Noise and vibration monitoring plan/protocol |  |
|  | III. | Noise & vibration complaint response plan/protocol |  |
|  | IV. | Noise and vibration reduction programme |  |
| 18 | Techniques to prevent, or where not practicable reduce noise and vibration emissions. Use one or a combination of the following: |  |  |  |
|  | a. | Appropriate location of equipment and buildings | Not applicable Site compliance officer has confirmed that operations on site do not generate noise, and that there have not been any complaints about noise relating to this site. |
|  | b. | Operational measures – see examples |  |
|  | c. | Low-noise equipment – see examples |  |
|  | d. | Noise & vibration control equipment – see examples |  |
|  | e. | Noise attenuation – see examples |  |
| EMISSIONS TO WATER |  |  |  |  |
| 19 | Optimise water consumption, reduce waste water generation and prevent or where not practicable reduce emissions to soil and water. Use one or a combination of the following: |  |  |  |
|  | a. | Water management – see examples | Currently compliant The operator has stated that there is minimum water usage, aside from for the washing down of impermeable areas. Arisings from such are recirculated back into the water treatment process. Referenced documents Reg 61 response - further info 05.10.20 |
|  | b. | Water recirculation |  |
|  | c. | Impermeable surface | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has confirmed that impermeable surface is in place on site, but not that it meets the relevant specification. An IPC has been set- see IPC18. Referenced documents Reg 61 response - further info 05.10.20 |
|  | d. | Reduce likelihood and impact of tank/vessel overflows and failures – see examples | Currently compliant The operator has confirmed that all tanks are bunded and alarmed level censors are installed, which limits the likelihood of tank overflow. This is monitored via our plant maintenance and infrastructure programme which reduces the chance of failure. All potential polluting liquids (both for use and wastes) will be stored in containers with secondary containment capable of holding more than 110% of the tank capacity. The ancillary equipment will also be bunded. The capacity and integrity of bunds will be monitored, and remedial action taken where necessary. Referenced documents Reg 61 response - further info 05.10.20 and Environmental Risk Assessment- Felnex WW |
|  | e. | Roofing of waste storage and treatment areas | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has stated that plans are in place to install additional roofing over waste storage areas. An improvement condition has been set to ensure this is completed as stated- see IPC18. Referenced documents: Reg 61 response - further info 05.10.20 |
|  | f. | Segregation of water streams (being mindful of existing plant constraints) | Not applicable Other methods are being used |
|  | g. | Adequate drainage infrastructure | Currently compliant The operator has confirmed that adequate drainage systems are in place and maintained in-house within our plant and infrastructure maintenance programme, including 5-yearly CCTV drainage surveys. Referenced documents Reg 61 response - further info 05.10.20 |
|  | h. | Design and maintenance provisions to allow risk-based leak detection and repair. Minimise use of underground components. | Not applicable Other methods are being used |
|  | i. | Appropriate buffer storage capacity (being mindful of existing plant constraints) | Currently compliant The operator has confirmed that plant is limited to no more than 60-70% of the total storage capacity. Referenced documents Reg 61 response - further info 05.10.20. |
| 20 | Treat waste water using a combination of: |  |  |  |
|  | Preliminary, primary and general treatment |  |  |  |
|  | a. | Equalisation | Not applicable Treatment type not used. |
|  | b. | Neutralisation |  |
|  | c. | Physical separation | Currently compliant The operator has stated that physical separation is achieved by sedimentation and separation of oils, via settlement tanks and tilt-plate separator. Referenced documents Reg 61 response - further info 05.10.20. |
|  | Physico-chemical treatment |  |  |  |
|  | d. | Adsorption | Not applicable Treatment type not used. |
|  | e. | Distillation/rectification |  |
|  | f. | Precipitation |  |
|  | g. | Chemical oxidation |  |
|  | h. | Chemical reduction |  |
|  | i. | Evaporation |  |
|  | j. | Ion exchange |  |
|  | k. | Stripping |  |
|  | Biological treatment |  |  |  |
|  | l. | Activated sludge process | Currently compliant The operator has stated that activated sludge biological treatment is carried out via the aerobic treatment plant. Referenced documents Reg 61 response - further info 05.10.20. |
|  | m. | Membrane bioreactor | Not applicable Treatment type not used. |
|  | Nitrogen removal |  |  |  |
|  | n. | Nitrification/denitrification (where biological treatment used) | Currently compliant The operator has stated that nitrogen removal is carried out via the aerobic treatment plant. Referenced documents Reg 61 response - further info 05.10.20 |
|  | Solids removal |  |  |  |
|  | o. | Coagulation and flocculation | Not applicable Treatment type not used. |
|  | p. | Sedimentation | Currently compliant The operator has stated that sedimentation is carried out via settlement tanks. Referenced documents Reg 61 response - further info 05.10.20. |
|  | q. | Filtration (sand, micro, ultra) | Currently compliant The operator has stated that Filtration is carried out via the media filtration system through process within tilt-plate separator. Referenced documents Reg 61 response - further info 05.10.20. |
|  | r. | Flotation | Not applicable Treatment type not used. |
|  | BAT-AELs for DIRECT discharges to a receiving waterbody (mg/l) |  |  |  |
|  | Table 6.1 and its supporting notes. Monitoring requirements are outlined in BAT 7 |  |  |  |
|  | TOC | 10.0-60 | Not applicable No direct discharges to a receiving waterbody |
|  |  | 10-100 for water-based liquid waste |  |
|  | COD (TOC is preferred) | 30-180 |  |
|  |  | 30-300 for water-based liquid waste |  |
|  | Suspended solids | 5.0-60 |  |
|  | HOI | 0.5-10 applying to specific waste treatments |  |
|  | Total N | 1-25 for biological treatment and waste oil re-refining |  |
|  |  | 10-60 for water-based liquid waste |  |
|  | Total P | 0.3-2 for biological treatment |  |
|  |  | 1-3 for water-based liquid waste |  |
|  | Phenol | 0.05-0.2 for waste oil re-refining and physio-chemical treatment of waste with CV |  |
|  |  | 0.05-0.3 for water-based liquid waste |  |
|  | Free CN- | 0.02-0.1 for water-based liquid waste |  |
|  | AOX | 0.2-1 for water-based liquid waste |  |
|  | Metals & Metalloids – specific waste treatments as listed in Table 6.1 |  |  |
|  | As | 0.01-0.05 | Not applicable No direct discharges to a receiving waterbody |
|  | Cd | 0.01-0.05 |  |
|  | Cr | 0.01-0.15 |  |
|  | Cu | 0.05-0.5 |  |
|  | Pb | 0.05-0.1 |  |
|  | Ni | 0.05-0.5 |  |
|  | Hg | 0.5-5 |  |
|  | Zn | 0.1-1 |  |
|  | Metals & Metalloids – treatment of water-based liquid waste |  |  |
|  | As | 0.01-0.1 | Not applicable No direct discharges to a receiving waterbody |
|  | Cd | 0.01-0.1 |  |
|  | Cr | 0.01-0.3 |  |
|  | Hexavalent Cr [Cr(VI] | 0.01-0.1 |  |
|  | Cu | 0.05-0.5 |  |
|  | Pb | 0.05-0.3 |  |
|  | Ni | 0.05-1 |  |
|  | Hg | 1.0-10 |  |
|  | Zn | 0.1-2 |  |
|  | BAT-AELs for INDIRECT discharges to a receiving waterbody (mg/l) |  |  |  |
|  | Table 6.2 and its supporting notes. Monitoring requirements are outlined in BAT 7 |  |  |  |
|  | HOI | 0.5-10 applying to specific waste treatments | Compliant in the future (within 4 years of publication of BAT conclusions) Operator response: Monitoring of liquid waste streams carried out by through process in house daily testing as part of Pre acceptance and pre discharge procedures, Also monitoring carried out monthly in house and externally by Welsh Water via accredited lab. No waste water inventory completed. We were not able to fully assess what monitoring or BATS AELS were relevant. All the BAT AELs and monitoring that could apply for the treatment type have been included within Schedules 3 and 4 of the permit. An improvement condition has been set- See IPC16 See section 5 (Changes we have made- Emissions to Water) for more details. |
|  | Free CN- | 0.02-0.1 for water-based liquid waste |  |
|  | AOX | 0.2-1 for water-based liquid waste |  |
|  | Metals & Metalloids – specific waste treatments as listed in Table 6.2 |  |  |
|  | As | 0.01-0.05 | Not applicable Specific waste treatments as listed in Table 6.2 are not permitted |
|  | Cd | 0.01-0.05 |  |
|  | Cr | 0.01-0.15 |  |
|  | Cu | 0.05-0.5 |  |
|  | Pb | 0.05-0.1 |  |
|  | Ni | 0.05-0.5 |  |
|  | Hg | 0.5-5 |  |
|  | Zn | 0.1-1 |  |
|  | Metals & Metalloids – treatment of water-based liquid waste |  |  |
|  | As | 0.01-0.1 | Compliant in the future (within 4 years of publication of BAT conclusions) Operator response: Through process treatment by means of separation, settlement and mechanical biological treatment, Pre acceptance includes that no liquid waste to be received to plant that are containing metals higher than Welsh Water discharge consent parameters. We were not able to fully assess what monitoring or BATS AELS were relevant. All the BAT AELs and monitoring that could apply for the treatment type have been included within Schedules 3 and 4 of the permit. An improvement condition has been set- See IPC16 See section 5 (Changes we have made- Emissions to Water) for more details. |
|  | Cd | 0.01-0.1 |  |
|  | Cr | 0.01-0.3 |  |
|  | Hexavalent Cr [Cr(VI] | 0.01-0.1 |  |
|  | Cu | 0.05-0.5 |  |
|  | Pb | 0.05-0.3 |  |
|  | Ni | 0.05-1 |  |
|  | Hg | 1.0-10 |  |
|  | Zn | 0.1-2 |  |
| EMISSIONS FROM ACCIDENTS AND INCIDENTS |  |  |  |  |
| 21 | Techniques to prevent or limit the environmental consequences of accidents and incidents, as part of the Accident Management Plan. Use ALL of the following: |  |  |  |
|  | a. | Protection measures – see examples | Currently compliant The operator has stated that the site is protected via 24 hour monitored CCTV and intruder alarms. They have a fully implemented Fire Management Plan Emergency Procedure and Accident Management Plan. All procedures and plans are reviewed on an annual basis. Referenced documents: Reg 61 response - further info 05.10.20 |
|  | b. | Management of incidental or accidental emissions | Currently compliant The operator has stated that they have a fully implemented emergency procedure. A spillage from our tanks would overflow into our bunded area, therefore containing any possible spillage. Firefighting water would be contained within our site drainage system and interceptor. Referenced documents: Reg 61 response - further info 05.10.20 |
|  | c. | Incident/accident registration and assessment system – see examples | Currently compliant The operator has stated that they record incidents and accidents via the site diary and accident book where applicable. They also keep a schedule of notification to external governing bodies such as NRW where appropriate. Referenced documents: Reg 61 response - further info 05.10.20 |
| MATERIAL EFFICIENCY |  |  |  |  |
| 22 | Use materials efficiently by substituting materials with waste e.g. waste acids/alkalis for pH adjustment, fly ashes for binders |  | Not applicable The operator has stated that the waste materials are not suitable to be used elsewhere. |
| ENERGY EFFICIENCY |  |  |  |  |
| 23 | Use energy efficiently by using both of the following techniques: |  |  |  |
|  | a. | Energy efficiency plan | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has stated that an energy efficiency plan will be written including energy balance record. An improvement condition has been set- See IPC20. |
|  | b. | Energy balance record |  |
| REUSE OF PACKAGING |  |  |  |  |
| 24 | Maximise the reuse of packaging as part of a Residues Management Plan (see BAT 1 XII.) |  | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has stated that a Residues Management Plan will be written including energy balance record. An improvement condition has been set- see IPC21. |
| MECHANICAL TREATMENT OF WASTE (GENERAL BAT) |  |  |  |  |
| 25 | Reduce emissions to air of dust, particulate-bound metals, PCDD/F and dioxin-like PCBs by applying BAT 14d AND using one or a combination of the following techniques: |  |  |  |
|  | a. | Cyclone – see S6.1 | Not applicable Not a permitted treatment |
|  | b. | Fabric filter – see S6.1 |  |
|  | c. | Wet scrubbing – see S6.1 |  |
|  | d. | Water injection into the shredder |  |
|  | BAT-AEL for channelled dust emissions to air from the mechanical treatment of waste (mg/Nm3) |  |  |  |
|  | Table 6.3 and its supporting note. Monitoring requirements are outlined in BAT 8 |  |  |  |
|  | Dust | 2.0-5.0 | Not applicable Not a permitted treatment |
| MECHANICAL TREATMENT OF METAL WASTE BY SHREDDING |  |  |  |  |
| 26 | Improve overall environmental performance and prevent emissions due to accidents and incidents. Use BAT 14g AND ALL of the following techniques: |  |  |  |
|  | (a) | Detailed inspection procedure for baled waste before shredding | Not applicable Not a permitted treatment |
|  | (b) | Remove dangerous items from waste inputs and dispose of them in a safe manner |  |
|  | (c) | Treatment of containers accompanied by a declaration of cleanliness |  |
| 27 | Prevent deflagrations and reduce emissions from deflagrations. Use technique a. AND ONE OR BOTH of techniques b. and c. |  |  |  |
|  | a. | Deflagration management plan with reduction programme, incident review and response protocol | Not applicable Not a permitted treatment |
|  | b. | Pressure relief dampers |  |
|  | c. | Pre-shredding (device) |  |
| 28 | Use energy efficiently by keeping the shredder feed stable |  |  |
| MECHANICAL TREATMENT OF WEEE CONTAINING VFCS AND/OR VHCS |  |  |  |  |
| 29 | Techniques to prevent, or where not practicable reduce emissions of organic compounds to air. Apply BAT 14d AND BAT14h AND technique a. AND ONE OR BOTH of techniques b. and c. |  |  |  |
|  | a. | Optimised removal and capture of refrigerants and oils | Not applicable Not a permitted treatment |
|  | b. | Cryogenic condensation |  |
|  | c. | Adsorption |  |
|  | BAT-AELs for channelled TVOC and CFC emissions to air from treatment of WEEE containing VFCs and/or VHCs (mg/Nm3) |  |  |  |
|  | Table 6.4. Monitoring requirements are outlined in BAT 8 |  |  |  |
|  | TVOC | 3.0-15 | Not applicable Not a permitted treatment |
|  | CFCs | 0.5-10 |  |
| 30 | Prevent emissions due to explosions when treating WEEE containing VFCs and/or VHCs. Use EITHER of the following techniques: |  |  |  |
|  | a. | Inert atmosphere e.g. N2 | Not applicable Not a permitted treatment |
|  | b. | Forced ventilation |  |
| MECHANICAL TREATMENT OF WASTE WITH CALORIFIC VALUE |  |  |  |  |
| 31 | Reduce emissions to air of organic compounds by applying BAT 14d AND using one or a combination of the following techniques: |  |  |  |
|  | a. | Adsorption – see S6.1 | Not applicable Not a permitted treatment |
|  | b. | Biofilter – see S6.1 |  |
|  | c. | Thermal oxidation – see S6.1 |  |
|  | d. | Wet scrubbing – see S6.1 |  |
|  | BAT-AEL for channelled TVOC emissions to air from the mechanical treatment of waste with calorific value (mg/Nm3) |  |  |  |
|  | Table 6.5 and its supporting note. Monitoring requirements are outlined in BAT 8 |  |  |  |
|  | TVOC | 10.0-30.0 | Not applicable Not a permitted treatment |
| MECHANICAL TREATMENT OF WEEE CONTAINING MERCURY |  |  |  |  |
| 32 | Reduce mercury emissions to air by collecting them at source, sending them to abatement and carrying out adequate monitoring. This includes ALL of the following: |  |  |  |
|  | Equipment is enclosed, under negative pressure and connected to a LEV system |  | Not applicable Not a permitted treatment |
|  | Waste gas treated using dedusting techniques – see examples – followed by adsorption on activated carbon |  |  |
|  | Monitoring of waste gas treatment efficiency |  |  |
|  | Mercury levels measured at least weekly within treatment and storage areas |  |  |
|  | BAT-AEL for channelled mercury (Hg) emissions to air from the mechanical treatment of WEEE containing mercury (µg/Nm3) |  |  |  |
|  | Table 6.6. Monitoring requirements are outlined in BAT 8 |  |  |  |
|  | Hg | 2.0-7.0 | Not applicable Not a permitted treatment |
| BIOLOGICAL TREATMENT OF WASTE (GENERAL BAT) |  |  |  |  |
| 33 | Reduce odour emissions and improve overall environmental performance by selecting the waste input (to ensure its suitability for biological treatment). See also BAT 2 |  | Not applicable This chapter does not address biological treatments of water-based liquid waste which are dealt with in Section 2.3.6.2.5 and Section 5.7. |
| 34 | Reduce emissions to air of dust, organic compounds and odorous compounds (including H2S & NH3) by using one or a combination of the following techniques: |  |  |  |
|  | a. | Adsorption – see S6.1 | Not applicable This chapter does not address biological treatments of water-based liquid waste which are dealt with in Section 2.3.6.2.5 and Section 5.7. |
|  | b. | Biofilter – see S6.1 |  |
|  | c. | Fabric filter – see S6.1. |  |
|  | d. | Thermal oxidation – see S6.1 |  |
|  | e. | Wet scrubbing – see S6.1 |  |
|  | BAT-AEL for channelled NH3, odour, dust and TVOC emissions to air from the biological treatment of waste (mg/Nm3) (ouE/m3) |  |  |  |
|  | Table 6.7 and its supporting notes. Monitoring requirements are outlined in BAT 8 |  |  |  |
|  | NH3 | 0.3-20 | Not applicable This chapter does not address biological treatments of water-based liquid waste which are dealt with in Section 2.3.6.2.5 and Section 5.7. |
|  | Odour | 200-1000 |  |
|  | Dust | 2.0-5.0 |  |
|  | TVOC | 5.0-40 |  |
| 35 | Reduce the generation of waste water and reduce water usage by using ALL of the following: |  |  |  |
|  | a. | Segregation of water streams (see also BAT 19f) | Not applicable This chapter does not address biological treatments of water-based liquid waste which are dealt with in Section 2.3.6.2.5 and Section 5.7. |
|  | b. | Water recirculation |  |
|  | c. | Minimisation of the generation of leachate |  |
| BIOLOGICAL TREATMENT OF WASTE: AEROBIC METHODS |  |  |  |  |
| 36 | Reduce emissions to air and improve overall environmental performance by monitoring and/or controlling key waste and process parameters. Include following elements: |  |  |  |
|  | Waste input characteristics e.g. C to N ratio, particle size |  | Not applicable Emissions to air not permitted |
|  | Temperature and moisture content within windrows (Moisture monitoring not needed for enclosed processes where H&S issues have been identified) |  |  |
|  | Aeration of the windrow |  |  |
|  | Windrow porosity, height and width |  |  |
| 37 | Reduce diffuse emissions to air of dust, odour and bioaerosols from open-air treatment steps. Use ONE OR BOTH of the following techniques: |  |  |  |
|  | a. | Use of semi-permeable membrane covers | Not applicable Emissions to air not permitted |
|  | b. | Adaptation of operations to the meteorological conditions |  |
| BIOLOGICAL TREATMENT OF WASTE: ANAEROBIC METHODS |  |  |  |  |
| 38 | Reduce emissions to air and improve overall environmental performance by monitoring and/or controlling key waste and process parameters. Include following elements: |  |  |  |
|  | Implement a manual and/or automatic monitoring system to: |  |  |  |
|  | Ensure a stable digester operation |  | Not applicable Not a permitted treatment |
|  | Minimise operational difficulties and associated odour emissions |  |  |
|  | Provide sufficient early warning of system failures |  |  |
|  | Windrow porosity, height and width |  |  |
|  | Monitoring and/or control of key waste and process parameters – examples below: |  |  |  |
|  | pH and alkalinity of the digester feed |  | Not applicable Not a permitted treatment |
|  | Digester operating temperature |  |  |
|  | Hydraulic and organic loading rates of the digester feed |  |  |
|  | Volatile fatty acids and NH3 concentrations within digester & digestate |  |  |
|  | Biogas quantity, composition (e.g. H2S) and pressure |  |  |
|  | Liquid and foam levels in the digester |  |  |
| MECHANICAL BIOLOGICAL TREATMENT (MBT) OF WASTE |  |  |  |  |
| 39 | Reduce emissions to air. Generally applicable to new plants, existing plants may have layout constraints. Use BOTH of the following techniques: |  |  |  |
|  | a. | Segregation of the waste gas streams (refer to inventory described in BAT 3) | Not applicable Not a permitted treatment |
|  | b. | Recirculation of waste gas. Waste gas treatment is described in BAT 34 and recirculation in BAT 35. |  |
| PHYSICO-CHEMICAL TREATMENT OF SOLID AND/OR PASTY WASTE |  |  |  |  |
| 40 | Improve overall environmental performance by monitoring the waste input as part of the waste pre-acceptance and acceptance procedures. See also BAT 2. |  |  |  |
|  | Monitoring the waste input |  |  |  |
|  | Content of organics, oxidising agents, metals, salts, odorous compounds |  | Not applicable Not a permitted treatment |
|  | H2 formation potential upon mixing of flue-gas treatment residues/ashes with water |  |  |
| 41 | Reduce emissions to air of dust, organic compounds and NH3 by applying BAT 14d AND using one or a combination of the following techniques: |  |  |  |
|  | a. | Adsorption – see S6.1 | Not applicable Not a permitted treatment |
|  | b. | Biofilter – see S6.1 |  |
|  | c. | Fabric filter – see S6.1. |  |
|  | d. | Wet scrubbing – see S6.1 |  |
|  | BAT-AEL for channelled NH3, odour, dust and TVOC emissions to air from the physico-chemical treatment of solid and/or pasty waste (mg/Nm3) |  |  |  |
|  | Table 6.8. Monitoring requirements are outlined in BAT 8 |  |  |  |
|  | Dust | 2.0-5.0 | Not applicable Not a permitted treatment |
| RE-REFINING OF WASTE OIL |  |  |  |  |
| 42 | Improve overall environmental performance by monitoring the waste input as part of the waste pre-acceptance and acceptance procedures. See also BAT 2. |  |  |  |
|  | Monitoring the waste input |  |  |  |
|  | Chlorinated compounds e.g. solvents or PCBs |  | Not applicable Not a permitted treatment |
| 43 | Reduce quantity of waste sent for disposal by using ONE OR BOTH of the following techniques: |  |  |  |
|  | a. | Material recovery e.g. organic residues in asphalt products | Not applicable Not a permitted treatment |
|  | b. | Energy recovery |  |
| 44 | Reduce emissions to air of organic compounds by applying BAT 14d AND using one or a combination of the following techniques: |  |  |  |
|  | a. | Adsorption – see S6.1 | Not applicable Not a permitted treatment |
|  | b. | Thermal oxidation – see S6.1 |  |
|  | c. | Wet scrubbing – see S6.1 |  |
|  | The BAT-AEL for TVOC emissions to air set in Section 4.5 (below) applies. |  |  |  |
|  | Monitoring requirements are outlined in BAT 8 |  |  |  |
| PHYSICO-CHEMICAL TREATMENT OF WASTE WITH CALORIFIC VALUE |  |  |  |  |
| 45 | Reduce emissions to air of organic compounds by applying BAT 14d AND using one or a combination of the following techniques: |  |  |  |
|  | a. | Adsorption – see S6.1 | Not applicable Not a permitted treatment |
|  | b. | Cryogenic condensation – see S6.1 |  |
|  | c. | Thermal oxidation – see S6.1 |  |
|  | d. | Wet scrubbing – see S6.1 |  |
|  | The BAT-AEL for TVOC emissions to air set in Section 4.5 (below) applies. |  |  |  |
|  | Monitoring requirements are outlined in BAT 8 |  |  |  |
| REGENERATION OF SPENT SOLVENTS |  |  |  |  |
| 46 | Improve overall environmental performance by using ONE OR BOTH of the following techniques: |  |  |  |
|  | a. | Material recovery (by evaporation from distillation residues) | Not applicable Not a permitted treatment |
|  | b. | Energy recovery e.g. using distillation residues |  |
| 47 | Reduce emissions to air of organic compounds by applying BAT 14d AND using a combination of the following techniques: |  |  |  |
|  | a. | Recirculation of process off-gases in a steam boiler. Avoid generating PCBs and/or PCDD/Fs | Not applicable Not a permitted treatment |
|  | b. | Adsorption – see S6.1 |  |
|  | c. | Thermal oxidation – see S6.1. Avoid generating PCBs and/or PCDD/Fs |  |
|  | d. | Condensation or cryogenic condensation |  |
|  | e. | Wet scrubbing – see S6.1 |  |
|  | The BAT-AEL for TVOC emissions to air set in Section 4.5 (below) applies. |  |  |  |
|  | Monitoring requirements are outlined in BAT 8 |  |  |  |
| BAT-AEL FOR EMISSIONS OF ORGANIC COMPOUNDS TO AIR – SECTION 4.5 |  |  |  |  |
| (RE-REFINING OF WASTE OIL) |  |  |  |  |
| (PHYSICO-CHEMICAL TREATMENT OF WASTE WITH CV) |  |  |  |  |
| (REGENERATION OF SPENT SOLVENTS) |  |  |  |  |
|  | BAT-AEL for channelled TVOC emissions to air from the re-refining of waste oil, physico-chemical treatment of waste with calorific value and regeneration of spent solvents (mg/Nm3) |  |  |  |
|  | Table 6.9 and its supporting note. Monitoring requirements are outlined in BAT 8 |  |  |  |
|  | TVOC | 5.0-30 | Not applicable Not a permitted treatment |
| THERMAL TREATMENT OF SPENT ACTIVATED CARBON, WASTE CATALYSTS AND EXCAVATED CONTAMINATED SOIL |  |  |  |  |
| 48 | Improve overall environmental performance by using ALL of the following techniques: |  |  |  |
|  | a. | Heat recovery from the furnace off-gas e.g. for preheating combustion air or steam generation | Not applicable Not a permitted treatment |
|  | b. | Indirectly fired furnace i.e. avoids contact between the furnace contents and the burner flue-gases. Note applicability constraints. |  |
|  | c. | Process-integrated techniques to reduce emissions to air – see examples |  |
| 49 | Reduce emissions to air of HCl, HF, dust and organic compounds by applying BAT 14d AND using one or a combination of the following techniques: |  |  |  |
|  | a. | Cyclone – see S6.1 | Not applicable Not a permitted treatment |
|  | b. | Electrostatic precipitator (ESP) – see S6.1 |  |
|  | c. | Fabric filter – see S6.1 |  |
|  | d. | Wet scrubbing – see S6.1 |  |
|  | e. | Adsorption – see S6.1 |  |
|  | f. | Condensation – see S6.1 |  |
|  | g. | Thermal oxidation – see S6.1 |  |
|  | Note supporting text for BAT 49g (thermal oxidation) |  |  |  |
|  | Monitoring requirements are outlined in BAT 8. No BAT-AELs have been set for this BATc. |  |  |  |
| WATER WASHING OF EXCAVATED CONTAMINATED SOIL |  |  |  |  |
| 50 | Reduce emissions to air of dust and organic compounds from the storage, handling and washing steps by applying BAT 14d AND using one or a combination of the following techniques: |  |  |  |
|  | a. | Adsorption – see S6.1 | Not applicable Not a permitted treatment |
|  | b. | Fabric filter – see S6.1 |  |
|  | c. | Wet scrubbing – see S6.1 |  |
|  | Monitoring requirements are outlined in BAT 8. No BAT-AELs have been set for this BATc. |  |  |  |
| Decontamination of equipment containing PCBs |  |  |  |  |
| 51 | Reduce emissions to air of PCBs and organic compounds and improve overall environmental performance by using ALL of the following techniques: |  |  |  |
|  | a. | Coating of the storage and treatment areas – see examples | Not applicable Not a permitted treatment |
|  | b. | Implementation of staff access rules to prevent dispersion of contamination – see examples |  |
|  | c. | Optimised equipment cleaning and drainage – see examples |  |
|  | d. | Control and monitoring of emission to air – see examples |  |
|  | e. | Disposal of waste treatment residues – see examples |  |
|  | f. | Recovery of solvent when solvent washing is used |  |
|  | Monitoring requirements are outlined in BAT 8. No BAT-AELs have been set for this BATc. |  |  |  |
| TREATMENT OF WATER-BASED LIQUID WASTE |  |  |  |  |
| 52 | Improve overall environmental performance by monitoring the waste input as part of the waste pre-acceptance and acceptance procedures. See also BAT 2. |  |  |  |
|  | Monitoring the waste input |  |  |  |
|  | Bioeliminability e.g. BOD, BOD-COD ratio, Zahn-Wellens test, biological inhibition potential |  | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has not provided the information. An improvement condition has been set- See IPC22. |
|  | Feasibility of emulsion breaking e.g. lab testing |  | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has not provided the information. An improvement condition has been set- See IPC22. |
| 53 | Reduce emissions to air of HCl, NH3 and organic compounds by applying BAT 14d AND using one or a combination of the following techniques: |  |  |  |
|  | a. | Adsorption – see S6.1 | Not applicable Emissions to air not permitted |
|  | b. | Biofilter – see S6.1 |  |
|  | c. | Thermal oxidation – see S6.1. |  |
|  | d. | Wet scrubbing – see S6.1 |  |
|  | BAT-AELs for channelled HCl and TVOC emissions to air from the treatment of water-based liquid waste (mg/Nm3) |  |  |  |
|  | Table 6.10 and its supporting notes. Monitoring requirements are outlined in BAT 8 |  |  |  |
|  | HCl | 1.0-5.0 | Not applicable Emissions to air not permitted |
|  | TVOC | 3.0-20 |  |

Annex 2: Consultation on the draft decision where an Article 15(4) derogation has been applied

No derogation has been applied for.