| Permit Number: | PAN-013206 |
| --- | --- |
| Applicant name: | Mr Ivor Beer |
| Site Address: | Heather Bungalow, Waunavon, Llanelly Hill, Abergavenny, NP7 0PU |
| Discharge Point NGR: | SO 21728 11154 |
| Respond by date: | 25/03/2021 (10 working days) |
| Permitting Officer: | Tara Al-Far |

Brief Description of proposal:

Permit application for a new (installed in 2017) domestic sewage discharge of 1m3/day to ground water, via a septic tank and infiltration field. The septic tank and infiltration system in place are in line with BS EN 12566 and serve a single 3-bed property.

Habitats Screening Report – Designations or protected species/habitats:

A risk screening report is available on the DMS, located here.

No designated sites were picked up within the screening distance criteria.

The activity is within a Source Protection Zone 1.

Risk Assessment Results (modelling or L1 Risk Assessment):

The score on the L1 was 72. This is mainly as a result of the distance to the nearest compliance point.

The L1 Assessment is available on the DMS, located here.

Miscellaneous:

N/A

Environment Team Responses:

Environment Officer comments:

Provided the soakaway is greater than 10m from the watercourse (which is culverted along the boundary of the property and surfaces just below) and Geoscience have no concerns regarding the source protection zone (individual) I have no objections to the proposal.

Officers name: Sue Lenthall
Date: 11/03/21

Biodiversity comments:

N/A

Officers name:
Date:

Fisheries comments:

N/A

Officers name:
Date:

Conservation/Ecology Comments:

N/A

Officers name:
Date:

Internal Consultation Responses from other NRW Teams:

Water Quality Planning:

N/A

Officers name:

Date:

Geoscience Response:

We have made changes to the Level 1 groundwater risk assessment to better represents the hydrogeological conditions at the site.  We are satisfied that there is no unacceptable risk posed by the sewage discharge to the abstractions for which the SPZ is designated.  The discharge has been in place for 4 years and we are not aware of any pollution incidents in the near vicinity.  We have no objection to issuing permit.

Officers name: Alan Price & Sarah Poulton
Date: 29/03/2021

Flood Risk Management:

N/A

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | N |
| Water Company regarding Drinking Water Protected Zone / SPZ1 | Y |
| Environmental Heath | N |

Any Permitting Responses:

Date: