Notice of variation with introductory note

Environmental Permitting (England & Wales) Regulations 2016

Solway Foods Limited

RF Brookes (Solway Foods)

Rogerstone Park

Azalea Road

Newport

NP10 9SA

Variation number

EPR/UP3237CP/V006

Permit number

EPR/UP3237CP

RF Brookes (Solway Foods)

Permit number EPR/UP3237CP

Introductory note

This introductory note does not form a part of the notice

The following notice gives notice of the variation of an environmental permit.

This is a minor technical variation to replace burner ovens and therefore there is a change to the emission points list on the permit. The first part is the removal of emission point A7 as a result of the decommissioning of the five x 150 kW thermal input natural gas burner ovens (750 kW thermal input total) listed as emission point A7 and the addition of a 6 rack rotary oven (natural gas fuel) with a thermal input of 350 kW listed at emission point A11. This replacement oven is less than the 1 MW thermal input threshold and is used for direct heating, therefore is not subject to the Medium Combustion Plant (MCP) directive.

The schedules specify the changes made to the original permit.

The status log of a permit sets out the permitting history, including any changes to the permit reference number.

| Status log of the permit |  |  |
| --- | --- | --- |
| Description | Date | Comments |
| Application BP3007IM | Received 02/09/2004 |  |
| Additional information requested | 13/12/2004 |  |
| Additional information received | 14/12/2004 |  |
| Additional information requested | 07/02/2005 |  |
| Additional information received | 22/02/2005 |  |
| Additional information requested | 10/03/2005 |  |
| Additional information received | 15/03/2005 |  |
| Permit determined | 29/04/2005 |  |
| Variation application TP3030XS | Received 04/10/2007 |  |
| Variation notice TP3030XS issued | 21/12/2007 |  |
| Transfer application LP3035XM | Received 04/10/2007 |  |
| Additional information received | 07/01/2008 |  |
| Transfer determined EPR/LP3035XM | 30/01/2008 |  |
| Transfer application EPR/UP3237CP/T001 (full transfer of permit EPR/LP3035XM) | Duly Made 09/08/2012 | Application to transfer the permit in full to Solway Foods Limited. |
| Transfer determined (EPR/UP3237CP/V002) | 07/09/2012 | Full transfer of permit complete. |
| Agency variation determined EPR/UP3237CP/V002 | 25/03/2013 | Agency variation to implement the changes introduced by IED. |
| Variation application received EPR/UP3237CP/V003 | 29/04/2013 | Application to extend permit boundary and add two point source emissions to air. |
| Variation application determined EPR/UP3237CP/V003 | 29/07/2013 |  |
| Variation application received EPR/UP3237CP/V004 | Duly Made 07/07/2015 | Application to cover an additional production area and add two point source emissions to air. |
| Variation application determined EPR/UP3237CP/V004 | 07/10/2015 | Variation notice issued to Solway Foods Limited. |
| Variation application received EPR/UP3237CP/V005 | Duly Made 04/10/2018 | Application to add a CHP plant. |
| Variation determined EPR/UP3237CP/V005 | 18/01/2019 | Variation notice issued to Solway Foods Limited. |
| Variation application received EPR/UP3237CP/V006 | Duly Made 27/01/2021 | Application to replace gas burner ovens |
| Variation determined EPR/UP3237CP/V006 | 15/03/2021 | Variation notice issued to Solway Foods Limited. |

End of introductory note

Notice of variation

Environmental Permitting (England and Wales) Regulations 2016

The Natural Resources Body for Wales (“Natural Resources Wales”) in exercise of its powers under regulation 20 of the Environmental Permitting (England and Wales) Regulations 2016 varies

Permit number

EPR/UP3237CP

issued to:

Solway Foods Limited (“the operator”)

whose registered office is

Trinity Park House

Fox Way

Wakefield

West Yorkshire

WF2 8EE

company registration number 02189139

to operate a regulated facility at

RF Brookes (Solway Foods)

Rogerstone Park

Azalea Road

Newport

NP10 9SA

to the extent set out in the schedules.

The notice shall take effect from 15/03/2021

| Signed | Date |
| --- | --- |
| Holly Noble | 15/03/2021 |

Authorised on behalf of Natural Resources Wales

Schedule 1 – conditions to be deleted

None

Schedule 2 – conditions to be amended

The following conditions are amended as a result of the application made by the operator

Condition 2.2.1 shall be amended to:

2.2.1	Emissions to air, (including heat, but excluding odour, noise or vibration) from specified points

2.2.1.2	Emissions to air from the emissions points in Table 2.2.1 shall only arise from the sources specified in that Table. The limits given in Table 2.10.1 shall not be exceeded

Table 2.2.1 shall be amended to:

| Table 2.2.1 Emission points to air |  |  |
| --- | --- | --- |
| Emission point reference | Source | Location |
| A1 – as on revised site plan in Schedule 4 of Variation Notice EPR/UP3237CP/V006 | Odour abatement (1st plant) | Anguil odour stack – NE corner of main production building |
| A2 – as on revised site plan in Schedule 4 of Variation Notice EPR/UP3237CP/V006 | Raising steam 20 bar | Steam boiler No1 - Energy centre building |
| A3 – as on revised site plan in Schedule 4 of Variation Notice EPR/UP3237CP/V006 | Raising steam 10 bar | Steam boiler No2 - Energy centre building |
| A4 – as on revised site plan in Schedule 4 of Variation Notice EPR/UP3237CP/V006 | Raising steam 10 bar | Steam boiler No3 - Energy centre building |
| A5 – as on revised site plan in Schedule 4 of Variation Notice EPR/UP3237CP/V006 | Primary heating fryers | Thermal oil generator - Energy centre building |
| A6 – as on revised site plan in Schedule 4 of Variation Notice EPR/UP3237CP/V006 | Odour abatement (2nd plant) | Thermal oxidiser unit |
| A8 – as on revised site plan in Schedule 4 of Variation Notice EPR/UP3237CP/V006 | Thermal Oil Boiler Stack) | Oriental Plant LHS |
| A9 – as on revised site plan in Schedule 4 of Variation Notice EPR/UP3237CP/V006 | Thermal Oil Boiler Stack | Oriental Plant RHS |
| A10 – as on revised site plan in Schedule 4 of Variation Notice EPR/UP3237CP/V006 | CHP (Rogerstone Park CHP - Jenbacher (Clarke Energy – C3748)) | Rear of energy centre |
| A11 as on revised site plan in Schedule 4 of Variation Notice EPR/UP3237CP/V006 | Oven discharge from 350 kW thermal input, natural gas fuelled 6-rack rotary oven | A11 -6 Rack rotary cooking oven |

Table S2.10.1 shall be amended to:

| Table S2.10.1 Other Monitoring Requirements |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Emission point reference | Parameter | Limit | Reference period | Monitoring Frequency | Monitoring Method (Note¹) | Other specifications |
| S1– as on revised site plan in Schedule 4 of Variation Notice EPR/UP3237CP/V003 | Effluent Flow Rate | No limit set | Daily average | Continuous | As agreed in improvement programme number 7 | To commence on completion of improvement programme number seven. |
| S1– as on revised site plan in Schedule 4 of Variation Notice EPR/UP3237CP/V003 | COD | No limit set | Quarterly | Spot sample | BS ISO 15705:2002, BS 6068- 2.80:2002 |  |
| S1– as on revised site plan in Schedule 4 of Variation Notice EPR/UP3237CP/V003 | Suspended solids | No limit set | Quarterly | Spot sample | BSEN872:1996, BS6068 2.54:1996 |  |
| S1– as on revised site plan in Schedule 4 of Variation Notice EPR/UP3237CP/V003 | pH | No limit set | Monthly | Spot sample | BS6068- 2.50:1995, ISO 10523:1994 |  |
| A1-A6 A8-A9, A11 as on revised site plan in Schedule 4 of Variation Notice EPR/UP3237CP/V006 | Oxides of Nitrogen (NO and NO2 expressed as NO2) | No limit set | Annual | Spot sample | ISO 10849 |  |
| A1-A6, A8-A9, A11 as on revised site plan in Schedule 4 of Variation Notice EPR/UP3237CP/V006 | Carbon Monoxide | No limit set | Annual | Spot sample | ISO 12039 |  |
| A1-A6, A8-A9, A11 as on revised site plan in Schedule 4 of Variation Notice EPR/UP3237CP/V006 | Particulates | No limit set | Annual | Spot sample | BSISO 9096 |  |
| A10 – as on revised site plan in Schedule 4 of Variation Notice EPR/UP3237CP/V006 | Oxides of Nitrogen (NO and NO2 expressed as NO2) | 95 mg/m3 | In line with NRW TGN M5 | Every 3 years | NRW TGN M5 |  |
|  | Carbon monoxide | No limit set | In line with NRW TGN M5 | Every 3 years |  |  |
| Note¹ - Or to an EN, BS, ISO or SCA blue book standard as agreed in writing with Natural Resources Wales. |  |  |  |  |  |  |

Table S2 shall be amended to:

| Table S2 Reporting of Monitoring Data |  |  |  |
| --- | --- | --- | --- |
| Parameter | Emission point | Reporting period | Period begins |
| Cadmium and its compounds (g/year) | S1 | Annually | 01/01/2005 |
| Mercury and its compounds (g/year) | S1 | Annually | 01/01/2005 |
| Cadmium and its compounds (μg/l) | S1 | Annually | 01/01/2005 |
| Mercury and its compounds (μg/l) | S1 | Annually | 01/01/2005 |
| Effluent Flowrate m³/hr | S1 | Every 6 months | 01/01/2005 |
| pH | S1 | Every 6 months | 01/01/2005 |
| Suspended solids | S1 | Annually | 01/01/2005 |
| COD | S1 | Annually | 01/01/2005 |
| Oxides of nitrogen as NO2 | A1-A6, A8-A9, A11 | Annually | 15/03/2021 |
| Carbon Monoxide | A1-A6, A8-A9, A11 | Annually | 15/03/2021 |
| Particulates | A1-A6, A8-A9, A11 | Annually | 15/03/2021 |
| Water Usage | A1-A6 | Annually | 29/07/2013 |
| Energy Usage | A1-A6, A8-A11 | Annually | 15/03/2021 |
| Waste Disposal and/or recovery | A1-A6 | Annually | 29/07/2013 |
| Oxides of Nitrogen (NO and NO2 expressed as NO2) | A10 | Every 3 years | 18/01/2019 |
| Carbon Monoxide | A10 | Every 3 years | 18/01/2019 |

Table S3 is amended as follows:

| Table S3 Reporting Forms |  |  |
| --- | --- | --- |
| Media/parameter | Form number | Date of form |
| Air | A1 | 15/03/21 |
| Sewer | S1 | 30/01/08 |
| Energy | E1 | 15/03/21 |
| Waste Return | R1 | 30/01/08 |
| Water usage | WU1 | 30/01/08 |
| Performance indicators | PI1 | 30/01/08 |

Schedule 3 – conditions to be added

None

Schedule 4 – amended plan

Amended plan attached showing point source emissions to air

© Crown Copyright and database right 2021. Ordnance Survey licence number 100019741.