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[bookmark: _GoBack]Schedule 5 – Notification	
Part A 
	Permit Number
	BU7766IC

	Name of Operator
	Sundorne Products Ltd

	Location of Facility
	Bryn Posteg Landfill, Tylwch Road, Llanidloes, Powys, SY18 6JJ

	Time and date of the detection
	15/02/21

	Date and time of event
	Feb 21

	Reference or description of the location of the event
	P2 Surface water


	Substances potentially released
	Suspended Solids and Ammoniacal Nitrogen

	Best estimate of the quantity or rate of release of substances
	Unknown

	Measures taken, or intended to be taken, to stop any emission
	Currently being addressed.

	Description of the failure or accident
	Suspended solids are detected at 1226mg/l. This is above the compliance limit of 50mg/l. Ammoniacal nitrogen levels at 0.4mg/l which is a breach of the 0.25mg/l limit.
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