Schedule 5 – Notification

Part A

| Permit Number | BU7766IC |
| --- | --- |
| Name of Operator | Sundorne Products Ltd |
| Location of Facility | Bryn Posteg Landfill, Tylwch Road, Llanidloes, Powys, SY18 6JJ |
| Time and date of the detection | 15/02/21 |
| Date and time of event | Feb 21 |
| Reference or description of the location of the event | P2 Surface water |
| Substances potentially released | Suspended Solids and Ammoniacal Nitrogen |
| Best estimate of the quantity or rate of release of substances | Unknown |
| Measures taken, or intended to be taken, to stop any emission | Currently being addressed. |
| Description of the failure or accident | Suspended solids are detected at 1226mg/l. This is above the compliance limit of 50mg/l. Ammoniacal nitrogen levels at 0.4mg/l which is a breach of the 0.25mg/l limit. |