[image: image2.png]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales




	
	Consent no
	NRWWIA250

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166
CONSENT TO DISCHARGE

TO:
Dŵr Cymru Cyfyngedig

Linea

Fortran Road

St. Mellons

Cardiff

CF3 0LT
	The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:
Raw Water 


	FROM: PANT-YR-EOS ReseRvoir, NewporT, NP44 7AS

	

	AT: NATIONAL GRID REFERENCE ST 25885 91603

	

	TO: Pant-yr-Eos Brook

	

	SUBJECT TO: the conditions set out in the following schedule:

Raw Water                     Schedule No. NRWWIA250

	

	This consent is issued on the 29th day of March 2021
This consent takes effect on the 30th day of March 2021
This consent shall cease to have effect on the 30th day of September 2021
Signed: Emma Jones


	


CONDITIONS OF CONSENT TO DISCHARGE

RAW WATER (“the Discharge”)
NATURE OF THE DISCHARGE

1.
The Discharge shall consist solely of raw water. 

SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from Pant-Yr-Eos Brook.
LOCATION OF DISCHARGE

3.
The location of the Discharge shall be at NGR ST 25885 91603, marked ‘Washout to watercourse’ on the site plan in Annex 1.
SAMPLE POINT

4.
A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME

5. The total volume of the Discharge shall not exceed 371905 cubic metres.

6. The total daily volume of the Discharge shall not exceed 13589 cubic metres.

7. The rate of the Discharge shall not exceed 157 litres per second.
COMPOSITION

8.
The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 

(a) 
mud and silt;

(b) 
solid, polluting, offensive or injurious substances; 
and

(c)
any substances prejudicial to fish or spawn, or to spawning beds or food of fish.
SCOURING
9.
The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water. 
FLOODING

10.
The discharge shall not cause or significantly contribute to flooding in the downstream catchment.
PERIOD OF DISCHARGE

11.
The Discharge shall only be made between 30th day of March 2021 and the 30th day of September 2021.
ANNEX 1- PLAN No. NRWWIA250
[image: image1.png]utoSave

Gareth Saunder
Fle  Home Insert Design Layout References

Mailings ~ Review View Help  Nitro Pro 10

& Share T Comments
X o /o o OFind ~
o Calibri Body)  ~/11 v A" A Aav Ao 20 9| |aaBbcend| AaBbcepd AaBbC AaBbCct AQ B aasbceo  aasbeend -
v . Replace
b= o : o 2o Mo . 1Normal | TNo Spac.. Heading1 Heading 2 Title Subtitle  Subtle Em... [v Dictate
v < Format Painter BIU-#xx A-£2-A I select~ v
Clipboard ~ Font ~ Paragraph ~ Styles ~ Editing Voice Sensitivity ~
0.5
W envor e
o
%, >
| i Coed Panty
7 Coady cunt
b
> H
=== —~— 12
> o
& o Valye Tower =
\ = Washout to
d 5 Port.c0s Reservl o water course
ey, e
-

Page1of 1 6words [} English (United Kingdom)

Bl rocus B - ' v 1a0%
H L Type here to search





© Crown Copyright and database right 2021. Ordnance Survey licence number 100019741.

