| Permit Number: | PAN-003031 |
| --- | --- |
| Applicant name: | Mr Jason McCabe (operator) Mr Hadley Brunn (Agent) |
| Site Address: | Banwy House, Llanfair Caerinion, Powys, SY21 0EF |
| Discharge Point NGR: | SJ 07339 08395 |
| Respond by date: | 20/09/2018 (10 working days) |
| Permitting Officer: | Elliot Burge |

Brief Description of proposal:

The application is for a new discharge to surface water of 1 cubic metre per day of treated sewage effluent serving a single property with 1-3 bedrooms. The treatment comprises of a package treatment plant built to British Standards. The discharge is into a drain which reaches the Afon Einion after approximately 320 metres.

Habitats Screening Report – Designations or protected species/habitats:

The screening report has highlighted that White Clawed Crayfish are found within 500m of the proposal. The crayfish were recorded from a field observation in 2014. Please can the allocated biodiversity officer please contact me ASAP.

The screening report can be found on the DMS here

There are no other designated sites/species within the respective screening distances.

Risk Assessment Results (modelling or L1 Risk Assessment):

The discharge is under 5 metres cubed per day therefore no river quality modelling has been conducted.

Miscellaneous:

N/A

NRM Responses:

Environment Management comments:

I have no concerns with this proposal

Officers name: Tim Arlett	
Date: 7/9/18

Biodiversity comments:

Officers name:
Date:

Fisheries comments:

N/A

Officers name:
Date:

Conservation/Ecology Comments:

N/A

Officers name:
Date:

Internal Consultation Responses from other NRW Teams:

Water Quality Planning:

N/A

Officers name:

Date:

Geoscience Response:

N/A

Officers name:
Date:

Flood Risk Management:

N/A

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks |  |
| Water Company regarding Drinking Water Protected Zone / SPZ1 |  |
| Environmental Heath |  |

Any Permitting Responses:

Date: