Schedule 1 - Notification of abnormal emissions
These pages outline the information that the operator must provide. To satisfy conditions 5.11 and 5.1.2 of this permit.
Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the PPC Regulations.

Part A 
	Permit Number
	EPR/YP3632EM

	Name of operator
	2 Sisters Poultry Limited

	Location of Installation
	Glendale Avenue, Sandycroft, Flintshire

	Location of the emission
	Evaporator Expansion Valve

	Time and date of the detection 
	24/3/21 15h30


	Substance(s) emitted
	Media
	Best estimate of the quantity or the rate of emission
	Time during which the emission took place

	R407 F
	Refrigeration Gas
	20 Kg
	15H00 ~ 17H00

	
	
	
	


	Measures taken, or intended to be taken, to stop the emission
	Evaporator was isolated but still lost all the gas inside the pipework, Brooktherm attended to investigate leak.


Part B - to be submitted as soon as practicable
	Any more accurate information on the matters for notification under Part A.
	Evaporator was isolated @ 15H45

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	Change the faulty expansion valve, Brooktherm to arrange suitable valve

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	

	The dates of any unauthorised emissions from the installation in the preceding 24 months.
	


	Name*
	

	Post
	

	Signature
	

	Date
	


* authorised to sign on behalf of 2 Sister Poultry Ltd.
