Schedule 1 - Notification of abnormal emissions

Part A 
	Permit Number
	EPR/WP3836ZF

	Name of Operator
	Tradebe Healthcare National Ltd

	Location of Installation
	Wrexham Clinical Waste Incinerator, Marlborough Road, Wrexham Industrial Estate, Wrexham LL13 9RJ

	Location of the emission
	Main stack

	Time and date of the emission
	08.01.2021 0100-10.30 intermittingly


	Substance(s) emitted
	Media
	Best estimate of the quantity or the rate of emission
	Time during which the emission took place

	SO2
	Air
	
	0100-10.30 intermittingly


	Measures taken, or intended to be taken, to stop the emission
	High readings of SO2 were observed from 0100hrs, waste was withheld from plant during the ongoing time to allow readings to reduce 


Part B
	Any more accurate information on the matters for notification under Part A.
	All plant functioning normally. 

A normal HTI waste stream was being processed 

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	Checks of the loaded waste showed no issues with the waste stream. 
Plant staff highlighted that it was known for Gypsum to sometimes be problematic on plant but not always.

A Trial was organised to do a controlled burn of Gypsum using a Process Engineer to monitor and provide guidance.

Trial planned for 29.01.21



	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment or harm which has been or may be caused by the emission
	

	The dates of any unauthorised emissions from the Installation in the preceding 24 months.


	September 2020 – SO2 breach
Feb 2020 – Mercury breach

	Name*
	David Keelan 

	Post
	Regional Operations Manager

	Signature
	D Keelan 

	Date
	19.03.2021


* authorised to sign on behalf of Tradebe Healthcare National 
