Natural Resources Wales permitting decisions

# Variation and Consolidation of a bespoke Permit – Egan Waste Services Limited

We have decided to issue a Natural Resources Wales initiated variation and consolidated permit for The Recycling Centre in Unit 15A Severn Road, Treforest Industrial Estate, Pontypridd, CF37 5TA operated by Egan Waste Services Limited.

The permit number is EPR/KP3636HB/V004.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

The permit has been varied following the publication of the revised Best Available Techniques (BAT) Reference Documents (BREF) for Waste Treatment. The associated BAT conclusions to this document were published on 17 August 2018 in the Official Journal of the European Union.

This variation incorporates the changes required by the Industrial Emissions Directive following a statutory review of permits in the Waste Treatment sector. These include the amendment of the wording of several permit conditions relating to notifications, changes to emissions limits and monitoring requirements.

We are satisfied that the operator will be compliant with the published BAT conclusions which will apply from 17 August 2022.

Purpose of this document

This decision document:

- explains how we have carried out our statutory review of the Operator’s Permit;

- why we have decided to vary the Permit as a result of that review; and

- why we have included the specific conditions in the revised Permit through the variation notice we are issuing.

It is our record of our decision-making process, to show how we have taken into account all relevant factors in reaching our position.

Structure of this document

- Assessment of The Recycling Centre against the published BAT conclusions for Waste Treatment.

- Annex 1 – Decision Checklist regarding relevant BAT Conclusions

Assessment of The Recycling Centre against the published BAT conclusions for Waste Treatment

1. Our decision

We have issued a variation, which will allow Egan Waste Services Limited to operate the installation, subject to the conditions in the varied permit.

The variation does three things:

- it consolidates the original permit to reflect changes made through earlier variations;

- it brings the permit into line with our modern regulatory template; and

- it varies the permit where appropriate to reflect the outcome of our statutory review and incorporate Best Available Techniques (BAT) and Associated Emission Limit Values (BAT-AELs).

We consider that, in reaching this decision, we have taken into account all relevant considerations and legal requirements and that the permit will continue to ensure that a high level of protection is provided for the environment and human health.

The original permit, issued on the 10th August 2011, ensured that the installation, employed Best Available Techniques (BAT) and ensured a high level of protection for human health and the environment. We have altered the permit as a result of the statutory review, and we are confident that the new requirements will deliver a superior level of protection to that which was previously achieved. Where a site is not currently compliant with BAT, Improvement Conditions have been included to bring the site up standard by 17 August 2022.

2. The legal framework

The Variation and Consolidation Notice (which includes the consolidated permit as Schedule 2) will be issued under Regulation 20 of the Environmental Permitting (England and Wales) Regulations 2016 (EPR). The environmental permitting regime is a legal vehicle which delivers most of the relevant legal requirements for activities falling within its scope. In particular, the regulated facility is:

- an installation as described by the Industrial Emissions Directive (IED);

- a waste operation subject to Environmental Permitting Regulations, however this review only applies to the installation activity as described by the Industrial Emissions Directive.

- subject to aspects of other relevant legislation which also have to be addressed.

We consider that, in issuing the Variation and Consolidated Permit, it will ensure that the operation of the installation complies with all relevant legal requirements and that a high level of protection will be delivered for the environment and human health.

We explain how we have addressed specific statutory requirements more fully in the rest of this document.

3. How we reached our decision

Requesting information to demonstrate compliance with BAT Conclusion techniques

We issued a Notice under Regulation 61(1) of the Environmental Permitting (England and Wales) Regulations 2016 on 05 April 2019 requiring the operator to provide information to demonstrate how the operation of their installation currently meets, or will subsequently meet, the revised standards described in the relevant BAT Conclusions document.

The Regulation 61(1) Notice required the operator to:

- Describe the techniques that will be implemented before 17 August 2022, which will then ensure that operations meet the revised standard, or

- Justify why standards will not be met by 17 August 2022, and confirmation of the date when the operation of those processes will cease within the installation or an explanation of why the revised BAT standard is not applicable to those processes, or

- Justify why an alternative technique will achieve the same level of environmental protection equivalent to the revised standard described in the BAT Conclusions.

- Where their permitted activity involves the use, production or release of a hazardous substance, as defined in Article 3(18) of the Industrial Emissions Directive, Egan Waste Services Limited were required to carry out a risk assessment considering the possibility of soil and groundwater contamination at the permitted installation with such substances. Where risk of such contamination is established, a baseline report should be prepared containing information necessary to determine the state of soil and groundwater contamination so as to make a quantified comparison with the state upon definite cessation of the activity. Egan Waste Services Limited have not carried out the risk assessment of prepared a copy of a consequent baseline report, an improvement condition has been set- See IC11.

- Where their permitted activity involves the use, production, storage or release of priority hazardous substances and any other relevant substances., as defined by the Water Framework Directive, the Egan Waste Services Limited were required to carry out a risk screening assessment considering the presence of priority hazardous substances at the permitted installation. Where a risk of these substances is established the operator is to sample the effluent and screen for the priority hazardous substances. If these substances are found to be present in the effluent stream, then assessment using the H1 tool and potential detailed modelling will be required to demonstrate that the effluent discharge will not have a significant impact to the receiving water. The process was not completed. The operator is reliant on the consent to discharge. From the information provided we were not able to fully assess what monitoring or BATS AELs were relevant. An improvement condition has been set- See IC12.

Where the operator proposed that they were not intending to meet a BAT standard, that also included a BAT Associated Emission Level (BAT-AEL) described in the Waste Treatment BAT Conclusions Document, the Regulation 61(1) Notice requested that the operator make a formal request for derogation from compliance with that AEL (as provisioned by Article 15(4) of IED). In this circumstance, the Notice identified that any such request for derogation must be supported and justified by sufficient technical and commercial information that would enable us to determine acceptability of the derogation request.

The Regulation 61(1) Notice response from the operator was received on 27/09/2019, and additional information received on 07/02/2020, 29/10/2020, 15/12/2020 and 15/01/2021.

We considered that the response contained sufficient information for us to commence determination of the permit review. The operator made no claim for commercial confidentiality. We have not received any information in relation to the Regulation 61(1) Notice response that appears to be confidential in relation to any part.

# 4. Key issues/Regulation 61(1) response

# BAT Conclusions for the Waste Treatment were published as Commission Implementing Decision EU 2018/1447 in the Official Journal of the EU on 17 August 2018.  There are 53 BAT Conclusions. This annex provides a record of decisions made in relation to each relevant BAT Conclusion applicable to the installation. This should be read in conjunction with the permit/variation notice issued.

A detailed response was received from Egan Waste Services Limited. Following assessment of the Regulation 61(1) response, further information was requested from Egan Waste Services Limited. Where the operator has concluded that they have achieved BAT, and we are in agreement, no further information/justification has been sought by Natural Resources Wales.

5. Changes we have made

Improvement Conditions

Based on the information provided in the Regulation 61(1) response, we consider that we need to set improvement conditions. These conditions are set out below. We are using these conditions to require the operator to provide Natural Resources Wales with details that need to be established or confirmed during operations. The improvement conditions ensure compliance by 2022.

Improvement condition 1 (IC1) regarding Fire Prevention and Mitigation Plan has been added in line with our Fire Prevention and Mitigation Plan guidance.

Improvement conditions IC2 to IC10, have been imposed to ensure compliance with certain BAT Conclusions by 17 August 2022.

| Reference | Requirement | Date |
| --- | --- | --- |
| IC1 | The operator shall submit a written Fire prevention and mitigation plan to Natural Resources Wales. The Fire prevention and mitigation plan must be produced in line with the standards set out in Fire prevention and mitigation plan guidance – Waste. | 3 months after permit issue or otherwise agreed in writing with Natural Resources Wales |
| IC2 | BAT 1. Implement and adhere to an environmental management system (EMS) The operator shall submit to Natural Resources Wales information in order to evidence compliance with BAT 1 that incorporates all of the following features in accordance with requirements specified within BAT Conclusion of the Waste Treatment BREF Document (EU 2018): VII. following the development of cleaner technologies: VIII consideration for the environmental impacts from the eventual decommissioning of the plant at the stage of designing a new plant, and throughout its operating life; IX. application of sectoral benchmarking on a regular basis; X. waste stream management (see BAT 2); XI. an inventory of waste water and waste gas streams (see BAT 3); XII. residues management plan (see description in Section 6.5); | 17 February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IC3 | BAT 2. Improve the overall environmental performance of the plant The operator shall submit to Natural Resources Wales information in order to evidence compliance with BAT 2 using all of the techniques given below in accordance with requirements specified within BAT Conclusion of the Waste Treatment BREF Document (EU 2018): a. Set up and implement waste characterisation & pre-acceptance procedures b. Set up and implement waste acceptance procedures c. Set up and implement a waste tracking system & inventory d. Set up and implement an output quality management system e. Ensure waste segregation f. Ensure waste compatibility prior to mixing or blending g. Sort solid incoming waste – S6.4 | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IC4 | BAT 3. Establish and to maintain an inventory of waste water and waste gas streams to facilitate the reduction of emissions to water and air The operator shall submit to Natural Resources Wales information in order to evidence compliance with BAT 3 that incorporates all of the following features in accordance with requirements specified within BAT Conclusion of the Waste Treatment BREF Document (EU 2018): (i) information about the characteristics of the waste to be treated and the waste treatment processes, including: (a) simplified process flow sheets that show the origin of the emissions; (b) descriptions of process-integrated techniques and waste water/waste gas treatment at source including their performances. Information resulting from this improvement condition will be used to assess the relevance of the BAT AELs and monitoring requirements as set in Schedule 3 and 4 of this permit. | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IC5 | BAT 4. Reduce the environmental risk associated with the storage of waste The operator shall submit to Natural Resources Wales information in order to evidence compliance with BAT 4 using all of the techniques given below in accordance with requirements specified within BAT Conclusion of the Waste Treatment BREF Document (EU 2018): a. Optimised storage location b. Adequate storage capacity c. Safe storage operation d. Separate area for storage & handling of packaged hazardous waste | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IC6 | BAT 5. Set up and implement handling and transfer procedures to reduce the environmental risk associated with the handling and transfer of waste. The operator shall submit to Natural Resources Wales information in order to evidence compliance with BAT 5 including the following elements in accordance with requirements specified within BAT Conclusion of the Waste Treatment BREF Document (EU 2018): - handling and transfer of waste are carried out by competent staff; - handling and transfer of waste are duly documented, - measures are taken to prevent, detect and mitigate spills; - operation and design precautions are taken when mixing or blending wastes (e.g. vacuuming dusty/powdery wastes). - handling and transfer procedures are risk-based considering the likelihood of accidents and incidents and their environmental impact. | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IC7 | BAT 7. Monitor emissions to water The operator shall submit to Natural Resources Wales a written procedure(s) in accordance with requirements specified within BAT Conclusions of the Waste Treatment BREF Document (EU 2018) in relation to: BAT is to monitor emissions to water with at least the frequency given within table for the relevant treatment type (Physico-chemical treatment of solid and/or pasty waste), and in accordance with EN standards. If EN standards are not available, BAT is to use ISO, national or other international standards that ensure the provision of data of an equivalent scientific quality, taking into account the table footnotes. Information resulting from this improvement condition will be used to assess the relevance of the BAT AELs and monitoring requirements as set in Schedule 3 and 4 of this permit. | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IC8 | BAT 19 Optimise water consumption, reduce waste water generation and prevent/reduce emissions to soil and water The operator shall submit to Natural Resources Wales information in order to evidence compliance with BAT 19 requiring the use of one or a combination of techniques in accordance with requirements specified within BAT Conclusion of the Waste Treatment BREF Document (EU 2018): c) impermeable surface (information on how the site complies with CIRIA 736 or an equivalent engineering standard to which the surface complies together with sign off from construction by a Certified Quality Auditor) h) Design and maintenance provisions to allow risk-based leak detection and repair. Minimise use of underground components. | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IC9 | BAT 20 Reduce emissions to water The operator shall submit to Natural Resources Wales a written procedure(s) in accordance with requirements specified within BAT Conclusions of the Waste Treatment BREF Document (EU 2018) in relation to: BAT 20 - In order to reduce emissions to water, BAT is to treat waste water using an appropriate combination of the techniques described within BAT 20 Table. BAT 20 applies to all sites that treat waste waters on site to reduce emissions prior to discharge. BAT-associated emission levels (BAT-AELs) for indirect discharges to a receiving water body should comply with Table 6.2 of BAT 20. Information resulting from this improvement condition will be used to assess the relevance of the BAT AELs and monitoring requirements as set in Schedules 3 and 4 of this permit. | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IC10 | BAT 23 Use energy efficiently. The operator shall submit to Natural Resources Wales information in order to evidence compliance with BAT 23 requiring the use both of the following techniques in accordance with requirements specified within BAT Conclusion of the Waste Treatment BREF Document (EU 2018): a. Energy efficiency plan b. Energy balance record | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IC11 | When your activity involves the use, production or release of relevant hazardous substances (as defined in Article 3(18) of the Industrial Emissions Directive) you must carry out a risk assessment considering the possibility of soil and groundwater contamination at the installation with these substances. Where any risk of such contamination is established either: - Prepare and submit a baseline report containing information necessary to determine the current state of soil and groundwater contamination; or - Provide a summary report referring to information previously submitted where you are satisfied that such information represents the current state of soil and groundwater contamination; so as to enable a quantified comparison to be made with the state of soil and groundwater contamination upon definitive cessation of activity. Where you have concluded that there are no risks of soil or groundwater contamination, provide a copy of the risk assessment. | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IC12 | For all discharges to surface waters and/or sewer from the site, you must provide information for priority hazardous substances and any other relevant substances. The emissions monitoring for these substances should be carried out using the methods and standards described in the M18 guidance on “Monitoring of discharges to water and sewer”. With reference to the risk assessment guidance on the gov.uk website entitled “Surface water pollution risk assessment for your environmental permit“ (accessible via this link: https://www.gov.uk/guidance/surface-water-pollution-risk-assessment-for-yourenvironmental-permit) carry out the following assessments: - Screening tests for priority hazardous pollutants and any other relevant priority hazardous substances. - For any substance which is not screened out by the screening tests you will need to carry out modelling, as described in the risk assessment guidance “Surface water pollution risk assessment for your environmental permit”. You must provide us with the results from the emissions monitoring, the results from the screening tests and the results from any modelling. You can use the H1 electronic screening tool to present the emissions data and to carry out the screening tests. We will provide a copy of the tool to your local representative at the site address. With regard to the screening a full list of relevant substances is provided on the “Surface water pollution risk assessment for your environmental permit” pages of the gov.uk website. You should review the list and carry out the screening for any hazardous pollutants Information resulting from this improvement condition will be used to assess the relevance of the BAT AELs and monitoring requirements as set in Schedules 3 and 4 of this permit. | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |

IC1 has been set to require the operator to complete a Fire Prevention and Mitigation Plan. As per NRW’s the Fire Prevention and Mitigation Guidance, if an operator has an environmental permit that authorises the storage of combustible waste, or an existing permit with a permit condition requiring you to have a Fire Prevention Mitigation Plan (FPMP), the operator must adhere to this guidance.

Our guidance does not apply to hazardous waste storage. Therefore, any regulated facility storing hazardous waste shall include a section for waste storage and fire prevention techniques and reference the relevant guidance for this as part of the facilities Environmental Management System (EMS). This could be the Health and Safety Executive guidance. The operator shall state how it will store waste and prevent fires.

IC2 has been set to ensure that that facilities environmental management system (EMS) fully meets all the requirements of BAT 1 as per the operator’s response of 15/12/2020.

IC3 has been set to ensure that improvements are made to the environmental performance of the plant in line with all parts of BAT2 as per the operator’s response of 15/12/2020.

IC4 has been set to ensure that an inventory of waste water and waste gas streams to facilitate the reduction of emissions to water and air is establish and to maintained in accordance with section (i) of BAT 3 as per the operator’s response of 15/12/2020. This information will be used to identify the appropriate BAT AELs and monitoring requirements for indirect discharges to a receiving water body from the site. To date this information has not been fully provided, therefore the BAT AELs and monitoring requirements have been applied within Schedules 3 and 4 of the permit in a precautionary manner. See also IPC7, IPC9, and IC12.

IC5 has been set to ensure that information is provided to show compliance with BAT 4 to reduce the environmental risk associated with the storage of waste as per the operator’s response of 15/12/2020.

IC6 has been set to ensure that procedures to reduce the environmental risk associated with the handling and transfer of waste are set up, documented and implemented in line with the requirements of BAT 5 as per the operator’s response of 15/12/2020.

IC8 had been set for the operator to:

- confirm that the sites impermeable surface meets the relevant engineering standard (point c)

- provide information on the design and maintenance provisions to allow risk-based leak detection and repair; minimising use of underground components (point h) as per the operator’s response of 15/12/2020.

IC10 had been set for the operator to provide an Energy efficiency plan including an energy balance record is supplied as per the operator’s response of 15/12/2020 and BAT 23.

IC11 has been set for the operator to carry out a risk assessment considering the possibility of soil and groundwater contamination at the installation with these substances. This was requested as part of the Regulation 61 (1) notice on 05/04/2019 but wasn’t completed.

Operational Changes

Prior to this variation the permit contained the following activities:

- A1- Section 5.3 A(1)(a) Disposal or recovery of hazardous waste with a capacity exceeding 10 tonnes per day involving (ii) physico-chemical treatment.

- A2- S5.6A(1)(a) Temporary storage of hazardous waste with a total capacity exceeding 50 tonnes pending any of the activities listed in Sections 5.1, 5.2, 5.3

- A3- Hazardous and non-hazardous waste treater station with treatment.

Upon review the amount of hazardous waste already being stored under the waste oil recovery installation (A1) was in excess of 50 tonnes per day. This amount did not include the  quantity of hazardous waste stored as part of the waste transfer station activity, which should be aggregated together under the Industrial Emissions directive.

Table S1.1 has been amended accordingly and the hazardous waste storage and transfer activity has been moved under the A2 activity (hazardous waste transfer station).The remaining A3 activity (non-hazardous waste transfer and treatment) now applies solely to the non-hazardous waste types. The treatment of hazardous wastes is not permitted under either the A2 or A2 activities.

Emissions to Water

As part of our delivery of the Water Framework Directive requirements, we need to identify and assess the impact for all discharges to surface waters and/or sewer from the site for priority hazardous substances and any other relevant substances. The emissions monitoring for these substances should be carried out using the methods and standards described in the M18 guidance on “Monitoring of discharges to water and sewer”.

With reference to the risk assessment guidance on the gov.uk website entitled “Surface water pollution risk assessment for your environmental permit“ (accessible via: https://www.gov.uk/guidance/surface-water-pollution-risk-assessment-for-your-environmental-permit) the company were required to carry out the following assessments:

•	Screening tests for priority hazardous pollutants and any other relevant priority hazardous substances.

•	For any substance which is not screened out by the screening tests further modelling, as described in the risk assessment guidance “Surface water pollution risk assessment for your environmental permit”.

This was not completed so an improvement condition has been set.

As BAT conclusions 3, 7 and 20 and question 7 of the Regulation 61(1) notice were not responded to with the relevant information; all the BAT AELs and monitoring that could apply for the treatment type have been included within Schedules 3 and 4 of the permit, and improvement conditions have been set to obtain this information. Once the improvement conditions have been completed, some of the BAT AELs may be removed from the permit.

There is no direct discharge to surface water under this permit. There is an indirect discharge to sewer which is covered by a Dwr Cymru Welsh Water consent to discharge. The consent to discharge contains the following parameters and limits:

- Total suspended solids concentrations shall not exceed 400 milligrams per litre

- Settled Chemical Oxygen Demand shall not exceed 5000 milligrams per litre

- Fats, Oils and Grease (as Mineral Oil and/or Petroleum Extractable matter shall not exceed 100 milligrams per litre

- Anionic Detergents shall town not exceed 100 milligrams per litre

- Total Metals (Copper, Zinc, Chromium, Lead, Nickel) shall not exceed 2 milligrams per litre each, or 5 milligrams per litre total

- Total Sulphate shall not exceed 1000 milligrams per litre

- Total Sulphide shall not exceed 1 milligram per litre

- Ammonium (as N) shall not exceed 30 milligrams per litre

- Total Phosphate shall not exceed 20 milligrams per litre

The specific BAT Conclusions on water emissions were also reviewed based on the Waste Treatment BREF and the following changes are made to the ELV’s for emissions to water taking into account BAT Conclusion 20 from the BREF.

BAT AELs have been amended for the following parameters. The BAT AELs for metals have been included as these are lower than those currently in the consent for discharge. BAT AELs for parameters that are not metals have been included for the reasons given above.

| Parameter | Limit | Compliance period |
| --- | --- | --- |
| Adsorbable organically bound halogens (AOX) | 1 mg/l | 17 August 2022 |
| Benzene, toluene, ethylbenzene, xylene (BTEX) | None set- monitoring only | 17 August 2022 |
| Free cyanide (CN-) | 0.1 mg/l | 17 August 2022 |
| Hydrocarbon oil index (HOI) | 10 mg/l | 17 August 2022 |
| Arsenic (As) | 0.1 mg/l | 17 August 2022 |
| Cadmium (Cd) | 0.1 mg/l | 17 August 2022 |
| Chromium (Cr) | 0.3 mg/l | 17 August 2022 |
| Copper (Cu) | 0.5 mg/l | 17 August 2022 |
| Nickel (Ni) | 1 mg/l | 17 August 2022 |
| Lead (Pb) | 0.3 mg/l | 17 August 2022 |
| Zinc (Zn) | 2 mg/l | 17 August 2022 |
| Manganese (Mn) | None set- monitoring only | 17 August 2022 |
| Hexavalent chromium (Cr(VI)) | None set- monitoring only | 17 August 2022 |
| Mercury (Hg) | 10 μg/l | 17 August 2022 |
| PFOA | None set- monitoring only | 17 August 2022 |
| PFOS | None set- monitoring only | 17 August 2022 |

Emissions to Water – Article 15(4) Derogations

No derogations

Emissions to Air

No new emission limits have been set as a result of this BREF review Variation.

The site has a point source emission to air, from the pressure relief valve of the oil storage tanks. No limits have been set for this emission source as only fugitive vapour emissions and will be managed. The permit contains condition 3.2.1 which controls the release of any emissions not controlled by emission limits. We are satisfied that the appropriate measures will be in place to prevent or where that is not practicable to minimise fugitive emissions and to prevent pollution from fugitive emissions.

Emissions to Air – Article 15(4) Derogations

No derogations

Other IED BREFs relevant to the permit review

There are no specific listed activities within Table S1.1 of the permit that are within scope of other published BREFS.

# 6. Conclusion

We consider that the installation already employed what used to be BAT. The revised BREF and its BAT-AELs provide the opportunity to consider further environmental improvements.

Coupled with the consolidation and modernisation of the permit, we believe this variation provides a sound basis for ongoing regulation of the installation and we are satisfied that the operator is currently achieving or will be achieving all relevant BAT by 17 August 2022.

We believe that we have ensured compliance with all relevant legal requirements in carrying out this review and making our determination on the variation.

Annex 1: Decision checklist regarding relevant BAT Conclusions

BAT Conclusions for the Waste Treatment BREF were published as Commission Implementing Decision EU 2018/1147 in the Official Journal of the EU on 17 August 2018.  There are 53 BAT Conclusions. This checklist provides a record of decisions made in relation to each relevant BAT Conclusion applicable to the installation.  This annex should be read in conjunction with the consolidated variation notice.

All BAT Conclusions arising are listed by number in order below;

| ### BATc number |  | ### Summary of BAT Conclusion requirement |  | Status/comment One of the following: Not Applicable, Currently Compliant, Compliant in the future (within 4 years of publication of BAT conclusions), Not Compliant |  |
| --- | --- | --- | --- | --- | --- |
| OVERALL ENVIRONMENTAL PERFORMANCE |  |  |  |  |  |
| 1 | Environment Management System (EMS) – ALL of the following: |  |  |  |  |
|  | I. | Management commitment |  | Currently compliant The operator has provided an EMS that contains information on management commitment. Referenced documents ISO 14001 Manual section 5.1 |  |
|  | II. | Environmental policy development including CI of performance |  | Currently compliant The operator has provided an EMS that contains information on environmental policy development including CI of performance. Referenced documents ISO 14001 Manual sections 5.2 and 10.3 |  |
|  | III. | Planning and implementing procedures & targets in conjunction with financial planning & investment |  | Currently compliant The operator has provided an EMS that contains information on planning and implementing procedures & targets in conjunction with financial planning & investment. Referenced documents ISO 14001 Manual section 6 |  |
|  | IV. | Implementation of procedures |  |  |  |
|  |  | (a) Structure & responsibility |  | Currently compliant The operator has provided an EMS that contains information on structure & responsibility procedures. Referenced documents ISO 14001 Manual section 5.3 |  |
|  |  | (b) Recruitment, training, awareness & competence |  | Currently compliant The operator has provided an EMS that contains information on recruitment, training, awareness & competence procedures. Referenced documents ISO 14001 Manual sections 7.1, 7.2 and 7.3 |  |
|  |  | (c) Communication |  | Currently compliant The operator has provided an EMS that contains information on communication procedures. Referenced documents ISO 14001 Manual section 7.4 |  |
|  |  | (d) Employee involvement |  | Currently compliant The operator has provided an EMS that contains information on employee involvement procedures. Referenced documents ISO 14001 Manual section 7.4.2 |  |
|  |  | (e) Documentation |  | Currently compliant The operator has provided an EMS that contains information on documentation procedures. Referenced documents ISO 14001 Manual section 7.5 |  |
|  |  | (f) Effective process control |  | Currently compliant The operator has provided an EMS that contains information on effective process control procedures. Referenced documents ISO 14001 Manual section 8.1 |  |
|  |  | (g) Maintenance programmes |  | Currently compliant The operator has provided an EMS that contains information on maintenance programmes procedures. Referenced documents ISO 14001 Manual section 8.1 |  |
|  |  | (h) Emergency preparedness & response |  | Currently compliant The operator has provided an EMS that contains information on emergency preparedness & response procedures. Referenced documents ISO 14001 Manual section 8.2 |  |
|  |  | (i) Safeguarding compliance with environmental legislation |  | Currently compliant The operator has provided an EMS that contains information on safeguarding compliance with environmental legislation procedures. Referenced documents ISO 14001 Manual section 9.1 |  |
|  | V. | Checking performance and taking corrective action |  |  |  |
|  |  | (a) Monitoring & measurement |  | Currently compliant The operator has provided an EMS that contains information on monitoring & measurement. Referenced documents ISO 14001 Manual section 9.1 |  |
|  |  | (b) Corrective and preventive action |  | Currently compliant The operator has provided an EMS that contains information on corrective and preventive action. Referenced documents ISO 14001 Manual section 10.2 |  |
|  |  | (c) Maintenance of records |  | Currently compliant The operator has provided an EMS that contains information on maintenance of record. Referenced documents ISO 14001 Manual section 10.2 |  |
|  |  | (d) Independent (where practicable) internal or external EMS auditing |  | Currently compliant The operator has provided an EMS that contains information on independent EMS auditing and proof that the EMS has been audited and approved. Referenced documents ISO 14001 Manual Section 9.2.2 and ISO 14001 Certificate of approval from external auditors QMS International Ltd. |  |
|  | VI. | Senior management review of EMS |  | Currently compliant The operator has provided an EMS that contains information on senior management review of EMS. Referenced documents ISO 14001 Manual section 9 |  |
|  | VII. | Following the development of cleaner technologies |  | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has not provided information on following the development of cleaner technologies. An improvement condition has been set- see IC2. |  |
|  | VIII. | Whole life cycle considerations when designing a new plant i.e. impacts from eventual decommissioning and throughout its operating life |  | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has referenced a de-commissioning Plan as submitted with the original application; however it cannot be verified that he required information is included. An improvement condition has been set- see IC2. |  |
|  | IX. | Regular sectoral bench marking |  | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has confirmed in their email of 15/12/2020 "The ISO 14001 manual commits Egan Waste to a programme of continuous improvement this will be amended to include sectoral benchmarking as a specific exercise within the manual rather than simply being implied." An improvement condition has been set- see IC2. |  |
|  | X. | Waste stream management (BAT 2) |  | Compliant in the future (within 4 years of publication of BAT conclusions) See notes on BAT 2 An improvement condition has been set- see IC2. |  |
|  | XI. | Inventory of waste water & waste gas streams (BAT 3) |  | Compliant in the future (within 4 years of publication of BAT conclusions) See notes on BAT 3 An improvement condition has been set- see IC2. |  |
|  | XII. | Residues Management Plan – S6.5 |  | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has confirmed in their email of 15/12/2020 "this will form part of the ISO 14001 manual which will be updated in response to the new permit condition(s)" An improvement condition has been set- see IC2. |  |
|  | XIII. | Accident Management Plan – S6.5 |  | Currently compliant The operator has provided an EMS that contains information on Accident Management Plan, and the Accident Management Plan from the original permit application. Referenced documents ISO 14001 Manual section 8.2 and Accident Management Plan (18/11/2009) |  |
|  | XIV. | Odour Management Plan (BAT 12) |  | Compliant in the future (within 4 years of publication of BAT conclusions) See notes on BAT 12 An improvement condition has been set- see IC2. |  |
|  | XV. | Noise & Vibration Management Plan (BAT 17) |  | Compliant in the future (within 4 years of publication of BAT conclusions) See notes on BAT 17 An improvement condition has been set- see IC2. |  |
| 2 | Improving overall environmental performance – ALL of the following: |  |  |  |  |
|  | a. |  | Set up and implement waste characterisation & pre-acceptance procedures | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has confirmed in their email of 15/12/2020 “most if not all of these techniques are in place on the site via the ISO 14001 procedures or simple good practice, but may not form explicit parts of the current manual if these actions are conditioned they will be transposed into the manual as a minimum." An improvement condition has been set- see IC3. |
|  | b. |  | Set up and implement waste acceptance procedures |  |
|  | c. |  | Set up and implement a waste tracking system & inventory |  |
|  | d. |  | Set up and implement an output quality management system |  |
|  | e. |  | Ensure waste segregation |  |
|  | f. |  | Ensure waste compatibility prior to mixing or blending |  |
|  | g. |  | Sort solid incoming waste – S6.4 |  |
| 3 | Establish and maintain a waste water and waste gas inventory as part of the EMS - ALL of the following: |  |  |  |  |
|  | Information on characteristics of waste and waste treatment processes |  |  |  |  |
|  | (i)(a) |  | simplified process flow sheets showing emission sources | Currently compliant The operator has referenced the Process Flow Diagram for Oil from the original permit application. Referenced documents Process Flow Diagram for Oil (20/12/2010) |
|  | (i)(b) |  | Process-integrated and waste water/waste gas treatment descriptions including performance | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has confirmed in their email of 15/12/2020 that the site does not generate waste gaseous emissions. The discharge is metered and has a discharge consent from DCWW. If the process-integrated and waste water treatment descriptions including performance are not already in the ISO 14001 procedures for continuous improvement they will be explicitly added. An improvement condition has been set- see IC4. |
|  | Information on characteristics of waste water streams |  |  |  |  |
|  | (ii)(a) |  | Mean and variability of: |  |
|  |  |  | Flow | Currently compliant The operator has confirmed that flow is measured via a Detectronic Flow meter under the DCWW Trade Discharge consent. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  |  |  | pH | Currently compliant The operator has confirmed that pH is measured under the DCWW Trade Discharge consent. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  |  |  | Temperature | Not applicable The operator has stated as no hot water used on site DCWW has assumed it is within acceptable range Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  |  |  | Conductivity | Not applicable The operator has stated DCWW do not analyse for this parameter. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  | (ii)(b) |  | Mean concentration, load and variability of: |  |
|  |  |  | Total suspended solids | Currently compliant The operator has confirmed that Total suspended solids are measured under the DCWW Trade Discharge consent. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  |  |  | COD/TOC | Currently compliant The operator has confirmed that COD/TOC are measured under the DCWW Trade Discharge consent. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  |  |  | Nitrogen species | Currently compliant The operator has confirmed that NH3 is measured under the DCWW Trade Discharge consent. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  |  |  | Phosphorous | Currently compliant The operator has confirmed that Phosphorous is measured under the DCWW Trade Discharge consent. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  |  |  | Metals | Currently compliant The operator has confirmed that Copper, Zinc, Lead, Chromium and Nickle are measured under the DCWW Trade Discharge consent. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  |  |  | Priority substances/micropollutants | Not applicable The operator has confirmed that Priority substances/micropollutants are not required to be measured under the DCWW Trade Discharge consent. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  |  |  | Any other relevant compounds | Currently compliant The operator has confirmed that Sulphide, Cyanide, Phenols(total) and Mineral Oil are measured under the DCWW Trade Discharge consent. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  | (ii)(c) |  | Bioeliminability data (see BAT 52): |  |
|  |  |  | BOD | Not applicable The operator has confirmed that BOD is not required to be measured under the DCWW Trade Discharge consent. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  |  |  | BOD to COD ratio | Not applicable The operator has confirmed that BOD to COD ratio is not required to be measured under the DCWW Trade Discharge consent. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  |  |  | Zahn-Wellens test | Not applicable The operator has confirmed that Zahn-Wellens test is not required to be measured under the DCWW Trade Discharge consent. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  |  |  | Biological inhibition potential | Not applicable The operator has confirmed that Biological inhibition potential is not required to be measured under the DCWW Trade Discharge consent. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  | Information on characteristics of waste gas streams |  |  |  |  |
|  | (iii)(a) |  | Mean and variability of: |  |
|  |  |  | Flow | Not applicable No waste gas streams |
|  |  |  | temperature |  |
|  | (iii)(b) |  | Mean concentration, load and variability of relevant substances: |  |
|  |  |  | Organic compounds | Not applicable No waste gas streams |
|  |  |  | POPs e.g. PCBs |  |
|  |  |  | Any other relevant compounds |  |
|  | (iii)(c) |  | Flammability | Not applicable No waste gas streams |
|  |  |  | Lower and Higher Explosive Limits |  |
|  |  |  | Reactivity |  |
|  | (iii)(d) |  | Presence of other substances that may affect the gas treatment system or plant safety: |  |
|  |  |  | O2 | Not applicable No waste gas streams |
|  |  |  | N2 |  |
|  |  |  | Water vapour |  |
|  |  |  | Dust |  |
| 4 | Reducing environmental risk associated with waste storage – ALL of the following: |  |  |  |  |
|  | a. |  | Optimised storage location | Currently compliant Permit EPR/KP3636HB limits the storage of hazardous waste oil/water products to storage tanks 1,2,3 and 4. Referenced documents EPR/KP3636HB Table S1.1 |
|  | b. |  | Adequate storage capacity | Currently compliant Permit EPR/KP3636HB limits the storage of hazardous waste oil/water products to a maximum of 135 tonnes at any one time. Referenced documents EPR/KP3636HB Table S1.1 |
|  | c. |  | Safe storage operation | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has confirmed in their email of 15/12/2020 that “This will certainly be implied by the ISO 14001 manual and will be transposed to be explicit in the manual” An improvement condition has been set- see IC5. |
|  | d. |  | Separate area for storage & handling of packaged hazardous waste | Currently compliant Permit EPR/KP3636HB requires separate areas for storage & handling of packaged hazardous waste: - Hazardous wastes must be kept within secure, clearly identified segregated containers and shall not be mixed or blended. - asbestos waste shall be double bagged and stored within clearly identified, segregated, secured lockable containers. - lead-acid batteries shall be stored in a container with an impermeable acid resistant base and a lid to prevent ingress of water. - acids and bases shall be stored in clearly labelled dedicated receptacles within separate bunded areas. Referenced documents EPR/KP3636HB Table S1.1 and email dated 15/12/2020. |
| 5 | Set up and implement procedures to reduce the environmental risk associated with handling and transfer of waste - include following elements: |  |  |  |  |
|  | Carried out by competent staff |  |  | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has confirmed in their email of 15/12/2020 that “BAT (5) requirements will be transposed into the ISO 14001 manual as required, where explicit references are necessary” An improvement condition has been set- see IC6. |
|  | Duly documented, validated and verified |  |  | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has confirmed in their email of 15/12/2020 that “BAT (5) requirements will be transposed into the ISO 14001 manual as required, where explicit references are necessary” An improvement condition has been set- see IC6. |
|  | Spill prevention, detection and mitigation measures |  |  | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has confirmed in their email of 15/12/2020 that “BAT (5) requirements will be transposed into the ISO 14001 manual as required, where explicit references are necessary” An improvement condition has been set- see IC6. |
|  | Take precautions when mixing or blending wastes |  |  | Compliant in the future (within 4 years of publication of BAT conclusions) This applies to the mixing or blending of any wastes. The operator has explained in their email of 15/12/2020 why they previously did not respond as they took this to mean mixing and blending of wastes with differing EWC codes or of a different physical/chemical make up. Rather than the oil/water mixtures which are gravity settled in the tanks.” An improvement condition has been set as per the rest of BAT 5- see IC6. |
|  | Procedures are risk-based and consider likelihood of accidents, incidents and their environmental impact |  |  | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has confirmed in their email of 15/12/2020 that “BAT (5) requirements will be transposed into the ISO 14001 manual as required, where explicit references are necessary” An improvement condition has been set- see IC6. |
| MONITORING |  |  |  |  |  |
| 6 | Relevant emissions to water: monitor key process parameters at key locations |  |  |  |  |
|  | Key process parameters |  |  |  |  |
|  | Waste water flow |  |  | Currently compliant The operator has confirmed that Waste water flow is monitored at outlet to sewer as per DCWW trade effluent discharge consent. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  | pH |  |  | Currently compliant The operator has confirmed that pH is monitored at outlet to sewer as per DCWW trade effluent discharge consent. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  | Temperature |  |  | Not applicable Not identified by the inventory of waste water streams |
|  | Conductivity |  |  | Not applicable Not identified by the inventory of waste water streams |
|  | BOD |  |  | Not applicable Not identified by the inventory of waste water streams |
|  | Other process parameters |  |  | Currently compliant The operator has confirmed what other process parameters are monitored at outlet to sewer as per DCWW trade effluent discharge consent. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  | Key monitoring locations |  |  |  |  |
|  | Pre-treatment inlet and/or outlet |  |  | Not applicable The key monitoring location is site outlet to sewer Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  | Final treatment inlet |  |  | Not applicable The key monitoring location is site outlet to sewer Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  | Discharge point (to the environment) |  |  | Currently compliant The operator has confirmed that the key monitoring location is site outlet to sewer Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  | Other location |  |  | Not applicable The key monitoring location is site outlet to sewer Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
| 7 | Monitoring emissions to water (refer to table) |  |  | Compliant in the future (within 4 years of publication of BAT conclusions) Discharge consent provided 15/01/2021. There is no evidence that operator has reviewed the relevant table within the BATc document. We were not able to fully assess what monitoring or BATS AELS were relevant. All the BAT AELs and monitoring that could apply for the treatment type have been included within Schedules 3 and 4 of the permit. An improvement condition has been set- see IPC7 Also see section 5 (Changes we have made- Emissions to Water) for more details. |
|  | Monitoring parameters depend on waste treatment process(es) involved |  |  |  |
| 8 | Monitoring emissions to air (refer to table) |  |  | Not applicable No monitoring of emissions to air |
|  | Monitoring parameters depend on waste treatment process(es) involved |  |  |  |
| 9 | Monitoring diffuse emissions of organic compounds to air from processes involving solvents. Use one or a combination of the following: |  |  |  |  |
|  | a |  | Measurement – S6.2 descriptions | Not applicable VOC Monitoring was undertaken in 2013. As emissions were found to be well below ELV’s the requirement for ongoing VOC monitoring was stopped. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  | b |  | Emissions factor calculation |  |
|  | c |  | Mass balance calculation |  |
| 10 | Periodically monitor odour emissions where nuisance is expected and/or has been substantiated (monitoring frequency is outlined in BAT 12) |  |  |  |  |
|  | Use EN standards e.g. 13725 or 16841 |  |  | Not applicable The site compliance officer has confirmed that nuisance is not expected nor has been substantiated at the site. The operator has confirmed in their email of 15/12/2020 that “A reviewed/revised/new Odour plan will be supplied in response to the new permit conditions.” |
|  | Use equivalent methods e.g. ISO / national / international monitoring standards |  |  |  |
| 11 | Annual monitoring for: |  |  |  |  |
|  | - Water, energy and raw materials |  |  | Currently compliant Annual monitoring for water, energy and raw materials, and generation of residues and waste water have been set in permit EPR/KP3636HB |
|  | - Generation of residues and waste water |  |  |  |
| EMISSIONS TO AIR |  |  |  |  |  |
| 12 | Set up, implement and review an Odour Management Plan (as part of the site EMS) where nuisance is expected and/or has been substantiated. Include ALL of the following: |  |  |  |  |
|  | Protocol containing actions and timelines |  |  | Not applicable The site compliance officer has confirmed that nuisance is not expected nor has been substantiated at the site. The operator has confirmed in their email of 15/12/2020 that “A reviewed/revised/new Odour plan will be supplied in response to the new permit conditions.” |
|  | Protocol for conducting odour monitoring (BAT 10) |  |  |  |
|  | Protocol for response to odour incidents/complaints |  |  |  |
|  | Odour prevention and reduction programme |  |  |  |
| 13 | Techniques to prevent, or where not practicable reduce odour emissions. Use one or a combination of the following: |  |  |  |  |
|  | a. |  | Minimising residence times (open systems only) | Not applicable The listed techniques are not relevant to the site or permitted activity. |
|  | b. |  | Use chemical treatment (N/A if desired output is hampered) |  |
|  | c. |  | Optimising aerobic treatment – see examples. Refer to BAT 36 for wastes other than water-based liquid waste. |  |
| 14 | Techniques to prevent, or where not practicable reduce diffuse emissions to air, in particular of dust, organic compounds and odour. Use one or a combination of the following: |  |  |  |  |
|  | a. |  | Minimising potential diffuse emission sources – see examples | Not applicable No diffuse emissions to air |
|  | b. |  | Select and use high-integrity equipment – see examples |  |
|  | c. |  | Corrosion prevention – see examples |  |
|  | d. |  | Containment, collection and treatment of diffuse emissions – see examples |  |
|  | e. |  | Dampening (with water or fog) |  |
|  | f. |  | Maintenance – see examples |  |
|  | g. |  | Cleaning of waste treatment and storage areas – see examples |  |
|  | h. |  | Leak Detection and Repair (LDAR) programme for organics – S6.2 |  |
| 15 | Use flaring only for safety reasons or non-routine operating conditions (OTNOC). Use both of the following: |  |  |  |  |
|  | a. |  | Correct plant design – see examples | Not applicable Flaring not permitted |
|  | b. |  | Plant management including gas system balancing and advanced process control |  |
| 16 | Reduce emissions to air when flaring is unavoidable. Use both of the following: |  |  |  |  |
|  | a. |  | Correct design of flaring devices – see examples | Not applicable Flaring not permitted |
|  | b. |  | Monitoring and recording as part of flare management – see examples |  |
| NOISE AND VIBRATIONS |  |  |  |  |  |
| 17 | Set up, implement, and regularly review a Noise and Vibration Management Plan (as part of the EMS) where nuisance is expected and/or has been substantiated. Include ALL of the following: |  |  |  |  |
|  | I. |  | Protocol with actions and timelines | Not applicable The site compliance officer has confirmed that nuisance is not expected nor has been substantiated at the site. |
|  | II. |  | Noise and vibration monitoring plan/protocol |  |
|  | III. |  | Noise & vibration complaint response plan/protocol |  |
|  | IV. |  | Noise and vibration reduction programme |  |
| 18 | Techniques to prevent, or where not practicable reduce noise and vibration emissions. Use one or a combination of the following: |  |  |  |  |
|  | a. |  | Appropriate location of equipment and buildings | Not applicable The site compliance officer has confirmed that nuisance is not expected nor has been substantiated at the site. |
|  | b. |  | Operational measures – see examples |  |
|  | c. |  | Low-noise equipment – see examples |  |
|  | d. |  | Noise & vibration control equipment – see examples |  |
|  | e. |  | Noise attenuation – see examples |  |
| EMISSIONS TO WATER |  |  |  |  |  |
| 19 | Optimise water consumption, reduce waste water generation and prevent or where not practicable reduce emissions to soil and water. Use one or a combination of the following: |  |  |  |  |
|  | a. |  | Water management – see examples | Currently compliant The operator has stated that roof water stored for use in on site pressure washers and dampening down. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  | b. |  | Water recirculation | Not applicable The operator has stated that no water is recirculated within the process. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  | c. |  | Impermeable surface | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has confirmed that Permit EPR/KP3636HB required the activities out on impermeable surface with sealed drainage, but not that it meets the relevant specification. An IPC has been set to confirm the relevant specification- see IC8. Referenced documents EPR/KP3636HB Table S1.1 |
|  | d. |  | Reduce likelihood and impact of tank/vessel overflows and failures – see examples | Currently compliant Permit EPR/KP3636HB requires secondary containment to be in place. Referenced documents EPR/KP3636HB condition 3.2.3 |
|  | e. |  | Roofing of waste storage and treatment areas | Currently compliant The operator has stated that all treatment and storage is under cover. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
|  | f. |  | Segregation of water streams (being mindful of existing plant constraints) | Currently compliant The operator has confirmed that permit EPR/KP3636HB Table S1.1 specifies all hazardous waste is treated and stored within a building or in enclosed tanks. This will naturally separate waste water from oil/water mixture, settlement discharged to foul sewer, from roof and open yard drainage not discharged to foul sewer Referenced documents EPR/KP3636HB Table S1.1, email dated 15/12/2020 |
|  | g. |  | Adequate drainage infrastructure | Currently compliant The operator has confirmed that adequate drainage infrastructure is in place. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) and Drainage calculation and plan (18/11/2009) |
|  | h. |  | Design and maintenance provisions to allow risk-based leak detection and repair. Minimise use of underground components. | Compliant in the future (within 4 years of publication of BAT conclusions) The operator’s original response states “refs to ISO 14001 Section 6.1.3, 6.1.4, 6.2 and 8.1” however these sections are not specific to BAT 19 h. The operator later confirmed in their email of 15/12/2020 that “the ISO 14001 manual will transpose the specific requirements from new permit conditions.” An improvement condition has been set to ensure this- see IC8. |
|  | i. |  | Appropriate buffer storage capacity (being mindful of existing plant constraints) | Currently compliant The operator has confirmed that appropriate buffer storage capacity is in place. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
| 20 | Treat waste water using a combination of: |  |  |  |  |
|  | Preliminary, primary and general treatment |  |  |  |  |
|  | a. |  | Equalisation | Not applicable Not a required or permitted treatment |
|  | b. |  | Neutralisation |  |
|  | c. |  | Physical separation | Currently compliant Physical separation is the permitted waste treatment activity. The operator has confirmed that oil water mixtures are treated by gravity settlement followed by skimming to remove oil. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) and EPR/KP3636HB |
|  | Physico-chemical treatment |  |  |  |  |
|  | d. |  | Adsorption | Not applicable Not a required or permitted treatment |
|  | e. |  | Distillation/rectification |  |
|  | f. |  | Precipitation |  |
|  | g. |  | Chemical oxidation |  |
|  | h. |  | Chemical reduction |  |
|  | i. |  | Evaporation |  |
|  | j. |  | Ion exchange |  |
|  | k. |  | Stripping |  |
|  | Biological treatment |  |  |  |  |
|  | l. |  | Activated sludge process | Not applicable Not a required or permitted treatment |
|  | m. |  | Membrane bioreactor |  |
|  | Nitrogen removal |  |  |  |  |
|  | n. |  | Nitrification/denitrification (where biological treatment used) | Not applicable Not a required or permitted treatment |
|  | Solids removal |  |  |  |  |
|  | o. |  | Coagulation and flocculation | Not applicable Not a required or permitted treatment |
|  | p. |  | Sedimentation |  |
|  | q. |  | Filtration (sand, micro, ultra) |  |
|  | r. |  | Flotation |  |
|  | BAT-AELs for DIRECT discharges to a receiving waterbody (mg/l) |  |  |  |  |
|  | Table 6.1 and its supporting notes. Monitoring requirements are outlined in BAT 7 |  |  |  |  |
|  | TOC |  | 10.0-60 | Not applicable Direct discharge to a receiving waterbody not permitted |
|  |  |  | 10-100 for water-based liquid waste |  |
|  | COD (TOC is preferred) |  | 30-180 |  |
|  |  |  | 30-300 for water-based liquid waste |  |
|  | Suspended solids |  | 5.0-60 |  |
|  | HOI |  | 0.5-10 applying to specific waste treatments |  |
|  | Total N |  | 1-25 for biological treatment and waste oil re-refining |  |
|  |  |  | 10-60 for water-based liquid waste |  |
|  | Total P |  | 0.3-2 for biological treatment |  |
|  |  |  | 1-3 for water-based liquid waste |  |
|  | Phenol |  | 0.05-0.2 for waste oil re-refining and physio-chemical treatment of waste with CV |  |
|  |  |  | 0.05-0.3 for water-based liquid waste |  |
|  | Free CN- |  | 0.02-0.1 for water-based liquid waste |  |
|  | AOX |  | 0.2-1 for water-based liquid waste |  |
|  | Metals & Metalloids – specific waste treatments as listed in Table 6.1 |  |  |  |
|  | As |  | 0.01-0.05 | Not applicable Direct discharge to a receiving waterbody not permitted |
|  | Cd |  | 0.01-0.05 |  |
|  | Cr |  | 0.01-0.15 |  |
|  | Cu |  | 0.05-0.5 |  |
|  | Pb |  | 0.05-0.1 |  |
|  | Ni |  | 0.05-0.5 |  |
|  | Hg |  | 0.5-5 |  |
|  | Zn |  | 0.1-1 |  |
|  | Metals & Metalloids – treatment of water-based liquid waste |  |  |  |
|  | As |  | 0.01-0.1 | Not applicable Direct discharge to a receiving waterbody not permitted |
|  | Cd |  | 0.01-0.1 |  |
|  | Cr |  | 0.01-0.3 |  |
|  | Hexavalent Cr [Cr(VI] |  | 0.01-0.1 |  |
|  | Cu |  | 0.05-0.5 |  |
|  | Pb |  | 0.05-0.3 |  |
|  | Ni |  | 0.05-1 |  |
|  | Hg |  | 1.0-10 |  |
|  | Zn |  | 0.1-2 |  |
|  | BAT-AELs for INDIRECT discharges to a receiving waterbody (mg/l) |  |  |  |  |
|  | Table 6.2 and its supporting notes. Monitoring requirements are outlined in BAT 7 |  |  |  |  |
|  | HOI |  | 0.5-10 applying to specific waste treatments | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has confirmed that this is currently tested for and within BAT-AEL (in testing from April 2020). Referenced documents DCWW analysis of 30/04/2020 and discharge consent provided 15/01/2021. All the BAT AELs and monitoring that could apply for the treatment type have been included within Schedules 3 and 4 of the permit. An improvement condition has been set- See IPC9 See section 5 (Changes we have made- Emissions to Water) for more details. |
|  | Free CN- |  | 0.02-0.1 for water-based liquid waste |  |
|  | AOX |  | 0.2-1 for water-based liquid waste | Compliant in the future (within 4 years of publication of BAT conclusions) We were not able to fully assess what monitoring or BAT AELS were relevant. All the BAT AELs and monitoring that could apply for the treatment type have been included within Schedules 3 and 4 of the permit. An improvement condition has been set- See IPC9 See section 5 (Changes we have made- Emissions to Water) for more details. |
|  | Metals & Metalloids – specific waste treatments as listed in Table 6.2 |  |  |  |
|  | As |  | 0.01-0.05 | Not applicable Alternative limits for treatment of water-based liquid waste activity |
|  | Cd |  | 0.01-0.05 |  |
|  | Cr |  | 0.01-0.15 |  |
|  | Cu |  | 0.05-0.5 |  |
|  | Pb |  | 0.05-0.1 |  |
|  | Ni |  | 0.05-0.5 |  |
|  | Hg |  | 0.5-5 |  |
|  | Zn |  | 0.1-1 |  |
|  | Metals & Metalloids – treatment of water-based liquid waste |  |  |  |
|  | As |  | 0.01-0.1 | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has confirmed that this is currently tested for and within BAT-AEL (in testing from April 2020). Referenced documents DCWW analysis of 30/04/2020 and discharge consent provided 15/01/2021. All the BAT AELs and monitoring that could apply for the treatment type have been included within Schedules 3 and 4 of the permit. An improvement condition has been set- See IC9 See section 5 (Changes we have made- Emissions to Water) for more details. |
|  | Cd |  | 0.01-0.1 |  |
|  | Cr |  | 0.01-0.3 |  |
|  | Hexavalent Cr [Cr(VI] |  | 0.01-0.1 | Compliant in the future (within 4 years of publication of BAT conclusions) We were not able to fully assess what monitoring or BAT AELS were relevant. All the BAT AELs and monitoring that could apply for the treatment type have been included within Schedules 3 and 4 of the permit. An improvement condition has been set- See IPC9 See section 5 (Changes we have made- Emissions to Water) for more details. |
|  | Cu |  | 0.05-0.5 | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has confirmed that this is currently tested for and within BAT-AEL (in testing from April 2020). Referenced documents DCWW analysis of 30/04/2020 and discharge consent provided 15/01/2021. All the BAT AELs and monitoring that could apply for the treatment type have been included within Schedules 3 and 4 of the permit. An improvement condition has been set- See IPC9 See section 5 (Changes we have made- Emissions to Water) for more details. |
|  | Pb |  | 0.05-0.3 |  |
|  | Ni |  | 0.05-1 |  |
|  | Hg |  | 1.0-10 |  |
|  | Zn |  | 0.1-2 |  |
| EMISSIONS FROM ACCIDENTS AND INCIDENTS |  |  |  |  |  |
| 21 | Techniques to prevent or limit the environmental consequences of accidents and incidents, as part of the Accident Management Plan. Use ALL of the following: |  |  |  |  |
|  | a. |  | Protection measures – see examples | Currently compliant The operator has provided the Accident Management Plan from the original permit application which includes techniques to prevent or limit the environmental consequences of accidents and incidents. Referenced documents ISO 14001 Manual section 8.2 and Accident Management Plan (18/11/2009) |
|  | b. |  | Management of incidental or accidental emissions |  |
|  | c. |  | Incident/accident registration and assessment system – see examples |  |
| MATERIAL EFFICIENCY |  |  |  |  |  |
| 22 | Use materials efficiently by substituting materials with waste e.g. waste acids/alkalis for pH adjustment, fly ashes for binders |  |  | Not applicable No materials (waste or non-waste) are used within the treatment process |
| ENERGY EFFICIENCY |  |  |  |  |  |
| 23 | Use energy efficiently by using both of the following techniques: |  |  |  |  |
|  | a. |  | Energy efficiency plan | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has confirmed in their email of 15/12/2020 that “the ISO 14001 manual will transpose the specific requirements from new permit conditions.” An improvement condition has been set- see IC10 |
|  | b. |  | Energy balance record |  |
| REUSE OF PACKAGING |  |  |  |  |  |
| 24 | Maximise the reuse of packaging as part of a Residues Management Plan (see BAT 1 XII.) |  |  | Currently compliant The operator has stated that empty drums are washed and sent to be reused. Referenced documents Copy of WT BREF Spreadsheet Guide_v2 (29/10/2020) |
| MECHANICAL TREATMENT OF WASTE (GENERAL BAT) |  |  |  |  |  |
| 25 | Reduce emissions to air of dust, particulate-bound metals, PCDD/F and dioxin-like PCBs by applying BAT 14d AND using one or a combination of the following techniques: |  |  |  |  |
|  | a. |  | Cyclone – see S6.1 | Not applicable Not a permitted treatment activity |
|  | b. |  | Fabric filter – see S6.1 |  |
|  | c. |  | Wet scrubbing – see S6.1 |  |
|  | d. |  | Water injection into the shredder |  |
|  | BAT-AEL for channelled dust emissions to air from the mechanical treatment of waste (mg/Nm3) |  |  |  |  |
|  | Table 6.3 and its supporting note. Monitoring requirements are outlined in BAT 8 |  |  |  |  |
|  | Dust |  | 2.0-5.0 | Not applicable Not a permitted treatment activity |
| MECHANICAL TREATMENT OF METAL WASTE BY SHREDDING |  |  |  |  |  |
| 26 | Improve overall environmental performance and prevent emissions due to accidents and incidents. Use BAT 14g AND ALL of the following techniques: |  |  |  |  |
|  | (a) |  | Detailed inspection procedure for baled waste before shredding | Not applicable Not a permitted treatment activity |
|  | (b) |  | Remove dangerous items from waste inputs and dispose of them in a safe manner |  |
|  | (c) |  | Treatment of containers accompanied by a declaration of cleanliness |  |
| 27 | Prevent deflagrations and reduce emissions from deflagrations. Use technique a. AND ONE OR BOTH of techniques b. and c. |  |  |  |  |
|  | a. |  | Deflagration management plan with reduction programme, incident review and response protocol | Not applicable Not a permitted treatment activity |
|  | b. |  | Pressure relief dampers |  |
|  | c. |  | Pre-shredding (device) |  |
| 28 | Use energy efficiently by keeping the shredder feed stable |  |  |  |
| MECHANICAL TREATMENT OF WEEE CONTAINING VFCS AND/OR VHCS |  |  |  |  |  |
| 29 | Techniques to prevent, or where not practicable reduce emissions of organic compounds to air. Apply BAT 14d AND BAT14h AND technique a. AND ONE OR BOTH of techniques b. and c. |  |  |  |  |
|  | a. |  | Optimised removal and capture of refrigerants and oils | Not applicable Not a permitted treatment activity |
|  | b. |  | Cryogenic condensation |  |
|  | c. |  | Adsorption |  |
|  | BAT-AELs for channelled TVOC and CFC emissions to air from treatment of WEEE containing VFCs and/or VHCs (mg/Nm3) |  |  |  |  |
|  | Table 6.4. Monitoring requirements are outlined in BAT 8 |  |  |  |  |
|  | TVOC |  | 3.0-15 | Not applicable Not a permitted treatment activity |
|  | CFCs |  | 0.5-10 |  |
| 30 | Prevent emissions due to explosions when treating WEEE containing VFCs and/or VHCs. Use EITHER of the following techniques: |  |  |  |  |
|  | a. |  | Inert atmosphere e.g. N2 | Not applicable Not a permitted treatment activity |
|  | b. |  | Forced ventilation |  |
| MECHANICAL TREATMENT OF WASTE WITH CALORIFIC VALUE |  |  |  |  |  |
| 31 | Reduce emissions to air of organic compounds by applying BAT 14d AND using one or a combination of the following techniques: |  |  |  |  |
|  | a. |  | Adsorption – see S6.1 | Not applicable Not a permitted treatment activity |
|  | b. |  | Biofilter – see S6.1 |  |
|  | c. |  | Thermal oxidation – see S6.1 |  |
|  | d. |  | Wet scrubbing – see S6.1 |  |
|  | BAT-AEL for channelled TVOC emissions to air from the mechanical treatment of waste with calorific value (mg/Nm3) |  |  |  |  |
|  | Table 6.5 and its supporting note. Monitoring requirements are outlined in BAT 8 |  |  |  |  |
|  | TVOC |  | 10.0-30.0 | Not applicable Not a permitted treatment activity |
| MECHANICAL TREATMENT OF WEEE CONTAINING MERCURY |  |  |  |  |  |
| 32 | Reduce mercury emissions to air by collecting them at source, sending them to abatement and carrying out adequate monitoring. This includes ALL of the following: |  |  |  |  |
|  | Equipment is enclosed, under negative pressure and connected to a LEV system |  |  | Not applicable Not a permitted treatment activity |
|  | Waste gas treated using dedusting techniques – see examples – followed by adsorption on activated carbon |  |  |  |
|  | Monitoring of waste gas treatment efficiency |  |  |  |
|  | Mercury levels measured at least weekly within treatment and storage areas |  |  |  |
|  | BAT-AEL for channelled mercury (Hg) emissions to air from the mechanical treatment of WEEE containing mercury (µg/Nm3) |  |  |  |  |
|  | Table 6.6. Monitoring requirements are outlined in BAT 8 |  |  |  |  |
|  | Hg |  | 2.0-7.0 | Not applicable Not a permitted treatment activity |
| BIOLOGICAL TREATMENT OF WASTE (GENERAL BAT) |  |  |  |  |  |
| 33 | Reduce odour emissions and improve overall environmental performance by selecting the waste input (to ensure its suitability for biological treatment). See also BAT 2 |  |  | Not applicable Not a permitted treatment activity |
| 34 | Reduce emissions to air of dust, organic compounds and odorous compounds (including H2S & NH3) by using one or a combination of the following techniques: |  |  |  |  |
|  | a. |  | Adsorption – see S6.1 | Not applicable Not a permitted treatment activity |
|  | b. |  | Biofilter – see S6.1 |  |
|  | c. |  | Fabric filter – see S6.1. |  |
|  | d. |  | Thermal oxidation – see S6.1 |  |
|  | e. |  | Wet scrubbing – see S6.1 |  |
|  | BAT-AEL for channelled NH3, odour, dust and TVOC emissions to air from the biological treatment of waste (mg/Nm3) (ouE/m3) |  |  |  |  |
|  | Table 6.7 and its supporting notes. Monitoring requirements are outlined in BAT 8 |  |  |  |  |
|  | NH3 |  | 0.3-20 | Not applicable Not a permitted treatment activity |
|  | Odour |  | 200-1000 |  |
|  | Dust |  | 2.0-5.0 |  |
|  | TVOC |  | 5.0-40 |  |
| 35 | Reduce the generation of waste water and reduce water usage by using ALL of the following: |  |  |  |  |
|  | a. |  | Segregation of water streams (see also BAT 19f) | Not applicable Not a permitted treatment activity |
|  | b. |  | Water recirculation |  |
|  | c. |  | Minimisation of the generation of leachate |  |
| BIOLOGICAL TREATMENT OF WASTE: AEROBIC METHODS |  |  |  |  |  |
| 36 | Reduce emissions to air and improve overall environmental performance by monitoring and/or controlling key waste and process parameters. Include following elements: |  |  |  |  |
|  | Waste input characteristics e.g. C to N ratio, particle size |  |  | Not applicable Not a permitted treatment activity |
|  | Temperature and moisture content within windrows (Moisture monitoring not needed for enclosed processes where H&S issues have been identified) |  |  |  |
|  | Aeration of the windrow |  |  |  |
|  | Windrow porosity, height and width |  |  |  |
| 37 | Reduce diffuse emissions to air of dust, odour and bioaerosols from open-air treatment steps. Use ONE OR BOTH of the following techniques: |  |  |  |  |
|  | a. |  | Use of semi-permeable membrane covers | Not applicable Not a permitted treatment activity |
|  | b. |  | Adaptation of operations to the meteorological conditions |  |
| BIOLOGICAL TREATMENT OF WASTE: ANAEROBIC METHODS |  |  |  |  |  |
| 38 | Reduce emissions to air and improve overall environmental performance by monitoring and/or controlling key waste and process parameters. Include following elements: |  |  |  |  |
|  | Implement a manual and/or automatic monitoring system to: |  |  |  |  |
|  | Ensure a stable digester operation |  |  | Not applicable Not a permitted treatment activity |
|  | Minimise operational difficulties and associated odour emissions |  |  |  |
|  | Provide sufficient early warning of system failures |  |  |  |
|  | Windrow porosity, height and width |  |  |  |
|  | Monitoring and/or control of key waste and process parameters – examples below: |  |  |  |  |
|  | pH and alkalinity of the digester feed |  |  | Not applicable Not a permitted treatment activity |
|  | Digester operating temperature |  |  |  |
|  | Hydraulic and organic loading rates of the digester feed |  |  |  |
|  | Volatile fatty acids and NH3 concentrations within digester & digestate |  |  |  |
|  | Biogas quantity, composition (e.g. H2S) and pressure |  |  |  |
|  | Liquid and foam levels in the digester |  |  |  |
| MECHANICAL BIOLOGICAL TREATMENT (MBT) OF WASTE |  |  |  |  |  |
| 39 | Reduce emissions to air. Generally applicable to new plants, existing plants may have layout constraints. Use BOTH of the following techniques: |  |  |  |  |
|  | a. |  | Segregation of the waste gas streams (refer to inventory described in BAT 3) | Not applicable Not a permitted treatment activity |
|  | b. |  | Recirculation of waste gas. Waste gas treatment is described in BAT 34 and recirculation in BAT 35. |  |
| PHYSICO-CHEMICAL TREATMENT OF SOLID AND/OR PASTY WASTE |  |  |  |  |  |
| 40 | Improve overall environmental performance by monitoring the waste input as part of the waste pre-acceptance and acceptance procedures. See also BAT 2. |  |  |  |  |
|  | Monitoring the waste input |  |  |  |  |
|  | Content of organics, oxidising agents, metals, salts, odorous compounds |  |  | Not applicable Not a permitted treatment activity |
|  | H2 formation potential upon mixing of flue-gas treatment residues/ashes with water |  |  |  |
| 41 | Reduce emissions to air of dust, organic compounds and NH3 by applying BAT 14d AND using one or a combination of the following techniques: |  |  |  |  |
|  | a. |  | Adsorption – see S6.1 | Not applicable Not a permitted treatment activity |
|  | b. |  | Biofilter – see S6.1 |  |
|  | c. |  | Fabric filter – see S6.1. |  |
|  | d. |  | Wet scrubbing – see S6.1 |  |
|  | BAT-AEL for channelled NH3, odour, dust and TVOC emissions to air from the physico-chemical treatment of solid and/or pasty waste (mg/Nm3) |  |  |  |  |
|  | Table 6.8. Monitoring requirements are outlined in BAT 8 |  |  |  |  |
|  | Dust |  | 2.0-5.0 | Not applicable Not a permitted treatment activity |
| RE-REFINING OF WASTE OIL |  |  |  |  |  |
| 42 | Improve overall environmental performance by monitoring the waste input as part of the waste pre-acceptance and acceptance procedures. See also BAT 2. |  |  |  |  |
|  | Monitoring the waste input |  |  |  |  |
|  | Chlorinated compounds e.g. solvents or PCBs |  |  | Not applicable Not a permitted treatment activity |
| 43 | Reduce quantity of waste sent for disposal by using ONE OR BOTH of the following techniques: |  |  |  |  |
|  | a. |  | Material recovery e.g. organic residues in asphalt products | Not applicable Not a permitted treatment activity |
|  | b. |  | Energy recovery |  |
| 44 | Reduce emissions to air of organic compounds by applying BAT 14d AND using one or a combination of the following techniques: |  |  |  |  |
|  | a. |  | Adsorption – see S6.1 | Not applicable Not a permitted treatment activity |
|  | b. |  | Thermal oxidation – see S6.1 |  |
|  | c. |  | Wet scrubbing – see S6.1 |  |
|  | The BAT-AEL for TVOC emissions to air set in Section 4.5 (below) applies. |  |  |  |  |
|  | Monitoring requirements are outlined in BAT 8 |  |  |  |  |
| PHYSICO-CHEMICAL TREATMENT OF WASTE WITH CALORIFIC VALUE |  |  |  |  |  |
| 45 | Reduce emissions to air of organic compounds by applying BAT 14d AND using one or a combination of the following techniques: |  |  |  |  |
|  | a. |  | Adsorption – see S6.1 | Not applicable Not a permitted treatment activity |
|  | b. |  | Cryogenic condensation – see S6.1 |  |
|  | c. |  | Thermal oxidation – see S6.1 |  |
|  | d. |  | Wet scrubbing – see S6.1 |  |
|  | The BAT-AEL for TVOC emissions to air set in Section 4.5 (below) applies. |  |  |  |  |
|  | Monitoring requirements are outlined in BAT 8 |  |  |  |  |
| REGENERATION OF SPENT SOLVENTS |  |  |  |  |  |
| 46 | Improve overall environmental performance by using ONE OR BOTH of the following techniques: |  |  |  |  |
|  | a. |  | Material recovery (by evaporation from distillation residues) | Not applicable Not a permitted treatment activity |
|  | b. |  | Energy recovery e.g. using distillation residues |  |
| 47 | Reduce emissions to air of organic compounds by applying BAT 14d AND using a combination of the following techniques: |  |  |  |  |
|  | a. |  | Recirculation of process off-gases in a steam boiler. Avoid generating PCBs and/or PCDD/Fs | Not applicable Not a permitted treatment activity |
|  | b. |  | Adsorption – see S6.1 |  |
|  | c. |  | Thermal oxidation – see S6.1. Avoid generating PCBs and/or PCDD/Fs |  |
|  | d. |  | Condensation or cryogenic condensation |  |
|  | e. |  | Wet scrubbing – see S6.1 |  |
|  | The BAT-AEL for TVOC emissions to air set in Section 4.5 (below) applies. |  |  |  |  |
|  | Monitoring requirements are outlined in BAT 8 |  |  |  |  |
| BAT-AEL FOR EMISSIONS OF ORGANIC COMPOUNDS TO AIR – SECTION 4.5 |  |  |  |  |  |
| (RE-REFINING OF WASTE OIL) |  |  |  |  |  |
| (PHYSICO-CHEMICAL TREATMENT OF WASTE WITH CV) |  |  |  |  |  |
| (REGENERATION OF SPENT SOLVENTS) |  |  |  |  |  |
|  | BAT-AEL for channelled TVOC emissions to air from the re-refining of waste oil, physico-chemical treatment of waste with calorific value and regeneration of spent solvents (mg/Nm3) |  |  |  |  |
|  | Table 6.9 and its supporting note. Monitoring requirements are outlined in BAT 8 |  |  |  |  |
|  | TVOC |  | 5.0-30 | Not applicable Not a permitted treatment activity |
| THERMAL TREATMENT OF SPENT ACTIVATED CARBON, WASTE CATALYSTS AND EXCAVATED CONTAMINATED SOIL |  |  |  |  |  |
| 48 | Improve overall environmental performance by using ALL of the following techniques: |  |  |  |  |
|  | a. |  | Heat recovery from the furnace off-gas e.g. for preheating combustion air or steam generation | Not applicable Not a permitted treatment activity |
|  | b. |  | Indirectly fired furnace i.e. avoids contact between the furnace contents and the burner flue-gases. Note applicability constraints. |  |
|  | c. |  | Process-integrated techniques to reduce emissions to air – see examples |  |
| 49 | Reduce emissions to air of HCl, HF, dust and organic compounds by applying BAT 14d AND using one or a combination of the following techniques: |  |  |  |  |
|  | a. |  | Cyclone – see S6.1 | Not applicable Not a permitted treatment activity |
|  | b. |  | Electrostatic precipitator (ESP) – see S6.1 |  |
|  | c. |  | Fabric filter – see S6.1 |  |
|  | d. |  | Wet scrubbing – see S6.1 |  |
|  | e. |  | Adsorption – see S6.1 |  |
|  | f. |  | Condensation – see S6.1 |  |
|  | g. |  | Thermal oxidation – see S6.1 |  |
|  | Note supporting text for BAT 49g (thermal oxidation) |  |  |  |  |
|  | Monitoring requirements are outlined in BAT 8. No BAT-AELs have been set for this BATc. |  |  |  |  |
| WATER WASHING OF EXCAVATED CONTAMINATED SOIL |  |  |  |  |  |
| 50 | Reduce emissions to air of dust and organic compounds from the storage, handling and washing steps by applying BAT 14d AND using one or a combination of the following techniques: |  |  |  |  |
|  | a. |  | Adsorption – see S6.1 | Not applicable Not a permitted treatment activity |
|  | b. |  | Fabric filter – see S6.1 |  |
|  | c. |  | Wet scrubbing – see S6.1 |  |
|  | Monitoring requirements are outlined in BAT 8. No BAT-AELs have been set for this BATc. |  |  |  |  |
| Decontamination of equipment containing PCBs |  |  |  |  |  |
| 51 | Reduce emissions to air of PCBs and organic compounds and improve overall environmental performance by using ALL of the following techniques: |  |  |  |  |
|  | a. |  | Coating of the storage and treatment areas – see examples | Not applicable Not a permitted treatment activity |
|  | b. |  | Implementation of staff access rules to prevent dispersion of contamination – see examples |  |
|  | c. |  | Optimised equipment cleaning and drainage – see examples |  |
|  | d. |  | Control and monitoring of emission to air – see examples |  |
|  | e. |  | Disposal of waste treatment residues – see examples |  |
|  | f. |  | Recovery of solvent when solvent washing is used |  |
|  | Monitoring requirements are outlined in BAT 8. No BAT-AELs have been set for this BATc. |  |  |  |  |
| TREATMENT OF WATER-BASED LIQUID WASTE |  |  |  |  |  |
| 52 | Improve overall environmental performance by monitoring the waste input as part of the waste pre-acceptance and acceptance procedures. See also BAT 2. |  |  |  |  |
|  | Monitoring the waste input |  |  |  |  |
|  | Bioeliminability e.g. BOD, BOD-COD ratio, Zahn-Wellens test, biological inhibition potential |  |  | Not applicable The operator has confirmed that the Zahn wellens test is unnecessary for the waste oil/water mixtures dealt with, and that the oil discharge is kept to a minimum in any case and has a value when recovered. Referenced document of 15/12/2020 |
|  | Feasibility of emulsion breaking e.g. lab testing |  |  | Not applicable The operator has confirmed in 2011 prior to issue that” no treatment of emulsifications and that waste acceptance will ensure chemicals which could emulsify the oil will be screened out”. Document referenced: ERP/KP3636HB Table 1.2 and email of 15/12/2020 |
| 53 | Reduce emissions to air of HCl, NH3 and organic compounds by applying BAT 14d AND using one or a combination of the following techniques: |  |  |  |  |
|  | a. |  | Adsorption – see S6.1 | Not applicable No permitted emission to air with emission limited |
|  | b. |  | Biofilter – see S6.1 |  |
|  | c. |  | Thermal oxidation – see S6.1. |  |
|  | d. |  | Wet scrubbing – see S6.1 |  |
|  | BAT-AELs for channelled HCl and TVOC emissions to air from the treatment of water-based liquid waste (mg/Nm3) |  |  |  |  |
|  | Table 6.10 and its supporting notes. Monitoring requirements are outlined in BAT 8 |  |  |  |  |
|  | HCl |  | 1.0-5.0 | Not applicable No permitted emission to air with emission limited |
|  | TVOC |  | 3.0-20 |  |

Annex 2: Consultation on the draft decision where an Article 15(4) derogation has been applied

# No derogations have been applied for.