Schedule 5 – Notification

Part A

| Permit Number | BU7766IC |
| --- | --- |
| Name of Operator | Sundorne Products Ltd |
| Location of Facility | Bryn Posteg Landfill, Tylwch Road, Llanidloes, Powys, SY18 6JJ |
| Time and date of the detection | 15/04/2021 |
| Date and time of event | 15/3/2021 |
| Reference or description of the location of the event | Groundwater well GW01 |
| Substances potentially released | N/A |
| Best estimate of the quantity or rate of release of substances | N/A |
| Measures taken, or intended to be taken, to stop any emission | Borehole 1 is a legacy borehole that is affected by road salt contamination. |
| Description of the failure or accident | Chloride level measured as 612.10mg/l. This is a breach of the compliance limit of 69 mg/l. |