BAT 7. BAT is to monitor emissions to water with at least the frequency given below, and in accordance with EN standards. If EN standards are not available, BAT is to use ISO, national or other international standards that ensure the provision of data of an equivalent scientific quality.

Physico-chemical treatment of solid and/or pasty waste

| Waste treatment process | Parameter | Limit (including unit) | Monitoring frequency (1)(2) | Monitoring standard or method | Monitoring associated with |
| --- | --- | --- | --- | --- | --- |
| All waste treatments except treatment of water-based liquid waste | Chemical oxygen demand (COD)(5)(6) |  | Once every month | No EN standard available | BAT 20 |
| Physico-chemical treatment of solid and/or pasty waste | Arsenic (As), Cadmium (Cd), Chromium (Cr), Copper (Cu), Nickel (Ni), Lead (Pb), Zinc (Zn)(3)(4) |  | Once every month | Various EN standards available (e.g. EN ISO 11885, EN ISO 17294-2, EN ISO 15586) | BAT 20 |
| Physico-chemical treatment of solid and/or pasty waste | Mercury (Hg)(3)(4) |  | Once every month | Various EN standards available (i.e. EN ISO 17852, EN ISO 12846) | BAT 20 |
| All waste treatments | PFOA(3) |  | Once every six months | No EN standard available | BAT 20 |
| All waste treatments | PFOS(3) |  | Once every six months | No EN standard available | BAT 20 |
| All waste treatments except treatment of water-based liquid waste | Total organic carbon (TOC)(5)(6) |  | Once every month | EN 1484 | BAT 20 |
| All waste treatments except treatment of water-based liquid waste | Total suspended solids (TSS)(6) |  | Once every month | EN 872 | BAT 20 |

(1) Monitoring frequencies may be reduced if the emission levels are proven to be sufficiently stable.

(2) In the case of batch discharge less frequent than the minimum monitoring frequency, monitoring is carried out once per batch.

(3) The monitoring only applies when the substance concerned is identified as relevant in the waste water inventory mentioned in BAT 3.

(4) In the case of an indirect discharge to a receiving water body, the monitoring frequency may be reduced if the downstream waste water treatment plant abates the pollutants concerned.

(5) Either TOC or COD is monitored. TOC is the preferred option, because its monitoring does not rely on the use of very toxic compounds.

(6) The monitoring applies only in the case of a direct discharge to a receiving water body.

BAT 8. BAT is to monitor channelled emissions to air with at least the frequency given below, and in accordance with EN standards. If EN standards are not available, BAT is to use ISO, national or other international standards that ensure the provision of data of an equivalent scientific quality.

Physico-chemical treatment of solid and/or pasty waste

| Waste treatment process | Parameter | Limit (including unit) | Monitoring frequency (1) | Monitoring standard or method | Monitoring associated with |
| --- | --- | --- | --- | --- | --- |
| Physico-chemical treatment of solid and/or pasty waste | Dust |  | Once every six months | EN 13284-1 | BAT 41 |
| Physico-chemical treatment of solid and/or pasty waste(2) | NH3 |  | Once every six months | No EN standard available | BAT 41 |
| Physico-chemical treatment of solid and/or pasty waste(2) | TVOC |  | Once every six months | EN 12619 | BAT 41 |

(1) Monitoring frequencies may be reduced if the emission levels are proven to be sufficiently stable.

(2) The monitoring only applies when the substance concerned is identified as relevant in the waste gas stream based on the inventory mentioned in BAT 3.

(3) Instead of EN 1948-1, sampling may also be carried out according to CEN/TS 1948-5.

(4) The odour concentration may be monitored instead.

(5) The monitoring of NH3 and H2S can be used as an alternative to the monitoring of the odour concentration.

(6) The monitoring only applies when solvent is used for cleaning the contaminated equipment.

BAT 20. In order to reduce emissions to water, BAT is to treat waste water using an appropriate combination of the techniques given below.

Table 6.2 BAT-associated emission levels (BAT-AELs) for indirect discharges to a receiving water body

Physico-chemical treatment of solid and/or pasty waste

| Waste treatment process | Parameter |  | Limit (including unit) (1)(2) | Monitoring frequency | Monitoring standard or method | Monitoring associated with |
| --- | --- | --- | --- | --- | --- | --- |
| Physico-chemical treatment of solid and/or pasty waste | Metals and metalloids(3) | Arsenic (expressed as As) | 0.05 mg/l |  |  |  |
| Physico-chemical treatment of solid and/or pasty waste | Metals and metalloids(3) | Cadmium (expressed as Cd) | 0.05 mg/l |  |  |  |
| Physico-chemical treatment of solid and/or pasty waste | Metals and metalloids(3) | Chromium (expressed as Cr) | 0.15 mg/l |  |  |  |
| Physico-chemical treatment of solid and/or pasty waste | Metals and metalloids(3) | Copper (expressed as Cu) | 0.5 mg/l |  |  |  |
| Physico-chemical treatment of solid and/or pasty waste | Metals and metalloids(3) | Lead (expressed as Pb) | 0.1 mg/l(4) |  |  |  |
| Physico-chemical treatment of solid and/or pasty waste | Metals and metalloids(3) | Nickel (expressed as Ni) | 0.5 mg/l |  |  |  |
| Physico-chemical treatment of solid and/or pasty waste | Metals and metalloids(3) | Mercury (expressed as Hg) | 5 μg/l |  |  |  |
| Physico-chemical treatment of solid and/or pasty waste | Metals and metalloids(3) | Zinc (expressed as Zn) | 1 mg/l(5) |  |  |  |

(1) The averaging periods are defined in the General considerations.

(2) The BAT-AELs may not apply if the downstream waste water treatment plant abates the pollutants concerned, provided this does not lead to a higher level of pollution in the environment.

(3) The BAT-AELs only apply when the substance concerned is identified as relevant in the waste water inventory mentioned in BAT 3.

(4) The upper end of the range is 0,3 mg/l for mechanical treatment in shredders of metal waste.

(5) The upper end of the range is 2 mg/l for mechanical treatment in shredders of metal waste.

BAT 41. In order to reduce emissions of dust, organic compounds and NH3 to air, BAT is to apply BAT 14d and to use one or a combination of the techniques given below.

Table 6.8 BAT-associated emission level (BAT-AEL) for channelled emissions of dust to air from the physico- chemical treatment of solid and/or pasty waste

| Waste treatment process | Parameter | Limit (including unit) | Monitoring frequency | Monitoring standard or method | Monitoring associated with |
| --- | --- | --- | --- | --- | --- |
| physico- chemical treatment of solid and/or pasty waste | Dust | 5 mg/Nm3 |  |  |  |