Natural Resources Wales permitting decisions

# Variation and Consolidation of a bespoke Permit – SRCL Limited

We have decided to issue a Natural Resources Wales initiated variation and consolidated permit for Bridgend Clinical Waste Treatment Plant and Transfer Station in 12 Aneurin Bevan Avenue, Brynmenyn Industrial Estate, Bridgend, Mid Glamorgan, Wales, CF32 9SZ operated by SRCL Limited.

The permit number is EPR/PP3430UL/V007.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

The permit has been varied following the publication of the revised Best Available Techniques (BAT) Reference Documents (BREF) for Waste Treatment. The associated BAT conclusions to this document were published on 17 August 2018 in the Official Journal of the European Union.

This variation incorporates the changes required by the Industrial Emissions Directive following a statutory review of permits in the Waste Treatment sector. These include the amendment of the wording of several permit conditions relating to notifications, changes to emissions limits and monitoring requirements.

We are satisfied that the operator will be compliant with the published BAT conclusions which will apply from 17 August 2022.

Purpose of this document

This decision document:

- explains how we have carried out our statutory review of the Operator’s Permit;

- why we have decided to vary the Permit as a result of that review; and

- why we have included the specific conditions in the revised Permit through the variation notice we are issuing.

It is our record of our decision-making process, to show how we have taken into account all relevant factors in reaching our position.

Structure of this document

- Assessment of Bridgend Clinical Waste Treatment Plant and Transfer Station against the published BAT conclusions for Waste Treatment.

- Annex 1 – Decision Checklist regarding relevant BAT Conclusions

Assessment of Bridgend Clinical Waste Treatment Plant and Transfer Station against the published BAT conclusions for Waste Treatment

1. Our decision

We have issued a variation, which will allow SRCL Limited to operate the installation, subject to the conditions in the varied permit.

The variation does three things:

- it consolidates the original permit to reflect changes made through earlier variations;

- it brings the permit into line with our modern regulatory template; and

- it varies the permit where appropriate to reflect the outcome of our statutory review and incorporate Best Available Techniques (BAT) and Associated Emission Limit Values (BAT-AELs).

We consider that, in reaching this decision, we have taken into account all relevant considerations and legal requirements and that the permit will continue to ensure that a high level of protection is provided for the environment and human health.

The original permit, issued on the 23/06/2006, ensured that the installation, employed Best Available Techniques (BAT) and ensured a high level of protection for human health and the environment. We have altered the permit as a result of the statutory review, and we are confident that the new requirements will deliver a superior level of protection to that which was previously achieved. Where a site is not currently compliant with BAT, Improvement Conditions have been included to bring the site up standard by 17 August 2022.

2. The legal framework

The Variation and Consolidation Notice (which includes the consolidated permit as Schedule 2) will be issued under Regulation 20 of the Environmental Permitting (England and Wales) Regulations 2016 (EPR). The environmental permitting regime is a legal vehicle which delivers most of the relevant legal requirements for activities falling within its scope. In particular, the regulated facility is:

- an installation as described by the Industrial Emissions Directive (IED);

- a waste operation subject to Environmental Permitting Regulations, however this review only applies to the installation activity as described by the Industrial Emissions Directive.

- subject to aspects of other relevant legislation which also have to be addressed.

We consider that, in issuing the Variation and Consolidated Permit, it will ensure that the operation of the installation complies with all relevant legal requirements and that a high level of protection will be delivered for the environment and human health.

We explain how we have addressed specific statutory requirements more fully in the rest of this document.

3. How we reached our decision

Requesting information to demonstrate compliance with BAT Conclusion techniques

We issued a Notice under Regulation 61(1) of the Environmental Permitting (England and Wales) Regulations 2016 on 05/04/2019 requiring the operator to provide information to demonstrate how the operation of their installation currently meets, or will subsequently meet, the revised standards described in the relevant BAT Conclusions document.

The Regulation 61(1) Notice required the operator to:

- Describe the techniques that will be implemented before 17 August 2022, which will then ensure that operations meet the revised standard, or

- Justify why standards will not be met by 17 August 2022, and confirmation of the date when the operation of those processes will cease within the installation or an explanation of why the revised BAT standard is not applicable to those processes, or

- Justify why an alternative technique will achieve the same level of environmental protection equivalent to the revised standard described in the BAT Conclusions.

- Where their permitted activity involves the use, production or release of a hazardous substance, as defined in Article 3(18) of the Industrial Emissions Directive, SRCL Limited were required to carry out a risk assessment considering the possibility of soil and groundwater contamination at the permitted installation with such substances. Where risk of such contamination is established prepare a baseline report containing information necessary to determine the state of soil and groundwater contamination so as to make a quantified comparison with the state upon definite cessation of the activity. SRCL Limited have a copy of a Soil and Groundwater Contamination Risk Assessment.

- Where their permitted activity involves the use, production, storage or release of priority hazardous substances and any other relevant substances., as defined by the Water Framework Directive, the SRCL Limited were required to carry out a risk screening assessment considering the presence of priority hazardous substances at the permitted installation. Where a risk of these substances is established the operator is to sample the effluent and screen for the priority hazardous substances. If these substances are found to be present in the effluent stream, then assessment using the H1 tool and potential detailed modelling will be required to demonstrate that the effluent discharge will not have a significant impact to the receiving water. A list of substances was provided, but none are found to be present in the effluent stream.

Where the operator proposed that they were not intending to meet a BAT standard, that also included a BAT Associated Emission Level (BAT-AEL) described in the Waste Treatment BAT Conclusions Document, the Regulation 61(1) Notice requested that the operator make a formal request for derogation from compliance with that AEL (as provisioned by Article 15(4) of IED). In this circumstance, the Notice identified that any such request for derogation must be supported and justified by sufficient technical and commercial information that would enable us to determine acceptability of the derogation request.

The Regulation 61(1) Notice response from the operator was received on 19/09/2019 and additional information received on 09/10/2019.

We considered that the response contained sufficient information for us to commence determination of the permit review. The operator made no claim for commercial confidentiality. We have not received any information in relation to the Regulation 61(1) Notice response that appears to be confidential in relation to any part.

# 4. Key issues/Regulation 61(1) response

# BAT Conclusions for the Waste Treatment were published as  Commission Implementing Decision EU 2018/1447 in the Official Journal of the EU on 17 August 2018.  There are 53 BAT Conclusions. This annex provides a record of decisions made in relation to each relevant BAT Conclusion applicable to the installation. This should be read in conjunction with the permit/variation notice issued.

A detailed response was received from SRCL Limited. Following assessment of the Regulation 61(1) response, further information was requested from SRCL Limited. Where the operator has concluded that they have achieved BAT, and we are in agreement, no further information/justification has been sought by Natural Resources Wales.

5. Changes we have made

Improvement Conditions

Based on the information provided in the Regulation 61(1) response, we consider that we need to set improvement conditions. These conditions are set out below. We are using these conditions to require the operator to provide Natural Resources Wales with details that need to be established or confirmed during operations. The improvement conditions ensure compliance by 2022.

IC1 regarding Fire Prevention and Mitigation Plan has been added in line with our Fire Prevention and Mitigation Plan guidance.

Improvement conditions IC2 to IC10 inclusive have been imposed to ensure compliance with certain BAT Conclusions by 17 August 2022.

| Reference | Requirement | Date |
| --- | --- | --- |
| IC1 | The operator shall submit a written Fire prevention and mitigation plan to Natural Resources Wales. The Fire prevention and mitigation plan must be produced in line with the standards set out in Fire prevention and mitigation plan guidance – Waste. | 3 months after permit issue or otherwise agreed in writing with Natural Resources Wales |
| IC2 | BAT 1- Overall environmental performance The operator shall submit to Natural Resources Wales a copy of the Environment Management System in order to evidence compliance with the whole of BAT 1 i.e. to implement and adhere to an environmental management system (EMS) in accordance with requirements specified within BAT Conclusion 1 of the Waste Treatment BAT Conclusions (EU 2018). | 17 February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IC3 | BAT 2. Improve the overall environmental performance of the plant The operator shall submit to Natural Resources Wales information in order to evidence compliance with BAT 2 using all of the techniques given below in accordance with requirements specified within BAT Conclusion of the Waste Treatment BREF Document (EU 2018): f. Ensure waste compatibility prior to mixing or blending | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IC4 | BAT 3. Establish and to maintain an inventory of waste water and waste gas streams to facilitate the reduction of emissions to water and air The operator shall submit to Natural Resources Wales information in order to evidence compliance with BAT 3 that incorporates all of the following features in accordance with requirements specified within BAT Conclusion of the Waste Treatment BREF Document (EU 2018): (i) information about the characteristics of the waste to be treated and the waste treatment processes, including: (a) simplified process flow sheets that show the origin of the emissions; (b) descriptions of process-integrated techniques and waste water/waste gas treatment at source including their performances. (i) information about the characteristics of the waste to be treated and the waste treatment processes, including: (a) simplified process flow sheets that show the origin of the emissions; (b) descriptions of process-integrated techniques and waste water/waste gas treatment at source including their performances; (ii) information about the characteristics of the waste water streams, such as: (a) average values and variability of flow, pH, temperature, and conductivity; (b) average concentration and load values of relevant substances and their variability (e.g. COD/TOC, nitrogen species, phosphorus, metals, priority substances/micropollutants); (iii) information about the characteristics of the waste gas streams, such as: (a) average values and variability of flow and temperature; (b) average concentration and load values of relevant substances and their variability (e.g. organic compounds, POPs such as PCBs); (c) flammability, lower and higher explosive limits, reactivity; (d) presence of other substances that may affect the waste gas treatment system or plant safety (e.g. oxygen, nitrogen, water vapour, dust). Information resulting from this improvement condition will be used to assess the relevance of the BAT AELs and monitoring requirements as set in Schedule 3 and 4 of this permit. | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IC5 | BAT 7. Monitor emissions to water The operator shall submit to Natural Resources Wales a written procedure(s) in accordance with requirements specified within BAT Conclusions of the Waste Treatment BREF Document (EU 2018) in relation to: BAT is to monitor emissions to water with at least the frequency given within table for the relevant treatment type (Physico-chemical treatment of solid and/or pasty waste), and in accordance with EN standards. If EN standards are not available, BAT is to use ISO, national or other international standards that ensure the provision of data of an equivalent scientific quality, taking into account the table footnotes. Information resulting from this improvement condition will be used to assess the relevance of the BAT AELs and monitoring requirements as set in Schedule 3 and 4 of this permit. | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IC6 | BAT 8. Monitor emissions to air The operator shall submit to Natural Resources Wales a written procedure(s) in accordance with requirements specified within BAT Conclusions of the Waste Treatment BREF Document (EU 2018) in relation to: BAT is to monitor channelled emissions to air with at least the frequency given within table for the relevant treatment type (Physico-chemical treatment of solid and/or pasty waste), and in accordance with EN standards. If EN standards are not available, BAT is to use ISO, national or other international standards that ensure the provision of data of an equivalent scientific quality, taking into account the table footnotes. Information resulting from this improvement condition will be used to assess the relevance of the BAT AELs and monitoring requirements as set in Schedule 3 and 4 of this permit. | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IC7 | BAT 12- Set up, implement and review an Odour Management Plan (as part of the site EMS) The operator shall submit to Natural Resources Wales information in order to evidence compliance with BAT 12 including all of the following in accordance with requirements specified within BAT Conclusion of the Waste Treatment BREF Document (EU 2018): - a protocol containing actions and timelines; - a protocol for conducting odour monitoring as set out in BAT 10; - a protocol for response to identified odour incidents, e.g. complaints; - an odour prevention and reduction programme designed to identify the source(s); - to characterise the contributions of the sources; and - to implement prevention and/or reduction measures. | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IC8 | BAT 19 Optimise water consumption, reduce waste water generation and prevent/reduce emissions to soil and water The operator shall submit to Natural Resources Wales information in order to evidence compliance with BAT 19 requiring the use of one or a combination of techniques in accordance with requirements specified within BAT Conclusion of the Waste Treatment BREF Document (EU 2018): c) impermeable surface (information on how the site complies with CIRIA 736 or an equivalent engineering standard to which the surface complies together with sign off from construction by a Certified Quality Auditor) | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IC9 | BAT 20 Reduce emissions to water The operator shall submit to Natural Resources Wales a written procedure(s) in accordance with requirements specified within BAT Conclusions of the Waste Treatment BREF Document (EU 2018) in relation to: BAT 20 - In order to reduce emissions to water, BAT is to treat waste water using an appropriate combination of the techniques described within BAT 20 Table. BAT 20 applies to all sites that treat waste waters on site to reduce emissions prior to discharge. BAT-associated emission levels (BAT-AELs) for indirect discharges to a receiving water body should comply with Table 6.2 of BAT 20. Information resulting from this improvement condition will be used to assess the relevance of the BAT AELs and monitoring requirements as set in Schedule 3 and 4 of this permit. | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IC10 | BAT 21 Emissions from accidents and incidents The operator shall submit to Natural Resources Wales an Accident Management Plan in order to evidence compliance with BAT 21 requiring the use of all of the following techniques: - Protection measures - Management of incidental/accidental emissions Incident/accident registration and assessment system | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IC11 | BAT 23 Use energy efficiently. The operator shall submit to Natural Resources Wales information in order to evidence compliance with BAT 23 requiring the use both of the following techniques: - Energy efficiency plan Energy balance record | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IC12 | BAT 40 Improve overall environmental performance by monitoring the waste input as part of the waste pre-acceptance and acceptance procedures for the physico-chemical treatment of solid and/or pasty waste The operator shall submit to Natural Resources Wales information in order to evidence compliance with BAT 40 (see also BAT 2) by monitoring the waste input of e.g. in terms of: - content of organics, oxidising agents, metals (e.g. mercury), salts, odorous compounds; - H2 formation potential upon mixing of flue-gas treatment residues, e.g. fly ashes, with water. | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |
| IC13 | BAT 41 BAT-associated emission level (BAT-AEL) for channelled emissions of dust to air from the physico- chemical treatment of solid and/or pasty waste (Table 6.8) The operator shall submit to Natural Resources Wales a written procedure(s) in accordance with requirements specified within BAT Conclusions of the Waste Treatment BREF Document (EU 2018) in relation to: BAT 41 In order to reduce emissions of dust, organic compounds and NH3 to air, BAT is to apply BAT 14d and to use one or a combination of the techniques given within BAT 41 table. BAT 41 applies to all sites that treat channelled emissions to air. BAT-associated emission level (BAT-AEL) for channelled emissions of dust to air from the physico- chemical treatment of solid and/or pasty waste should comply with Table 6.8 of BAT 41. Information resulting from this improvement condition will be used to assess the relevance of the BAT AELs and monitoring requirements as set in Schedule 3 and 4 of this permit. | 17th February 2022 or otherwise agreed in writing with Natural Resources Wales |

IC1

As per NRW’s the Fire Prevention and Mitigation Guidance, if an operator has an environmental permit that authorises  the storage of combustible waste, or an existing permit with a permit condition requiring you to have a Fire Prevention Mitigation Plan (FPMP), the operator must adhere to this guidance.

Our guidance does not apply to hazardous waste storage. Therefore any regulated facility storing hazardous waste shall include a section for waste storage and fire prevention techniques and reference the relevant guidance for this as part of the facilities Environmental Management System (EMS). This could be the Health and Safety Executive guidance. The operator shall state how it will store waste and prevent fires.

IC2

This improvement condition has been set to ensure compliance with BAT 1 as we did not receive information for each of the parts of the BATc. The operator is reliant on the ISO14001 certification, however ISO14001 will not meet all the requirements of this conclusion.

IC3

This improvement condition has been set to ensure compliance with all parts of the BATc. The operator has stated that part f (Ensure waste compatibility prior to mixing or blending) is not applicable as "waste is kept in original packaging from the waste producer." However permitted treatment of hazardous waste includes shredding, mixing, maceration and heat disinfection.

IC4

This improvement condition has been set to obtain information relating to information about the characteristics of the waste to be treated and the waste treatment processes, and information about the characteristics of the waste water streams and waste gas streams. This information will be used to identify the appropriate BAT AELs and monitoring requirements for indirect discharges to a receiving water body from the site and for emissions to air. To date this information has not been fully provided, therefore the BAT AELs and monitoring requirements have been applied within Schedules 3 and 4 of the permit in a precautionary manner. See also IC5, IC6, IC9 and IC13.

IC7

This improvement condition has been set as the existing Odour Management Plan could not be located to verify that the requirements of BAT conclusion was met. Odour complaints have been received in the past.

IC8

This improvement condition has been set for the operator to confirm that the sites impermeable surface meets the relevant engineering standard

IC10

This improvement condition has been set to ensure compliance with BAT 21 as we did not receive information for each of the parts of the BATc.

IC11

This improvement condition has been set for the operator to provide an Energy efficiency plan including an energy balance record is written and supplied as per the requirements of BAT 23.

IC12

This improvement condition has been set for the operator to demonstrate compliance with BAT conclusion 40 as no information has been received to date.

Operational Changes

The following changes have been made to the permit:

- condition 2.4 for WEEE storage and Hazardous waste storage and treatment were added as these were not previously included

- condition 2.5 Improvement programme was added

- condition 3.1.3 on periodic monitoring was added as it was not previously included

- condition 3.4.2 Odour was added as this part of the condition was not included, and no Odour Management Plan was included in Table S1.2

- condition 3.5.2 Noise and Vibration was added as this part of the condition was not included, and no Noise and Vibration Management Plan was included in Table S1.2

- conditions 3.6 Pests and 3.7 Fire were added as part of the modernisation of the permit

- addition of recovery and disposal codes and clarification on waste code tables within Table S1.1

- activity references within Table S1.1 have been renumbered as it was identified that there was no “A5” activity set in the variation EPR/PP3430UL/V003 issued in 2011

- The waste tables within Schedule 2 of the permit have been split out as per each of the permitted activities. Previously only two waste tables had been included; one for hazardous and non-hazardous waste treatment, and one for hazardous and non-hazardous waste storage.

- Monitoring of bioaerosols has been removed from Table S3.1 Point source emissions to air – emission limits and monitoring requirements, and Table S3.4 Bioaerosol monitoring requirements has been amended following reassessment of previous monitoring requirements. See Compliance Assessment Report CAR_NRW0034971 issued 11/04/2019.

- Table S3.5 has been added to the permit to ensure routine monitoring of microbial inactivation via the use of spore strips is carried out and reported.

- The washings of clinical waste containers activity has changed from a separate waste activity to a DAA following comments received during the review of the draft permit.

Emissions to Water

As part of our delivery of the Water Framework Directive requirements, we need to identify and assess the impact for all discharges to surface waters and/or sewer from the site for priority hazardous substances and any other relevant substances. The emissions monitoring for these substances should be carried out using the methods and standards described in the M18 guidance on “Monitoring of discharges to water and sewer”.

With reference to the risk assessment guidance on the gov.uk website entitled “Surface water pollution risk assessment for your environmental permit“ (accessible via: https://www.gov.uk/guidance/surface-water-pollution-risk-assessment-for-your-environmental-permit) the company carried out the following assessments:

•	Screening tests for priority hazardous pollutants and any other relevant priority hazardous substances.

•	For any substance which is not screened out by the screening tests further modelling, as described in the risk assessment guidance “Surface water pollution risk assessment for your environmental permit”.

A list of substances was provided, but none are found to be present in the effluent stream, therefore an assessment using the H1 tool and detailed modelling were not required.

As BAT conclusions 3, 7 and 20 of the Regulation 61(1) notice were not responded to with the relevant information; all the BAT AELs and monitoring that could apply for the treatment type have been included within Schedules 3 and 4 of the permit, and improvement conditions have been set to obtain this information. Once the improvement conditions have been completed, some of the BAT AELs may be removed from the permit.

There is no direct discharge to surface water under this permit. There is an indirect discharge to sewer which is covered by a Dwr Cymru Welsh Water consent to discharge. The consent to discharge has not been provided so we have been unable to fully assess what BAT AELs and monitoring requirements are relative to this site, therefore the BAT AELs and monitoring requirements have been applied within Schedules 3 and 4 of the permit in a precautionary manner.

The specific BAT Conclusions on water emissions were also reviewed based on the Waste Treatment BREF and the following changes are made to the ELV’s for emissions to water taking into account BAT Conclusion 20 from the BREF.

BAT AELs have been amended for the following parameters. (BAT AELs)

BAT AELs have been amended for the following parameters. The BAT AELs for metals and non-metals have been included for the reasons given above.

| Parameter | Limit | Compliance period |
| --- | --- | --- |
| Arsenic (As) | 0.05 mg/l | 17 August 2022 |
| Cadmium (Cd) | 0.05 mg/l | 17 August 2022 |
| Chromium (Cr) | 0.15 mg/l | 17 August 2022 |
| Copper (Cu) | 0.5 mg/l | 17 August 2022 |
| Lead (Pb) | 0.1 mg/l | 17 August 2022 |
| Nickel (Ni) | 0.5 mg/l | 17 August 2022 |
| Zinc (Zn) | 1 mg/l | 17 August 2022 |
| Mercury (Hg) | 5 μg/l | 17 August 2022 |
| PFOA | None set | 17 August 2022 |
| PFOS | None Set | 17 August 2022 |

Where BAT associated emission levels are identified (BAT-AELs), limits may be prescribed at the top end of the range unless the proximity of sensitive receptors requires a tighter limit or if tighter limits are previously on the permit, this ensures no backsliding of emission limits.

Emissions to Water – Article 15(4) Derogations

No derogations

Emissions to Air

There were changes to the Emission Limit Values (ELV’s) for emissions to air taking into account BAT conclusions from the Waste Treatment BREF.

The tables below outline the parameters and limits set to implement the BAT-AELs:

Effective until 16 August 2022- None

Effective from 17 August 2022:

| Release point | Parameter | Limit/ BAT AEL | Effective from |
| --- | --- | --- | --- |
| A1- Shredder hood via HEPA filter | Dust | 5 mg/Nm3 | 17 August 2022 |
| A1- Shredder hood via HEPA filter | NH3 | None set | 17 August 2022 |
| A1- Shredder hood via HEPA filter | TVOC | None set | 17 August 2022 |
| A2- Heat disinfection unit, via scrubber | Dust | 5 mg/Nm3 | 17 August 2022 |
| A2- Heat disinfection unit, via scrubber | NH3 | None set | 17 August 2022 |
| A2- Heat disinfection unit, via scrubber | TVOC | None set | 17 August 2022 |

As BAT conclusions 3, 8 and 41 of the Regulation 61(1) notice were not responded to with the relevant information; all the BAT AELs and monitoring that could apply for the treatment type have been included within Schedules 3 and 4 of the permit, and improvement conditions have been set to obtain this information. Once the improvement conditions have been completed, some of the BAT AELs may be removed from the permit.

Where BAT associated emission levels are identified (BAT-AELs), limits may be prescribed at the top end of the range unless the proximity of sensitive receptors requires a tighter limit or if tighter limits are previously on the permit, this ensures no backsliding of emission limits.

Emissions to Air – Article 15(4) Derogations

No derogations

Other IED BREFs relevant to the permit review

There are no specific listed activities within Table S1.1 of the permit that are within scope of other published BREFS.

# 6. Conclusion

We consider that the installation already employed what used to be BAT, and that the operator has achieved significant improvements in performance since the permit was originally granted. The revised BREF and its BAT-AELs provide the opportunity to consider further environmental improvements.

Coupled with the consolidation and modernisation of the permit, we believe this variation provides a sound basis for ongoing regulation of the installation and we are satisfied that the operator is currently achieving or will be achieving all relevant BAT by 17 August 2022.

We believe that we have ensured compliance with all relevant legal requirements in carrying out this review and making our determination on the variation.

Annex 1: Decision checklist regarding relevant BAT Conclusions

BAT Conclusions for the Waste Treatment Bref were published as Commission Implementing Decision EU 2018/1147 in the Official Journal of the EU on 17 August 2018.  There are 53 BAT Conclusions. This checklist provides a record of decisions made in relation to each relevant BAT Conclusion applicable to the installation. This annex should be read in conjunction with the consolidated variation notice.

All BAT Conclusions arising are listed by number in order below;

| ### BATc number |  | ### Summary of BAT Conclusion requirement |  | Status/comment One of the following: Not Applicable, Currently Compliant, Compliant in the future (within 4 years of publication of BAT conclusions), Not Compliant |  |
| --- | --- | --- | --- | --- | --- |
| OVERALL ENVIRONMENTAL PERFORMANCE |  |  |  |  |  |
| 1 | Environment Management System (EMS) – ALL of the following: |  |  |  |  |
|  | I. | Management commitment |  | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has stated that an Environmental Management System has been established and is externally certified to ISO14001, which incorporates the features listed in the BAT conclusion. The operator is required to provide an overview of how the EMS meets the BAT requirements. Only a general statement has been provided. Also to note that meeting ISO14001 will not meet ALL the requirements of this conclusion. An improvement condition has been set- see IC2 Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |  |
|  | II. | Environmental policy development including CI of performance |  | Compliant in the future (within 4 years of publication of BAT conclusions) As per comment for BAT 1 (I) |  |
|  | III. | Planning and implementing procedures & targets in conjunction with financial planning & investment |  | Compliant in the future (within 4 years of publication of BAT conclusions) As per comment for BAT 1 (I) |  |
|  | IV. | Implementation of procedures |  |  |  |
|  |  | (a) Structure & responsibility |  | Compliant in the future (within 4 years of publication of BAT conclusions) As per comment for BAT 1 (I) |  |
|  |  | (b) Recruitment, training, awareness & competence |  |  |  |
|  |  | (c) Communication |  |  |  |
|  |  | (d) Employee involvement |  |  |  |
|  |  | (e) Documentation |  |  |  |
|  |  | (f) Effective process control |  |  |  |
|  |  | (g) Maintenance programmes |  |  |  |
|  |  | (h) Emergency preparedness & response |  |  |  |
|  |  | (i) Safeguarding compliance with environmental legislation |  |  |  |
|  | V. | Checking performance and taking corrective action |  |  |  |
|  |  | (a) Monitoring & measurement |  | Compliant in the future (within 4 years of publication of BAT conclusions) As per comment for BAT 1 (I) |  |
|  |  | (b) Corrective and preventive action |  |  |  |
|  |  | (c) Maintenance of records |  |  |  |
|  |  | (d) Independent (where practicable) internal or external EMS auditing |  |  |  |
|  | VI. | Senior management review of EMS |  | Compliant in the future (within 4 years of publication of BAT conclusions) As per comment for BAT 1 (I) |  |
|  | VII. | Following development of cleaner technologies |  | Compliant in the future (within 4 years of publication of BAT conclusions) As per comment for BAT 1 (I) |  |
|  | VIII. | Whole life cycle considerations when designing a new plant i.e. impacts from eventual decommissioning and throughout its operating life |  | Compliant in the future (within 4 years of publication of BAT conclusions) As per comment for BAT 1 (I) |  |
|  | IX. | Regular sectoral bench marking |  | Compliant in the future (within 4 years of publication of BAT conclusions) As per comment for BAT 1 (I) |  |
|  | X. | Waste stream management (BAT 2) |  | Compliant in the future (within 4 years of publication of BAT conclusions) As per comment for BAT 1 (I) |  |
|  | XI. | Inventory of waste water & waste gas streams (BAT 3) |  | Compliant in the future (within 4 years of publication of BAT conclusions) As per comment for BAT 1 (I) |  |
|  | XII. | Residues Management Plan – S6.5 |  | Compliant in the future (within 4 years of publication of BAT conclusions) As per comment for BAT 1 (I) |  |
|  | XIII. | Accident Management Plan – S6.5 |  | Compliant in the future (within 4 years of publication of BAT conclusions) As per comment for BAT 1 (I) |  |
|  | XIV. | Odour Management Plan (BAT 12) |  | Compliant in the future (within 4 years of publication of BAT conclusions) As per comment for BAT 1 (I) |  |
|  | XV. | Noise & Vibration Management Plan (BAT 17) |  | Compliant in the future (within 4 years of publication of BAT conclusions) As per comment for BAT 1 (I) |  |
| 2 | Improving overall environmental performance – ALL of the following: |  |  |  |  |
|  | a. |  | Set up and implement waste characterisation & pre-acceptance procedures | Currently compliant The operator has stated that there are procedures in place for waste pre-acceptance and waste acceptance as part of the EMS. These were reviewed by the site compliance officer. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) and Compliance Assessment Report CAR_NRW0034971 (issued 11/04/2019). |
|  | b. |  | Set up and implement waste acceptance procedures |  |
|  | c. |  | Set up and implement a waste tracking system & inventory | Not applicable The operator has stated that a waste tracking system & inventory are not generally in place and would need to be developed at potentially significant cost. This would not be cost effective given the relatively small size of healthcare waste facilities and containerised nature of the waste. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | d. |  | Set up and implement an output quality management system | Currently compliant The operator has stated that quality elements are included as part of the management system, which for example includes routine efficacy testing. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | e. |  | Ensure waste segregation | Currently compliant The operator has stated that all waste is stored in UN approved bags or containers, with secondary containment in leak proof, lockable wheeled carts, in designated storage areas with impermeable surfaces. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | f. |  | Ensure waste compatibility prior to mixing or blending | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has stated that this is not applicable as "waste is kept in original packaging from the waste producer." However permitted treatment of hazardous waste includes shredding, mixing, maceration and heat disinfection. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) and permit EPR/PP3430UL An improvement condition has been set to ensure this is included in the facilities EMS- see IC3 |
|  | g. |  | Sort solid incoming waste – S6.4 | Currently compliant The operator has stated that visual inspection of the waste is included as part of the waste acceptance procedures at the facility. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
| 3 | Establish and maintain a waste water and waste gas inventory as part of the EMS - ALL of the following: |  |  |  |  |
|  | Information on characteristics of waste and waste treatment processes |  |  |  |  |
|  | (i)(a) |  | simplified process flow sheets showing emission sources | Compliant in the future (within 4 years of publication of BAT conclusions) RESPONSE FOR ALL OF BAT 3: “Management system includes monitoring requirements for wastes and waste water discharges from site. Scope is reduced due to nature of the installation. See BAT 6 and 8.” No information was provided in response to this specific part of the BATc. An improvement condition has been set- see IC4 |
|  | (i)(b) |  | Process-integrated and waste water/waste gas treatment descriptions including performance | Compliant in the future (within 4 years of publication of BAT conclusions) No information was provided in response to this specific part of the BATc. No treatment of water occurs, but treatment of waste gas occurs via HEPA filters, scrubber and biofilter. An improvement condition has been set- see IC4 |
|  | Information on characteristics of waste water streams |  |  |  |  |
|  | (ii)(a) |  | Mean and variability of: |  |
|  |  |  | Flow | Compliant in the future (within 4 years of publication of BAT conclusions) No information was provided in response to this specific part of the BATc. An improvement condition has been set- see IC4 |
|  |  |  | pH |  |
|  |  |  | Temperature |  |
|  |  |  | Conductivity |  |
|  | (ii)(b) |  | Mean concentration, load and variability of: |  |
|  |  |  | Total suspended solids | Compliant in the future (within 4 years of publication of BAT conclusions) No information was provided in response to this specific part of the BATc. An improvement condition has been set- see IC4 |
|  |  |  | COD/TOC |  |
|  |  |  | Nitrogen species |  |
|  |  |  | Phosphorous |  |
|  |  |  | Metals |  |
|  |  |  | Priority substances/micropollutants |  |
|  |  |  | Any other relevant compounds |  |
|  | (ii)(c) |  | Bioeliminability data (see BAT 52): |  |
|  |  |  | BOD | Not applicable BAT 52 does not apply |
|  |  |  | BOD to COD ratio |  |
|  |  |  | Zahn-Wellens test |  |
|  |  |  | Biological inhibition potential |  |
|  | Information on characteristics of waste gas streams |  |  |  |  |
|  | (iii)(a) |  | Mean and variability of: |  |
|  |  |  | Flow | Compliant in the future (within 4 years of publication of BAT conclusions) No information was provided in response to this specific part of the BATc. Treatment of waste gas occurs via HEPA filters, scrubber and biofilter, therefore there is a waste gas stream assocated with this facility. An improvement condition has been set- see IC4 |
|  |  |  | temperature |  |
|  | (iii)(b) |  | Mean concentration, load and variability of relevant substances: |  |
|  |  |  | Organic compounds | Compliant in the future (within 4 years of publication of BAT conclusions) No information was provided in response to this specific part of the BATc. Treatment of waste gas occurs via HEPA filters, scrubber and biofilter, therefore there is a waste gas stream assocated with this facility. An improvement condition has been set- see IC4 |
|  |  |  | POPs e.g. PCBs |  |
|  |  |  | Any other relevant compounds |  |
|  | (iii)(c) |  | Flammability | Compliant in the future (within 4 years of publication of BAT conclusions) No information was provided in response to this specific part of the BATc. Treatment of waste gas occurs via HEPA filters, scrubber and biofilter, therefore there is a waste gas stream assocated with this facility. An improvement condition has been set- see IC4 |
|  |  |  | Lower and Higher Explosive Limits |  |
|  |  |  | Reactivity |  |
|  | (iii)(d) |  | Presence of other substances that may affect the gas treatment system or plant safety: |  |
|  |  |  | O2 | Compliant in the future (within 4 years of publication of BAT conclusions) No information was provided in response to this specific part of the BATc. Treatment of waste gas occurs via HEPA filters, scrubber and biofilter, therefore there is a waste gas stream assocated with this facility.. An improvement condition has been set- see IC4 |
|  |  |  | N2 |  |
|  |  |  | Water vapour |  |
|  |  |  | Dust |  |
| 4 | Reducing environmental risk associated with waste storage – ALL of the following: |  |  |  |  |
|  | a. |  | Optimised storage location | Currently compliant The operator has stated that the waste is brought into site based on the proximity principle, where waste is either stored on site for processing or pending transfer. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | b. |  | Adequate storage capacity | Currently compliant The operator has stated that the maximum storage capacity has been established and is regularly monitored. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | c. |  | Safe storage operation | Currently compliant The operator has stated that all waste is in UN approved bags or containers with secondary containment in leak proof, lockable wheeled carts, with relevant colour coded tag, detailing EWC, waste producer and description of the waste. The waste producers are provided with the Waste Acceptance Criteria which provide limitation on quantity of flammable liquids etc that can be placed in the container. As the quantity and container is restricted any spillage can be quickly resolved. Waste is stored such that the wheeled cart/sealed unit will provide secondary containment, minimise the spread of fire, as well as keep the contents away from potential sources of ignition. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | d. |  | Separate area for storage & handling of packaged hazardous waste | Currently compliant The operator has stated that waste is received in UN approved packages and stored in wheeled carts in the designated storage areas defined within the Environmental Permit for the facility. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
| 5 | Set up and implement procedures to reduce the environmental risk associated with handling and transfer of waste - include following elements: |  |  |  |  |
|  | Carried out by competent staff |  |  | Currently compliant The operator has stated that measures and procedures are in place in-line with BAT conclusion, in that waste is handles and transferred by competent staff, a management system is in place detailing handling requirements and action to be taken on any deviations. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | Duly documented, validated and verified |  |  |  |
|  | Spill prevention, detection and mitigation measures |  |  |  |
|  | Take precautions when mixing or blending wastes |  |  |  |
|  | Procedures are risk-based and consider likelihood of accidents, incidents and their environmental impact |  |  |  |
| MONITORING |  |  |  |  |  |
| 6 | Relevant emissions to water: monitor key process parameters at key locations |  |  |  |  |
|  | Key process parameters |  |  |  |  |
|  | Waste water flow |  |  | Currently compliant Emission monitoring point has been established and consent held with sewerage undertake for discharge. Monitoring is undertaken in line with this with details on flow, pH, temperature held for the discharge point where the emission leaves the facility. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | pH |  |  |  |
|  | Temperature |  |  |  |
|  | Conductivity |  |  | Not applicable Conductivity not monitored Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | BOD |  |  | Not applicable BOD not monitored Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | Other process parameters |  |  | Not applicable Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | Key monitoring locations |  |  |  |  |
|  | Pre-treatment inlet and/or outlet |  |  | Not applicable Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | Final treatment inlet |  |  | Not applicable Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | Discharge point (to the environment) |  |  | Not applicable Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | Other location |  |  | Currently compliant Monitoring taken place at the discharge point where the emission leaves the facility i.e. entry to foul sewer. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
| 7 | Monitoring emissions to water (refer to table) Monitoring parameters depend on waste treatment process(es) involved |  |  | Compliant in the future (within 4 years of publication of BAT conclusions) OPERATOR RESPONSE: “There is no direct discharge to a receiving water body. All effluent is removed from site as per consent with sewerage undertaker. Monitoring for metals not applicable as these substances are not permissible within the waste stream for treatment and are verified through pre-acceptance audits.” There is no direct discharge to a receiving water body, but there is an indirect discharge. While metals are not directly accepted as a separate waste stream, they are a component of the waste that is accepted, and quantities of metals are present in most items. We were not able to fully assess what monitoring or BAT AELs were relevant. In the absence of a waste water inventory and the discharge consent all the BAT AELs and monitoring that could apply for the treatment type (Physico-chemical treatment of solid and/or pasty waste). have been included within Schedules 3 and 4 of the permit. An improvement condition has been set- See IC5 See section 5 (Changes we have made- Emissions to Water) for more details. |
| 8 | Monitoring emissions to air *refer to table) monitoring parameters depend on waste treatment process(es) involved |  |  | Compliant in the future (within 4 years of publication of BAT conclusions) OPERATOR RESPONSE: "We accept monitoring requirements but note that previous guidance stated that monitoring unlikely needed to be carried out where - Pre-acceptance and acceptance checks are in place - Are not treating wastes containing or contaminated with chemicals or medicines. We understand that the same interpretation is meant by note 2 which states that “the monitoring only applies when the substance concerned is identified as relevant in the waste gas stream based on the inventory mentioned in BAT 3”.” The monitoring does only apply when the substance is identified as relevant in the waste gas stream based on the inventory mentioned in BAT 3. However this inventory was not carried out; an improvement condition has been set for BAT 3. Treatment of waste gas occurs via HEPA filters, scrubber and biofilter, therefore there is a waste gas stream assocated with this facility. We were not able to fully assess what monitoring or BAT AELs were relevant. In the absence of a waste gas inventory all the BAT AELs and monitoring that could apply for the treatment type (Physico-chemical treatment of solid and/or pasty waste). have been included within Schedules 3 and 4 of the permit. An improvement condition has been set- See IC6 See section 5 (Changes we have made- Emissions to Air) for more details. |
| 9 | Monitoring diffuse emissions of organic compounds to air from processes involving solvents. Use one or a combination of the following: |  |  |  |  |
|  | a |  | Measurement – S6.2 descriptions | Not applicable No processes involving solvents carried out at the facility. |
|  | b |  | Emissions factor calculation |  |
|  | c |  | Mass balance calculation |  |
| 10 | Periodically monitor odour emissions where nuisance is expected and/or has been substantiated (monitoring frequency is outlined in BAT 12) |  |  |  |  |
|  | Use EN standards e.g. 13725 or 16841 |  |  | Compliant in the future (within 4 years of publication of BAT conclusions) See notes for BAT 12 |
|  | Use equivalent methods e.g. ISO / national / international monitoring standards |  |  |  |
| 11 | Annual monitoring for: |  |  |  |  |
|  | - Water, energy and raw materials |  |  | Currently compliant The operator has confirmed that measures and procedures are in place with details being reported to the regulator on an annual basis. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | - Generation of residues and waste water |  |  |  |
| EMISSIONS TO AIR |  |  |  |  |  |
| 12 | Set up, implement and review an Odour Management Plan (as part of the site EMS) where nuisance is expected and/or has been substantiated. Include ALL of the following: |  |  |  |  |
|  | Protocol containing actions and timelines |  |  | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has stated that "Measures and procedures in place as part of the Management System which include the need to record and investigate any complaints received, as well as a daily check which includes recording of amenity issues." However an odour management plan is not on file, and odour complaints were received in 2013. An IPC has been set- see IC7 Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | Protocol for conducting odour monitoring (BAT 10) |  |  |  |
|  | Protocol for response to odour incidents/complaints |  |  |  |
|  | Odour prevention and reduction programme |  |  |  |
| 13 | Techniques to prevent, or where not practicable reduce odour emissions. Use one or a combination of the following: |  |  |  |  |
|  | a. |  | Minimising residence times (open systems only) | Currently compliant The operator has stated that Measures and procedures in place to minimise the storage times of wastes on site. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | b. |  | Use chemical treatment (N/A if desired output is hampered) | Not applicable |
|  | c. |  | Optimising aerobic treatment – see examples. Refer to BAT 36 for wastes other than water-based liquid waste. | Not applicable |
| 14 | Techniques to prevent, or where not practicable reduce diffuse emissions to air, in particular of dust, organic compounds and odour. Use one or a combination of the following: |  |  |  |  |
|  | a. |  | Minimising potential diffuse emission sources – see examples | Currently compliant The operator has confirmed that potential diffuse emission sources are minimised by containing wastes in UN approved packages and placing them in a wheeled cart for storage. On processing the wheeled carts are decanted into a waste acceptance cradle for visual inspection. The drop height of the waste has been limited to lowest possible while allowing the contents of the cart to be emptied. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | b. |  | Select and use high-integrity equipment – see examples | Not applicable |
|  | c. |  | Corrosion prevention – see examples | Currently compliant The operator has confirmed that appropriate materials are used for the processing equipment. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | d. |  | Containment, collection and treatment of diffuse emissions – see examples | Currently compliant The operator has confirmed that waste is stored in rigid, closed, leak-proof secure containers which represents, in designated storage areas. The emissions from the process are directed through a HEPA filter. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | e. |  | Dampening (with water or fog) | Not applicable |
|  | f. |  | Maintenance – see examples | Currently compliant The operator has confirmed that a maintenance schedule in operation as part of the management system. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | g. |  | Cleaning of waste treatment and storage areas – see examples | Currently compliant The operator has confirmed that Regular cleaning at the facility is undertaken as part of routine house-keeping arrangements. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | h. |  | Leak Detection and Repair (LDAR) programme for organics – S6.2 | Not applicable |
| 15 | Use flaring only for safety reasons or non-routine operating conditions (OTNOC). Use both of the following: |  |  |  |  |
|  | a. |  | Correct plant design – see examples | Not applicable Flaring not applicable to process or plant activities. |
|  | b. |  | Plant management including gas system balancing and advanced process control |  |
| 16 | Reduce emissions to air when flaring is unavoidable. Use both of the following: |  |  |  |  |
|  | a. |  | Correct design of flaring devices – see examples | Not applicable Flaring not applicable to process or plant activities. |
|  | b. |  | Monitoring and recording as part of flare management – see examples |  |
| NOISE AND VIBRATIONS |  |  |  |  |  |
| 17 | Set up, implement, and regularly review a Noise and Vibration Management Plan (as part of the EMS) where nuisance is expected and/or has been substantiated. Include ALL of the following: |  |  |  |  |
|  | I. |  | Protocol with actions and timelines | Not applicable Applicability restricted to where noise and vibration nuisance at sensitive receptor is expected and/or has been substantiated. The operator has confirmed that procedures are in place to record and investigate any complaints received. Diary in place to record Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | II. |  | Noise and vibration monitoring plan/protocol |  |
|  | III. |  | Noise & vibration complaint response plan/protocol |  |
|  | IV. |  | Noise and vibration reduction programme |  |
| 18 | Techniques to prevent, or where not practicable reduce noise and vibration emissions. Use one or a combination of the following: |  |  |  |  |
|  | a. |  | Appropriate location of equipment and buildings | Not applicable |
|  | b. |  | Operational measures – see examples | Currently compliant The operator has stated that appropriate operational measures have been implemented to reduce noise and vibration emissions that include inspection and maintenance of plant, vehicles and wheeled carts to keep in good working order. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | c. |  | Low-noise equipment – see examples |  |
|  | d. |  | Noise & vibration control equipment – see examples | Not applicable |
|  | e. |  | Noise attenuation – see examples | Not applicable |
| EMISSIONS TO WATER |  |  |  |  |  |
| 19 | Optimise water consumption, reduce waste water generation and prevent or where not practicable reduce emissions to soil and water. Use one or a combination of the following: |  |  |  |  |
|  | a. |  | Water management – see examples | Currently compliant The operator has confirmed that Water used for the cleaning of the wheeled carts has been designed to limit the quantity of water used per cycle, and the rinse water is used as the wash water in the next cleaning cycle. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | b. |  | Water recirculation |  |
|  | c. |  | Impermeable surface | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has stated that site surfaces are made up of impermeable surfaces, but not that it meets the relevant specification. An IPC has been set- see IC8 Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | d. |  | Reduce likelihood and impact of tank/vessel overflows and failures – see examples | Currently compliant The operator has stated that all chemicals and waste is stored with secondary containment. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | e. |  | Roofing of waste storage and treatment areas | Not applicable |
|  | f. |  | Segregation of water streams (being mindful of existing plant constraints) | Currently compliant The operator has stated that process water and surface water are segregated. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | g. |  | Adequate drainage infrastructure | Not applicable |
|  | h. |  | Design and maintenance provisions to allow risk-based leak detection and repair. Minimise use of underground components. | Currently compliant The operator has stated that regular inspection and maintenance is undertaken at the facility. Equipment is located above ground on impermeable surfaces. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | i. |  | Appropriate buffer storage capacity (being mindful of existing plant constraints) | Not applicable |
| 20 | Treat waste water using a combination of: |  |  |  |  |
|  | Preliminary, primary and general treatment |  |  |  |  |
|  | a. |  | Equalisation | Not applicable Waste water from the facility is directed to foul sewer and relevant discharge consent in place. No treatment occurs at the facility. |
|  | b. |  | Neutralisation |  |
|  | c. |  | Physical separation |  |
|  | Physico-chemical treatment |  |  |  |  |
|  | d. |  | Adsorption | Not applicable Waste water from the facility is directed to foul sewer and relevant discharge consent in place. No treatment occurs at the facility. |
|  | e. |  | Distillation/rectification |  |
|  | f. |  | Precipitation |  |
|  | g. |  | Chemical oxidation |  |
|  | h. |  | Chemical reduction |  |
|  | i. |  | Evaporation |  |
|  | j. |  | Ion exchange |  |
|  | k. |  | Stripping |  |
|  | Biological treatment |  |  |  |  |
|  | l. |  | Activated sludge process | Not applicable Waste water from the facility is directed to foul sewer and relevant discharge consent in place. No treatment occurs at the facility. |
|  | m. |  | Membrane bioreactor |  |
|  | Nitrogen removal |  |  |  |  |
|  | n. |  | Nitrification/denitrification (where biological treatment used) | Not applicable Waste water from the facility is directed to foul sewer and relevant discharge consent in place. No treatment occurs at the facility. |
|  | Solids removal |  |  |  |  |
|  | o. |  | Coagulation and flocculation | Not applicable Waste water from the facility is directed to foul sewer and relevant discharge consent in place. No treatment occurs at the facility. |
|  | p. |  | Sedimentation |  |
|  | q. |  | Filtration (sand, micro, ultra) |  |
|  | r. |  | Flotation |  |
|  | BAT-AELs for DIRECT discharges to a receiving waterbody (mg/l) |  |  |  |  |
|  | Table 6.1 and its supporting notes. Monitoring requirements are outlined in BAT 7 |  |  |  |  |
|  | TOC |  | 10.0-60 | Not applicable No direct discharges |
|  |  |  | 10-100 for water-based liquid waste |  |
|  | COD (TOC is preferred) |  | 30-180 |  |
|  |  |  | 30-300 for water-based liquid waste |  |
|  | Suspended solids |  | 5.0-60 |  |
|  | HOI |  | 0.5-10 applying to specific waste treatments |  |
|  | Total N |  | 1-25 for biological treatment and waste oil re-refining |  |
|  |  |  | 10-60 for water-based liquid waste |  |
|  | Total P |  | 0.3-2 for biological treatment |  |
|  |  |  | 1-3 for water-based liquid waste |  |
|  | Phenol |  | 0.05-0.2 for waste oil re-refining and physio-chemical treatment of waste with CV |  |
|  |  |  | 0.05-0.3 for water-based liquid waste |  |
|  | Free CN- |  | 0.02-0.1 for water-based liquid waste |  |
|  | AOX |  | 0.2-1 for water-based liquid waste |  |
|  | Metals & Metalloids – specific waste treatments as listed in Table 6.1 |  |  |  |
|  | As |  | 0.01-0.05 | Not applicable No direct discharges |
|  | Cd |  | 0.01-0.05 |  |
|  | Cr |  | 0.01-0.15 |  |
|  | Cu |  | 0.05-0.5 |  |
|  | Pb |  | 0.05-0.1 |  |
|  | Ni |  | 0.05-0.5 |  |
|  | Hg |  | 0.5-5 |  |
|  | Zn |  | 0.1-1 |  |
|  | Metals & Metalloids – treatment of water-based liquid waste |  |  |  |
|  | As |  | 0.01-0.1 | Not applicable No direct discharges |
|  | Cd |  | 0.01-0.1 |  |
|  | Cr |  | 0.01-0.3 |  |
|  | Hexavalent Cr [Cr(VI] |  | 0.01-0.1 |  |
|  | Cu |  | 0.05-0.5 |  |
|  | Pb |  | 0.05-0.3 |  |
|  | Ni |  | 0.05-1 |  |
|  | Hg |  | 1.0-10 |  |
|  | Zn |  | 0.1-2 |  |
|  | BAT-AELs for INDIRECT discharges to a receiving waterbody (mg/l) |  |  |  |  |
|  | Table 6.2 and its supporting notes. Monitoring requirements are outlined in BAT 7 |  |  |  |  |
|  | HOI |  | 0.5-10 applying to specific waste treatments | Not applicable None of the waste treatment process to which the BAT-AEL applies are permitted at the facility. |
|  | Free CN- |  | 0.02-0.1 for water-based liquid waste | Not applicable Treatment of water-based liquid waste not a permitted treatment |
|  | AOX |  | 0.2-1 for water-based liquid waste |  |
|  | Metals & Metalloids – specific waste treatments as listed in Table 6.2 |  |  |  |
|  | As |  | 0.01-0.05 | Compliant in the future (within 4 years of publication of BAT conclusions) In the absence of a waste water inventory and the discharge consent We were not able to fully assess what monitoring or BAT AELs were relevant. All the BAT AELs and monitoring that could apply for the treatment type have been included within Schedules 3 and 4 of the permit. An improvement condition has been set- See IC9 See section 5 (Changes we have made- Emissions to Water) for more details. |
|  | Cd |  | 0.01-0.05 |  |
|  | Cr |  | 0.01-0.15 |  |
|  | Cu |  | 0.05-0.5 |  |
|  | Pb |  | 0.05-0.1 |  |
|  | Ni |  | 0.05-0.5 |  |
|  | Hg |  | 0.5-5 |  |
|  | Zn |  | 0.1-1 |  |
|  | Metals & Metalloids – treatment of water-based liquid waste |  |  |  |
|  | As |  | 0.01-0.1 | Not applicable Treatment of water-based liquid waste not a permitted treatment |
|  | Cd |  | 0.01-0.1 |  |
|  | Cr |  | 0.01-0.3 |  |
|  | Hexavalent Cr [Cr(VI] |  | 0.01-0.1 |  |
|  | Cu |  | 0.05-0.5 |  |
|  | Pb |  | 0.05-0.3 |  |
|  | Ni |  | 0.05-1 |  |
|  | Hg |  | 1.0-10 |  |
|  | Zn |  | 0.1-2 |  |
| EMISSIONS FROM ACCIDENTS AND INCIDENTS |  |  |  |  |  |
| 21 | Techniques to prevent or limit the environmental consequences of accidents and incidents, as part of the Accident Management Plan. Use ALL of the following: |  |  |  |  |
|  | a. |  | Protection measures – see examples | Currently compliant The operator has stated that: - An accident management plan is held for the facility detailing potential sources and control measures in place. - All waste stored at healthcare waste management facilities are fully containerised which could potentially start within the cart, and also minimises the risk of the waste material coming into contact with any ignition source - Assisting in fire prevention and impact mitigation. Waste is only stored on pallets within primary packages that are also rigid and fully enclosed so provide comparable protection - In addition the site is fully manned 24/7 with CCTV coverage. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | b. |  | Management of incidental or accidental emissions | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has stated that existing arrangements are generally designed to contain small volume accidental emissions (i.e. leaks or spills) with impermeable surfaces and sealed drainage, but not to contain high volume effluents (i.e. firefighting water or storm/flood surge waters) with full site bunding and buffer storage. An IPC has been set to ensure that the management of incidental or accidental emissions is adequality addressed- see IC10 Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
|  | c. |  | Incident/accident registration and assessment system – see examples | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has not provided information on this BAT conclusion An improvement condition has been set- see IC10 |
| MATERIAL EFFICIENCY |  |  |  |  |  |
| 22 | Use materials efficiently by substituting materials with waste e.g. waste acids/alkalis for pH adjustment, fly ashes for binders |  |  | Not applicable No external materials are used within the treatment process. The primary purpose of the facility is the treatment and transfer of healthcare wastes. |
| ENERGY EFFICIENCY |  |  |  |  |  |
| 23 | Use energy efficiently by using both of the following techniques: |  |  |  |  |
|  | a. |  | Energy efficiency plan | Compliant in the future (within 4 years of publication of BAT conclusions) The operator has stated “The process is designed for the treatment of healthcare waste. Energy usage is monitored on site and adjusted to energy used per tonne of waste treated.” The operator has not provided specific information on this BAT conclusion is met. An improvement condition has been set- see IC11 |
|  | b. |  | Energy balance record |  |
| REUSE OF PACKAGING |  |  |  |  |  |
| 24 | Maximise the reuse of packaging as part of a Residues Management Plan (see BAT 1 XII.) |  |  | Currently compliant The operator has confirmed that procedures are in place to identify waste streams produced on site and review in line with the waste hierarchy. The packaging requirements are well defined for the sector and has limited scope for change. Where possible a re-usable sharps container service is offered to the producer. Referenced documents: PP3430UL EPR Reg 61 Notice for WT BREF Review_Stericycle-response 19-09-2019 (received 09/10/2019) |
| MECHANICAL TREATMENT OF WASTE (GENERAL BAT) |  |  |  |  |  |
| 25 | Reduce emissions to air of dust, particulate-bound metals, PCDD/F and dioxin-like PCBs by applying BAT 14d AND using one or a combination of the following techniques: |  |  |  |  |
|  | a. |  | Cyclone – see S6.1 | Not applicable Treatment type is not permitted |
|  | b. |  | Fabric filter – see S6.1 |  |
|  | c. |  | Wet scrubbing – see S6.1 |  |
|  | d. |  | Water injection into the shredder |  |
|  | BAT-AEL for channelled dust emissions to air from the mechanical treatment of waste (mg/Nm3) |  |  |  |  |
|  | Table 6.3 and its supporting note. Monitoring requirements are outlined in BAT 8 |  |  |  |  |
|  | Dust |  | 2.0-5.0 | Not applicable Treatment type is not permitted |
| MECHANICAL TREATMENT OF METAL WASTE BY SHREDDING |  |  |  |  |  |
| 26 | Improve overall environmental performance and prevent emissions due to accidents and incidents. Use BAT 14g AND ALL of the following techniques: |  |  |  |  |
|  | (a) |  | Detailed inspection procedure for baled waste before shredding | Not applicable Treatment type is not permitted |
|  | (b) |  | Remove dangerous items from waste inputs and dispose of them in a safe manner |  |
|  | (c) |  | Treatment of containers accompanied by a declaration of cleanliness |  |
| 27 | Prevent deflagrations and reduce emissions from deflagrations. Use technique a. AND ONE OR BOTH of techniques b. and c. |  |  |  |  |
|  | a. |  | Deflagration management plan with reduction programme, incident review and response protocol | Not applicable Treatment type is not permitted |
|  | b. |  | Pressure relief dampers |  |
|  | c. |  | Pre-shredding (device) |  |
| 28 | Use energy efficiently by keeping the shredder feed stable |  |  | Not applicable Treatment type is not permitted |
| MECHANICAL TREATMENT OF WEEE CONTAINING VFCS AND/OR VHCS |  |  |  |  |  |
| 29 | Techniques to prevent, or where not practicable reduce emissions of organic compounds to air. Apply BAT 14d AND BAT14h AND technique a. AND ONE OR BOTH of techniques b. and c. |  |  |  |  |
|  | a. |  | Optimised removal and capture of refrigerants and oils | Not applicable Treatment type is not permitted |
|  | b. |  | Cryogenic condensation |  |
|  | c. |  | Adsorption |  |
|  | BAT-AELs for channelled TVOC and CFC emissions to air from treatment of WEEE containing VFCs and/or VHCs (mg/Nm3) |  |  |  |  |
|  | Table 6.4. Monitoring requirements are outlined in BAT 8 |  |  |  |  |
|  | TVOC |  | 3.0-15 | Not applicable Treatment type is not permitted |
|  | CFCs |  | 0.5-10 |  |
| 30 | Prevent emissions due to explosions when treating WEEE containing VFCs and/or VHCs. Use EITHER of the following techniques: |  |  |  |  |
|  | a. |  | Inert atmosphere e.g. N2 | Not applicable Treatment type is not permitted |
|  | b. |  | Forced ventilation |  |
| MECHANICAL TREATMENT OF WASTE WITH CALORIFIC VALUE |  |  |  |  |  |
| 31 | Reduce emissions to air of organic compounds by applying BAT 14d AND using one or a combination of the following techniques: |  |  |  |  |
|  | a. |  | Adsorption – see S6.1 | Not applicable Treatment type is not permitted |
|  | b. |  | Biofilter – see S6.1 |  |
|  | c. |  | Thermal oxidation – see S6.1 |  |
|  | d. |  | Wet scrubbing – see S6.1 |  |
|  | BAT-AEL for channelled TVOC emissions to air from the mechanical treatment of waste with calorific value (mg/Nm3) |  |  |  |  |
|  | Table 6.5 and its supporting note. Monitoring requirements are outlined in BAT 8 |  |  |  |  |
|  | TVOC |  | 10.0-30.0 | Not applicable Treatment type is not permitted |
| MECHANICAL TREATMENT OF WEEE CONTAINING MERCURY |  |  |  |  |  |
| 32 | Reduce mercury emissions to air by collecting them at source, sending them to abatement and carrying out adequate monitoring. This includes ALL of the following: |  |  |  |  |
|  | Equipment is enclosed, under negative pressure and connected to a LEV system |  |  | Not applicable Treatment type is not permitted |
|  | Waste gas treated using dedusting techniques – see examples – followed by adsorption on activated carbon |  |  |  |
|  | Monitoring of waste gas treatment efficiency |  |  |  |
|  | Mercury levels measured at least weekly within treatment and storage areas |  |  |  |
|  | BAT-AEL for channelled mercury (Hg) emissions to air from the mechanical treatment of WEEE containing mercury (µg/Nm3) |  |  |  |  |
|  | Table 6.6. Monitoring requirements are outlined in BAT 8 |  |  |  |  |
|  | Hg |  | 2.0-7.0 | Not applicable Treatment type is not permitted |
| BIOLOGICAL TREATMENT OF WASTE (GENERAL BAT) |  |  |  |  |  |
| 33 | Reduce odour emissions and improve overall environmental performance by selecting the waste input (to ensure its suitability for biological treatment). See also BAT 2 |  |  | Not applicable Treatment type is not permitted |
| 34 | Reduce emissions to air of dust, organic compounds and odorous compounds (including H2S & NH3) by using one or a combination of the following techniques: |  |  |  |  |
|  | a. |  | Adsorption – see S6.1 | Not applicable Treatment type is not permitted |
|  | b. |  | Biofilter – see S6.1 |  |
|  | c. |  | Fabric filter – see S6.1. |  |
|  | d. |  | Thermal oxidation – see S6.1 |  |
|  | e. |  | Wet scrubbing – see S6.1 |  |
|  | BAT-AEL for channelled NH3, odour, dust and TVOC emissions to air from the biological treatment of waste (mg/Nm3) (ouE/m3) |  |  |  |  |
|  | Table 6.7 and its supporting notes. Monitoring requirements are outlined in BAT 8 |  |  |  |  |
|  | NH3 |  | 0.3-20 | Not applicable Treatment type is not permitted |
|  | Odour |  | 200-1000 |  |
|  | Dust |  | 2.0-5.0 |  |
|  | TVOC |  | 5.0-40 |  |
| 35 | Reduce the generation of waste water and reduce water usage by using ALL of the following: |  |  |  |  |
|  | a. |  | Segregation of water streams (see also BAT 19f) | Not applicable Treatment type is not permitted |
|  | b. |  | Water recirculation |  |
|  | c. |  | Minimisation of the generation of leachate |  |
| BIOLOGICAL TREATMENT OF WASTE: AEROBIC METHODS |  |  |  |  |  |
| 36 | Reduce emissions to air and improve overall environmental performance by monitoring and/or controlling key waste and process parameters. Include following elements: |  |  |  |  |
|  | Waste input characteristics e.g. C to N ratio, particle size |  |  | Not applicable Treatment type is not permitted |
|  | Temperature and moisture content within windrows (Moisture monitoring not needed for enclosed processes where H&S issues have been identified) |  |  |  |
|  | Aeration of the windrow |  |  |  |
|  | Windrow porosity, height and width |  |  |  |
| 37 | Reduce diffuse emissions to air of dust, odour and bioaerosols from open-air treatment steps. Use ONE OR BOTH of the following techniques: |  |  |  |  |
|  | a. |  | Use of semi-permeable membrane covers | Not applicable Treatment type is not permitted |
|  | b. |  | Adaptation of operations to the meteorological conditions |  |
| BIOLOGICAL TREATMENT OF WASTE: ANAEROBIC METHODS |  |  |  |  |  |
| 38 | Reduce emissions to air and improve overall environmental performance by monitoring and/or controlling key waste and process parameters. Include following elements: |  |  |  |  |
|  | Implement a manual and/or automatic monitoring system to: |  |  |  |  |
|  | Ensure a stable digester operation |  |  | Not applicable Treatment type is not permitted |
|  | Minimise operational difficulties and associated odour emissions |  |  |  |
|  | Provide sufficient early warning of system failures |  |  |  |
|  | Windrow porosity, height and width |  |  |  |
|  | Monitoring and/or control of key waste and process parameters – examples below: |  |  |  |  |
|  | pH and alkalinity of the digester feed |  |  | Not applicable Treatment type is not permitted |
|  | Digester operating temperature |  |  |  |
|  | Hydraulic and organic loading rates of the digester feed |  |  |  |
|  | Volatile fatty acids and NH3 concentrations within digester & digestate |  |  |  |
|  | Biogas quantity, composition (e.g. H2S) and pressure |  |  |  |
|  | Liquid and foam levels in the digester |  |  |  |
| MECHANICAL BIOLOGICAL TREATMENT (MBT) OF WASTE |  |  |  |  |  |
| 39 | Reduce emissions to air. Generally applicable to new plants, existing plants may have layout constraints. Use BOTH of the following techniques: |  |  |  |  |
|  | a. |  | Segregation of the waste gas streams (refer to inventory described in BAT 3) | Not applicable Treatment type is not permitted |
|  | b. |  | Recirculation of waste gas. Waste gas treatment is described in BAT 34 and recirculation in BAT 35. |  |
| PHYSICO-CHEMICAL TREATMENT OF SOLID AND/OR PASTY WASTE |  |  |  |  |  |
| 40 | Improve overall environmental performance by monitoring the waste input as part of the waste pre-acceptance and acceptance procedures. See also BAT 2. |  |  |  |  |
|  | Monitoring the waste input |  |  |  |  |
|  | Content of organics, oxidising agents, metals, salts, odorous compounds |  |  | Compliant in the future (within 4 years of publication of BAT conclusions) No information was provided in response to this BATc. An improvement condition has been set- see IC12 |
|  | H2 formation potential upon mixing of flue-gas treatment residues/ashes with water |  |  |  |
| 41 | Reduce emissions to air of dust, organic compounds and NH3 by applying BAT 14d AND using one or a combination of the following techniques: |  |  |  |  |
|  | a. |  | Adsorption – see S6.1 | N/A |
|  | b. |  | Biofilter – see S6.1 | Currently compliant HEPA filter, scrubber and biofilter are in place Referenced documents: Permit ERP/PP3430UL |
|  | c. |  | Fabric filter – see S6.1. | N/A |
|  | d. |  | Wet scrubbing – see S6.1 | Currently compliant HEPA filter, scrubber and biofilter are in place Referenced documents: Permit ERP/PP3430UL |
|  | BAT-AEL for channelled emissions of dust to air from the physico- chemical treatment of solid and/or pasty waste (mg/Nm3) |  |  |  |  |
|  | Table 6.8. Monitoring requirements are outlined in BAT 8 |  |  |  |  |
|  | Dust |  | 2.0-5.0 | Compliant in the future (within 4 years of publication of BAT conclusions) Treatment of waste gas occurs via HEPA filters, scrubber and biofilter, therefore there is a waste gas stream assocated with this facility. In the absence of a waste gas inventory we were not able to fully assess what monitoring or BAT AELS were relevant. All the BAT AELs and monitoring that could apply for the treatment type (Physico-chemical treatment of solid and/or pasty waste) have been included within Schedules 3 and 4 of the permit. An improvement condition has been set- See IC13 See section 5 (Changes we have made- Emissions to Air) for more details. |
| RE-REFINING OF WASTE OIL |  |  |  |  |  |
| 42 | Improve overall environmental performance by monitoring the waste input as part of the waste pre-acceptance and acceptance procedures. See also BAT 2. |  |  |  |  |
|  | Monitoring the waste input |  |  |  |  |
|  | Chlorinated compounds e.g. solvents or PCBs |  |  | Not applicable Treatment type is not permitted |
| 43 | Reduce quantity of waste sent for disposal by using ONE OR BOTH of the following techniques: |  |  |  |  |
|  | a. |  | Material recovery e.g. organic residues in asphalt products | Not applicable Treatment type is not permitted |
|  | b. |  | Energy recovery |  |
| 44 | Reduce emissions to air of organic compounds by applying BAT 14d AND using one or a combination of the following techniques: |  |  |  |  |
|  | a. |  | Adsorption – see S6.1 | Not applicable Treatment type is not permitted |
|  | b. |  | Thermal oxidation – see S6.1 |  |
|  | c. |  | Wet scrubbing – see S6.1 |  |
|  | The BAT-AEL for TVOC emissions to air set in Section 4.5 (below) applies. |  |  |  |  |
|  | Monitoring requirements are outlined in BAT 8 |  |  |  |  |
| PHYSICO-CHEMICAL TREATMENT OF WASTE WITH CALORIFIC VALUE |  |  |  |  |  |
| 45 | Reduce emissions to air of organic compounds by applying BAT 14d AND using one or a combination of the following techniques: |  |  |  |  |
|  | a. |  | Adsorption – see S6.1 | Not applicable While the waste outputs from the permitted treatments can be used as refuse derived fuel (RDF) or solid refuse fuel (SRF), it is not the reason for the treatments that are carried out on site. This BATc therefore does not apply. |
|  | b. |  | Cryogenic condensation – see S6.1 |  |
|  | c. |  | Thermal oxidation – see S6.1 |  |
|  | d. |  | Wet scrubbing – see S6.1 |  |
|  | The BAT-AEL for TVOC emissions to air set in Section 4.5 (below) applies. |  |  |  |  |
|  | Monitoring requirements are outlined in BAT 8 |  |  |  |  |
| REGENERATION OF SPENT SOLVENTS |  |  |  |  |  |
| 46 | Improve overall environmental performance by using ONE OR BOTH of the following techniques: |  |  |  |  |
|  | a. |  | Material recovery (by evaporation from distillation residues) | Not applicable Treatment type is not permitted |
|  | b. |  | Energy recovery e.g. using distillation residues |  |
| 47 | Reduce emissions to air of organic compounds by applying BAT 14d AND using a combination of the following techniques: |  |  |  |  |
|  | a. |  | Recirculation of process off-gases in a steam boiler. Avoid generating PCBs and/or PCDD/Fs | Not applicable Treatment type is not permitted |
|  | b. |  | Adsorption – see S6.1 |  |
|  | c. |  | Thermal oxidation – see S6.1. Avoid generating PCBs and/or PCDD/Fs |  |
|  | d. |  | Condensation or cryogenic condensation |  |
|  | e. |  | Wet scrubbing – see S6.1 |  |
|  | The BAT-AEL for TVOC emissions to air set in Section 4.5 (below) applies. |  |  |  |  |
|  | Monitoring requirements are outlined in BAT 8 |  |  |  |  |
| BAT-AEL FOR EMISSIONS OF ORGANIC COMPOUNDS TO AIR – SECTION 4.5 |  |  |  |  |  |
| (RE-REFINING OF WASTE OIL) |  |  |  |  |  |
| (PHYSICO-CHEMICAL TREATMENT OF WASTE WITH CV) |  |  |  |  |  |
| (REGENERATION OF SPENT SOLVENTS) |  |  |  |  |  |
|  | BAT-AEL for channelled TVOC emissions to air from the re-refining of waste oil, physico-chemical treatment of waste with calorific value and regeneration of spent solvents (mg/Nm3) |  |  |  |  |
|  | Table 6.9 and its supporting note. Monitoring requirements are outlined in BAT 8 |  |  |  |  |
|  | TVOC |  | 5.0-30 | Not applicable Treatment types are not permitted |
| THERMAL TREATMENT OF SPENT ACTIVATED CARBON, WASTE CATALYSTS AND EXCAVATED CONTAMINATED SOIL |  |  |  |  |  |
| 48 | Improve overall environmental performance by using ALL of the following techniques: |  |  |  |  |
|  | a. |  | Heat recovery from the furnace off-gas e.g. for preheating combustion air or steam generation | Not applicable Treatment type is not permitted |
|  | b. |  | Indirectly fired furnace i.e. avoids contact between the furnace contents and the burner flue-gases. Note applicability constraints. |  |
|  | c. |  | Process-integrated techniques to reduce emissions to air – see examples |  |
| 49 | Reduce emissions to air of HCl, HF, dust and organic compounds by applying BAT 14d AND using one or a combination of the following techniques: |  |  |  |  |
|  | a. |  | Cyclone – see S6.1 | Not applicable Treatment type is not permitted |
|  | b. |  | Electrostatic precipitator (ESP) – see S6.1 |  |
|  | c. |  | Fabric filter – see S6.1 |  |
|  | d. |  | Wet scrubbing – see S6.1 |  |
|  | e. |  | Adsorption – see S6.1 |  |
|  | f. |  | Condensation – see S6.1 |  |
|  | g. |  | Thermal oxidation – see S6.1 |  |
|  | Note supporting text for BAT 49g (thermal oxidation) |  |  |  |  |
|  | Monitoring requirements are outlined in BAT 8. No BAT-AELs have been set for this BATc. |  |  |  |  |
| WATER WASHING OF EXCAVATED CONTAMINATED SOIL |  |  |  |  |  |
| 50 | Reduce emissions to air of dust and organic compounds from the storage, handling and washing steps by applying BAT 14d AND using one or a combination of the following techniques: |  |  |  |  |
|  | a. |  | Adsorption – see S6.1 | Not applicable Treatment type is not permitted |
|  | b. |  | Fabric filter – see S6.1 |  |
|  | c. |  | Wet scrubbing – see S6.1 |  |
|  | Monitoring requirements are outlined in BAT 8. No BAT-AELs have been set for this BATc. |  |  |  |  |
| Decontamination of equipment containing PCBs |  |  |  |  |  |
| 51 | Reduce emissions to air of PCBs and organic compounds and improve overall environmental performance by using ALL of the following techniques: |  |  |  |  |
|  | a. |  | Coating of the storage and treatment areas – see examples | Not applicable Treatment type is not permitted |
|  | b. |  | Implementation of staff access rules to prevent dispersion of contamination – see examples |  |
|  | c. |  | Optimised equipment cleaning and drainage – see examples |  |
|  | d. |  | Control and monitoring of emission to air – see examples |  |
|  | e. |  | Disposal of waste treatment residues – see examples |  |
|  | f. |  | Recovery of solvent when solvent washing is used |  |
|  | Monitoring requirements are outlined in BAT 8. No BAT-AELs have been set for this BATc. |  |  |  |  |
| TREATMENT OF WATER-BASED LIQUID WASTE |  |  |  |  |  |
| 52 | Improve overall environmental performance by monitoring the waste input as part of the waste pre-acceptance and acceptance procedures. See also BAT 2. |  |  |  |  |
|  | Monitoring the waste input |  |  |  |  |
|  | Bioeliminability e.g. BOD, BOD-COD ratio, Zahn-Wellens test, biological inhibition potential |  |  | Not applicable Treatment type is not permitted |
|  | Feasibility of emulsion breaking e.g. lab testing |  |  |  |
| 53 | Reduce emissions to air of HCl, NH3 and organic compounds by applying BAT 14d AND using one or a combination of the following techniques: |  |  |  |  |
|  | a. |  | Adsorption – see S6.1 | Not applicable Treatment type is not permitted |
|  | b. |  | Biofilter – see S6.1 |  |
|  | c. |  | Thermal oxidation – see S6.1. |  |
|  | d. |  | Wet scrubbing – see S6.1 |  |
|  | BAT-AELs for channelled HCl and TVOC emissions to air from the treatment of water-based liquid waste (mg/Nm3) |  |  |  |  |
|  | Table 6.10 and its supporting notes. Monitoring requirements are outlined in BAT 8 |  |  |  |  |
|  | HCl |  | 1.0-5.0 | Not applicable Treatment type is not permitted |
|  | TVOC |  | 3.0-20 |  |

Annex 2: Consultation on the draft decision where an Article 15(4) derogation has been applied

No derogations have been applied for.