# Natural Resources Wales permitting decisions

# Variation

We have decided to issue variation for Penhesgyn Gors Landfill (closed) operated by Cyngor Sir Ynys Mon County Council

The variation number is EPR/KP3994FG/V007

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

# Annex 1: decision checklist

This document should be read in conjunction with the Duly Making checklist, the application and supporting information and permit/ notice.

| ### Aspect considered |  | ### Justification / Detail | Criteria met |  |
| --- | --- | --- | --- | --- |
|  |  |  | Yes |  |
| Sustainable Management of Natural Resources (SMNR) |  |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources.” |  |  |
| The site |  |  |  |  |
| Extent of the site of the facility |  | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. |  |  |
| Environmental Risk Assessment and operating techniques |  |  |  |  |
| Environmental risk |  | We have reviewed the operator's assessment of the environmental risk from the facility. The operator’s risk assessment is satisfactory. |  |  |
| Operating techniques |  | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. For Closed Landfill - LFTGN08, LFTGN05, and LFTGN02 |  |  |
| The permit conditions |  |  |  |  |
| Updating permit conditions during consolidation. |  | We have updated previous permit conditions to those in the new generic permit template as part of permit consolidation. The new conditions have the same meaning as those in the previous permit(s). The operator has agreed that the new conditions are acceptable. |  |  |
| Incorporating the application |  | We have specified that the applicant must operate the permit in accordance with descriptions in the application, including all additional information received as part of the determination process. These descriptions are specified in the Operating Techniques table in the permit. |  |  |
| Emission limits |  | We have decided that emission limits should be set for the parameters listed in the permit. Emission limits in the closure plan have been assessed and accepted as these have been written in line with the following guidance documents: - Monitoring landfill gas engine emissions: LFTGN 08 - Monitoring enclosed landfill gas flares: LFTGN 05 - Monitoring of landfill leachate, groundwater and surface water: LFTGN 02. |  |  |
| Monitoring |  | We have decided that monitoring should be carried out for the parameters listed in the permit, using the methods detailed and to the frequencies specified. The operator proposed to reduce monitoring frequencies of landfill gas, leachate, surface water and groundwater during the aftercare phase. This proposal was assessed and accepted. |  |  |
| Reporting |  | We have specified reporting in the permit. We made these decisions in accordance with LFTGN 03 |  |  |
| Operator Competence |  |  |  |  |
| Environment management system |  | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. |  |  |
| ### Financial competence |  | There is no known reason to consider that the operator will not be financially able to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. The financial provision arrangements satisfy the financial provisions criteria. |  |  |