












Maximum quantities at Peak times

	Trade name / Substance
	Solid, liquid, gas or powder
	UN number (if known)
	Maximum quantity
	Location marked on site plan
	Type of contain-ment & size
	Health & environ-mental properties

	Duco Anti-Freeze 
	Liquid 
	
	
	
	
	

	IKO Pro – Quick bitumen primer
	liquid
	
	
	
	
	

	SIKA TOP – Armatec 108
	powder
	
	
	
	
	

	Gleam Glass Cleaner 
	Liquid 
	
	
	
	
	

	Fosroc  Proofex Primer
	Liquid 
	
	
	
	
	

	Adomast Shutter Oil/mould old Adostrike 
	Liquid 
	
	
	
	
	

	Calor Propane Gas 
	Gas 
	
	
	
	
	

	C02 Fire Extinguisher
	Gas
	
	
	
	
	

	Powder Fire Extinguisher
	Powder
	
	
	
	
	

	Water Fire Extinguisher
	Liquid 
	
	
	
	
	

	Foam Fire Extinguisher
	Foam 
	
	
	
	
	

	Action Can – Multi-purpose Oil
	Liquid
	
	
	
	
	

	Spray liquid Line Marker
	liquid
	
	
	
	
	


Maximum quantities at Peak times

	Trade name / Substance
	Solid, liquid, gas or powder
	UN number (if known)
	Maximum quantity
	Location marked on site plan
	Type of contain-ment & size
	Health & environ-mental properties

	Ricoh Toner 
	Powder 
	
	
	
	
	

	H.P. Laser Jet  x 3
	Liquid 
	
	
	
	
	

	Lavette Toilet Cleaner
	Liquid 
	
	
	
	
	

	Car Plan- Blue star de-icer
	Liquid
	
	
	
	
	

	Ultra Crete – QC10 10mm Rapid Strength conc
	powder
	
	
	
	
	

	Ultra Crete M60 rapid strength bedding mortar
	Powder
	
	
	
	
	

	Ultra Crete Instant road repair cold lay Macadam
	Solic
	
	
	
	
	

	SIKA Mix & Mortar plastisicer
	Liquid
	
	
	
	
	

	TECROC Epoxy resin Mortar
	Powder
	
	
	
	
	

	West Wales Premium anti freeze
	liquid
	
	
	
	
	

	Swarfega JIZER – parts degreaser
	Liquid
	
	
	
	
	

	Laybond – Aqua prufe – Bitumen waterproofers
	Liquid
	
	
	
	
	

	Adawall – Liquid water proofer
	Liquid
	
	
	
	
	

	Ultra Crete – PY4/5 Polyester resin System
	Powder
	
	
	
	
	




6.
INCIDENT RESPONSE PROCEDURES

Instructions for Dealing with a Fuel Spill 
1. If the fuel spill is large, evacuate the buildings by triggering the fire alarm. Contact the emergency services by dialling 999, and retreat to a safe distance. DO NOT PUT YOURSELF AT RISK. When safe to do so, contact the Helpdesk on 0845 607 6060 who will inform the relevant operations manager or duty manager (if out of office hours).

2. Do NOT attempt to hose down the spill or disperse it with detergent. 

3. If the fuel spill is small – less than 90 litres (20 gallons) – locate the fuel spill kit. This is kept close to the fuel tank in a container marked “OIL SPILL RESPONSE KIT”.

4. Open the kit and put on the protective gloves. Use the pillows/granules to mop up the spill, always following the manufacturers’ instructions. 

5. Place the used pillows/granules in the polythene bags provided and put the bags in a safe place. 

6. Contact the Depot Manager who will arrange for a specialist waste contractor to dispose of them.

7. Contact the Building Co-ordinator who will inform the relevant operations manager or duty manager (if out of office hours) of the incident. 

8. If they are unavailable contact the Helpdesk on 0845 607 6060, who will inform the relevant operations manager or duty manager (if out of office hours) of the incident. 

FIRE 
Emergency procedures already in existence and organised via a monitoring centre in Stoke-on-Trent – tel: 01782 746519

INTRUDER
Emergency procedures already in existence and organised via a monitoring centre in Stoke-on-Trent – tel: 01782 746519
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Careline: 01597 825275








Mrs Colette Evans





07976 936823








EMERGENCY CONTACT DETAILS





Emergency Services:





Local Police:





Local hospital/NHS Trust:





Environment Incident:





Environment regulator (Local Office):








					Office Hours	Out of Hours





Water/Sewer provider:		0800 0520 140             0800 0520 140








Gas supplier:			No Gas Supply		








Electricity supplier:		0800 0520 400 (Western Power)		








PCC emergency planning:	0870 8510423	


Out of Hours 0845 0544847





Waste Management Contractor:				


Potters (Brynposteg Landfill)		01686 412043


Lovatt Bros (scrap metal contractor)	01686 630600


GD Environmental (waste water)	01633 277755 / 07500 112702








Specialist advice:							





Specialist clean-up					


Border Environmental			01244 530380


Adler and Allen				0800 592827		


Briggs Environmental Services		0800 374348


Braemar Howells			08700 73776673 (24 hrs)








KEY CONTACTS: (out of hours)





Duty officer:








Manager:





Area Office Contact:





101





Prince Charles, Merthyr Tydfil or Hereford





03000 653000





Natural Resources Wales 





999 or 112








3.	SITE PLAN & DRAINAGE PLAN





 Please see attached








CHEMICAL, PRODUCT AND WASTE INVENTORY





Maximum quantities at Peak times





Trade name / Substance�
Solid, liquid, gas or powder�
UN number (if known)�
Maximum quantity�
Location marked on site plan�
Type of contain-ment & size�
Health & environ-mental properties�
�
Rugby 


Cement �
Powder �
�
�
Stores�
�
�
�
Ultracrete 


Rapid Concrete�
Powder & solid �
�
�
Stores�
�
�
�
Colas Bitumen Emulsion 40% cationic grade


�
Liquid �
�
�
Stores�
�
�
�
Fuchs Engine oil �
Liquid �
�
�
Stores & Shed 2�
�
�
�
Fuchs 


Hydraulic Oil�
Liquid �
�
�
Stores�
�
�
�
Colas H4 Bitumen counpound – blocks�
Solid �
�
�
Stores�
�
�
�
Universal Tractor Oil


�
Liquid �
�
�
Stores & Shed 2�
�
�
�
Stihl Chainsaw Bar Oil�
Liquid �
�
�
Shed 2�
�
�
�
Unleaded petrol�
Liquid �
�
�
Shed 8�
�
�
�
Nomix Dual Weed Spray�
Liquid �
�
�
Stores�
�
�
�
Nomix Conqueror Weed Spray�
Liquid �
�
�
Stores�
�
�
�
Nomix Cleaner�
Liquid �
�
�
Stores�
�
�
�
Fam 30 Agricultural Disinfectant �
Liquid �
�
�
Shed 2�
�
�
�
Rock Oil – Grounds Man 2 stroke�
Liquid�
�
�
Shed 2�
�
�
�
TecRoc Aqua plug rapid set morar�
Powder�
�
�
Shed 2 & Shed 4�
�
�
�
Bluecat – Ad Blue�
Liquid�
�
�
By Diesel Tank�
�
�
�
Salt�
Solid/powder�
�
�
Salt Barn�
�
�
�



�
�
�
�
�
�
�
�



�
�
�
�
�
�
�
�



�
�
�
�
�
�
�
�



�
�
�
�
�
�
�
�



�
�
�
�
�
�
�
�



�
�
�
�
�
�
�
�









POLLUTION PREVENTION EQUIPMENT INVENTORY





Type�
Location�
Amount�
Staff contact�
�



Spill kit�
Bulking Shed bottom door�
Variable amount but no greater than 110 litres�
Mike Havard�
�



Spill kit�
Bulking Shed Top door�
Variable amount but no greater than 110 litres�
Mike Havard�
�



�
�
�
�
�



�
�
�
�
�
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