Schedule 5 – Notification

Part A

| Permit Number | BU7766IC |
| --- | --- |
| Name of Operator | Sundorne Products Ltd |
| Location of Facility | Bryn Posteg Landfill, Tylwch Road, Llanidloes, Powys, SY18 6JJ |
| Time and date of the detection | 30/03/2021 |
| Date and time of event | 30/03/2021 |
| Reference or description of the location of the event | Lay flat hose from balance lagoon split in multiple places |
| Substances potentially released | Leachate |
| Best estimate of the quantity or rate of release of substances | Unknown |
| Measures taken, or intended to be taken, to stop any emission | Hose to be replaced – Quotes requested 30/3/21 10:00. Replacement armoured hose installed 01/04/21 15:00 |
| Description of the failure or accident | Lay flat hose deteriorated due to exposure to elements |