Schedule 5 – Notification

Part A

| Permit Number | BU7766IC |
| --- | --- |
| Name of Operator | Sundorne Products Ltd |
| Location of Facility | Bryn Posteg Landfill, Tylwch Road, Llanidloes, Powys, SY18 6JJ |
| Time and date of the detection | 26/02/21 |
| Date and time of event | Quarter 3 |
| Reference or description of the location of the event | Ground water W05 |
| Substances potentially released | Raised ammonia |
| Best estimate of the quantity or rate of release of substances | Unknown |
| Measures taken, or intended to be taken, to stop any emission | Further investigations, including sampling the mine water to be carried out. |
| Description of the failure or accident | The ammonia level has been detected at 2.9mg/l, this is above the compliance limit of 2mg/l. |