











4.
CHEMICAL, PRODUCT AND WASTE INVENTORY

Maximum quantities at Peak times
	Trade name / Substance
	Solid, liquid, gas or powder
	UN number (if known)
	Maximum quantity
	Location marked on site plan
	Type of contain-ment & size
	Health & environ-mental properties

	Fuchs Engine oil 
	Liquid 
	
	
	Stores & Shed 2
	
	

	Fuchs 
Hydraulic Oil
	Liquid 
	
	
	Stores
	
	

	Unleaded petrol
	Liquid 
	
	
	Stores
	
	

	Bluecat – Ad Blue
	Liquid
	
	
	Stores
	
	

	Duco Anti-Freeze 
	Liquid 
	
	
	
	
	

	Gleam Glass Cleaner 
	Liquid 
	
	
	
	
	

	C02 Fire Extinguisher
	Gas
	
	
	
	
	

	Powder Fire Extinguisher
	Powder
	
	
	
	
	

	Water Fire Extinguisher
	Liquid 
	
	
	
	
	

	Foam Fire Extinguisher
	Foam 
	
	
	
	
	

	Ricoh Toner 
	Powder 
	
	
	
	
	

	Car Plan- Blue star de-icer
	Liquid
	
	
	
	
	

	West Wales Premium anti freeze
	liquid
	
	
	
	
	


5.
POLLUTION PREVENTION EQUIPMENT INVENTORY

	Type
	Location
	Amount
	Staff contact

	Spill kit
	By Diesel tank
	Variable amount but no greater than 110 litres
	01597810754

	Spill kit
	By Jet Wash shed top of yard next to plastics/tins
	Variable amount but no greater than 110 litres
	01597810754

	
	
	
	

	
	
	
	


	6.
INCIDENT RESPONSE PROCEDURES

Instructions for Dealing with a Fuel Spill

1. If the fuel spill is large, evacuate the buildings by triggering the fire alarm. Contact the emergency services by dialling 999, and retreat to a safe distance. DO NOT PUT YOURSELF AT RISK. When safe to do so, contact the Helpdesk on 0845 607 6060 who will inform the relevant operations manager or duty manager (if out of office hours).

2. Do NOT attempt to hose down the spill or disperse it with detergent. 

3. If the fuel spill is small – less than 90 litres (20 gallons) – locate the fuel spill kit. This is kept close to the fuel tank in a container marked “OIL SPILL RESPONSE KIT”.

4. Open the kit and put on the protective gloves. Use the pillows/granules to mop up the spill, always following the manufacturers’ instructions. 

5. Place the used pillows/granules in the polythene bags provided and put the bags in a safe place. 

6. Contact the Depot Manager who will arrange for a specialist waste contractor to dispose of them.

7. Contact the Building Co-ordinator who will inform the relevant operations manager or duty manager (if out of office hours) of the incident. 

8. If they are unavailable contact the Helpdesk on 0845 607 6060, who will inform the relevant operations manager or duty manager (if out of office hours) of the incident. 

FIRE 
Emergency procedures already in existence and organised via Dyfed Alarms – 01267 223545

INTRUDER
24 CCTV cameras in operation covering the whole site. Well-lit with sufficient lighting.
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Careline: 01597 825275








Ian Harris





01597810754








EMERGENCY CONTACT DETAILS





Emergency Services:





Local Police:





Local hospital/NHS Trust:





Environment Incident:





Environment regulator (Local Office):








					Office Hours	Out of Hours





Water/Sewer provider:		0800 0520 140             0800 0520 140








Gas supplier:			No Gas Supply		








Electricity supplier:		0800 0520 400 (Western Power)		








PCC emergency planning:	0870 8510423	


Out of Hours 0845 0544847





Waste Management Contractor:				


Potters (Brynposteg Landfill)		01686 412043


Lovatt Bros (scrap metal contractor)	01686 630600


Metro Rod				01495 305578


OSS Group				0870 2401055


SafetyKleen				020 84909084





Specialist advice:	Beacons Pest Control 01874636305						                              Mob 07734309180





Specialist clean-up					


Border Environmental			01244 530380


Adler and Allen				0800 592827		


Briggs Environmental Services		0800 374348


Braemar Howells			08700 73776673 (24 hrs)








KEY CONTACTS: (out of hours)





Duty officer:








Manager:





Area Office Contact:





101











03000 653000





Natural Resources Wales 





999 or 112
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