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[bookmark: _GoBack]Schedule 5 – Notification	
Part A 
	Permit Number
	BU7766IC

	Name of Operator
	Sundorne Products Ltd

	Location of Facility
	Bryn Posteg Landfill, Tylwch Road, Llanidloes, Powys, SY18 6JJ

	Time and date of the detection
	26/02/2021

	Date and time of event
	Quarter 3

	Reference or description of the location of the event
	Treated leachate discharge point


	Substances potentially released
	Dissolved Methane 

	Best estimate of the quantity or rate of release of substances
	Unknown

	Measures taken, or intended to be taken, to stop any emission
	Believed to be a laboratory error. We will continue to monitor the laboratory.

	Description of the failure or accident
	The dissolved methane was detected at 0.73mg/l. This is above the compliance level of 0.14mg/l
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