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Part A 
	Permit Number
	BU7766IC

	Name of Operator
	Sundorne Products Ltd

	Location of Facility
	Bryn Posteg Landfill, Tylwch Road, Llanidloes, Powys, SY18 6JJ

	Time and date of the detection
	28/1/2020

	Date and time of event
	10/11/20

	Reference or description of the location of the event
	Treated leachate discharge point


	Substances potentially released
	Dissolved methane

	Best estimate of the quantity or rate of release of substances
	Unknown

	Measures taken, or intended to be taken, to stop any emission
	Subsequent samples have been below the limit of detection. 

	Description of the failure or accident
	Dissolved methane level measured as 0.51 mg/l in the treated leachate discharge against compliance limit of 0.14mg/l.
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