Schedule 5 – Notification

Part A

| Permit Number | BU7766IC |
| --- | --- |
| Name of Operator | Sundorne Products Ltd |
| Location of Facility | Bryn Posteg Landfill, Tylwch Road, Llanidloes, Powys, SY18 6JJ |
| Time and date of the detection | 28/1/2020 |
| Date and time of event | 10/11/20 |
| Reference or description of the location of the event | Treated leachate discharge point |
| Substances potentially released | Dissolved methane |
| Best estimate of the quantity or rate of release of substances | Unknown |
| Measures taken, or intended to be taken, to stop any emission | Subsequent samples have been below the limit of detection. |
| Description of the failure or accident | Dissolved methane level measured as 0.51 mg/l in the treated leachate discharge against compliance limit of 0.14mg/l. |