Permit Number: 	VP3030BX 				Operator: 		Befesa Salt Slags Limited

Facility:		Whitchurch Salt Slags		Form Number: 	Air 1 / 14/09/2018

Reporting of emissions to air for the period from DD/MM/YYYY to DD/MM/YYYY

| Emission Point | Substance / Parameter | Emission Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty[4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A1 | Particulate Matter | 12 mg/m3 | 1 hour period |  | BS EN 13284-1 2002 |  |  |
| A2 | Ammonia | 9 mg/m3 | 1 hour period |  | BS EN 14791 |  |  |
| A4 | Hydrogen sulphide | None set | Spot sample |  | ISO 17025 accredited |  |  |
| A5 | Ammonia | 9 mg/m3 | 1 hour period |  | BS EN 14791 |  |  |
| A6 | Ammonia | 9 mg/m3 | 1 hour period |  | BS EN 14791 |  |  |
| A7 | Ammonia | 9 mg/m3 | 1 hour period |  | BS EN 14791 |  |  |
| A7 | Phosphine (PH3) | 0.5 mg/Nm3 | 1 hour period |  | BS EN 14791 |  |  |
| A7 | Hydrogen Sulphide (H2S) | 2 mg/Nm3 | 1 hour period |  | US EPA Method 11 |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………………………………………….	Date………………………...

(authorised to sign as representative of Operator)

Permit Number: 	VP3030BX 				Operator: 		Befesa Salt Slags Limited

Facility:		Whitchurch Salt Slags		Form Number: 	Air 2 / 14/09/2018

### Reporting of emissions to air for the period from DD/MM/YYYY to DD/MM/YYYY

| Emission Point | Substance / Parameter | Emission Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A1 | Particulate Matter | 5 mg/m3 | 1 hour period |  | BS EN 13284-1 2002 |  |  |
| A2 | Ammonia | 9 mg/m3 | 1 hour period |  | BS EN 14791 |  |  |
| A2 | Phosphine (PH3) | 0.5 mg/Nm3 | 1 hour period |  | BS EN 14791 |  |  |
| A2 | Hydrogen Sulphide (H2S) | 2 mg/Nm3 | 1 hour period |  | US EPA Method 11 |  |  |
| A4 | Hydrogen Sulphide (H2S) | None set | Spot sample |  | ISO 17025 accredited |  |  |
| A5 | Ammonia | 9 mg/m3 | 1 hour period |  | BS EN 14791 |  |  |
| A5 | Phosphine (PH3) | 0.5 mg/Nm3 | 1 hour period |  | BS EN 14791 |  |  |
| A5 | Hydrogen Sulphide (H2S) | 2 mg/Nm3 | 1 hour period |  | US EPA Method 11 |  |  |
| A6 | Ammonia | 9 mg/m3 | 1 hour period |  | BS EN 14791 |  |  |
| A6 | Phosphine (PH3) | 0.5 mg/Nm3 | 1 hour period |  | BS EN 14791 |  |  |
| A6 | Hydrogen Sulphide (H2S) | 2 mg/Nm3 | 1 hour period |  | US EPA Method 11 |  |  |
| A7 | Ammonia | 9 mg/m3 | 1 hour period |  | BS EN 14791 |  |  |
| A7 | Phosphine (PH3) | 0.5 mg/Nm3 | 1 hour period |  | BS EN 14791 |  |  |
| A7 | Hydrogen Sulphide (H2S) | 2 mg/Nm3 | 1 hour period |  | US EPA Method 11 |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………………………………………….	Date………………………...

(authorised to sign as representative of Operator)

Permit Number: 	VP3030BX 				Operator: 		Befesa Salt Slags Limited

Facility:		Whitchurch Salt Slags		Form Number: 	WaterUsage1 / 14/09/2018

Reporting of Water Usage for the year YYYY

| Water Source | Usage (m3/year | Specific Usage (m3/tonne of material processed) |
| --- | --- | --- |
| Mains Water |  |  |
| Recovered Water |  |  |
| TOTAL WATER USAGE |  |  |

Operator’s comments:

Signed …………………………………………………………….	Date………………………...

(authorised to sign as representative of Operator)

Permit Number: 	VP3030BX 				Operator: 		Befesa Salt Slags Limited

Facility:		Whitchurch Salt Slags		Form Number: 	Energy 1 / 14/09/2018

### Reporting of Energy Usage for the year YYYY

| Energy Source | Energy Usage |  | Specific Usage (MWh/tonne of material processed) |
| --- | --- | --- | --- |
|  | Quantity | Primary Energy (MWh) |  |
| Electricity * | MWh |  |  |
| Kerosene | MWh |  |  |
| LPG | tonnes |  |  |
| TOTAL | - |  |  |

* Conversion factor for delivered electricity to primary energy = 2.4

Operator’s comments:

Signed …………………………………………………………….	Date………………………...

(authorised to sign as representative of Operator)

Permit Number: 	VP3030BX 				Operator: 		Befesa Salt Slags Limited

Facility:		Whitchurch Salt Slags		Form Number: 	Performance 1 / 14/09/2018

Reporting of other performance indicators for the period DD/MM/YYYY to DD/MM/YYYY

| Parameter |  | Units |
| --- | --- | --- |
| Total waste produced per tonne of material processed |  | tonnes |

Operator’s comments:

Signed …………………………………………………………….	Date………………………...

(authorised to sign as representative of Operator)