Schedule 1 - Notification of abnormal emissions
These pages outline the information that the operator must provide. To satisfy conditions 5.11 and 5.1.2 of this permit.
Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the PPC Regulations.

Part A 
	Permit Number
	EPR/YP3632EM

	Name of operator
	2 Sisters Poultry Limited

	Location of Installation
	Glendale Avenue, Sandycroft, Flintshire

	Location of the emission
	Despatch department

	Time and date of the detection 
	28-5-2021     1700hrs


	Substance(s) emitted
	Media
	Best estimate of the quantity or the rate of emission
	Time during which the emission took place

	Boiler emission 
	Smoke 
	Short duration in minutes 
	1700hrs 

	
	
	
	


	Measures taken, or intended to be taken, to stop the emission
	Issue with the cable on the air intake during boiler operation. This was checked and adjusted to prevent reoccurrence. 


Part B - to be submitted as soon as practicable
	Any more accurate information on the matters for notification under Part A.
	No further action is required 

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	No further action is required

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	As above 

	The dates of any unauthorised emissions from the installation in the preceding 24 months.
	None. 


	Name*
	Steven van der Kieft

	Post
	H&S Manager 

	Signature
	S. van der Kieft

	Date
	30-5-2021


* authorised to sign on behalf of 2 Sister Poultry Ltd.
