Permit Number: 
VP3132LJ


Operator: 

Maxibrite Limited

Installation:

Mwyndy Solid Fuel Briquette Manufacturer

Form Number: 
Energy1 / 15/06/2007
Reporting of Energy Usage for the year 2020 

	Energy Source
	Energy Usage
	Specific Usage

(MWh/unit output)

	
	Quantity
	Primary Energy

(MWh)
	

	
	
	
	

	
	
	
	

	Electricity *
	530.08MWh 
	1272.19
	0.043 MWh/tonne

	Natural Gas
	1209.667MWh 
	1316.83
	0.044 MWh/tonne

	Gas Oil
	tonnes
	-
	

	TOTAL
	-
	2589.02
	0.087 MWh/tonne


* Conversion factor for delivered electricity to primary energy = 2.4
	Operator’s comments : Electricity usage is reported in the first column and then multiplied by 2.4 in the Primary Energy Column. The total specific energy usage figure shows a slight increase when compared to the previous year, possibly due to processing raw material with a higher moisture content.   



Signed …………[image: image1.emf]………………………………………………….  

Date……28/01/21……..   

(Authorised to sign as representative of Operator)

