## L5
Nant-y-Gwyddon Landfill Site |  |  |  | Best Practice Leachate Sampling 2019
Location: Leachate 5
Determinands | Units | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01
Field Measurements
pH | pH Units | 8.65 | 8.63 | 9.68 | 9.27 | 9.4 | 8.66 | 8.97 | 9.61 | 9.76 | 8.85 | 9.57 | Forgot
Temperature | °C | 6.6 | 8.2 | 6.9 | 7 | 13.2 | 15,2 | 16.7 | 15.9 | 15 | 13.9 | 10.2 | Probes
Conductivity | uS | 673 | 278 | 280 | 885 | 710 | 880 | 440 | 710 | 960 | 670 | 880
Suite | Units | Monthly | Quarterly | Monthly | Monthly | Quarterly | Monthly | Annual | Monthly | Monthly | Monthly | Quarterly | Monthly
Date of Sampling |  | 15.01.2019 | 12.02.19 | 05.03.2019 | 03.04.19 | 01.05.19 | 05.06.19 | 02.07.19 | 06.08.2019 | 04.09.19 | 02.10.2019 | 05.11.19 | 03.12.2019
Laboritory Measurements
pH | pH Units | 7.93 | 8.11 | 7.84 | 7.11 | 8.01 | 7.92 | 9.4 | 7.6 | 7.6 | 7.6 | 8 | 8.2
Conductivity @ 20c | uS/cm | 1170 | 624 | 468 | 1120 | 820 | 1020 | 510 | 610 | 820 | 380 | 1000 | 2800
BOD total+ATU | mg/l O | <2.75 | <2.75 | <2.75 | <2.75 | <1.00 | <4.58 | <2.8 | 1.5 | 2 | <2.8 | <2.8 | <18
COD (Total) | mg/l O | 18 | <10.0 | 18 | 48 | 17 | 85 | 25 | 34 | 62 | 13 | 40 | 140
Alkalinity total | mg/l CaCO3 | 339 | 260 | 173 | 380 | 298 | 309 | 120 | 140 | 240 | 170 | 430 | 1100
Ammonium (as N) | mg/l N | 25.3 | <0.500 | 4.15 | 30 | <0.500 | 17 | 0.55 | 8.2 | 14 | 3.2 | 44 | 170
Total Oxidised Nitrogen | mg/l N | 2019-02-01: 5; 2019-05-01: 11.5; 2019-07-01: 6.3; 2019-11-01: 3.5
Nitrite | mg/l N | 2019-02-01: <0.100; 2019-05-01: 0.1; 2019-07-01: 0.19; 2019-11-01: 0.77
Nitrate | mg/l N | 2019-02-01: <5.00; 2019-05-01: 11.4; 2019-07-01: 6.1; 2019-11-01: 2.7
Chloride | mg/l | 119 | 20 | 26 | 110 | 49 | 118 | 58 | 54 | 80 | 14 | 70 | 240
Sulphate | mg/l | 2019-02-01: 63; 2019-05-01: 119; 2019-07-01: <100; 2019-11-01: <100
Sulphide (dissolved) | mg/l S | 2019-02-01: <0.01; 2019-05-01: <0.01; 2019-07-01: <0.01; 2019-11-01: <0.01
Phenols (tot. monohydric) | mg/l | 2019-02-01: <0.04; 2019-05-01: <0.04; 2019-07-01: <0.04; 2019-11-01: <0.04
Total Organic Carbon | mg/l | 15.3 | 5.7 | 4.5 | 13.5 | 4.9 | 14.1 | 8.2 | N/R | 10.4 | 3.6 | 13.3 | 37.7
Cadmium | ug/l | 2019-02-01: <0.2; 2019-05-01: <0.2; 2019-07-01: <0.2; 2019-11-01: <0.2
Chromium | ug/l | 2019-02-01: <0.5; 2019-05-01: 0.633; 2019-07-01: 0.8; 2019-11-01: 1.6
Lead | ug/l | bar: 2019-02-01; 2019-05-01; 2019-07-01; 2019-11-01
Copper | ug/l | 2019-02-01: 2.28; 2019-05-01: 2.48; 2019-07-01: 1.9; 2019-11-01: 1.7
Nickel | ug/l | 2019-02-01: 2.49; 2019-05-01: 2.66; 2019-07-01: 4.4; 2019-11-01: 3.8
Zinc | ug/l | 2019-02-01: 23; 2019-05-01: 29.4; 2019-07-01: 19; 2019-11-01: 28
Iron | ug/l | 2019-02-01: 53.8; 2019-05-01: <30; 2019-07-01: 370; 2019-11-01: 1600
Phosphorus | mg/l P
Potassium | mg/l | 2019-02-01: 13.6; 2019-05-01: 21.1; 2019-07-01: 18; 2019-11-01: 32
Phosphate. Ortho as P | mg/l
Butan-1-ol | mg/l | 2019-07-01: <500
Butan-2-ol | mg/l | 2019-07-01: <1000
Ethanol | mg/l
Ethyl acetate | mg/l
Ethyl acrylate | mg/l
Methyl ethyl ketone | mg/l
Ethyl Benzene | ug/l
Tetrachloroethene | ug/l
Carbon Tetrachloride | ug/l
M&P Xylene | ug/l | 2019-02-01: <0.2; 2019-05-01: <0.2; 2019-07-01: <0.2; 2019-11-01: <0.2
O Xylene | ug/l | 2019-02-01: <0.2; 2019-05-01: <0.2; 2019-07-01: <0.2; 2019-11-01: <0.2
Total Xylenes | ug/l
n-proanol | ug/l | 2019-07-01: <500
Sodium | mg/l | 2019-02-01: 17; 2019-05-01: 34.3; 2019-07-01: 44; 2019-11-01: 53
Magnesium | mg/l | 2019-02-01: 18.6; 2019-05-01: 23; 2019-07-01: 23; 2019-11-01: 19
Manganese | mg/l
1,2 - Dichloroethane | ug/l | 2019-02-01: <0.1; 2019-05-01: <0.1; 2019-07-01: <0.1; 2019-11-01: <0.1
Formaldehyde | mg/l
2 Methyl prop-l-ol | mg/l
suspended solids | mg/l | 5.4 | <3.00 | 4.2 | 5.8 | <3.00 | 49.2 | 8.3 | 3.8 | 49 | 10 | 8.7 | 24
acetone | ug/l | 2019-07-01: <2000
acrylonitrile | ug/l | 2019-07-01: <5000
arsenic | ug/l | 2019-07-01: 0.92
benzene | ug/l | 2019-02-01: <0.1; 2019-05-01: <0.1; 2019-07-01: <0.1; 2019-11-01: <0.1
calcium | mg/l | 2019-07-01: 23
detergents, anionicas NaLS | mg/l | 2019-07-01: <0.05
xylene | ug/l
mercury | ug/l | 2019-07-01: <0.01
methanol | ug/l | 2019-07-01: <500
propan-2-ol | ug/l | 2019-07-01: <500
1,1,1,-Trichloroethane | ug/l | 2019-02-01: <0.1; 2019-05-01: <0.1; 2019-07-01: <0.1; 2019-11-01: <0.1
Styrene | ug/l | 2019-02-01: <0.3; 2019-05-01: 0.3; 2019-07-01: <0.3; 2019-11-01: <0.3
toluene | ug/l | 2019-07-01: <0.1
trichloroethene | ug/l | 2019-02-01: <0.2; 2019-05-01: <0.2; 2019-07-01: <0.2; 2019-11-01: <0.2
dimethoxymethane | ug/l | 2019-07-01: <500

## L5a
Nant-y-Gwyddon Landfill Site |  |  |  | Best Practice Leachate Sampling 2019
Location: L5a: Leachate discharge from this sump drains into downgradient pipeline.
Determinands | Units | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01
Field Measurements
pH | pH Units | 8.63 | 8.57 | 9.57 | 9.55 | 9.41 | 8.73 |  | 9.32 | 9.56 | 8.97 | 9.47 | Forgot
Temperature | °C | 10 | 10.5 | 10.3 | 8.5 | 11.4 | 11.5 | DRY | 15 | 13.2 | 14.6 | 12.3 | Probes
Conductivity | uS | 777 | 350 | 370 | 910 | 830 | 950 |  | 890 | 920 | 420 | 510
Leachate Level | m | Dry | dry | dry | dry | dry | dry | DRY | Dry | Dry | DRY | DRY | Dry
Suite | Units | Monthly | Quarterly | Monthly | Monthly | Quarterly | Monthly | Annual | Monthly | Monthly | Monthly | Quarterly | Monthly
Date of Sampling |  | 15.01.19 | 12.02.19 | 05.03.19 | 03.04.19 | 01.05.19 | 05.06.19 | 02.07.19 | 06.08.19 | 04.09,.19 | 02.10.19 | 05.11.19 | 03.12.2019
Laboritory Measurements
pH | pH Units | 8.17 | 7.25 | 8.16 | 8.17 | 7.23 | 7.91 |  | 8.1 | 7.7 | 7.9 | 8.1 | 8.2
Conductivity @ 20c | uS/cm | 1380 | 415 | 656 | 1270 | 558 | 1820 |  | 960 | 990 | 600 | 620 | 780
BOD total+ATU | mg/l O | <2.75 | <2.75 | <2.75 | <2.75 | <2.75 | <3.67 |  | <1.0 | <1.0 | <2.8 | <1.0 | <2.8
COD (Total) | mg/l O | 12 | 11 | <10.0 | 27 | 24 | 55 |  | 17 | 22 | <10.0 | <10 | 14
Alkalinity total | mg/l CaCO3 | 313 | 154 | 280 | 304 | 213 | 385 |  | 270 | 350 | 280 | 300 | 300
Ammonium (as N) | mg/l N | <0.500 | 10.7 | <0.500 | <0.500 | 15 | 3.95 |  | <0.50 | <0.50 | 1.9 | <0.50 | <0.50
Total Oxidised Nitrogen | m: mg/l N; dry: 1.2; dry: 1.6; DRY: 3.7
Nitrite | m: mg/l N; dry: <0.100; dry: <0.100; DRY: DRY; DRY: <0.10
Nitrate | m: mg/l N; dry: <1.20; dry: <1.60; DRY: <3.7
Chloride | mg/l | 155 | 30 | 21 | 131 | 42 | 229 |  | 54 | 60 | 13 | 17 | 47
Sulphate | m: mg/l; dry: 36.3; dry: <100; DRY: <100
Sulphide (dissolved) | m: mg/l S; dry: 0.013; dry: <0.01; DRY: <0.01
Phenols (tot. monohydric) | m: mg/l; dry: <0.04; dry: <0.04; DRY: <0.04
Total Organic Carbon | mg/l | 11.8 | 7.9 | 2.7 | 8.5 | 4.6 | 16.5 |  | N/R | 5.5 | 2.4 | 2.7 | 4.9
Cadmium | m: ug/l; dry: 0.244; dry: 0.987; DRY: <0.2
Chromium | m: ug/l; dry: 0.657; dry: 0.784; DRY: 0.55
Lead | m: ug/l; dry: <2; dry: <2; DRY: <2
Copper | m: ug/l; dry: 1.97; dry: 2.94; DRY: 1.9
Nickel | m: ug/l; dry: 2.73; dry: 1.9; DRY: 1.9
1,1,1,-Trichloroethane | m: ug/l; dry: <0.1; dry: <0.1; DRY: <0.1
Zinc | m: ug/l; dry: 34.2; dry: 72.8; DRY: 28
Iron | m: ug/l; dry: 1110; dry: 764; DRY: 36
Phosphorus | m: mg/l P
Phosphate. Ortho as P | m: mg/l
Butan-1-ol | m: mg/l
Butan-2-ol | m: mg/l
Ethanol | m: mg/l
Ethyl acetate | m: mg/l
Ethyl acrylate | m: mg/l
Benzene | m: ug/l; dry: <0.1; dry: <0.1; DRY: <0.1
Methyl ethyl ketone | m: mg/l
Ethyl Benzene | m: ug/l
Tetrachloroethene | m: ug/l
Carbon Tetrachloride | m: ug/l
M&P Xylene | m: ug/l; dry: <0.2; dry: <0.2; DRY: <0.2
O Xylene | m: ug/l; dry: <0.2; dry: <0.2; DRY: <0.2
Total Xylenes | m: ug/l
n-proanol | m: ug/l
2 Methyl prop-l-ol | m: mg'l
Potassium | m: mg/l; dry: 15.3; dry: 17.7; DRY: 13
Sodium | m: mg/l; dry: 22.3; dry: 25.7; DRY: 14
Calcium | m: mg/l
Magnesium | m: mg/l; dry: 18; dry: 21.7; DRY: 18
Manganese | m: mg/l
1,2 - Dichloroethane | m: ug/l; dry: <0.1; dry: <0.1; DRY: <0.1
Formaldehyde | m: mg/l
suspended solids | mg/l | <3.00 | 5.4 | <3.00 | <3.00 | 3.8 | <3.00 |  | 3.9 | 11 | <3.0 | <3.0 | <3.0
acetone | m: ug/l
acetonitrile | m: mg/l
acrylonitrile | m: ug/l
arsenic | m: ug/l
detergents, anionicas NaLS | m: mg/l
mercury | m: ug/l
methanol | m: ug/l
Styrene | m: ug/l; dry: <0.3; dry: <0.3; DRY: <0.3
propan-2-ol | m: ug/l
toluene | m: ug/l
trichloroethene | m: ug/l; dry: <0.2; dry: <0.2; DRY: <0.2
dimethoxymethane | m: ug/l

## LPS1
Nant-y-Gwyddon Landfill Site |  |  |  | Best Practice Leachate Sampling 2019
Location: Leachate LPS1
Determinands | Units | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01
Field Measurements
pH | pH Units | 8.75 | 8.19 | 9.81 | 9.31 | 9.68 | 8.51 | 8.8 |  | 9.57 | 9.73 | 9.91 | Forgot
Temperature | °C | 10.4 | 7.7 | 8.3 | 8.9 | 10.8 | 15.1 | 13.3 |  | 14.7 | 14 | 10.4 | Probes
Conductivity | uS | 733 | 270 | 340 | 620 | 590 | 770 | 880 |  | 390 | 280 | 260
Leachate Level | m | 2019-01-01: 0.78; 2019-02-01: 0.87; 2019-03-01: 0.62; 2019-04-01: 0.67; 2019-05-01: 0.78; 2019-06-01: 0.83; 2019-07-01: 0.71
| Units | Monthly | Quarterly | Monthly | Monthly | Quarterly | Monthly | Annual | Monthly | Monthly | Monthly | Quarterly | Monthly
Date of Sampling |  | 15.01.19 | 12.02.19 | 06.03.19 | 03.04.19 | 01.05.19 | 05.06.19 | 02.07.19 | 20.08.19 | 04.09.2019 | 02.10.19 | 05.11.19 | 03.12.2019
Laboritory Measurements
pH | pH Units | 7.03 | 7.69 | 7.16 | 8.17 | 7.79 | 7.07 | 7.2 | 6.9 | 7.2 | 7 | 7.1 | 7.2
Conductivity @ 20c | uS/cm | 1040 | 470 | 546 | 877 | 607 | 1020 | 940 | 240 | 300 | 190 | 180 | 230
BOD total+ATU | mg/l O | <2.75 | <2.75 | <2.75 | <2.75 | 1.74 | <2.75 | <2.8 | <2.8 | <1.0 | <2.8 | <1.0 | <2.8
COD (Total) | mg/l O | 16 | 24 | 30 | 38 | 30 | 41 | 33 | <10 | 10 | <10 | <10 | <10
Alkalinity total | mg/l CaCO3 | 425 | 172 | 179 | 239 | 214 | 431 | 320 | 97 | 120 | 74 | 72 | 90
Ammonium (as N) | mg/l N | 29.1 | 3.04 | 10.4 | 11.7 | 5.22 | 31.2 | 25 | <0.50 | <0.50 | 0.52 | <0.50 | <0.50
Total Oxidised Nitrogen | mg/l N | 2019-02-01: 6.3; 2019-05-01: 8; 2019-07-01: 2.8; 2019-11-01: <1.0
Nitrite | mg/l N | 2019-02-01: 0.23; 2019-05-01: 0.39; 2019-07-01: <0.10; 2019-11-01: <0.10
Nitrate | mg/l N | 2019-02-01: 6.07; 2019-05-01: 7.61; 2019-07-01: <2.8; 2019-11-01: <1.0
Chloride | mg/l | 95 | 25 | 40 | 88 | 44 | 98 | 85 | <10 | 11 | <10 | <10 | <10
Sulphate | mg/l | 2019-02-01: 38.1; 2019-05-01: <100; 2019-07-01: <100; 2019-11-01: <100
Sulphide (dissolved) | mg/l S | 2019-02-01: <0.01; 2019-07-01: <0.01; 2019-11-01: <0.01
1,1,1,-Trichloroethane | ug/l | 2019-02-01: <0.1; 2019-05-01: <0.1; 2019-07-01: <0.1; 2019-11-01: <0.1
Phenols (tot. monohydric) | mg/l | 2019-02-01: <0.04; 2019-05-01: <0.04; 2019-07-01: <0.04; 2019-11-01: <0.04
Total Organic Carbon | mg/i | 13.7 | 7.6 | 5.1 | 9.7 | 6.3 | 10.8 | 9.4 | 2 | 2 | 1.3 | 1.3 | 1.2
Cadmium | ug/l | 2019-02-01: 0.209; 2019-05-01: <0.2; 2019-07-01: <0.2; 2019-11-01: <0.2
Chromium | ug/l | 2019-02-01: 6.78; 2019-05-01: 0.915; 2019-07-01: 0.95; 2019-11-01: <0.5
Lead | ug/l | 2019-02-01: 9.09; 2019-05-01: <2; 2019-07-01: <2; 2019-11-01: <2
Copper | ug/l | 2019-02-01: 9.76; 2019-05-01: 1.75; 2019-07-01: 1.8; 2019-11-01: 1.9
Nickel | ug/l | 2019-02-01: 7.17; 2019-05-01: 1.78; 2019-07-01: 7.1; 2019-11-01: 1.1
Zinc | ug/l | 2019-02-01: 303; 2019-05-01: 32.3; 2019-07-01: 29; 2019-11-01: 11
Iron | ug/l | 2019-02-01: 12000; 2019-05-01: 644; 2019-07-01: 1300; 2019-11-01: 280
Phosphate. Ortho as P | mg/l
Butan-1-ol | mg/l | 2019-07-01: <500
Butan-2-ol | mg/l | 2019-07-01: <1000
Ethanol | mg/l
Ethyl acetate | mg/l
Ethyl acrylate | mg/l
Methyl ethyl ketone | mg/l
Ethyl Benzene | ug/l
Tetrachloroethene | ug/l
Carbon Tetrachloride | ug/l
M&P Xylene | ug/l | 2019-02-01: <0.2; 2019-05-01: <0.2; 2019-07-01: <0.2; 2019-11-01: <0.2
O Xylene | ug/l | 2019-02-01: <0.2; 2019-05-01: <0.2; 2019-07-01: <0.2; 2019-11-01: <0.2
Total Xylenes | ug/l
n-proanol | ug/l | 2019-07-01: <500
2 Methyl prop-l-ol | mg/l
Phosphorus | mg/l P
Potassium | mg/l | 2019-02-01: 12.4; 2019-05-01: 19.1; 2019-07-01: 30; 2019-11-01: 6.3
Sodium | mg/l | 2019-02-01: 18.6; 2019-05-01: 30.8; 2019-07-01: 52; 2019-11-01: 3.5
Magnesium | mg/l | 2019-02-01: 14.6; 2019-05-01: 18.9; 2019-07-01: 35; 2019-11-01: 12
Manganese | mg/l
1,2 - Dichloroethane | ug/l | 2019-02-01: <0.1; 2019-05-01: <0.1; 2019-07-01: <0.1; 2019-11-01: <0.1
Formaldehyde | mg/l
suspended solids | mg/l | 6.7 | 194 | <3.00 | 7.9 | 5 | 10.7 | 6.5 | 7 | <3.0 | <3.0 | 9.8 | <3.0
acetone | ug/l | 2019-07-01: <2000
acetonitrile | mg/l
acrylonitrile | ug/l | 2019-07-01: <500
arsenic | ug/l | 2019-07-01: 1.4
benzene | ug/l | 2019-02-01: <0.1; 2019-05-01: <0.1; 2019-07-01: <0.1; 2019-11-01: <0.1
calcium | mg/l | 2019-07-01: 44
detergents, anionicas NaLS | mg/l | 2019-07-01: <0.05
mercury | ug/l | 2019-07-01: <0.01
Styrene | ug/l | 2019-02-01: <0.3; 2019-05-01: <0.3; 2019-07-01: <0.3; 2019-11-01: <0.3
methanol | ug/l | 2019-07-01: <500
propan-2-ol | ug/l | 2019-07-01: <500
toluene | ug/l | 2019-07-01: <0.1
trichloroethene | ug/l | 2019-02-01: <0.2; 2019-05-01: <0.2; 2019-07-01: <0.2; 2019-11-01: <0.2
dimethoxymethane | ug/l | 2019-07-01: <500