Permit Number: 
JP3239ST



Operator: 

The County council of the City and County of Cardiff

Installation:

Lamby Way Landfill Site

Form Number: 
…Jul 20 –L

…
Reporting of ……LEACHATE…… monitoring for the period for … July 2020
	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	
	
	
	
	
	
	
	

	L2
	Am Nitrogen
	904
	Jul-20
	65
	INORG-L12
	Jul-20
	12.69



	
	
	
	
	
	
	
	

	L2
	Cadmium
	0.05
	Jul-20
	1.7
	1450
	Jul-20
	3.93

	
	
	
	
	
	
	
	

	L2
	Nickel
	0.4
	Jul-20
	247
	METALS-L
	Jul-20
	5.23


	
	
	
	
	
	
	
	

	L2
	Chloride
	1306
	Jul-20
	194
	INORG-L13
	Jul-20
	6.71



	
	
	
	
	
	
	
	

	L2
	MP Xylene
	0.032
	Jul-20
	<1.0
	ORG-LO5
	Jul-20
	7.66



	
	
	
	
	
	
	
	

	L2
	Mecoprop
	0.024
	Jul-20
	<0.1
	ORG-L17
	Jul-20
	8.27



	
	
	
	
	
	
	
	


	
	
	
	
	
	
	
	

	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	 
	Am Nitrogen
	1370
	Jul-20
	110
	INORG-L12
	Jul-20
	12.69



	L4
	
	
	
	
	
	
	

	 
	Cadmium
	0.1
	Jul-20
	<0.080
	1450
	Jul-20
	3.93

	L4
	
	
	
	
	
	
	

	 
	Nickel
	0.1
	Jul-20
	175
	METALS-L
	Jul-20
	5.23


	L4
	
	
	
	
	
	
	

	 
	Chloride
	13713
	Jul-20
	162
	INORG-L13
	Jul-20
	6.71



	L4
	
	
	
	
	
	
	

	 
	MP Xylene
	0.029
	Jul-20
	11
	ORG-LO5
	Jul-20
	7.66



	L4
	
	
	
	
	
	
	

	 
	Mecoprop
	0.032
	Jul-20
	12.8
	ORG-L17
	Jul-20
	8.27



	L4
	
	
	
	
	
	
	


	
	
	
	
	
	
	
	

	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	 
	Am Nitrogen
	1370
	Jul-20
	160
	INORG-L12
	Jul-20
	12.69



	L7
	
	
	
	
	
	
	

	 
	Cadmium
	0.1
	Jul-20
	-
	1450
	Jul-20
	3.93

	L7
	
	
	
	
	
	
	

	 
	Nickel
	0.1
	Jul-20
	40.7
	METALS-L
	Jul-20
	5.23


	L7
	
	
	
	
	
	
	

	 
	Chloride
	13713
	Jul-20
	535
	INORG-L13
	Jul-20
	6.71



	L7
	
	
	
	
	
	
	

	 
	MP Xylene
	0.029
	Jul-20
	-
	ORG-LO5
	Jul-20
	7.66



	L7
	
	
	
	
	
	
	

	 
	Mecoprop
	0.032
	Jul-20
	-
	ORG-L17
	Jul-20
	8.27



	L7
	
	
	
	
	
	
	


The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.

For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………Gareth Ffoulkes………………………………….  

Date……13/11/20……     



(Authorised to sign as representative of Operator)

