Permit Number: 	NP3233XX					Operator: 		Tradebe Gwent Limited

Facility:		Bridgend Waste Management Centre	Form Number: 	Sewer1 / 17/08/22

# Reporting of emissions to sewer for the period from DD/MM/YYYY to DD/MM/YYYY

| Emission Point | Substance / Parameter | Emission # Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S1 | Daily Discharge | 1,400 m3/day (700 m3/day Trade Effluent and 700 m3/day Septic Tank Waste) | None Specified |  |  |  |  |
|  | Peak Flow Rate | 10 l/s |  |  |  |  |  |
|  | Adsorbable Organically Bound Halogen (AOX) | 1 mg/l |  |  |  |  |  |
|  | Benzene, Toluene, Ethylbenzene, Xylene (BTEX) | No Limit |  |  |  |  |  |
|  | Free Cyanide (CN-) | 0.1 mg/l |  |  |  |  |  |
|  | Hydrocarbon Oil Index (HOI) | 10 mg/l |  |  |  |  |  |
|  | Arsenic (As) | 0.1 mg/l |  |  |  |  |  |
|  | Cadmium (Cd) | 0.1 mg/l |  |  |  |  |  |
|  | Chromium (Cr) | 0.3 mg/l |  |  |  |  |  |
|  | Copper (Cu) | 0.5 mg/l |  |  |  |  |  |
|  | Nickel (Ni) | 1 mg/l |  |  |  |  |  |
|  | Lead (Pb) | 0.3 mg/l |  |  |  |  |  |
|  | Zinc (Zn) | 2 mg/l |  |  |  |  |  |
|  | Hexavalent Chromium (Cr(VI)) | 0.1 mg/l |  |  |  |  |  |
|  | Mercury (Hg) | 10 µg/l |  |  |  |  |  |
|  | PFOA | No Limit |  |  |  |  |  |
|  | PFOS | No Limit |  |  |  |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………………………………………….  		Date………………………..

Permit Number: 	NP3233XX						Operator: 		Tradebe Gwent Limited

Facility:		Bridgend Waste Management Centre 		Form Number: 	WaterUsage1 / 04/04/08

# Reporting of Water Usage for the year YYYY

| Water Source | Usage (m3/year | Specific Usage (m3/unit output) |  |
| --- | --- | --- | --- |
| TOTAL WATER USAGE |  |  |  |

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

Permit Number: 	NP3233XX						Operator: 		Tradebe Gwent Limited

Facility:		Bridgend Waste Management Centre 		Form Number: 	Energy1 / 04/04/08

# Reporting of Energy Usage for the year YYYY

| Energy Source | Energy Usage |  | Specific Usage (MWh/unit output) |  |
| --- | --- | --- | --- | --- |
|  | Quantity | Primary Energy (MWh) |  |  |
| Electricity * | MWh |  |  |  |
| Natural Gas | MWh |  |  |  |
| Gas Oil | tonnes |  |  |  |
| Recovered Fuel Oil | tonnes |  |  |  |
| TOTAL | - |  |  |  |

* Conversion factor for delivered electricity to primary energy = 2.4

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

Permit Number: 	NP3233XX						Operator: 		Tradebe Gwent Limited

Facility:		Bridgend Waste Management Centre		Form Number: 	Performance1 / 17/08/22

# Reporting of other performance indicators for the period DD/MM/YYYY to DD/MM/YYYY

| Parameter |  | Units |  |
| --- | --- | --- | --- |
| Total raw material used |  | tonnes |  |
| Total amounts of hazardous waste treated |  | tonnes |  |
| Total amounts of hazardous waste treated |  | tonnes |  |
| Generation of residus |  | tonnes |  |
| Generation of waste water |  | m3 |  |

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..