Permit Number: 	SP3531SK						Operator: 		Tradebe Gwent Limited

Facility:		Gwent Waste Management Centre		Form Number: 	 Air1 / 17/08/22

# Reporting of emissions to air for the period from DD/MM/YYYY to DD/MM/YYYY

| Emission Point | Substance / Parameter | Emission # Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A1 | Hydrogen Chloride (HCI) | 5 mg/Nm3 | None set |  | EN 1911 |  |  |
| A1 | Total Volatile Organic Compounds (TVOC) | 20 mg/Nm3 | None set |  | EN 12619 |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………………………………………….  		Date………………………..

Permit Number: 	SP3531SK						Operator: 		Tradebe Gwent Limited

Facility:		Gwent Waste Management Centre		Form Number: 	Sewer1 / 17/08/22

# Reporting of emissions to sewer for the period from DD/MM/YYYY to DD/MM/YYYY

| Emission Point | Substance / Parameter | Emission # Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S1 | Flow Rate | None set | None set |  | As agreed with Natural Resources Wales |  |  |
| S1 | Adsorbable Organically Bound Halogens (AOX) | 1 mg/l | None set |  | EN ISO 9562 |  |  |
| S1 | Benzene, Toluene, Ethylbenzene, Xylene (BTEX) | None set | None set |  | EN ISO 15680 |  |  |
| S1 | Free Cyanide (CN) | 0.1 mg/l | None set |  | Various EN standards available (e.g. EN ISO 14403-1 and -2) |  |  |
| S1 | Hydrocarbon Oil Index (HOI) | 10 mg/l | None set |  | EN ISO 9377-2 |  |  |
| S1 | Arsenic (As) | 0.1 mg/l | None set |  | Various EN standards available (e.g. EN ISO 11885, EN ISO 17294-2, EN ISO 15586) |  |  |
| S1 | Cadmium (Cd) | 0.1 mg/l | None set |  |  |  |  |
| S1 | Chromium (Cr) | 0.3 mg/l | None set |  |  |  |  |
| S1 | Copper (Cu) | 0.5 mg/l | None set |  |  |  |  |
| S1 | Nickel (Ni) | 1 mg/l | None set |  |  |  |  |
| S1 | Lead (Pb) | 0.3 mg/l | None set |  |  |  |  |
| S1 | Zinc (Zn) | 2 mg/l | None set |  |  |  |  |
| S1 | Manganese (Mn) | No limit set | None set |  |  |  |  |
| S1 | Hexavalent Chromium (Cr(VI)) | 0.1 mg/l | None set |  | Various EN standards available (e.g. EN ISO 10304-3, EN ISO 23913) |  |  |
| S1 | Mercury (Hg) | 10 µg/l | None set |  | Various EN standards available (e.g. EN ISO 17852, EN ISO 12846) |  |  |
| S1 | PFOA | No limit set | None set |  | No EN standard available |  |  |
| S1 | PFOS | No limit set | None set |  | No EN standard available |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………………………………………….  		Date………………………..

Permit Number: 	SP3531SK						Operator: 		Tradebe Gwent Limited

Facility:		Gwent Waste Management Centre		Form Number: 	WaterUsage1 / 01/06/06

# Reporting of Water Usage for the year YYYY

| Water Source | Usage (m3/year | Specific Usage (m3/unit output) |  |
| --- | --- | --- | --- |
| Mains water |  |  |  |
| Site borehole |  |  |  |
| River abstraction |  |  |  |
| TOTAL WATER USAGE |  |  |  |

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

Permit Number: 	SP3531SK						Operator: 		Tradebe Gwent Limited

Facility:		Gwent Waste Management Centre		Form Number: 	Energy1 / 01/06/06

# Reporting of Energy Usage for the year YYYY

| Energy Source | Energy Usage |  | Specific Usage (MWh/unit output) |  |
| --- | --- | --- | --- | --- |
|  | Quantity | Primary Energy (MWh) |  |  |
| Electricity * | MWh |  |  |  |
| Natural Gas | MWh |  |  |  |
| Gas Oil | tonnes |  |  |  |
| Recovered Fuel Oil | tonnes |  |  |  |
| TOTAL | - |  |  |  |

* Conversion factor for delivered electricity to primary energy = 2.4

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	SP3531SK						Operator: 		Tradebe Gwent Limited

Facility:		Gwent Waste Management Centre		Form Number: 	Performance1 / 01/06/06

# Reporting of other performance indicators for the period DD/MM/YYYY to DD/MM/YYYY

| Parameter |  | Units |  |
| --- | --- | --- | --- |
| Total raw material used |  | tonnes |  |
| Total amounts of waste treated |  | tonnes |  |
| Generation of waste water |  | m3 |  |
| Treatment residues where disposal is to a non-hazardous waste landfill site. |  | tonnes |  |
| Treatment residues where disposal is to a hazardous waste landfill site. |  | tonnes |  |

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

.